| Sl | Discussion Point | Resolution |
| --- | --- | --- |
|  | Please provide us the GA drawing of the plant showing grid level with control | Typical drawings have been furnished along with NIT and /or BHEL’s replies to Pre-bid queries raised by bidders, Final drawings shall be furnished during order execution stage. Bidder to note that they shall not be eligible for any additional commercial implications on account of furnishing of new input drawing and /or revised drawings etc by BHEL during order execution stage. |
|  | Effective length of pipe from cooling water sump pit (1003 M level) to Fire water reservoir (1083.5M0 – Location of cooling water sump pit. | Design of the FDPS is in bidders’ scope. Accordingly, all piping layout shall be finalized during detailed engineering stage. |
|  | Drawing for bus reactor, oil pumping unit, MIV oil pumping unit to calculate the size of DV. | Typical drawings have been furnished along with NIT and /or BHEL’s replies to Pre-bid queries raised by bidders, Final drawings shall be furnished during order execution stage. Bidder to note that they shall not be eligible for any additional commercial implications on account of furnishing of new input drawing and /or revised drawings etc by BHEL during order execution stage. |
|  | Cross-sectional drawing of cable tray with length. | Typical drawings have been furnished along with NIT and /or BHEL’s replies to Pre-bid queries raised by bidders, Final drawings shall be furnished during order execution stage. Bidder to note that they shall not be eligible for any additional commercial implications on account of furnishing of new input drawing and /or revised drawings etc by BHEL during order execution stage. |
|  | Spec – Part No. As per your consideration of MSD & ASD for control room office, electrical utility area, but it is not clear to us to provide which detection at below false ceiling / above false ceiling. | Specification requirements to be followed |
|  | Dimension of ICT floor and CPP floor. | Typical drawings have been furnished along with NIT and /or BHEL’s replies to Pre-bid queries raised by bidders, Final drawings shall be furnished during order execution stage. Bidder to note that they shall not be eligible for any additional commercial implications on account of furnishing of new input drawing and /or revised drawings etc by BHEL during order execution stage. |