| Sl | Discussion Point | Resolution |
| --- | --- | --- |
|  | We request you to please provide us the Composite Layout of plant consisting of Power House Building Including Aux Block Area, GIS Cum Transformer Cavern Area, Ventilation Tunnel, Main Access Tunnel, Cable Tunnel (Between transformer hall to pothead), Pothead Yard Area, ICT Cum GIS Building, Booster Pump House etc | Typical drawings have been furnished along with NIT and /or BHEL’s replies to Pre-bid queries raised by bidders, Final drawings shall be furnished during order execution stage. Bidder to note that they shall not be eligible for any additional commercial implications on account of furnishing of new input drawing and /or revised drawings etc by BHEL during order execution stage. |
|  | Please furnish us the coordinates of Plant area boundary within scope of work. | Typical drawings have been furnished along with NIT and /or BHEL’s replies to Pre-bid queries raised by bidders, Final drawings shall be furnished during order execution stage. Bidder to note that they shall not be eligible for any additional commercial implications on account of furnishing of new input drawing and /or revised drawings etc by BHEL during order execution stage. |
|  | Please furnish us the Cross-Sectional Details of all areas at different sections from front and side view. | Typical drawings have been furnished along with NIT and /or BHEL’s replies to Pre-bid queries raised by bidders, Final drawings shall be furnished during order execution stage. Bidder to note that they shall not be eligible for any additional commercial implications on account of furnishing of new input drawing and /or revised drawings etc by BHEL during order execution stage. |
|  | Please provide us the proposed Schematic Diagrams of Fire Fighting System. | Design of the FDPS is in bidders’ scope. Accordingly, all FDPS schemes and drawings shall be designed by bidder and shall be finalized during detailed engineering stage. |
|  | Please furnish us the proposed Profile Diagrams of Fire Water Network from Pump to Protected Areas. | Design of the FDPS is in bidders’ scope. Accordingly, all FDPS schemes and drawings shall be designed by bidder and shall be finalized during detailed engineering stage. |
|  | We request you to please furnish us the Capacity of Booster Pumpset, Also, please clarify the scope of Booster Pump. | Capacity of Booster Pump shall be finalized by bidder as per the Hydraulics required for the Water System. |
|  | Please provide the Cross-Section Detail (Length, Width and Height) of 12 Number of GSU Transformers, 1 Number of Bus Reactor at Transformer Hall ( 1028.40) and 3 Nos. of ICT (Transformers), 2 Nos. of Aux Transformer ( 33 KV/11 KV) at Pothead Yard Area to be protected by MVW System. | Typical drawings have been furnished along with NIT and /or BHEL’s replies to Pre-bid queries raised by bidders, Final drawings shall be furnished during order execution stage. Bidder to note that they shall not be eligible for any additional commercial implications on account of furnishing of new input drawing and /or revised drawings etc by BHEL during order execution stage. |
|  | Please provide the Cross-Sectional (No. of rows, No. of tray) Drawing & Plan layout of Connecting Cable Tunnel, GIB Cellar Floor +9.6 M at ICT CUM GIS Building, Cable Tunnel (Between transformer hall to pothead) to be protected by MVW System. | Typical drawings have been furnished along with NIT and /or BHEL’s replies to Pre-bid queries raised by bidders, Final drawings shall be furnished during order execution stage. Bidder to note that they shall not be eligible for any additional commercial implications on account of furnishing of new input drawing and /or revised drawings etc by BHEL during order execution stage. |
|  | Please provide the Cross-Sectional (No. of rows, No. of tray) Drawing & Plan layout of Cable Trays at MIV Floor at Power House at El. 1014.00 / 1010.00 M (MIV Floor A‐D bay ), Cable Trays at Power House at El. 1017.00 M, Cable Tray at Power House at El. 1021.50 M (Generator Floor), Cable Tray at Power House at El. 1028.40 M, Mechanical Workshop & Storesat Power House Aux Block at El. 1017.00 M (Mechanical Services Floor ), Office at Power House Aux Block at El. 1021.500 M (Electrical utility floor ), Office at Power House Aux Block at El. 1036.00 M (Battery Room & Offices ), 11 KV Cables (located in the Ventilation Tunnel) between 11 KV Panel at DG Room & 11 KV Panel in Power House at Ventilation Tunnel, DG Room Area at pothead yard area to be protected by Sprinkler System . | Typical drawings have been furnished along with NIT and /or BHEL’s replies to Pre-bid queries raised by bidders, Final drawings shall be furnished during order execution stage. Bidder to note that they shall not be eligible for any additional commercial implications on account of furnishing of new input drawing and /or revised drawings etc by BHEL during order execution stage. |
|  | Please furnish us the Layout of Pothead Head Building with respect to location of ICT El. 1078.00 GIS Building. | Typical drawings have been furnished along with NIT and /or BHEL’s replies to Pre-bid queries raised by bidders, Final drawings shall be furnished during order execution stage. Bidder to note that they shall not be eligible for any additional commercial implications on account of furnishing of new input drawing and /or revised drawings etc by BHEL during order execution stage. |
|  | Please furnish us the Piping route from cooling sump (Filling pump) to overhead water tank. Please furnish us the Pipe routing from Overhead Water Tank to Booster Pump House. | Design of the FDPS is in bidders’ scope. Accordingly, all FDPS schemes and drawings shall be designed by bidder and shall be finalized during detailed engineering stage |
|  | Indicative P&ID of the system (Drawing no. NH/DEM/MGD/FF/01 Detailed scheme of interconnection of sumps, dry pits etc.-- clause 21.2 "Specific parameters and Layout conditions" of section 21 "Cooling Water System", Single line diagram of CW system Drg no. NH/DEM/MGD/CW/01 | Typical drawings have been furnished along with NIT and /or BHEL’s replies to Pre-bid queries raised by bidders, Final drawings shall be furnished during order execution stage. Bidder to note that they shall not be eligible for any additional commercial implications on account of furnishing of new input drawing and /or revised drawings etc by BHEL during order execution stage. |
|  | We envisage that no civil work is in our scope except for hole making in walls etc. and grouting. | Only Petty civil works like making opening in the walls & making it good after erection is included in bidder’s scope |
|  | Cross-sectional drawing of cable tray with length. | Typical drawings have been furnished along with NIT and /or BHEL’s replies to Pre-bid queries raised by bidders, Final drawings shall be furnished during order execution stage. Bidder to note that they shall not be eligible for any additional commercial implications on account of furnishing of new input drawing and /or revised drawings etc by BHEL during order execution stage. |
|  | Spec – Part No. As per your consideration of MSD & ASD for control room office, electrical utility area, but it is not clear to us to provide which detection at below false ceiling / above false ceiling. | Specification requirements to be followed |
|  | Location of Booster Pump House | Booster Pump House shall be located at EL 1083.0 M near the 400 KV Pothead Yard |