## Agnice Queries
BHEL's replies # 7 to prebid queries
S.No | Buildings/Area | Biddr's query | BHEL Reply
Scope of Areas to be Protected as per section 6.2
I. | POWER HOUSE BUILDING INCLUDING AUX BLOCK
2A | MIV Floor | Kindly provide the sectional/Elevational drawing for MIV floor | Typical drawings have been furnished along with NIT and /or BHEL’s replies to Pre-bid queries raised by bidders, Final drawings shall be furnished during order execution stage. Bidder to note that they shall not be eligible for any additional commercial implications on account of furnishing of new input drawing and /or revised drawings etc by BHEL during order execution stage.
2B | Cable Trays at MIV Floor | For sprinkler & digital LHS cable system we have not able to identify the cable tray in power house at El. 1014.00 / 1010.00 M (MIV Floor, A‐D bay ) drawing. Hence kindly provide the cable tray separate plan and sectional drawing along with (length, width, Row, tier) details for better clarity to offer. | Typical drawings have been furnished along with NIT and /or BHEL’s replies to Pre-bid queries raised by bidders, Final drawings shall be furnished during order execution stage. Bidder to note that they shall not be eligible for any additional commercial implications on account of furnishing of new input drawing and /or revised drawings etc by BHEL during order execution stage.
3 | Power House at El. 1017.00 M (Turbine Floor ,A D bay) | -
3 | Turbine Floor | Kindly provide the sectional/Elevational drawing for Turbine floor | Typical drawings have been furnished along with NIT and /or BHEL’s replies to Pre-bid queries raised by bidders, Final drawings shall be furnished during order execution stage. Bidder to note that they shall not be eligible for any additional commercial implications on account of furnishing of new input drawing and /or revised drawings etc by BHEL during order execution stage.
3A | MIV Oil Pumping Units | Kindly provide the MIV oil pumping unit separate plan and sectional drawing along with dimensions for HVWS system. | Typical drawings have been furnished along with NIT and /or BHEL’s replies to Pre-bid queries raised by bidders, Final drawings shall be furnished during order execution stage. Bidder to note that they shall not be eligible for any additional commercial implications on account of furnishing of new input drawing and /or revised drawings etc by BHEL during order execution stage.
3B | Governor Oil Pumping | Kindly provide the Governor Oil Pumping separate plan and sectional drawing along with dimensions for HVWS system. | Typical drawings have been furnished along with NIT and /or BHEL’s replies to Pre-bid queries raised by bidders, Final drawings shall be furnished during order execution stage. Bidder to note that they shall not be eligible for any additional commercial implications on account of furnishing of new input drawing and /or revised drawings etc by BHEL during order execution stage.
3C | Cable Trays | For sprinkler & digital LHS cable system we have not able to identify the cable tray in Power House at El. 1017.00 M (Turbine Floor ,A D bay) drawing. Hence kindly provide the cable tray separate plan and sectional drawing along with (length, width, Row, tier) details for better clarity to offer. | Typical drawings have been furnished along with NIT and /or BHEL’s replies to Pre-bid queries raised by bidders, Final drawings shall be furnished during order execution stage. Bidder to note that they shall not be eligible for any additional commercial implications on account of furnishing of new input drawing and /or revised drawings etc by BHEL during order execution stage.
4 | Power House at El. 1021.50 M (Generator Floor)
4A | Floor Level | Kindly provide the sectional/Elevational drawing fro generator floor | Typical drawings have been furnished along with NIT and /or BHEL’s replies to Pre-bid queries raised by bidders, Final drawings shall be furnished during order execution stage. Bidder to note that they shall not be eligible for any additional commercial implications on account of furnishing of new input drawing and /or revised drawings etc by BHEL during order execution stage.
4B | Cable Trays | For sprinkler & digital LHS cable system we have not able to identify the cable tray in Power House at El. 1021.50 M (Generator Floor) drawing. Hence kindly provide the cable tray separate plan and sectional drawing along with (length, width, Row, tier) details for better clarity to offer. | Typical drawings have been furnished along with NIT and /or BHEL’s replies to Pre-bid queries raised by bidders, Final drawings shall be furnished during order execution stage. Bidder to note that they shall not be eligible for any additional commercial implications on account of furnishing of new input drawing and /or revised drawings etc by BHEL during order execution stage.
4C | Generators | As per technical specification page no:17 of 81 Note: 2.Response Indicator (RI) shall be provided for all the areas to repeat the signals of MSD which are having false ceiling (applicable for areas protected with MSD. Hence scope is not clear for generator, kindly provide the scope of work for generator. | RI shall be provided for all the areas having flase ceining and being protected by MSD. Typical drawings have been furnished along with NIT and /or BHEL’s replies to Pre-bid queries raised by bidders, Final drawings shall be furnished during order execution stage. Bidder to note that they shall not be eligible for any additional commercial implications on account of furnishing of new input drawing and /or revised drawings etc by BHEL during order execution stage.
5 | Power House at El. 1028.40 M (Machine Floor)
5A | Floor Level | Kindly provide the sectional/Elevational drawing with clear wall boundary for Machine floor | Typical drawings have been furnished along with NIT and /or BHEL’s replies to Pre-bid queries raised by bidders, Final drawings shall be furnished during order execution stage. Bidder to note that they shall not be eligible for any additional commercial implications on account of furnishing of new input drawing and /or revised drawings etc by BHEL during order execution stage.
5B | Cable Trays | For sprinkler & digital LHS cable system we have not able to identify the cable tray in Power House at El. 1028.40 M (Machine Floor) drawing. Hence kindly provide the cable tray separate plan and sectional drawing along with (length, width, Row, tier) details for better clarity to offer. | Typical drawings have been furnished along with NIT and /or BHEL’s replies to Pre-bid queries raised by bidders, Final drawings shall be furnished during order execution stage. Bidder to note that they shall not be eligible for any additional commercial implications on account of furnishing of new input drawing and /or revised drawings etc by BHEL during order execution stage.
6 | Power House Aux Block at El. 1012.00 M
6A | Floor Level | Power House Aux Block at El. 1012.00 M separate plan/sectional/elevational drawing is not available in the tender document. Hence please provide the same for landing valve working purpose. | Typical drawings have been furnished along with NIT and /or BHEL’s replies to Pre-bid queries raised by bidders, Final drawings shall be furnished during order execution stage. Bidder to note that they shall not be eligible for any additional commercial implications on account of furnishing of new input drawing and /or revised drawings etc by BHEL during order execution stage.
7 | Power House Aux Block at El. 1017.00 M (Mechanical Services Floor )
7A | Floor Level | Kindly furnish the sectional,Elevational drawings(with false ceiling & false floor details) | Typical drawings have been furnished along with NIT and /or BHEL’s replies to Pre-bid queries raised by bidders, Final drawings shall be furnished during order execution stage. Bidder to note that they shall not be eligible for any additional commercial implications on account of furnishing of new input drawing and /or revised drawings etc by BHEL during order execution stage.
7B | Mechanical Workshop | For sprinkler system mechanical workshop separate plan ,sectional drawings,elevational drawings is not available in the tender document, Hence kindly provide the same. | Typical drawings have been furnished along with NIT and /or BHEL’s replies to Pre-bid queries raised by bidders, Final drawings shall be furnished during order execution stage. Bidder to note that they shall not be eligible for any additional commercial implications on account of furnishing of new input drawing and /or revised drawings etc by BHEL during order execution stage.
7C | Stores | Kindly furnish the sectional,Elevational drawings(with false ceiling & false floor details) | Typical drawings have been furnished along with NIT and /or BHEL’s replies to Pre-bid queries raised by bidders, Final drawings shall be furnished during order execution stage. Bidder to note that they shall not be eligible for any additional commercial implications on account of furnishing of new input drawing and /or revised drawings etc by BHEL during order execution stage.
7D | Air compressor, lubricating oil tank & other equipment | Kindly furnish the sectional,Elevational drawings(with false ceiling & false floor details) | Typical drawings have been furnished along with NIT and /or BHEL’s replies to Pre-bid queries raised by bidders, Final drawings shall be furnished during order execution stage. Bidder to note that they shall not be eligible for any additional commercial implications on account of furnishing of new input drawing and /or revised drawings etc by BHEL during order execution stage.
8 | Power House Aux Block at El. 1021.500 M (Electrical utility floor )
8A | Floor level | Kindly furnish the sectional,Elevational drawings(with false ceiling & false floor details) | Typical drawings have been furnished along with NIT and /or BHEL’s replies to Pre-bid queries raised by bidders, Final drawings shall be furnished during order execution stage. Bidder to note that they shall not be eligible for any additional commercial implications on account of furnishing of new input drawing and /or revised drawings etc by BHEL during order execution stage.
8B | SATs, Station Auxiliary Board & Other equipment/ area | Kindly furnish the sectional,Elevational drawings (with false ceiling & false floor details) | Typical drawings have been furnished along with NIT and /or BHEL’s replies to Pre-bid queries raised by bidders, Final drawings shall be furnished during order execution stage. Bidder to note that they shall not be eligible for any additional commercial implications on account of furnishing of new input drawing and /or revised drawings etc by BHEL during order execution stage.
8C | Office | Kindly furnish the sectional,Elevational drawings(with false ceiling & false floor details) with clear wall boundary details | Typical drawings have been furnished along with NIT and /or BHEL’s replies to Pre-bid queries raised by bidders, Final drawings shall be furnished during order execution stage. Bidder to note that they shall not be eligible for any additional commercial implications on account of furnishing of new input drawing and /or revised drawings etc by BHEL during order execution stage.
9 | Power House Aux Block at El. 1026.00 M (Electrical Service floor )
9A | Floor level | Kindly furnish the sectional,Elevational drawings (with false ceiling & false floor details) | Typical drawings have been furnished along with NIT and /or BHEL’s replies to Pre-bid queries raised by bidders, Final drawings shall be furnished during order execution stage. Bidder to note that they shall not be eligible for any additional commercial implications on account of furnishing of new input drawing and /or revised drawings etc by BHEL during order execution stage.
9B | Electrical W/ S & Lab | Kindly furnish the sectional,Elevational drawings(with false ceiling & false floor details) | Typical drawings have been furnished along with NIT and /or BHEL’s replies to Pre-bid queries raised by bidders, Final drawings shall be furnished during order execution stage. Bidder to note that they shall not be eligible for any additional commercial implications on account of furnishing of new input drawing and /or revised drawings etc by BHEL during order execution stage.
9C | Switchgear Area | Kindly furnish the sectional,Elevational drawings(with false ceiling & false floor details) | Typical drawings have been furnished along with NIT and /or BHEL’s replies to Pre-bid queries raised by bidders, Final drawings shall be furnished during order execution stage. Bidder to note that they shall not be eligible for any additional commercial implications on account of furnishing of new input drawing and /or revised drawings etc by BHEL during order execution stage.
10 | Power House Aux Block at El. 1030.50 M (Control Room )
10A | Floor Level | Power House Aux Block at El. 1030.50 M (Control Room ) separate plan drawing is not available in the tender document. Hence please provide the same for landing valve working purpose. | Typical drawings have been furnished along with NIT and /or BHEL’s replies to Pre-bid queries raised by bidders, Final drawings shall be furnished during order execution stage. Bidder to note that they shall not be eligible for any additional commercial implications on account of furnishing of new input drawing and /or revised drawings etc by BHEL during order execution stage.
10B | Control room, Server Room, Resource Centre Room etc | Kindly furnish the sectional,Elevational drawings(with false ceiling & false floor details) with clear wall boundary details | Typical drawings have been furnished along with NIT and /or BHEL’s replies to Pre-bid queries raised by bidders, Final drawings shall be furnished during order execution stage. Bidder to note that they shall not be eligible for any additional commercial implications on account of furnishing of new input drawing and /or revised drawings etc by BHEL during order execution stage.
11 | Power House Aux Block at El. 1036.00 M (Battery Room & Offices ) | -
11A | Floor Level | Power House Aux Block at El. 1036.00 M (Battery Room & Offices ) separate plan drawing is not available in the tender document. Hence please provide the same for landing valve working purpose. | Typical drawings have been furnished along with NIT and /or BHEL’s replies to Pre-bid queries raised by bidders, Final drawings shall be furnished during order execution stage. Bidder to note that they shall not be eligible for any additional commercial implications on account of furnishing of new input drawing and /or revised drawings etc by BHEL during order execution stage.
11B | Office | Kindly furnish the sectional,Elevational drawings(with false ceiling & false floor details) with clear wall boundary. | Typical drawings have been furnished along with NIT and /or BHEL’s replies to Pre-bid queries raised by bidders, Final drawings shall be furnished during order execution stage. Bidder to note that they shall not be eligible for any additional commercial implications on account of furnishing of new input drawing and /or revised drawings etc by BHEL during order execution stage.
11C | Battery Room & All other areas | Kindly furnish the sectional,Elevational drawings(with false ceiling & false floor details) | Typical drawings have been furnished along with NIT and /or BHEL’s replies to Pre-bid queries raised by bidders, Final drawings shall be furnished during order execution stage. Bidder to note that they shall not be eligible for any additional commercial implications on account of furnishing of new input drawing and /or revised drawings etc by BHEL during order execution stage.
12 | Power House Aux Block at El. 1041.00 M (Areas for HVAC ) | -
12A | Floor Level | Power House Aux Block at El. 1041.00 M (Areas for HVAC ) separate plan drawing is not available in the tender document. Hence please provide the same for landing valve working purpose. | Typical drawings have been furnished along with NIT and /or BHEL’s replies to Pre-bid queries raised by bidders, Final drawings shall be furnished during order execution stage. Bidder to note that they shall not be eligible for any additional commercial implications on account of furnishing of new input drawing and /or revised drawings etc by BHEL during order execution stage.
12B | HVAC & All other areas | Kindly furnish the sectional,Elevational drawings(with false ceiling & false floor details) | Typical drawings have been furnished along with NIT and /or BHEL’s replies to Pre-bid queries raised by bidders, Final drawings shall be furnished during order execution stage. Bidder to note that they shall not be eligible for any additional commercial implications on account of furnishing of new input drawing and /or revised drawings etc by BHEL during order execution stage.
II. | GIS CUM TRANSFORMER CAVERN | -
13 | Transformer Hall ( 1028.40)
13A | Floor Level | The drawing is not available in the tender document.Kindly furnish the same. | Typical drawings have been furnished along with NIT and /or BHEL’s replies to Pre-bid queries raised by bidders, Final drawings shall be furnished during order execution stage. Bidder to note that they shall not be eligible for any additional commercial implications on account of furnishing of new input drawing and /or revised drawings etc by BHEL during order execution stage.
13B | 12 Number of GSU Transformer | For spray system 12 -Number of GSU Transformers separate plan and sectional drawings is not available in the tender document, Hence kindly provide the same or provide the transformer capacity. | Typical drawings have been furnished along with NIT and /or BHEL’s replies to Pre-bid queries raised by bidders, Final drawings shall be furnished during order execution stage. Bidder to note that they shall not be eligible for any additional commercial implications on account of furnishing of new input drawing and /or revised drawings etc by BHEL during order execution stage.
13C | 1Number of Bus Reactor | For spray system 1Number of Bus Reactor separate plan and sectional drawings is not available in the tender document, Hence kindly provide the same. | Typical drawings have been furnished along with NIT and /or BHEL’s replies to Pre-bid queries raised by bidders, Final drawings shall be furnished during order execution stage. Bidder to note that they shall not be eligible for any additional commercial implications on account of furnishing of new input drawing and /or revised drawings etc by BHEL during order execution stage.
14 | GIB Area ( El. 1036.40 M) | -
14A | Floor Level ( Between El 1036.40 & 1040.50) | The drawing is not available in the tender document.Kindly furnish the same(Plan,sectional & elevational). | Typical drawings have been furnished along with NIT and /or BHEL’s replies to Pre-bid queries raised by bidders, Final drawings shall be furnished during order execution stage. Bidder to note that they shall not be eligible for any additional commercial implications on account of furnishing of new input drawing and /or revised drawings etc by BHEL during order execution stage.
14B | Floor Level (Between El 1028.40 & 1040.50) | The drawing is not available in the tender document.Kindly furnish the same(Plan,sectional & elevational). | Typical drawings have been furnished along with NIT and /or BHEL’s replies to Pre-bid queries raised by bidders, Final drawings shall be furnished during order execution stage. Bidder to note that they shall not be eligible for any additional commercial implications on account of furnishing of new input drawing and /or revised drawings etc by BHEL during order execution stage.
15 | GIS Area ( El. 1040.50 M) | -
15A | GIS Area | The drawing is not available in the tender document.Kindly furnish the same(Plan,sectional & elevational). | Typical drawings have been furnished along with NIT and /or BHEL’s replies to Pre-bid queries raised by bidders, Final drawings shall be furnished during order execution stage. Bidder to note that they shall not be eligible for any additional commercial implications on account of furnishing of new input drawing and /or revised drawings etc by BHEL during order execution stage.
16 | BUS DUCT GALLERY | -
16A | 4 Nos of Bus Duct gallery | The drawing is not available in the tender document.Kindly furnish the same(Plan,sectional & elevational). | Typical drawings have been furnished along with NIT and /or BHEL’s replies to Pre-bid queries raised by bidders, Final drawings shall be furnished during order execution stage. Bidder to note that they shall not be eligible for any additional commercial implications on account of furnishing of new input drawing and /or revised drawings etc by BHEL during order execution stage.
17 | CONNECTING CABLE TUNNEL | -
17A | Cable Tunnel | For spray & digital LHS cable system we have not able to identify the cable tunnel in the drawing. Hence kindly provide the cable tunnel separate plan and sectional drawing along with (length, width, Row, tier) details for better clarity to offer. | Typical drawings have been furnished along with NIT and /or BHEL’s replies to Pre-bid queries raised by bidders, Final drawings shall be furnished during order execution stage. Bidder to note that they shall not be eligible for any additional commercial implications on account of furnishing of new input drawing and /or revised drawings etc by BHEL during order execution stage.
18 | Ventilation Tunnel
18A | Main Ventilation Tunnel & Branch Ventilation Tunnel | The drawing is not available in the tender document.Kindly furnish the same(Plan,sectional & elevational drawing). | Typical drawings have been furnished along with NIT and /or BHEL’s replies to Pre-bid queries raised by bidders, Final drawings shall be furnished during order execution stage. Bidder to note that they shall not be eligible for any additional commercial implications on account of furnishing of new input drawing and /or revised drawings etc by BHEL during order execution stage.
18 B | 11 KV Cables (located in the Ventilation Tunnel) between 11 KV Panel at DG Room & 11 KV Panel in Power House | For sprinkler & digital LHS cable system we have not able to identify the cable tray in the power house drawing. Hence kindly provide the cable tray separate plan and sectional drawing along with (length, width, Row, tier) details for better clarity to offer. | Typical drawings have been furnished along with NIT and /or BHEL’s replies to Pre-bid queries raised by bidders, Final drawings shall be furnished during order execution stage. Bidder to note that they shall not be eligible for any additional commercial implications on account of furnishing of new input drawing and /or revised drawings etc by BHEL during order execution stage.
19 | MAIN ACCESS TUNNEL
19A | Main Access Tunnel from Access point to Transformer cavern entrance & Power house entrance | The drawing is not available in the tender document.Kindly furnish the same(Plan,sectional & elevational drawing). | Typical drawings have been furnished along with NIT and /or BHEL’s replies to Pre-bid queries raised by bidders, Final drawings shall be furnished during order execution stage. Bidder to note that they shall not be eligible for any additional commercial implications on account of furnishing of new input drawing and /or revised drawings etc by BHEL during order execution stage.
19B | Main Access Tunnel : Branch tunnel to Pressure Shafts | The drawing is not available in the tender document.Kindly furnish the same(Plan,sectional & elevational drawing). | Typical drawings have been furnished along with NIT and /or BHEL’s replies to Pre-bid queries raised by bidders, Final drawings shall be furnished during order execution stage. Bidder to note that they shall not be eligible for any additional commercial implications on account of furnishing of new input drawing and /or revised drawings etc by BHEL during order execution stage.
20 | Cable Tunnel (Between transformer hall to pothead)
20A | Cable Tunnel | For spray & digital LHS cable system we have not able to identify the cable tunnel in the drawing. Hence kindly provide the cable tunnel separate plan and sectional drawing along with (length, width, Row, tier) details for better clarity to offer. | Typical drawings have been furnished along with NIT and /or BHEL’s replies to Pre-bid queries raised by bidders, Final drawings shall be furnished during order execution stage. Bidder to note that they shall not be eligible for any additional commercial implications on account of furnishing of new input drawing and /or revised drawings etc by BHEL during order execution stage.
21 | POTHEAD YARD AREA
21A | Floor Area | POTHEAD YARD AREA separate plan,elevational,section drawing are not available in the tender document. Hence please provide the same for landing valve working purpose. | Typical drawings have been furnished along with NIT and /or BHEL’s replies to Pre-bid queries raised by bidders, Final drawings shall be furnished during order execution stage. Bidder to note that they shall not be eligible for any additional commercial implications on account of furnishing of new input drawing and /or revised drawings etc by BHEL during order execution stage.
21D | DG Room Area | DG room area separate plan & sectional drawings required for sprinkler system. | Typical drawings have been furnished along with NIT and /or BHEL’s replies to Pre-bid queries raised by bidders, Final drawings shall be furnished during order execution stage. Bidder to note that they shall not be eligible for any additional commercial implications on account of furnishing of new input drawing and /or revised drawings etc by BHEL during order execution stage.
21E | Panel Room | The drawing is not available in the tender document.Kindly furnish the same(Plan,sectional & elevational). | Typical drawings have been furnished along with NIT and /or BHEL’s replies to Pre-bid queries raised by bidders, Final drawings shall be furnished during order execution stage. Bidder to note that they shall not be eligible for any additional commercial implications on account of furnishing of new input drawing and /or revised drawings etc by BHEL during order execution stage.
21F | Bulk Oil Storage Tank | S.NO: 21F. Bulk oil storage tank scope clarity is not clear in the below note. Hence kinly provide the same. | Protection of Bulk oil storage tank is deleted from vendor's scope.
22 | Penstock Buttery Valve | The drawing is not available in the tender document.Kindly furnish the same(Plan,sectional & elevational). | Typical drawings have been furnished along with NIT and /or BHEL’s replies to Pre-bid queries raised by bidders, Final drawings shall be furnished during order execution stage. Bidder to note that they shall not be eligible for any additional commercial implications on account of furnishing of new input drawing and /or revised drawings etc by BHEL during order execution stage.
23 | ICT CUM GIS Building , Ref Drg No : MHP ICT01DD003 02
23A | 145KV GIS Hall (above ICT) | The drawing is not available in the tender document.Kindly furnish the same(Plan,sectional & elevational drawing) with clear wall boundary. | Typical drawings have been furnished along with NIT and /or BHEL’s replies to Pre-bid queries raised by bidders, Final drawings shall be furnished during order execution stage. Bidder to note that they shall not be eligible for any additional commercial implications on account of furnishing of new input drawing and /or revised drawings etc by BHEL during order execution stage.
23 A 1 | ICT Floor | The drawing is not available in the tender document.Kindly furnish the same(Plan,sectional & elevational drawing) with clear wall boundary.. | Typical drawings have been furnished along with NIT and /or BHEL’s replies to Pre-bid queries raised by bidders, Final drawings shall be furnished during order execution stage. Bidder to note that they shall not be eligible for any additional commercial implications on account of furnishing of new input drawing and /or revised drawings etc by BHEL during order execution stage.
23 A 1 | GIB Cellar Floor +9.6 M | For spray & FDA system we have not able to identify the cable cellars in GIB Cellar Floor +9.6 M drawing. Hence kindly provide the cable cellar separate plan and sectional drawing along with (length, width, Row, tier) details for better clarity to offer. | Typical drawings have been furnished along with NIT and /or BHEL’s replies to Pre-bid queries raised by bidders, Final drawings shall be furnished during order execution stage. Bidder to note that they shall not be eligible for any additional commercial implications on account of furnishing of new input drawing and /or revised drawings etc by BHEL during order execution stage.
23 A 2 | CRP Floor | The drawing is not available in the tender document.Kindly furnish the same(Plan,sectional & elevational) with clear wall boundary.. | Typical drawings have been furnished along with NIT and /or BHEL’s replies to Pre-bid queries raised by bidders, Final drawings shall be furnished during order execution stage. Bidder to note that they shall not be eligible for any additional commercial implications on account of furnishing of new input drawing and /or revised drawings etc by BHEL during order execution stage.
23B | 132 KV Pothead Yard | The drawing is not available in the tender document.Kindly furnish the same(Plan,sectional & elevational drawing) with clear wall boundary.. | Typical drawings have been furnished along with NIT and /or BHEL’s replies to Pre-bid queries raised by bidders, Final drawings shall be furnished during order execution stage. Bidder to note that they shall not be eligible for any additional commercial implications on account of furnishing of new input drawing and /or revised drawings etc by BHEL during order execution stage.
24 | Valve house ( Note 9) | -
25 | Booster Pump House | The drawing is not available in the tender document.Kindly furnish the same(Plan,sectional & elevational drawings) with clear wall boundary.. | Design & finalization of Booster Pump house drawing is included in bidder's scope.
Sl.No | Reference Document | Agnice Queries | BHEL Reply
1 | PY 51263 | We understood that,our scope of areas & systems to be provided are as per the section-6.2.Kindly confirm. | Bidder's scope shall be as per NIT requirements including any Pre-Post Correpondence.
2 | PY 51263 | Please provide the distance between Valve house & SCADA located room to design the cable requirement. | Bidder to refer NIT requirements before raising pre-bid query. This pariticular cable is not included in bidder's scope , as clearly mentioned in BHEL's spec
3 | PY 51263 | We propose that Digital type(Nylon braided) LHS cable is considered for cable trays.Kindly confirm. | Bidder's proposal is not acceptable. NIT requirements to be followed.
4 | PY 51263 | Please provide the technical specification/range of the siren. | Bidder to note that the minimum requirements of the items shall be as per BHEL's specification requirements. The other technical details of FPS items shall be reviewed during detailed engineering stage.
5 | PY 51263 | Please provide the required temperature range for fireman suits. | Bidder to note that the minimum requirements of the items shall be as per BHEL's specification requirements. The other technical details of FPS items shall be reviewed during detailed engineering stage.
6 | PY 51263 | Kindly furnish the total quantity of tripping equipments. | Minimum 10 numbers of Potential free contact shall be provided by the bidder. However the final number of he Potential free contact shall be reviewed during detailed engineering stage , without any commercial implication to the purchaser.
7 | PY 51263 | We understood that redundancy is applicable for Processer only.But however the mentioned list of makes(Edwards,Notifier,siemens) are not dealing with redundant processor.Kindly clarify.. | Bidder to note that the minimum redundancy requirements shall be as per BHEL's specification requirements
8 | PY 51263 | The schematic diagram is not available in the tender document.Kindly furnish the same. | Engineering of FPS system including preperation of Schematic diagram is included in bidder's scope.
9 | General | Plot plan drawing is not available in the tender document for subject project.Hence please provide the plot plan drawing along with legend & grid details. | Typical drawings have been furnished along with NIT and /or BHEL’s replies to Pre-bid queries raised by bidders, Final drawings shall be furnished during order execution stage. Bidder to note that they shall not be eligible for any additional commercial implications on account of furnishing of new input drawing and /or revised drawings etc by BHEL during order execution stage.
10 | General | Kindly provide the material technical data sheet for best offer preparation. | All equipment shall be designed considering the NIT requirements, good engineering practices and National / International code, subject to approval of BHEL during order execution stage.