## Price Bid
Price Bid | Erection, Testing, Commissioning, Trial Operation & Handing Over Steam Turbine – Generator – Condenser with all auxiliaries, Pumps (including CW, ACW, Raw water, Misc.), Dosing Systems (LP, Oxygen, NAOH etc.), Lube Oil Purification System, Condenser on Line Tube Cleaning System, Plate Heat Exchangers, TG Integral Piping, DG Set and Misc equipment etc., Fire Detection & Protection System of associated TG Oil Canal & MOT room, O&M of TG-EOT including Handling of materials at BHEL / Client's Stores / Storage Yard and transportation to site, preparation of foundation, NDT, fixing of hangers & supports, application of lining, Insulation, supply & painting, Stenciling & Labelling of Unit-1 & 2 at 2x800 MW NTPC SINGRAULI STPP STAGE-III
SECTION - I OF PACKAGE - A & B
Part B : Format to quote Total Amount
Total Amount for the entire Bill of Quantities(BOQ) given below for Section I of Package-A and B both:-
20
PACKAGE | DESCRIPTION OF PACKAGES / ITEM OF WORK - SECTION -I |  | Percentage weightage | TOTAL PRICE IN FIGURES (RS)
A | E,T,C of STG & Auxiliaries along with all associated equipment, All Misc. pumps (incl. CW, ACW, Raw water), piping, TG integral piping, DG Set, O&M of TG-EOT, Misc. equipment and FDPS of TG Oil Canal & MOT room of U#1 |  | 50.39% | 0
B | E,T,C of STG & Auxiliaries along with all associated equipment, All Misc. pumps (incl. CW, ACW, Raw water), piping, TG integral piping, DG Sets, O&M of TG-EOT, Misc. equipment and FDPS of TG Oil Canal & MOT room of U#2 |  | 49.61% | 0
| Total Combined Bid Value of Section-I of Pkg-A & Pkg-B |  | 100% | 0
PACKAGE | DESCRIPTION OF PACKAGES / ITEM OF WORK - SECTION -II |  |  | TOTAL PRICE IN FIGURES (RS)
A | Deployment of Requisit Manpower for U#1 |  | Fixed Value | 3349499.74
B | Deployment of Requisit Manpower for U#2 |  | Fixed Value | 3349499.74
| Total Fixed Value of Section-II of Pkg-A & Pkg-B |  |  | 6699000
| Total Combined Contract Value of Pkg-A & Pkg-B |  |  | 6699000

## Price Bid#1
Price Bid | Erection, Testing, Commissioning, Trial Operation & Handing Over Steam Turbine – Generator – Condenser with all auxiliaries, Pumps (including CW, ACW, Raw water, Misc.), Dosing Systems (LP, Oxygen, NAOH etc.), Lube Oil Purification System, Condenser on Line Tube Cleaning System, Plate Heat Exchangers, TG Integral Piping, DG Set and Misc equipment etc., Fire Detection & Protection System of associated TG Oil Canal & MOT room, O&M of TG-EOT including Handling of materials at BHEL / Client's Stores / Storage Yard and transportation to site, preparation of foundation, NDT, fixing of hangers & supports, application of lining, Insulation, supply & painting, Stenciling & Labelling of Unit-1 at 2x800 MW NTPC Singrauli STPP STAGE-III
PACKAGE- A
Part B : Format to quote Total Amount
| Amount for the entire Bill of Quantities(BOQ) given below for Section I |  |  |  |  | 0
20
SECTION | DESCRIPTION OF PACKAGES / ITEM OF WORK |  |  |  | TOTAL PRICE IN FIGURES (RS)
I | E,T,C of STG & Auxiliaries along with all associated equipment, All Misc. pumps (incl. CW, ACW, Raw water), piping, TG integral piping, DG Set, O&M of TG-EOT, Misc. equipment and FDPS of TG Oil Canal & MOT room of U#1 |  |  |  | 0
II | Execution/Mobilisation of special resources (PVC and ORC Shall Not be applicable on Section-II) |  |  |  | 3349499.74
| Total Combined Contract Value |  |  |  | 3349499.74
Note : Bidders to quote Amount for Section-I for Pkg-A only in this format given above, which shall be taken into account for evaluation and awarding and hence, shall be complete in all respect for the full scope defined in specification and in accordance with all terms & conditions of tender.
SN | SECTION-I |  | QTY | UOM | AMOUNT (Rs.)
1 | E,T,C of STG & Auxiliaries along with all associated equipment, All Misc. pumps (incl. CW, ACW, Raw water), piping, TG integral piping, DG Set, O&M of TG-EOT, Misc. equipment and FDPS of TG Oil Canal & MOT room of U#1 |  | 1 | LS | 0
E&C of STG & Auxiliaries | [5 empty] | 0
Section-II
| Deployment of Requisit Manpower as mentioned below at site, within 15 days, as and when intimated by BHEL. This deployment shall be over and above the requirement as per Contractual clause. The deployed manpower shall report to BHEL and may be deployed at any location. BHEL shall make payment on pro rata monthly basis on actual deployment (considering 26 working days in a month). In case the contractor does not deploy or delays deployment of above said manpower with reference to specific instructions from BHEL, BHEL will levy penalty of Rs. 100 per service day, for such delay | [5 empty] | 0
1 | Engineer / Supervisor |  | Manmonth | 38 | FIXED RATE | 50000 | 1900000
2 | Computer operator (Skilled) |  | Manmonth | 19 |  | 28631.46 | 543997.74
3 | Service Staff (Semi Skilled) |  | Manmonth | 38 |  | 23829 | 905502
| Execution/Mobilisation of special resources (PVC & ORC Shall Not be applicable on Section-II) | [5 empty] | 3349499.74
Grand Total Amount (In Figures) Rounded off | [5 empty] | 3349500
Grand Total Amount (In Words)

## Price Bid#2
Price Bid | Erection, Testing, Commissioning, Trial Operation & Handing Over Steam Turbine – Generator – Condenser with all auxiliaries, Pumps (including CW, ACW, Raw water, Misc.), Dosing Systems (LP, Oxygen, NAOH etc.), Lube Oil Purification System, Condenser on Line Tube Cleaning System, Plate Heat Exchangers, TG Integral Piping, DG Sets and Misc equipment etc.,Fire Detection & Protection System of associated TG Oil Canal & MOT room, O&M of TG-EOT including Handling of materials at BHEL / Client's Stores / Storage Yard and transportation to site, preparation of foundation, NDT, fixing of hangers & supports, application of lining, Insulation, supply & painting, Stenciling & Labelling of Unit-2 at 2x800 MW NTPC Singrauli STPP STAGE-III
PACKAGE- B
Part B : Format to quote Total Amount
| Total Amount for the entire Bill of Quantities(BOQ) given below for Section I |  |  |  | 0
20
SECTION | DESCRIPTION OF PACKAGES / ITEM OF WORK |  |  |  | TOTAL PRICE IN FIGURES (RS)
I | E,T,C of STG & Auxiliaries along with all associated equipment, All Misc. pumps (incl. CW, ACW, Raw water), piping, TG integral piping, DG Sets, O&M of TG-EOT, Misc. equipment and FDPS of TG Oil Canal & MOT room of U#2 |  |  |  | 0
II | Execution/Mobilisation of special resources (PVC and ORC Shall Not be applicable on Section-II) |  |  |  | 3349499.74
| Total Combined Contract Value |  |  |  |  | 0
SN | SECTION-I |  | QTY | UOM | AMOUNT (Rs.)
1 | E,T,C of STG & Auxiliaries along with all associated equipment, All Misc. pumps (incl. CW, ACW, Raw water), piping, TG integral piping, DG Sets, O&M of TG-EOT, Misc. equipment and FDPS of TG Oil Canal & MOT room of U#2 |  | 1 | LS | 0
E&C of STG & Auxiliaries |  |  |  |  | 0
Section-II
Deployment of Requisit Manpower as mentioned below at site, within 15 days, as and when intimated by BHEL. This deployment shall be over and above the requirement as per Contractual clause. The deployed manpower shall report to BHEL and may be deployed at any location. BHEL shall make payment on pro rata monthly basis on actual deployment (considering 26 working days in a month). In case the contractor does not deploy or delays deployment of above said manpower with reference to specific instructions from BHEL, BHEL will levy penalty of Rs. 100 per service day, for such delay
1 | Engineer / Supervisor |  | Manmonth | 38 | 50000 | 1900000
2 | Computer operator (Skilled) |  | Manmonth | 19 | 28631.46 | 543997.74
3 | Service Staff (Semi Skilled) |  | Manmonth | 38 | 23829 | 905502
| Execution/Mobilisation of special resources (PVC & ORC Shall Not be applicable on Section-II) |  |  |  |  | 3349499.74
Grand Total Amount (In Figures) Rounded off |  |  |  |  | 3349500
Grand Total Amount (In Words)