ANNEXURE-I

### Scope and Technical Specification of NW Components (Passives)

| ###### SCOPE OF SUPPLY |  | Bidder’s Compliance Yes / No | Bidder’s Remarks |
| --- | --- | --- | --- |
| 1 | - All components shall be supplied as per the specification and the offer shall be for total quantity of all Items. - Deviations from the specifications will result in rejection of the entire offer. - The offer shall be evaluated based on the total value for the tender through 'Reverse Auction'. |  |  |

| ###### Bidder's Qualification Criteria |  | Bidder’s Compliance Yes / No | Bidder’s Remarks |
| --- | --- | --- | --- |
| 2 | Bidder should have a minimum cumulative turnover of 10 Crores for the last three years. Financial Statements for the last three years (2008-09, 2009-10, 2010-11) shall be submitted. Bidder must have executed one (single) order of value 10 Lakhs for Supply and / or Installation of Network Components. |  |  |
| 3 | Bidder shall satisfy statutory requirement like Registration, PAN, VAT Registration, GST Registration as applicable. |  |  |
| 4 | OEM Certificate shall be produced for the materials supplied. |  |  |

| ###### Technical Specification |  |  |  | Bidder’s Compliance Yes / No |
| --- | --- | --- | --- | --- |
| Item No | Material Code | Item Description | Details / Make / Standard |  |
| 00001 | HY7801010531 | UTP CAT-6 Cable (Box of 305M) | Make: D-Link / Digilink / Molex / Ponduit / Systimax / Tyco |  |
| 00002 | HY7801010540 | RJ45 CAT-6 IO with Backbox & Face Plate | Make: D-Link / Digilink / Molex / Ponduit / Systimax / Tyco |  |
| 00003 | HY7801010558 | 24-Port RJ45 CAT-6 Patch Panel | 19" Rack Mount Make: D-Link / Digilink / Molex / Ponduit / Systimax / Tyco |  |
| 00004 | HY7801010566 | SC Pigtail - Single-Mode - 1M (Simplex) | Make: D-Link / Digilink / Molex / Ponduit / Systimax / Tyco |  |
| 00005 | HY7801010574 | SC Pigtail - Multi-Mode - 1 M (Simplex) | Make: D-Link / Digilink / Molex / Ponduit / Systimax / Tyco |  |

| 00006 | HY7801010590 | MM 6-Core Indoor OFC | Indoor Optical Fibre Cable of 6-Core Multi-Mode One Length / Piece Make: D-Link / Digilink / Molex / Ponduit / Systimax / Tyco / RPG / Finolex / Sterlite |  |
| --- | --- | --- | --- | --- |
| 00007 | HY7801010604 | SM 12-Core Outdoor Armoured OFC | Armoured Outdoor Optical Fibre Cable of 12-Core Single-Mode One Length / Piece Make: D-Link / Digilink / Molex / Ponduit / Systimax / Tyco / RPG / Finolex / Sterlite |  |
| 00008 | HY7801010671 | 12- Port Fiber Patch Panel (LIU) | Details: 19" Rack Mountable - Sliding LIU - with 2 Nos of 1X3 SC Adopter Panels (Duplex) Make: D-Link / Digilink / Molex / Ponduit / Systimax / Tyco |  |
| 00009 | HY7801010620 | 17U APW President Rack + Accessories | Details: 17U Rack with standard accessories: Fan Tray with Cooling Fans, Power Extension Cords, Cable Manager with Bolts & Nuts, Glass Front door, Back door, Castors, etc. Make: President |  |
| 00010 | HY7801010639 | 1" PVC Wiring Duct | Channel + Cap Size: Width 25mm (Min) Height 15 mm (Min) Min Length 2 M Make: ISI Certified |  |
| 00011 | HY7801010647 | 2" PVC Wiring Duct | Channel + Cap Size: Width 60mm(Min) Height 25 mm (Min) Min Length 2 M Make: ISI Certified |  |
| 00012 | HY7801010655 | 1'' PVC Pipe | Size: OD 25 mm Thickness 1.5 mm (Min) Coils of Length 3 M Make: ISI Certified |  |
| 00013 | HY7801010663 | 2'' HDPE Pipe | Size: OD 50 mm Thickness 2.5 mm (Min) Coils of Length 100 M Make: ISI Certified |  |

OEM Certificate shall be produced for the materials supplied.

Revised content in BOLD