## MAIN PRICE FORMAT
4 X 270 MW BHADRADRI (MANUGURU) TPS
SCHEDULE OF PRICES
PRICE FORMAT-FOREIGN BIDDER
[6 empty] | IMPORTED ITEMS ( Supply not from Indian Territory) | [6 empty] | INDIGENEOUS ITEMS (Supply from Indian Territory)
A | CONTROL VALVES COMPLETE WITH PNEUMATIC ACTUATOR AND ALL ACCESSORIES MOUNTED , PIPED AND TERMINATED ON JB |  |  |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7=2+3+5+6 | 8 | 9 | 10 | 11 | 12 | 13 | 14=9+10+11+12+13 | 15=14+7
S.No | TAG No | ITEM DESCRIPTION | QTY/UNIT | QUANTITY for 4 Units | UNIT | UNIT F.O.B. Price (including seaworthy packing; handling and transportation to Vendor's own port.) (Currency) | TOTAL F.O.B. Price (including seaworthy packing; handling and transportation to Vendor's own port.) (Currency) | Ocean Freight (Currency) | Ocean / Marine Insurance | Custom Duty after availing CENVAT benefit if applicable (INR) | Inland FREIGHT CHARGES (INCLUDING SERVICE TAX) (INR) | F.O.R. site Imported Items supply price (Currency + INR) | UNIT EX-WORKS PRICE (INR) | TOTAL EX- WORKS PRICE (INR) | ED including cess @...% (for self manufactured items only) (INR) | CST @ …..% Against C-form & E1/E2 or VAT @.....% Whichever is applicable (INR) | Service tax@ …….% | FREIGHT CHARGES INCLUDING SERVICE TAX) @_________% OF TOTAL EX-WORKS (INR) | TOTAL F.O.R SITE PRICE (INR) | Total FOR Site IMPORTED + INDIGENOUS SUPPLY (Currency+INR)
1 | AS-2 | DEAERATOR PEGGING FROM AS HEADER | 1 | 4 | No |  |  |  | BY BHEL
2 | CD-14 | DEAERATOR LEVEL CONTROL | 1 | 4 | No
3 | CD-21 | EXCESS RETURN TO CST | 1 | 4 | No
4 | CD-25 | CEP MINIMUM RECIRCULATION | 1 | 4 | No
5 | CD-76 | CONDENSATE FOR VALVE GLAND SEALING | 1 | 4 | No
6 | CRH-2 | DEAERATOR PEGGING FROM CRH | 1 | 4 | No
7 | DR-2 | HPH-6 NORMAL DRAIN TO HPH-5 | 1 | 4 | No
8 | DR-9 | HPH-6 ALT DRAIN TO HP FLASH TANK | 1 | 4 | No
9 | DR-13 | HPH-5 DRAIN TO DEAERATOR | 1 | 4 | No
10 | DR-16 | HPH-5 ALT DRAIN TO HP FLASH TANK | 1 | 4 | No
11 | DR-19 | LPH-3 NORMAL DRAIN TO LPH-2 | 1 | 4 | No
12 | DR-22 | LPH-3 ALT DRAIN TO LP FLASH TANK | 1 | 4 | No
13 | DR-25 | LPH-2 NORMAL DRAIN TO LPH-1 | 1 | 4 | No
14 | DR-28 | LPH-2 ALT DRAIN TO LP FLASH TANK | 1 | 4 | No
15 | DR-38 | DEAERATOR OVERFLOW TO LP F/TANK | 1 | 4 | No
16 | FD-14 | FEED CONTROL VALVE(100% CAPACITY) | 1 | 4 | No
17 | FD-17 | FEED CONTROL VALVE(100% CAPACITY) | 1 | 4 | No
18 | FD-20 | FEED CONTROL VALVE (30% CAPACITY) | 1 | 4 | No
19 | DM-15 | EMERGENCY MAKE-UP TO CONDENSER | 1 | 4 | No
20 | DM-20 | NORMAL MU TO CONDENSER | 1 | 4 | No
B | 15 Meters of 10mm OD x 1.5mm thick Cu. Tubing (for each CV) (To be supplied Loose) |  | 300 | 1200 | Meters
C | FITTINGS for each CV: (To be supplied Loose)
(i) | BRASS FITTING-Double Compression Type for Connection to 2 nos. Air Filter Regulators |  | 1 | 4 | Lot
(ii) | BRASS FITTING- Double Compression Type for Connection to Solenoid Valve |  | 1 | 4 | Lot
(iii) | BRASS FITTING- Double Compression Type for Connection to IA Header isolation Valve |  | 1 | 4 | Lot
(iv) | Brass TEE |  | 1 | 4 | Lot
(v) | SS CONNECTOR FOR CONNECTION BETWEEN TUBING & IA HDR ISOLATION VALVE PER CV |  | 1 | 4 | Lot
D | MANDATORY SPARES (Refer annexure-I) |  | 1 | 1 | Lot
E | START-UP/COMMISSIONING SPARES (Refer annexure-II) |  | 1 | 4 | Lot
F | Total CV Test Charge (Refer annexure-III) |  | 1 | 1 | Lot
G | DIAGNOSTIC SOFTWARE |  | 1 | 4 | Lot
H | UNIVERSAL HAND HELD CALIBRATOR |  | 1 | 4 | No
I | INDUSTRIAL PC |  | 1 | 4 | No
J | DOCUMENTATION CHARGES FOR THE FINAL DOCUMENTS & SOFT COPIES |  | 1 | 4 | Lot
TOTAL (A+B+C+D+E+F+G+H+I+J)

## Mandatory Spares Annexure-I
4 X 270 MW BHADRADRI (MANUGURU) TPS
SCHEDULE OF PRICES
PRICE FORMAT-FOREIGN BIDDERS
|  |  | IMPORTED ITEMS ( Supply not from Indian Territory) | [6 empty] | INDIGENEOUS ITEMS (Supply from Indian Territory)
D | MANDATORY SPARES FOR CONTROL VALVES |  | 1 | 2 | 3 | 4 | 5 | 6 | 7=2+3+5+6 | 8 | 9 | 10 | 11 | 12 | 13=9+10+11+12 | 14=13+7
S.No | ITEM DESCRIPTION | QUANTITY | UNIT F.O.B. Price (including seaworthy packing; handling and transportation to Vendor's own port.) (Currency) | TOTAL F.O.B. Price (including seaworthy packing; handling and transportation to Vendor's own port.) (Currency) | Ocean Freight (Currency) | Ocean / Marine Insurance | Custom Duty after availing CENVAT benefit if applicable (INR) | Inland FREIGHT CHARGES (INCLUDING SERVICE TAX) (INR) | F.O.R. site Imported Items supply price (Currency + INR) | UNIT EX-WORKS PRICE (INR) | TOTAL EX- WORKS PRICE (INR) | ED including cess @...% (for self manufactured items only) (INR) | CST @ …..% Against C-form & E1/E2 or VAT @.....% Whichever is applicable (INR) | FREIGHT CHARGES INCLUDING SERVICE TAX) @_________% OF TOTAL EX-WORKS (INR) | TOTAL F.O.R SITE PRICE (INR) | Total FOR Site IMPORTED + INDIGENOUS SUPPLY (Currency+INR)
1 | DIAPHRAGM | 2 NOS. OF EACH TYPE OF ACTUATOR |  |  |  | BY BHEL
2 | GLAND PACKING | 1 SET FOR EACH TYPE OF VALVE
3 | TRIM | 1 SET FOR EACH TYPE OF VALVE
4 | GASKET | 2 SET FOR EACH TYPE OF VALVE
5 | POSITION TRANSMITTER COMPLETE SET | 10 % of total quantity used in the system for each type & model
6 | Complete set of solenoid valve for on/off valve | 5 nos.for each type & ratings
7 | Position limit switch | 5 nos.for each type & ratings
TOTAL
NOTES : Wherever % is indicated, the quantity shall be calculated for % of supply for total quantity of 4 units of 4x270MW, unless otherwise specified. The quantity to be reckoned for % indicated shall be rounded off to the next higher whole number. For example if the % of total quantity arrived is 0.2, the quantity to be supplied shall be 1 and if the % of total quantity is 5.1, the quantity to be supplied shall be 6. The exact quantity shall be calculated and finalized during detail engineering after award of contract. Bidder to comply with the quantities without any price/delivery implication to BHEL/End User. If the Bidder is offering Pneumatic Power Cylinder for the valve then instead of Actuator Diaphragm bidder to offer Pneumatic Power Cylinder with O-rings & Seal Kit as mandatory spare.
ANNEXURE-II

## C Spares Annexure-II
4 X 270 MW BHADRADRI (MANUGURU) TPS
SCHEDULE OF PRICES
PRICE FORMAT-FOREIGN BIDDERS
|  |  |  | IMPORTED ITEMS ( Supply not from Indian Territory) | [6 empty] | INDIGENEOUS ITEMS (Supply from Indian Territory)
E | COMMISIONINIG SPARES FOR CONTROL VALVES |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7=2+3+5+6 | 8 | 9 | 10 | 11 | 12 | 13=9+10+11+12 | 14=13+7
S.No | TAG No | ITEM DESCRIPTION | QUANTITY | UNIT F.O.B. Price (including seaworthy packing; handling and transportation to Vendor's own port.) (Currency) | TOTAL F.O.B. Price (including seaworthy packing; handling and transportation to Vendor's own port.) (Currency) | Ocean Freight (Currency) | Ocean / Marine Insurance | Custom Duty after availing CENVAT benefit if applicable (INR) | Inland FREIGHT CHARGES (INCLUDING SERVICE TAX) (INR) | F.O.R. site Imported Items supply price (Currency + INR) | UNIT EX-WORKS PRICE (INR) | TOTAL EX- WORKS PRICE (INR) | ED including cess @...% (for self manufactured items only) (INR) | CST @ …..% Against C-form & E1/E2 or VAT @.....% Whichever is applicable (INR) | FREIGHT CHARGES INCLUDING SERVICE TAX) @_________% OF TOTAL EX-WORKS (INR) | TOTAL F.O.R SITE PRICE (INR) | Total FOR Site IMPORTED + INDIGENOUS SUPPLY (Currency+INR)
E1 | Gaskets
1 | AS-2 | DEAERATOR PEGGING FROM AS HEADER | One (1) set with each control valve Tag |  |  |  | BY BHEL
2 | CD-14 | DEAERATOR LEVEL CONTROL | One (1) set with each control valve Tag
3 | CD-21 | EXCESS RETURN TO CST | One (1) set with each control valve Tag
4 | CD-25 | CEP MINIMUM RECIRCULATION | One (1) set with each control valve Tag
5 | CD-76 | CONDENSATE FOR VALVE GLAND SEALING | One (1) set with each control valve Tag
6 | CRH-2 | DEAERATOR PEGGING FROM CRH | One (1) set with each control valve Tag
7 | DR-2 | HPH-6 NORMAL DRAIN TO HPH-5 | One (1) set with each control valve Tag
8 | DR-9 | HPH-6 ALT DRAIN TO HP FLASH TANK | One (1) set with each control valve Tag
9 | DR-13 | HPH-5 DRAIN TO DEAERATOR | One (1) set with each control valve Tag
10 | DR-16 | HPH-5 ALT DRAIN TO HP FLASH TANK | One (1) set with each control valve Tag
11 | DR-19 | LPH-3 NORMAL DRAIN TO LPH-2 | One (1) set with each control valve Tag
12 | DR-22 | LPH-3 ALT DRAIN TO LP FLASH TANK | One (1) set with each control valve Tag
13 | DR-25 | LPH-2 NORMAL DRAIN TO LPH-1 | One (1) set with each control valve Tag
14 | DR-28 | LPH-2 ALT DRAIN TO LP FLASH TANK | One (1) set with each control valve Tag
15 | DR-38 | DEAERATOR OVERFLOW TO LP F/TANK | One (1) set with each control valve Tag
16 | FD-14 | FEED CONTROL VALVE(100% CAPACITY) | One (1) set with each control valve Tag
17 | FD-17 | FEED CONTROL VALVE(100% CAPACITY) | One (1) set with each control valve Tag
18 | FD-20 | FEED CONTROL VALVE (30% CAPACITY) | One (1) set with each control valve Tag
19 | DM-15 | EMERGENCY MAKE-UP TO CONDENSER | One (1) set with each control valve Tag
20 | DM-20 | NORMAL MU TO CONDENSER | One (1) set with each control valve Tag
E2 | Gland Packing
1 | AS-2 | DEAERATOR PEGGING FROM AS HEADER | One (1) set with each control valve Tag
2 | CD-14 | DEAERATOR LEVEL CONTROL | One (1) set with each control valve Tag
3 | CD-21 | EXCESS RETURN TO CST | One (1) set with each control valve Tag
4 | CD-25 | CEP MINIMUM RECIRCULATION | One (1) set with each control valve Tag
5 | CD-76 | CONDENSATE FOR VALVE GLAND SEALING | One (1) set with each control valve Tag
6 | CRH-2 | DEAERATOR PEGGING FROM CRH | One (1) set with each control valve Tag
7 | DR-2 | HPH-6 NORMAL DRAIN TO HPH-5 | One (1) set with each control valve Tag
8 | DR-9 | HPH-6 ALT DRAIN TO HP FLASH TANK | One (1) set with each control valve Tag
9 | DR-13 | HPH-5 DRAIN TO DEAERATOR | One (1) set with each control valve Tag
10 | DR-16 | HPH-5 ALT DRAIN TO HP FLASH TANK | One (1) set with each control valve Tag
11 | DR-19 | LPH-3 NORMAL DRAIN TO LPH-2 | One (1) set with each control valve Tag
12 | DR-22 | LPH-3 ALT DRAIN TO LP FLASH TANK | One (1) set with each control valve Tag
13 | DR-25 | LPH-2 NORMAL DRAIN TO LPH-1 | One (1) set with each control valve Tag
14 | DR-28 | LPH-2 ALT DRAIN TO LP FLASH TANK | One (1) set with each control valve Tag
15 | DR-38 | DEAERATOR OVERFLOW TO LP F/TANK | One (1) set with each control valve Tag
16 | FD-14 | FEED CONTROL VALVE(100% CAPACITY) | One (1) set with each control valve Tag
17 | FD-17 | FEED CONTROL VALVE(100% CAPACITY) | One (1) set with each control valve Tag
18 | FD-20 | FEED CONTROL VALVE (30% CAPACITY) | One (1) set with each control valve Tag
19 | DM-15 | EMERGENCY MAKE-UP TO CONDENSER | One (1) set with each control valve Tag
20 | DM-20 | NORMAL MU TO CONDENSER | One (1) set with each control valve Tag
TOTAL (E1 + E2)
NOTES
1 | The quantities for FOUR units shall be four the quantities for one unit.
2 | The Actual Quantity shall be worked out during detailed Engineering
ANNEXURE-II

## CV Test Annexure-III
4 X 270 MW BHADRADRI (MANUGURU) TPS
SCHEDULE OF PRICES
PRICE FORMAT-FOREIGN BIDDERS
ANNEXURE-III
F | CV TEST CHARGES |  |  |  | 1 | 2
S.No | TAG No | ITEM DESCRIPTION | QTY/UNIT | UNIT | UNIT F.O.B. Price (Currency) | TOTAL F.O.B. Price (Currency)
1 | AS-2 | DEAERATOR PEGGING FROM AS HEADER | 1 | No
2 | CD-14 | DEAERATOR LEVEL CONTROL | 1 | No
3 | CD-21 | EXCESS RETURN TO CST | 1 | No
4 | CD-25 | CEP MINIMUM RECIRCULATION | 1 | No
5 | CD-76 | CONDENSATE FOR VALVE GLAND SEALING | 1 | No
6 | CRH-2 | DEAERATOR PEGGING FROM CRH | 1 | No
7 | DR-2 | HPH-6 NORMAL DRAIN TO HPH-5 | 1 | No
8 | DR-9 | HPH-6 ALT DRAIN TO HP FLASH TANK | 1 | No
9 | DR-13 | HPH-5 DRAIN TO DEAERATOR | 1 | No
10 | DR-16 | HPH-5 ALT DRAIN TO HP FLASH TANK | 1 | No
11 | DR-19 | LPH-3 NORMAL DRAIN TO LPH-2 | 1 | No
12 | DR-22 | LPH-3 ALT DRAIN TO LP FLASH TANK | 1 | No
13 | DR-25 | LPH-2 NORMAL DRAIN TO LPH-1 | 1 | No
14 | DR-28 | LPH-2 ALT DRAIN TO LP FLASH TANK | 1 | No
15 | DR-38 | DEAERATOR OVERFLOW TO LP F/TANK | 1 | No
16 | FD-14 / FD-17 | FEED CONTROL VALVE(100% CAPACITY) | 1 | No
17 | FD-20 | FEED CONTROL VALVE (30% CAPACITY) | 1 | No
18 | DM-15 | EMERGENCY MAKE-UP TO CONDENSER | 1 | No
19 | DM-20 | NORMAL MU TO CONDENSER | 1 | No
Note-
1. CV TEST TO BE CONDUCTED FOR ONE PER TYPE PER SIZE, CV VALUE. TAG NOS. TO BE GROUPED ACCORDINGLY AND INDICATED. 2. TOTAL FOB PRICE SHOULD BE INCLUSIVE OF SERVICE TAX, IF ANY

## CONTROL VALVE ACCESSORIES
4 X 270 MW BHADRADRI (MANUGURU) TPS
SCHEDULE OF PRICES
PRICE FORMAT-FOREIGN BIDDERS
S.No | ITEM DESCRIPTION | UNIT F.O.B. Price (Currency)
CONTROL VALVE ACCESSORIES
1 | SMART POSITIONER (EACH TYPE)
2 | VALVE TRIM OF EACH TYPE (Separate list to be attached if required)
3 | DIAPHRAGMS,O-RINGS,SEALS ETC OF ALL TYPE,MAKE ETC
4 | AIR FILTER REGULATORS
5 | AIR LOCK RELAY
6 | POSITION LIMIT SWITCH
7 | VOLUME BOOSTER
8 | SOLENOID VALVE
9 | E/P CONVERTER
10 | PRESSURE GAUGES OF EACH TYPE
11 | JUNCTION BOX (36 WAYS)
12 | HANDWHEEL
13 | ACTUATOR OF EACH TYPE (Separate list to be attached if required)
14 | BRASS FITTING FOR CONNECTION TO AIR FILTER REGULATOR
15 | BRASS FITTING FOR CONNECTION TO SOLENOID VALVE
16 | BRASS FITTINGS FOR CONNECTING TO AIR HEADER
17 | EQUAL BRASS TEE
18 | SS TUBING PER METRE
19 | SS CONNECTOR ½ INCH TO ¼ INCH
20 | DIAGNOSTIC SOFTWARE
21 | UNIVERSAL HAND HELD CALIBRATOR
22 | DTM (DEVISE TYPE MANAGER) / DTD (DEVICE TYPE DESCRIPTION) FILES FOR ENGINEERING.