Technical specifications: 8 Channel microplate washer

- 8 channel microplate washer.

- Integrated vaccum pump.

- More than 60 programmable wash protocols.

- Strip or plate wash mode.

- Electric supply- 220-240 volts, 50 htz.

- Wash volume range- 50 microliter to more than 1000 microlitre per well.