Technical specifications: Microplate absorbance reader

- 96 well microplate reader.

- Wave lenth- 400- 750 nm.

- single and dual wavelength measurement..

- Three speed plate shaking.

- Connectivity to  PC .

- Data storage and printout facility.

7-  On board software with more than 40 protocols.

8-  Electric supply- 220-240 volts, 50 htz.