Technical specifications: Blood bank refrigerator

1-Capacity- 60 bags or more.

2-Microprocessor based temperature control

3-Inner and outer chamber made up of stainless steel.

4-Built in stabilizer.

5-Built in printer and real time clock.

6- Electric supply- 220-240 volts, 50 htz.