Technical specifications: Blood collection monitor

1-10-15 rpm motor driven oscillation.

2-Motor activated clamping.

3-Facility for volume setting.

4-Alarms for low flow rate, low battery.

5-LCD display.

6- Electric supply- 220-240 volts, 50 htz.

7- Sealed maintenance free rechargeable battery.

8- CE certified.