Technical specifications: Dielectric tube sealer

1-Radio frequency tube sealer.

2-Upto 6 mm diameter tube sealing.

3-Status indicator facility.

4- Automatic tube detection.

5- Electric supply- 220-240 volts, 50 htz.

6- CE certified.