NTPC-3X660MW NORTH KARANPURA STPP (EPC) WITH ACC

AMENDEMENT NO-01 TO APRDS TECHNICAL SPECIFICATION (PE–TS –405-142–N101)

| S. No. | Enquiry Specification |  |  | Specification Requirement | To be read as |
| --- | --- | --- | --- | --- | --- |
|  | Volume / Section | Title | Page Reference |  |  |
| 1 | Vol.IIB / Sec. D | Data Sheet-A & B Tag. CDV-262 & CDV-265 | Sheet 7 of 13 | End Connection & Rating(ANSI) specified as BWE | End Connection & Rating(ANSI) shall be read as SWE |
| 2 | Vol.IIB / Sec. D | Data Sheet-A & B Tag. CDV-93 (OPTIONAL) | Sheet 11 of 13 | End Connection & Rating(ANSI) specified as BWE | End Connection & Rating(ANSI) shall be read as SWE |