## 6158 Price Format
Price Format for Indian Bidder (Rev-01)
Enquiry No. : 77/18/6001/ANA dtd. 07.04.2018
Item : LHP and GHP for FGD Package
Project : NCTPP Dadri Stage - II (2 X 490 MW)
All prices in Rs.
SL. NO. | Description | SAC/HSN Code | Unit | Qty (a) | Unit basic price including Packing & Forwarding Charges and Freight (b) | Total basic price including Packing & Forwarding Charges and Freight (Total for evaluation) (c = axb) | GST % as applicable (d)
Design, Engineering, document submission, manufacturing, arranging and carrying out the inspection as per standards at shop, packing of items , supply to site, transportation, unloading at site, erection and commissioning, trial run (no load as well as with load), demonstration of PG test & handing over, Operations and Maintenance services for 10 years of complete mechanical, electrical & C & I accessories of LHP and GHP including accessories (as per the scope mentioned in technical enquiry specifications )
A | SUPPLY:COMPLETE LHP & GHP SYSTEM
A.1 | Conveyor System complete with belt, idlers, pulleys, drive chain system (gear boxes, fluid couplings-all types, geared couplings, brakes, input output couplings, LT motors etc.), technological structures, take up arrangement, etc for LHP and GHP |  | Lot | 1
A.2 | Plough divertors including all electricals |  | Nos | 6
A.3 | Surface feeder including all the supporting accessories and electrical items |  | Sets | 2
A.4 | Rod gates including all the supporting accessories |  | Nos | 4
A.5 | Rack and pinion gates with actuators |  | Nos | 4
A.6 | Vibrating grizzly feeders with all supporting accessories and electrical items |  | Sets | 4
A.7 | Hammer mill crushers along with Vibration Isolation System,scoop type coupling, gearbox, supporting accessories and electrical items |  | Sets | 4
A.8 | Belt feeders including coupling and all electrical items |  | Sets | 4
A.9 | Reversible belt feeders including coupling all electrical items |  | Sets | 2
A.10 | Belt weigh scale including all the electrical items and supporting accessories |  | Nos | 4
A.11 | Metal detectors including all the electrical items and supporting accessories |  | Nos | 4
A.12 | Lime stone sampling unit consisting of all the electrical items and supporting accessories |  | Sets | 1
A.13 | Inline Magnetic Separators consisting of all the electrical items and supporting accessories |  | Sets | 2
A.14 | Bucket elevator including all the electrical items and supporting accessories |  | Nos | 2
A.15 | Suspended Magnets consisting of all the electrical items and supporting accessories |  | Nos | 2
A.16 | Complete chute work including saddles, tramp iron chutes etc |  | Lot | 1
A.17 | Misc fabricated items like access ladders, wiremesh guards for take up, pulley guards etc |  | Lot | 1
A.18 | Traveling trippers including rails, rail support beams, rail posts all electrical items and supporting accessories |  | Nos | 2
A.19 | Rope and sheave type Passenger cum goods Elevator (1088 kg capacity) |  | Sets | 1
A.20 | Flap gates with actuators, electrical items and supporting accessories |  | Lot | 1
A.21 | Bunker Sealing arrangement including belt, fixtures and all supporting accessories |  | Lot | 1
A.22 | Electrical Hoist including all the electrical items |  | Lot | 1
A.23 | Manual Hoist and chain pulley blocks |  | Lot | 1
A.24 | Weigh bridge including all electrical items and supporting accessories |  | Sets | 2
A.25 | Vibrating feeders including all the support accessories and electrical items |  | Sets | 3
A.26 | Dry type Dust extraction system for all transfer points, crusher house, storage silos, gypsum shed, truck loading area |  | Lot | 1
A.27 | Ventilation for Gypsum shed, tripper floor |  | Lot | 1
A.28 | Service water system for LHP and GHP |  | Lot | 1
A.29 | Drinking water system for LHP and GHP |  | Lot | 1
A.30 | Sump pumps including, piping, utilities, valves and all fittings |  | Sets | 4
A.31 | Truck tippler including all the support accessories and electrical items |  | Nos | 2
A.32 | Belt Vulcanizing Machine including all electrical items |  | Sets | 1
A.33 | All LT motors |  | Lot | 1
A.34 | Field instruments/devices/safety switches etc |  | Lot | 1
A.35 | Cables - HT, LT, Control,Instrumentation, special cables, CRD arrangements etc |  | Lot | 1
A.36 | Local Control panels, Starter panels, Local Push button stations, Scoop panels, Tripper panels, ILMS,MD, Suspended Magnet panels etc as required |  | Lot | 1
A.37 | Power & Control Junction boxes |  | Lot | 1
A.38 | Earthing materials |  | Lot | 1
A.39 | Lightening protection materials |  | Lot | 1
A.40 | LSU electricals/UPS etc as required |  | Lot | 1
A.41 | ACDB/ACFB & DCDB/DCFB |  | Lot | 1
A.42 | Welding receptacles & distribution board |  | Lot | 1
A.43 | Hooters/sirens |  | Lot | 1
A.44 | Complete Illumination |  | Lot | 1
A.45 | Complete Electrics for AC,Ventilation, Dust suppression/extraction system |  | Lot | 1
A.46 | Complete Electrics for Elevators |  | Lot | 1
A.47 | All Types of safety switches like belt sway, pull chord, zero speed, chute jamming etc |  | Lot | 1
A.48 | Material required for the modification of the existing conveyor to take the tapping |  | Lot | 1
A.49 | Complete electrics and C & I for the EPC of LHP and gHP as per the technical specification and scope matrix |  | Lot | 1
A.50 | Vibration monitoring system for Crusher equipment as per NTPC contract specifications ( including sensors, panel, special cables etc.) |  | Lot | 1
B | SERVICES
B.1 | Shifting from the storage to erection support, erection,alignment, commissioning, PG testing, trial run (no load and with load) |  | Lot | 1
C | OPERATIONS AND MAITENANCE SERVICES FOR 10 YEARS OF LHP & GHP AS PER ANNEXURE-1 Operation and Maintenance services from the date of successful trial run of LHP and GHP upto a period of 10 years including supply and application of all spare parts and consumables and repairs/replacement of any defective equipment(s) at his own cost,storage of limestone inside designated place inside the plant, disposal of gypsum at designated place, carrying out preventive maintenance, break down maintenance, overhauls, furnishing technical assistance from experts & arranging visit of O & M experts, maintaining records-registers till handing over of plant and equipment to owner in completely safe and healthy condition without any pending defect
C.1 | Operation and Maintenance services for 1st years (O&M cost to be considered minimum @ 2% of total order value for supply and E&C portion) |  | Lot | 1
C.2 | Operation and Maintenance services for next 9 years (@3% escalation per year shall be given on the O&M cost from 2nd year onwards to be considered) |  | Lot | 1 | BHEL will calculate the price based on price of Sl. no. C.1
| Grand Total for arriving at "L1" (sl. no. A+B+C) = |  |  |  |  | BHEL will calculate the Grand total price
Note :
1 | GST shall be payable extra at actuals at preveling rate.
2 | Packing & Forwarding Charges and Freight shall not be applicable for Sl. B & Sl.no. C.
3 | Above is inclusive for all contractual obligations including submission of Drawings, Documents, QAP, Painting schedule, O&M manual, Erection manual etc in required number of hard and soft copies as per enquiry specification, bidder’s offer and all recorded discussions etc.
4 | Items/ equipment mentioned in the Price format doesn’t indicate comprehensive scope of work & nor exhaustive and this price format must be read in conjunction with BHEL’s enquiry specification (along with all enclosures therein), subsequent amendments, corrigendum, correspondence.
5 | Any item which is not mentioned in price format, but is required for completion of the system shall be in bidder’s scope of supply, without any extra claim by bidder, at later stages after award of contract. For this, bidder is requested to visit site. Any concerns have to be raised by bidder during pre-bid stages.
6 | All fields indicated above are to be filled separately. The price to be Quoted strictly as per the price format.
7 | The un-priced format (Marked QUOTED or NOT-QUOTED against each item, without disclosing the rates) shall be uploaded by vendor along with techno-commercial offer.

## Sheet1
SL NO | PROJECT | TPH | VENDOR | WEIGHT | PRICE
| SURATGARH | 1500 |  |  | 60000000
ANPARA