|  |  |  |  |
| --- | --- | --- | --- |
|  |  |  | **TB-411-316-019-Corr1** |
|  |  |  | **17-11-2021** |
| **Addendum to Technical Specification TB-411-316-019 for Testing Instruments, Operating tools & SafetyEquipment for IOCL Panipat project**  |
| Sr No | Clause No | Specification | Addendum |
| 1 | Section-2 Equipment specification under scope of supplies, Sr No 2.6 | Discharge Rod for EHV system | Discharge Rod set will be for Single phase line  |