|  |  |  |  |
| --- | --- | --- | --- |
|  |  |  | **TB-411-316-019-Corr1** |
|  |  |  | **17-11-2021** |
| **Addendum to Technical Specification TB-411-316-019 for Testing Instruments, Operating tools & SafetyEquipment for IOCL Panipat project**  |
| Sr No | Clause No | Specification | Addendum |
| 1. | Section-2 Equipment specification under scope of supplies, Sr No 2.3 | Non Contact Type live line detector upto 220kV voltage level | Length of stick will be minimum of 3 m  |