## Sheet1
Technical Details for X-Ray machine against enquiry no- E7100347
S.No | Item Description | Quantity | Delivery
1 | X-Ray machine 300ma 125kv Make : Siemens/Phillips/BPL/GE only Description:- 300 MA, 125 KV, X-Ray equipment with Motorized table & beam bucky with Grid, provision of fluroscopy & spot film device. | 01 No. | Jan'11
QUALIFYING CRITERIA:-Vendors should have supplied at least 3-4 machines earlier to other hospitals /institutions in last 2-3 years. Performance certificate of the previously supplied machines is also required.For dealers : Authorization Certificate from principals to be submitted along with offer.