## Price BOQ
| PACKAGE- LT XLPE POWER CABLE | [10 empty] | Price Bid Format
| PROJECT-1 X 660 MW PANKI TPP | [5 empty] | Note-Bidders to quote value in highlighted box only.
ENQUIRY NO.- PE/PG/PKI/E-6769/2021 Dtd. 20.09.2021
Bidder's Name-
S. No. | Item Description | HSN CODE | Drum Lengh | Quantity | Unit | Unit Ex-Works Price (Rs.) | Total Ex-Works Price (Rs.) | Freight % of Total Ex-works Price (in %) | Freight Charges (Rs.) | Rate of GST (%) | GST Amount ON Total Ex-works Price & Freight (Rs.) | Total FOR Site Price (Rs.)
(A) | 1.1KV, Al conductor, XLPE insulated, Galvanised Steel Round/Formed Wire Armoured for multi-core cables, INNER SHEATH: Extruded HRPVC compound conforming to type ST2 of IS: 5831 for multicore cable, OVERALL SHEATH: Extruded FRLS HRPVC compound conforming to type ST2 of IS: 5831 & black in colour.
A1 | 2C - 16- AL ARMOURED | 85444920 | 500 | 7500 | Nos. |  | 0 |  | 0 |  | 0 | 0
A2 | 2C - 25- AL ARMOURED | 85444920 | 500 | 1000 | Nos. |  | 0 |  | 0 |  | 0 | 0
A3 | 2C - 95- AL ARMOURED | 85444920 | 500 | 2000 | Nos. |  | 0 |  | 0 |  | 0 | 0
A4 | 3C - 16- AL ARMOURED | 85444920 | 500 | 23000 | Nos. |  | 0 |  | 0 |  | 0 | 0
A5 | 3C - 25- AL ARMOURED | 85444920 | 500 | 15500 | Nos. |  | 0 |  | 0 |  | 0 | 0
A6 | 3C - 50- AL ARMOURED | 85444920 | 500 | 5500 | Nos. |  | 0 |  | 0 |  | 0 | 0
A7 | 3C - 95- AL ARMOURED | 85444920 | 500 | 5000 | Nos. |  | 0 |  | 0 |  | 0 | 0
A8 | 3C - 185- AL ARMOURED | 85444920 | 500 | 4000 | Nos. |  | 0 |  | 0 |  | 0 | 0
A9 | 3C - 300- AL ARMOURED | 85444920 | 500 | 2000 | Nos. |  | 0 |  | 0 |  | 0 | 0
A10 | 3.5C - 25- AL ARMOURED | 85444920 | 500 | 17000 | Nos. |  | 0 |  | 0 |  | 0 | 0
A11 | 3.5C - 50- AL ARMOURED | 85444920 | 500 | 22000 | Nos. |  | 0 |  | 0 |  | 0 | 0
A12 | 3.5C - 95- AL ARMOURED | 85444920 | 500 | 4000 | Nos. |  | 0 |  | 0 |  | 0 | 0
A13 | 3.5C - 185- AL ARMOURED | 85444920 | 500 | 6000 | Nos. |  | 0 |  | 0 |  | 0 | 0
A14 | 4C - 16- AL ARMOURED | 85444920 | 500 | 1000 | Nos. |  | 0 |  | 0 |  | 0 | 0
(B) | 1.1KV, Al conductor, XLPE insulated, Galvanised Steel Round Wire Armoured for multi-core cables, (Non Magnetic Hard drawn Aluminium Round Wire Armoured conforming to H4 grade for single core cables)INNER SHEATH: Extruded HRPVC compound conforming to type ST2 of IS: 5831 for multicore cable & no inner sheath for single core cables, OVERALL SHEATH: Extruded FRLS HRPVC compound conforming to type ST2 of IS: 5831 & black in colour.
B1 | 1C - 400- AL ARMOURED | 85444920 | 500 | 12500 | Nos. |  | 0 |  | 0 |  | 0 | 0
B2 | 1C - 630- AL ARMOURED | 85444920 | 500 | 18000 | Nos. |  | 0 |  | 0 |  | 0 | 0
(C) | 1.1KV, Cu conductor, XLPE insulated, Galvanised Steel Round Wire Armoured for multi-core cables (Non Magnetic Hard drawn Aluminium Round Wire Armoured conforming to H4 grade for single core cables), INNER SHEATH: Extruded HRPVC compound conforming to type ST2 of IS: 5831 for multicore cable & no inner sheath for single core cables, OVERALL SHEATH: Extruded FRLS HRPVC compound conforming to type ST2 of IS: 5831 & black in colour.
C1 | 1C - 16- CU ARMOURED | 85444920 | 500 | 7500 | Nos. |  | 0 |  | 0 |  | 0 | 0
C2 | 1C - 70- CU ARMOURED | 85444920 | 500 | 6000 | Nos. |  | 0 |  | 0 |  | 0 | 0
C3 | 2C - 2.5- CU ARMOURED | 85444920 | 1000 | 99000 | Nos. |  | 0 |  | 0 |  | 0 | 0
C4 | 3C - 2.5- CU ARMOURED | 85444920 | 1000 | 103000 | Nos. |  | 0 |  | 0 |  | 0 | 0
C5 | 2C - 6- CU ARMOURED | 85444920 | 1000 | 3000 | Nos. |  | 0 |  | 0 |  | 0 | 0
D | GRAND TOTAL (RS.)(A+B+C) | [5 empty] | 0 | 0 | 0 |  | 0 | 0
NOTES :
1) The standard drum length shall be 500/1000 meters as indicated above. Tolerance on individual drum length shall be ±5%.
2) Overall tolerance on total dispatched quantity of each size shall be (-) 2% and (+) 0% except where the total ordered quantity is one single drum length of 500/1000m, in which case it shall be -5% to 0%. Cables consumed for testing and inspection shall be to bidder’s account.
3) For each individual cable size, one short length of not less than 200m may be accepted only in the final drum length to complete the supply (except where the total ordered quantity is one single drum length of 500/1000m). The overall tolerance limits stipulated above shall continue to apply (in case short lengths are accepted).
4) In case of the quantities cleared by BHEL for manufacturing are manufactured and offered for inspection by successful bidder in more than one batch, BHEL reserves the right to witness type testing on all batches without any price implications.
5) Unit price of cables quoted by bidder shall be inclusive of type test charges. No separate charges shall be payable for type tests.
6) Delivery shall be as per NIT.
7) For additional requirement of FRLS inner sheath, additional price implication over basic unit price shall be as per Annexure-1 A to 'BOQ-cum Price Schedule
8) For any clarification please refer technical specification no.PE-TS-426-507-E002.

## COW
ANNEXURE - II
SCHEDULE OF TECHNICAL AND COMMERCIAL DEVIATION
PROJECT:- 1 x 660 MW PANKI TPS
PACKAGE:- LT XLPE POWER CABLE
TENDER REF NO - PE/PG/PKI/E-6769/2021 dated 20.09.2021.
NAME OF VENDOR:-
SL NO | VOULME/ SECTION | PAGE NO. | CLAUSE NO. | TECHNICAL SPECIFICATION/ TENDER DOCUMENT | COMPLETE DESCRIPTION OF DEVIATION | COST OF WITHDRAWL OF DEVIATION | REFERENCE OF PRICE SCHEDULE ON WHICH COST OF WITHDRAWL OF DEVIATION IS APPLICABLE | NATURE OF COST OF WITHDRAWL OF DEVIATION (POSITIVE/ NEGATIVE) | REASON FOR QUOTING DEVIATION
TECHNICAL DEVIATIONS
COMMERCIAL DEVIATIONS
PARTICULARS OF BIDDERS/ AUTHORISED REPRESENTATIVE
NAME |  |  |  | DESIGNATIONS |  | SIGN & DATE
NOTES:
1. Cost of withdrawl of deviation will be applicable on the basic price (i.e. excluding taxes, duties & freight) only.
2. All the bidders have to list out all their Technical & Commercial Deviations (if any) in detail in the above format.
3. Any deviation not mentioned above and shown separately or found hidden in offer, will not be taken cognizance of.
4. Bidder shall submit duly filled unpriced copy of above format indicating "quoted" in "cost of withdrawl of deviation" column of the schedule above along with their Techno-commercial offer, wherever applicable. In the absence of same, such deviation(s) shall not be considered and offer shall be considered in total compliance to NIT.
5. Bidder shall furnish price copy of above format along with price bid.
6. The final decision of acceptance/ rejection of the deviations quoted by the bidder shall be at discretion of the Purchaser.
7. Bidders to note that any deviation (technical/commercial) not listed in above and asked after Part-I opening shall not be considered.
8. For deviations w.r.t. Credit Period, Liquidated damages, Firm prices if a bidder chooses not to give any cost of withdrawl of deviation loading as per Annexure-VII, will apply. For any other deviation mentioned in un-priced copy of this format submitted with Part-I bid but not mentioned in priced copy of this format submitted with Priced bid, the cost of withdrawl of deviation shall be taken as NIL.
9. Any deviation mentioned in priced copy of this format, but not mentioned in the un-priced copy, shall not be considered.
10. All techno-commercial terms and conditions of NIT shall be deemed to have been accepted by the bidder, other than those listed in unpriced copy of this format.
11. Cost of withdrawl is to be given seperately for each deviation. In no event bidder should club cost of withdrawl of more than one deviation else cost of withdrawl of such deviations which have been clubbed together shall be considered as NIL.
12. In case nature of cost of withdrawl (positive/negative) is not specified it shall be assumed as positive.
13. In case of descrepancy in the nature of impact (positive/ negative), positive will be considered for evaluation and negative for ordering.