## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Bharat heavy Electricals limited-Project Engineering Management, Noida
Name of Work: FQA LAB - Electrical PACKAGE FOR 3X800MW PVUNL PATRATU TPP PHASE-1
Tender enquiry no.: PE/PG/PA1/E-6802/2021 dated 08.11.2021.
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only ) ITEMWISE EVALUATION AND PRICEBID OPENING NOTES: 1) PLEASE REFER TECHNICAL SPECIFICATION PE-TS-434-571-E001, Rev-01 2) EQUIPMENT TO BE SUPPLIED ALONG WITH ESSSNTIAL ACCESSORIES FOR SUCCESSFUL OPERATION OF EQUIPMENT AT SITE .i.e. CLAMPS, CLIPS,LEADS ,CARRYING CASE etc. 3) ALL EQUIPMENTS SHALL BE SUPPLIED WITH VALID CALIBRATION CERTIFICATE, WHEREVER APLLICABLE. 4) IN ADDITION TO NORMAL PACKING OF THE EQUIPMENTS, THE EQUIPMENTS TO BE PROPERLY PACKED IN GALVANIZED SHEET STEEL TRUNK/BOX WITH PROPER LOCK & KEY ARRANGEMENT. 5) ALL THE EQUIPMENT COMPONENTS SHALL BE PROCURED FROM REPUTED MANUFACTURERS AND MAKE OF EQUIPMENT SHALL BE SUBJECT TO THE APPROVAL OF BHEL/ BHEL’S CUSTOMER.
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Order Quantity | Units | Estimated Rate in Rs. P | Discription of valve | Tag No./Pressure/Temperature | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder in Rs. P | Total Ex-works Price Rs. | Total Ex-works Price Rs. | Freight rate in % of E-works Price | Freight Amount,as applicable in Rs | GST type (IGST/(CGST+SGST) |  |  | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [27 empty] | GST rate in % | GST amount in Rs. |  | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 3 | 4 | 6 | 7 | 8 | 9 | 10 | 11 | 5 | 6 | 7 | 15 | 8 | 9 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 10 | 11 | 52 | 12 | 13 | 14
0 | FIELD QUALITY LABORATORY EQUIPMENTS | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1 | Tachometer |  | 1 | No. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 |  |  | 0 | [33 empty] | 0 |  | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | Tongtester (AC)-4000A |  | 1 | No. | 0 | 5000 |  | Excess(+) | 1 | Full Conversion | INR |  | 0 |  |  | 0 | [33 empty] | 0 |  | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3 | Tongtester (DC)-4000A |  | 1 | No. | 0 | 1000 |  | Excess(+) | 1 | Full Conversion | INR |  | 0 |  |  | 0 | [33 empty] | 0 |  | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
4 | Wattmeter |  | 1 | No. | 0 | 5500 |  | Excess(+) | 1 | Full Conversion | INR |  | 0 |  |  | 0 | [33 empty] | 0 |  | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
5 | Ammeter (Tong Tester) |  | 1 | No. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 |  |  | 0 | [33 empty] | 0 |  | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6 | Voltmeter |  | 1 | No. | 0 | 5000 |  | Excess(+) | 1 | Full Conversion | INR |  | 0 |  |  | 0 | [33 empty] | 0 |  | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
7 | HV Tester (0-100KV) DC |  | 1 | No. | 0 | 1000 |  | Excess(+) | 1 | Full Conversion | INR |  | 0 |  |  | 0 | [33 empty] | 0 |  | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
8 | Resistance bridge: Kelvin Bridge |  | 1 | No. | 0 | 2500 |  | Excess(+) | 1 | Full Conversion | INR |  | 0 |  |  | 0 | [33 empty] | 0 |  | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
9 | Fault Locator (Cable test kit) |  | 1 | No. | 0 | 5000 |  | Excess(+) | 1 | Full Conversion | INR |  | 0 |  |  | 0 | [33 empty] | 0 |  | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
10 | Relay Test Kit |  | 1 | No. | 0 | 1000 |  | Excess(+) | 1 | Full Conversion | INR |  | 0 |  |  | 0 | [33 empty] | 0 |  | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
11 | Grounding device/Earthing device |  | 2 | No. | 0 | 2500 |  | Excess(+) | 1 | Full Conversion | INR |  | 0 |  |  | 0 | [33 empty] | 0 |  | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
12 | Tan delta test kit |  | 1 | No. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 |  |  | 0 | [33 empty] | 0 |  | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
13 | BDV tester for oil |  | 1 | No. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 |  |  | 0 | [33 empty] | 0 |  | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
14 | Spirit level |  | 2 | No. | 0 | 5000 |  | Excess(+) | 1 | Full Conversion | INR |  | 0 |  |  | 0 | [33 empty] | 0 |  | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
15 | Vibration meter |  | 1 | No. | 0 | 1000 |  | Excess(+) | 1 | Full Conversion | INR |  | 0 |  |  | 0 | [33 empty] | 0 |  | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
16 | Noise level meter |  | 2 | No. | 0 | 5500 |  | Excess(+) | 1 | Full Conversion | INR |  | 0 |  |  | 0 | [33 empty] | 0 |  | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
17 | Micrometer |  | 2 | No. | 0 | 2500 |  | Excess(+) | 1 | Full Conversion | INR |  | 0 |  |  | 0 | [33 empty] | 0 |  | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
18 | Vernier Calliper |  | 2 | No. | 0 | 5000 |  | Excess(+) | 1 | Full Conversion | INR |  | 0 |  |  | 0 | [33 empty] | 0 |  | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
19 | Measuring Tape |  | 2 | No. | 0 | 1000 |  | Excess(+) | 1 | Full Conversion | INR |  | 0 |  |  | 0 | [33 empty] | 0 |  | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
20 | Magnifying glass |  | 4 | No. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 |  |  | 0 | [33 empty] | 0 |  | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
21 | Ductor for Trf. Wdg, “R’’ |  | 1 | No. | 0 | 5000 |  | Excess(+) | 1 | Full Conversion | INR |  | 0 |  |  | 0 | [33 empty] | 0 |  | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
22 | Variable AC source (0-220V) |  | 1 | No. | 0 | 1000 |  | Excess(+) | 1 | Full Conversion | INR |  | 0 |  |  | 0 | [33 empty] | 0 |  | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
23 | Variable DC source (0-220V) |  | 1 | No. | 0 | 5500 |  | Excess(+) | 1 | Full Conversion | INR |  | 0 |  |  | 0 | [33 empty] | 0 |  | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
24 | Dead Weight Test (accuracy class min 0.05%) |  | 1 | No. | 0 | 2500 |  | Excess(+) | 1 | Full Conversion | INR |  | 0 |  |  | 0 | [33 empty] | 0 |  | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
25 | Pressure gauge (accuracy class 0.25%) |  | 2 | No. | 0 | 5500 |  | Excess(+) | 1 | Full Conversion | INR |  | 0 |  |  | 0 | [33 empty] | 0 |  | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
26 | Electro pneumatic calibrater (accuracy 0.1% of full scale) |  | 1 | No. | 0 | 2500 |  | Excess(+) | 1 | Full Conversion | INR |  | 0 |  |  | 0 | [33 empty] | 0 |  | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
27 | Fluidised Temp bath (100-600 deg. C, stability +/- 0.2% deg. C) |  | 1 | No. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 |  |  | 0 | [33 empty] | 0 |  | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
28 | Thermocouple test furnace up to 1400 oC with uncertainty of 1 oC |  | 1 | No. | 0 | 5000 |  | Excess(+) | 1 | Full Conversion | INR |  | 0 |  |  | 0 | [33 empty] | 0 |  | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
29 | Barometer (aneroid) 660 to 800 mm/dg accuracy, +/- 0.3% of full scale |  | 2 | No. | 0 | 1000 |  | Excess(+) | 1 | Full Conversion | INR |  | 0 |  |  | 0 | [33 empty] | 0 |  | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
30 | Mercury thermometer (accuracy up to 0.1 deg C |  | 2 | No. | 0 | 5500 |  | Excess(+) | 1 | Full Conversion | INR |  | 0 |  |  | 0 | [33 empty] | 0 |  | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
31 | Manometer (test & U tube) |  | 1 | No. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 |  |  | 0 | [33 empty] | 0 |  | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
32 | Hygrometer |  | 1 | No. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 |  |  | 0 | [33 empty] | 0 |  | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
33 | Portable V. meter Calibrator |  | 1 | No. | 0 | 5000 |  | Excess(+) | 1 | Full Conversion | INR |  | 0 |  |  | 0 | [33 empty] | 0 |  | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
34 | Resistance Thermometer (bridge 0-2000, resolution 0.001, accuracy +/-0.005, sensitivity 0.001%, amb. Temp. 50 °C +/- 0.005% of span per 1°C |  | 1 | No. | 0 | 1000 |  | Excess(+) | 1 | Full Conversion | INR |  | 0 |  |  | 0 | [33 empty] | 0 |  | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
35 | Rheostat (Rheostat 100 ohm,5A + Rheostat 1000 ohm,1A) |  | 2 | No. | 0 | 2500 |  | Excess(+) | 1 | Full Conversion | INR |  | 0 |  |  | 0 | [33 empty] | 0 |  | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
36 | Test (reference) RTD |  | 2 | No. | 0 | 1000 |  | Excess(+) | 1 | Full Conversion | INR |  | 0 |  |  | 0 | [33 empty] | 0 |  | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
37 | Digital Storage Oscilloscope |  | 1 | No. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 |  |  | 0 | [33 empty] | 0 |  | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
38 | Power Pack 0-6 VDC Current up to 10A, load regulation 0.01% |  | 1 | No. | 0 | 5000 |  | Excess(+) | 1 | Full Conversion | INR |  | 0 |  |  | 0 | [33 empty] | 0 |  | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
39 | RCL meter (for Resistance, Capacitance, Inductance measurement) Accuracy 2% of FSD or better |  | 2 | No. | 0 | 1000 |  | Excess(+) | 1 | Full Conversion | INR |  | 0 |  |  | 0 | [33 empty] | 0 |  | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
40 | pH Simulator |  | 1 | No. | 0 | 5500 |  | Excess(+) | 1 | Full Conversion | INR |  | 0 |  |  | 0 | [33 empty] | 0 |  | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
41 | Portable TC Thermo couple / RTD calibrator / simulator |  | 1 | No. | 0 | 2500 |  | Excess(+) | 1 | Full Conversion | INR |  | 0 |  |  | 0 | [33 empty] | 0 |  | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
42 | Function generator |  | 1 | No. | 0 | 5500 |  | Excess(+) | 1 | Full Conversion | INR |  | 0 |  |  | 0 | [33 empty] | 0 |  | 0 | 0 | #VALUE! | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
43 | Portable high speed trend recorder |  | 1 | No. | 0 | 2500 |  | Excess(+) | 1 | Full Conversion | INR |  | 0 |  |  | 0 | [33 empty] | 0 |  | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
44 | Portable multifunction counter |  | 1 | No. | 0 |  |  | Excess(+) | 1 | Full Conversion | INR |  | 0 |  |  | 0 | [33 empty] | 0 |  | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
45 | Non-contact Laser Temperature Gun (up to 1000 oC |  | 2 | No. | 0 | 5000 |  | Excess(+) | 1 | Full Conversion | INR |  | 0 |  |  | 0 | [33 empty] | 0 |  | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
46 | Demonstration & Handing over to BHEL / BHEL's Customer - shall be as per ANNEXURE-A TO SECTION-II of technical Specification No. PE-TS-434-571-E001 Rev-01 / NIT. | [53 empty] | 3 | Supplying, Conveying and fixing spls. Including ea | item4 | 10 | Nos
Total in Figures | [51 empty] | 0 | 0 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## BoQ2 (hidden)
Item Wise BoQ
BoQ_Ver3.0 | Item Wise | Normal | INR Only | INR
Select, Excess (+), Less (-)
Tender Inviting Authority: Bharat heavy Electricals limited-Project Engineering Management, Noida
Name of Work: FQA LAB - Electrical PACKAGE FOR 3X800MW PVUNL PATRATU TPP PHASE-1
Tender enquiry no.: PE/PG/PA1/E-6802/2021 dated 08.11.2021.
Name of the Bidder/ Bidding Firm / Company :
ANNEXURE-II (COST OF WITHDRAWAL) (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only ) NOTES: 1. Cost of Withdrawal of deviation will be applicable on the basic price (i.e. excluding taxes, duties & freight) only. 2. All the bidders have to list out all their technical & commercial deviations (if any) in details in the above format. 3.Any deviation not mentioned above and shown separately or found hidden in offer, will not be taken cognizance of. 4.Bidder shall submit duly filled unpriced copy of above format indicating "quoted" in "cost of withdrawl of deviation" column of the schedule above along with their Techno-commercial offer, wherever applicable. In absence of same, such deviation(s) shall not be considered and offer shall be considered in total compliance to NIT. 5. Bidder shall furnish price copy of above format along with price bid. 6.The final decision of acceptance/ rejection of the deviations quoted by the bidder shall be at discretion of the Purchaser. 7.Bidders to note that any deviation (technical/commercial) not listed in above and asked after Part-I opening shall not be considered. 8. For deviations w.r.t. Credit Period, Liquidated damages, Firm prices if a bidder chooses not to give any cost of withdrawl of deviation loading as per Annexure-VII of GCC, Rev-07 will apply. For any other deviation mentioned in un-priced copy of this format submitted with Part-I bid but not mentioned in priced copy of this format submitted with Priced bid, the cost of withdrawl of deviation shall be taken as NIL. 9. Any deviation mentioned in priced copy of this format, but not mentioned in the un-priced copy, shall not be accepted. 10. All techno-commercial terms and conditions of NIT shall be deemed to have been accepted by the bidder, other than those listed in unpriced copy of this format. 11. Cost of withdrawl is to be given seperately for each deviation. In no event bidder should club cost of withdrawl of more than one deviation else cost of withdrawl of such deviations which have been clubbed together shall be considered as NIL. 12. In case nature of cost of withdrawl (positive/negative) is not specified it shall be assumed as positive. 13. In case of descrepancy in the nature of impact (positive/ negative), positive will be considered for evaluation and negative for ordering.
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P | page No. | Technical Specification/Tender Document clause no. | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | Cost of Withdrawal of DevationTo be entered by the Bidder in Rs. P | Excise Duty in Rs. P | GST in Rs. P | Freight Charges ( Unloading & Stacking) in Rs. P | Any Other Taxes/Duties/Levies in Rs. P | Reference of Price Schedule on Which cost of Withdrawal of devotion is Applicable | Nature of Cost of Withdrawal of deviation (Positive/Negative) | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category in Rs. P |  |  |  | Reason for Quoting Devetion | [28 empty] | TOTAL AMOUNT Without Taxes in Rs. P | TOTAL AMOUNT With Taxes Rs. P Rs. P | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | TECHNICAL DEVIATION | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
1.01 | To be fill | item1 | 1 | Nos | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
1.02 | To be filled, if any | item2 | 1 | Nos | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
1.03 | To be filled, if any. | item3 | 1 | Nos | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
1.04 | To be filled, if any. | item4 | 1 | Nos | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2 | COMMERCIAL DEVIATION | [53 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
2.01 | To be filled, if any. | item5 | 1 | Nos | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
2.02 | To be filled, if any. | item6 | 1 | Nos | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.03 | To be filled, if any. | item7 | 1 | Nos | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
2.04 | To be filled, if any. | item8 | 1 | Nos | 0 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
Total in Figures | [51 empty] | 0 | 0 | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [7 empty] | % | [39 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words
Note on K13: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K14: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K15: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K16: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K17: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K18: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K19: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K20: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K21: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Note on K22: gepadmin: 1. If you choose "Full Conversion" then Column BA (AMOUNT) and Column BB (TAXES) BOTH values will be convert based on selected Currency in (Column L). 2. If you choose "Partial Conversion" then Column BA (AMOUNT) only will be converted based on selected currency (Column L) and Column BB (TAXES) value (INR) will be added to the converted values.
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information