## FLOW (ORIFICE)
NAME OF PROJECT: |  |  |  |  | 1 X 800 MW KOTHAGUDEM FGD
NAME OF PACKAGE: |  |  |  |  | FLOW ELEMENT - ORIFICE
ENQUIRY NO. : |  |  |  |  | PE/PG/TS1/E-7120/2022 dated. 30.11.2022.
VENDOR:
TECHNICAL SPECIFICATION: |  |  |  |  | PE-TS-439-145-I105A
ANNEXURE -II
PRICE ESTIMATE FOR FLOW ELEMENT (ORIFICE) FOR KOTHAGUDEM FGD (1 X 800 MW)
SCHEDULE OF PRICES BASED
S.No | TAG NO. | SERVICE | SIZE (OD xThk) /NB | pipe material | UNIT | QTY / UNIT | TOTAL QTY | P&ID | P&ID NO. | UNIT EX-WORKS PRICE ( DULY PACKED ) | TOTAL EX-WORKS PRICE ( DULY PACKED ) | FREIGHT Percentage % | FREIGHT CHARGES (EXCLUDING GST) @..% of total ex-works price (INR) | TOTAL EX WORKS + FREIGHT (INR) | GST % | GST CHARGES ON (TOTAL EX WORKS + FREIGHT) (INR) | TOTAL F.O.R. SITE PRICE (INR)
A | [Complete Orifice assembly with THREE (3) pairs of tapping, accessories like pair of gasket , nipple, Pressure take-off points etc and commisioning spare of 1 no. pair of gasket for each assembly]
|  | a | b | c | d | e | f | i | j | g | h
1 | PGB04CF100 | ACW SUPPLY HEADER FLOW | 200 NB | CS, IS:2062 | NO. | 1 | 1 | ECW, ACW & MAKE-UP WATER SYS FOR FGD | PE-DG-439-179-N051 |  | 0 |  | 0 | 0 |  | 0 | 0
2 | PCB40CF100 | ECW SUPPLY HEADER FLOW | 200 NB | CS IS:2062 | NO. | 1 | 1 | ECW, ACW & MAKE-UP WATER SYS FOR FGD | PE-DG-439-179-N051 |  | 0 |  | 0 | 0 |  | 0 | 0
3 | PCB47CF100 | FGD MAKE-UP SUPPLY HDR FLOW | 150 NB | CS ERW, IS: 1239 | NO. | 1 | 1 | ECW, ACW & MAKE-UP WATER SYS FOR FGD | PE-DG-439-179-N051 |  | 0 |  | 0 | 0 |  | 0 | 0
| TOTAL OF items mentioned under 1 to 3 | e: 3; f: 3; h: 0 |  | 0 | 0 |  | 0 | 0
B | CALIBRATION CHARGES (Ex works)
1 | PGB004CF100 | ACW SUPPLY HEADER FLOW | 200 NB | CS, IS:2062 | NO. | 1 | 1 | ECW, ACW & MAKE-UP WATER SYS FOR FGD | PE-DG-439-179-N051 |  | 0 |  |  | 0 |  | 0 | 0
2 | PCB40CF100 | ECW SUPPLY HEADER FLOW | 200 NB | CS IS:2062 | NO. | 1 | 1 | ECW, ACW & MAKE-UP WATER SYS FOR FGD | PE-DG-439-179-N051 |  | 0 |  |  | 0 |  | 0 | 0
3 | PCB47CF100 | FGD MAKE-UP SUPPLY HDR FLOW | 150 NB | CS ERW, IS: 1239 | NO. | 1 | 1 | ECW, ACW & MAKE-UP WATER SYS FOR FGD | PE-DG-439-179-N051 |  | 0 |  |  | 0 |  | 0 | 0
| TOTAL OF items mentioned under 1 to 3 | e: 3; f: 3; h: 0 |  | 0 | 0 |  | 0 | 0
|  | c: A+B; h: 0 |  | 0 | 0 |  | 0 | 0

## COW
ANNEXURE - II
SCHEDULE OF TECHNICAL AND COMMERCIAL DEVIATION
PROJECT:- 1X800 MW TSGENCO KOTHAGUDAM TPP(FGD PKG)
PACKAGE:-FLOW ELEMENT ORIFICE
TENDER REF NO - :-PE/PG/TS1/E-7120/2022 dated. 30.11.2022.
NAME OF VENDOR:-
SL NO | VOULME/ SECTION | PAGE NO. | CLAUSE NO. | TECHNICAL SPECIFICATION/ TENDER DOCUMENT | COMPLETE DESCRIPTION OF DEVIATION | COST OF WITHDRAWL OF DEVIATION | REFERENCE OF PRICE SCHEDULE ON WHICH COST OF WITHDRAWL OF DEVIATION IS APPLICABLE | NATURE OF COST OF WITHDRAWL OF DEVIATION (POSITIVE/ NEGATIVE) | REASON FOR QUOTING DEVIATION
TECHNICAL DEVIATIONS
COMMERCIAL DEVIATIONS
PARTICULARS OF BIDDERS/ AUTHORISED REPRESENTATIVE
NAME |  |  |  | DESIGNATIONS |  | SIGN & DATE
NOTES:
1. Cost of withdrawl of deviation will be applicable on the basic price (i.e. excluding taxes, duties & freight) only.
2. All the bidders have to list out all their Technical & Commercial Deviations (if any) in detail in the above format.
3. Any deviation not mentioned above and shown separately or found hidden in offer, will not be taken cognizance of.
4. Bidder shall submit duly filled unpriced copy of above format indicating "quoted" in "cost of withdrawl of deviation" column of the schedule above along with their Techno-commercial offer, wherever applicable. In the absence of same, such deviation(s) shall not be considered and offer shall be considered in total compliance to NIT.
5. Bidder shall furnish price copy of above format along with price bid.
6. The final decision of acceptance/ rejection of the deviations quoted by the bidder shall be at discretion of the Purchaser.
7. Bidders to note that any deviation (technical/commercial) not listed in above and asked after Part-I opening shall not be considered.
8. For deviations w.r.t. Credit Period, Liquidated damages, Firm prices if a bidder chooses not to give any cost of withdrawl of deviation loading as per Annexure-VII, will apply. For any other deviation mentioned in un-priced copy of this format submitted with Part-I bid but not mentioned in priced copy of this format submitted with Priced bid, the cost of withdrawl of deviation shall be taken as NIL.
9. Any deviation mentioned in priced copy of this format, but not mentioned in the un-priced copy, shall not be considered.
10. All techno-commercial terms and conditions of NIT shall be deemed to have been accepted by the bidder, other than those listed in unpriced copy of this format.
11. Cost of withdrawl is to be given seperately for each deviation. In no event bidder should club cost of withdrawl of more than one deviation else cost of withdrawl of such deviations which have been clubbed together shall be considered as NIL.
12. In case nature of cost of withdrawl (positive/negative) is not specified it shall be assumed as positive.
13. In case of descrepancy in the nature of impact (positive/ negative), positive will be considered for evaluation and negative for ordering.