## Sheet1
3X660MW NORTH KARANPURA STPP
BOQ CUM PRICE SCHEDULE FOR FIRE SEALING SYSTEM
S.NO | MAIN ITEM DESCRIPTION | UNIT | LOT-I qty. (Unit-1) | LOT-II qty. (Unit-2) | LOT-III qty. (Unit-3) | Total Qty. to be ORDERED (Lot I+Lot II+Lot III) | Unit Ex Works Price (Rs/sqm) (V) | Totall Ex works Price (INR) | Freigt rate (INR) | Freight Amount (INR) | GST rate (INR) | GST Amount (INR) | Total F.O.R Price (INR) | DESCRIPTION OF MATERIAL REQUIRED FOR COMPLETION OF MAIN ITEM | HSN/SAC Code | % Breakup of Unit price | QTY.
I) | SUPPLY
1 | FSS-TYPE A FLOOR OPENINGS BELOW PANELS-1hrs | SQM | 144 | 144 | 144 | 432 |  | 0 |  |  |  |  | 0 | Board |  | % of V (Refer Note 6) | 1 LOT
[14 empty] | Slab |  | % of V (Refer Note 6) | 1 LOT
[14 empty] | Silicone Foam |  | % of V (Refer Note 6) | 1 LOT
[14 empty] | Anchor Bolts |  | % of V (Refer Note 6) | 1 LOT
[14 empty] | Cavity Fill |  | % of V (Refer Note 6) | 1 LOT
[14 empty] | Any other material,if required |  | - | -
[14 empty] | a) |  | % of V (Refer Note 6) | 1 LOT
[14 empty] | b) |  | % of V (Refer Note 6) | 1 LOT
Total (Supply) | [13 empty] | subtotal |  | V (Rs/sqm)
II) | E & C | UNIT | LOT-I qty. | LOT-II qty. | LOT-III qty. | Total Qty. to be ORDERED (Lot I+Lot II+Lot III) | Unit Price (Rs/sqm) | Totall Ex works Price (INR) | Freigt rate (INR) | Freight Amount (INR) | GST rate (INR) | GST Amount (INR) | Total F.O.R Price (INR) | NA
1 | FSS-TYPE A FLOOR OPENINGS BELOW PANELS-1hrs | SQM | 144 | 144 | 144 | 432 |  | 0 | NA | NA |  |  | 0
Grand Total( Supply+E&C) | [7 empty] | 0 |  | 0 |  | 0 | 0
Notes:
1. The fire sealing area indicated under Column “Ordered Quantity” above shall be considered for ordering purposes. Bidder shall indicate during detailed engineering, the quantity of material required to be supplied on per unit basis for each of the items mentioned above , which shall be used for billing purposes of the supply portion after review and acceptance. However, the vendor shall supply the actual material necessary for meeting the specified area requirements as per type-tested arrangement without any commercial implication.
2. Successful bidder is responsible for estimation of additional quantities based on site conditions and work progress. The estimates shall be used by BHEL as inputs for clearing further quantities. These activities shall be completed within the overall contractual period.
3. Total price quoted for items I & II above shall be used for price comparison purpose.
4. Unit prices for supply and installation shall be quoted in line with Sl. No. 2 of Section-I & Sl. No. 7.0 of section II of specification.
5. If the contractor is not able to submit report of the type test(s) conducted within last ten years from the date of bid opening, or in the case of type test report(s) are not found to be meeting the specification requirements, the bidder shall conduct all such tests under this contract at no additional cost to the BHEL either at third party lab or in presence of BHEL/Customer representative and submit the reports for approval.
6. Materialwise breakup of unit price (in % of main item unit price) to be indicated by bidder against each of the materials required for completion of main items. Materialwise percentage break up indicated shall add to 100% of the unit price quoted for main item. If any of the material mentioned above is not applicable for the system offered by bidder, NIL may be indicated against the same.