Pre Bid Clarification Dated 4nd AUGUST 2015

for

1x 8000 MW tsgenco kothagudem TPS, stage –vii, paloncha, Specification No. PE-TS-410-158-A001

| Sr. No. | Volume | Section | Clause No. | Page No. | Specification Requirement | Clarification / Query | Reason for clarification / Query | BHEL Reply |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Volume - IIB | Section C1-PT Part | Specific Technical Requirement Mechanical clause No. 3 Scope of supply (mechanical & civil) and sub clause no. 3.17, 3.18,3.21,3.22,3.23 ,3.24,3.34 and 3.35 | Page no. 12 and 13 of 869 | Scope of RCC quantity for dosing tanks (Lime, Slaked Lime and Alum) and foundation of poly dosing tanks, Lime, Slaked Lime Alum and Poly dosing pumps in chemical house | It is written in Tender on Page 12 and 13 of 869 that “ Lime, Slaked lime, Alum, Poly, DW poly dosing tanks and lime, Slaked Lime Alum, poly, DW poly dosing pumps” are in bidder scope However on Pg 15 of 869, it is clearly Mentioned that chemical house building in Client scope. Kindly clarify the Scope of RCC dosing tanks and foundation of Metallic dosing tanks and dosing pumps. We understand that, the above is not under the scope of bidders work. | This will have impact on the Civil Scope. | Please follow technical specification. |
|  | Volume - IIB | Section C1-PT Part | Schedule of Guarantee, Clause no 4.00.01-Performance Guarantee parameter Point (a) and (d) | Page no. 59 of 869 | Scope of power guarantee for pumps and blower. | It is written in Tender on Page 59 of 869 that “ Each pumps and Blower shall be guaranteed for Power consumption” However it is clearly mentioning that all Centrifugal pumps, Screw pumps, dosing pumps and blowers are in Power Guaranty category. So Kindly clarify the Which pumps and blower shall be guaranteed for Power consumption. | This will impact to power consumption and bid evaluation. | Please follow technical specification. |
|  | EPC Bid document |  | Clause no. 1.00.00 | 124 of 869 | System description Clarified water storage tank | We request to provide Top water level or Height of Clarified water storage tank. | The inlet works and Clarifier hydraulic will accordingly installed. | The height of each compartment of clarified water storage tank shall be 8.0 meters. |