## Kothagudam
1x800 MW TSGENCO KOTHAGUDAM TPS STAGE - VII, PALONCHA
PRE-TREATMENT PLANT
PRE-BID QUERIES
Sl.No | Volume | Section | Clause No | Page No | Specification Requirement | Clarification | Reasons for Clarification | BHEL REPLY
1 |  | Special Conditions of Contract | 14 | 2 of 8 | Provision of facilities at site. Construction Power: Construction Power at 11 KV level shall be provided at one point in the project "Site" free of cost" | Please confirm if stepping down to the required voltage level is in the scope of the bidder or whether 415 V power will be provided by BHEL | Additonal cost towards step down transformer and substation involved | Please follow technical specification/ Special Conditions of Contract.