## MAIN SHEET
Main Price Schedule
NAME OF THE BIDDER
NAME OF PROJECT: |  | 2X660 MW ENNORE SEZ STPP
NAME OF PACKAGE: |  | CONDENSATE POLISHING UNIT
TECHNICAL SPECIFICATION No: |  | PE-TS-412-155A-A001
[5 empty] | Supply |  |  | Service |  | Taxes
S. No. | DESCRIPTION |  | UOM | QTY | Total Ex-Works (excluding GST) (INR) | Freight in % | Total Freight | Unit Price (INR) | Total Price (INR) | GST type | GST rate in % | GST amount in Rs. | Total Price Including Freight & GST (INR)
1 | Total lump sum firm price inclusive of all prevailing taxes, duties and other levies for SUPPLY PART , SERVICES PART & MANDATORY SPARES comprising of design (i.e. Preperation and submission of drawing/ documents including " As Built " drawings and O&M Manuals), engineering, manufacture, fabrication, assembly, inspection, testing at vendor's & sub-vendor’s works, painting, maintenance tools & tackles, fill of lubricants & consumables, mandatory spares alongwith spares for erection ,startup and commissioning as required, forwarding, proper packing, shipment and delivery at site,unloading, handling, transportation & storage at site, in site transportation, assembly, Erection & Commissioning, trial run at site, and carrying out performance guarantee tests at site, training of customer/ client O&M staff, & final handing over to end customer in flawless condition for project and package specified above complete with all accessories for the total scope defined as per BHEL NIT & tender technical specification, amendment & agreements till placement of order. |  | Set | 1 | [8 empty] | 0
2 | MAJOR BREAK-UP OF PRICES GIVEN IN 1.0 ABOVE.
2.1 | Total lump sum firm price inclusive of all prevailing Total lump sum firm price inclusive of all prevailing taxes, duties and other levies for SUPPLY PART comprising of manufacture, fabrication, assembly, inspection, testing at vendor's & sub-vendor’s works, painting, maintenance tools & tackles,fill of lubricants & consumables, alongwith spares for erection , startup and commissioning as required, forwarding, proper packing, shipment and delivery at site for project and package specified above complete with all accessories for the total scope defined as per BHEL NIT & tender technical specification, amendment & agreements till placement of order. |  | Set | 1 |  |  | 0 | NA |  |  |  | 0 | 0
2.2 | Total lump sum firm price inclusive of all prevailing taxes, duties and other levies for the SERVICES PART, comprising of unloading, handling, transportation & storage at site, in site transportation, assembly, erection & commissioning, final painting at site, trial run at site and carrying out performance guarantee tests at site, training of customer/ client O&M staff & final handing over to end customer in flawless condition for project and package specified above complete with all accessories for the total scope defined as per BHEL NIT & tender technical specification, amendment & agreements till placement of order. |  | Set | 1 | NA |  |  |  | 0 |  |  | 0 | 0
2.3 | Total lump sum firm price inclusive of all prevailing taxes, duties and other levies for ENGINEERING PART for project and package specified for the total scope defined as per BHEL NIT & tender technical specification, amendment & agreements till placement of order. |  | Lot | 1 | NA |  |  |  | 0 |  |  | 0 | 0
2.4 | Total lumpsum firm price inclusive of all prevailing taxes, duties and other levies for MANDATORY SPARES comprising of manufacture, fabrication, assembly, inspection / testing (as applicable) at vendor's & sub-vendor’s works, painting, forwarding, proper packing, shipment, delivery at site & guarantee as per tender technical specification above, amendment & agreements till placement of order (Price break up of mandatory spares is to be furnished as per Annexure- I). |  | Set | 1 | 0 |  | 0 | NA |  |  |  | 0 | 0
Note: 1) The Engineering charges as mentioned above in S.No. 2.3 shall not be more than 5% of the total lumpsump value of Sl. No. 2.1 above and also as per GCC. 2) Please note that the complete engineering of the package is in the scope of bidder as per the tender requirement. However, for the payment purpose bidder to note that 50% of price as per sl. no. 2.3 shall be made against basic engineering (i.e. Preparation, submission & approval of basic drawing/ documents as indicated in tender specification section-I, Sub section-IA, Annexure-VII) and the remaining payment shall be made for the balance engineering part on pro-rata basis.
#REF!

## ANNEXURE-II
ANNEXURE - I LIST OF MANDATORY SPARES
NAME OF PROJECT: |  | 2X660 MW ENNORE SEZ STPP
NAME OF PACKAGE: |  | CONDENSATE POLISHING UNIT
TECHNICAL SPECIFICATION No: |  | PE-TS-412-155A-A001
| DESCRIPTION OF EQUIPMENT/ ITEM | QTY | UOM | Total Ex-Works Price (INR)
A | MECHANICAL
1 | SERVICE & REGENERATION VESSELS (FOR EACH TYPE & SIZE)
i) | Diffuser, Distributors & Nozzle | 10 | %
ii) | Perforated Laterals & Under Drain Collectors | 10 | %
iii) | Gaskets | 2 | Set
iv) | Nut & Bolts | 1 | Set
2 | Valves | 20 % of each type & size | %
3 | Pumps & Blowers along with Drive Motors | 1 no. each type & size | No.
4 | Ejector & Dosing Pump | 1 no. each type & size | No.
5 | Resin Trap | 1 no. each type & size | No.
6 | HORIZONTAL CENTRIFUGAL PUMP FOR EACH TYPE
i) | Bearings | 2 | Set
ii) | Thrust Pads | 1 | Set
iii) | Shaft sleeves | 1 | Set
iv) | Fasteners | 1 set required for assembling one pump | Set
7 | ELECTRIC HOISTS ( If Applicable)
i) | Brake linings | 2 set of each type | Set
ii) | Rope guide & rope tightener | 1 no. of each type | No.
iii) | Limit Switch | 2 set of each type & size | Set
iv) | Gear box/ Gear set | 2 set of each type | Set
v) | Drum Bearing | 1 set of each type & rating | Set
B | ELECTRICAL
8 | 415 V Motors
i) | Terminal plates | 10 Nos. each for small motors upto 30 KW & 4 Nos. each for more than 30 KW | Nos.
ii) | Heaters | 2 sets | Set
iii) | Greasing arrangements | 4 sets each type of motor | Set
iv) | Motor of each type and rating | 10% of the installed quantity or minimum 1 number whichever be higher. | %
v) | Bearings (DE and NDE) for each type and rating of motor | 4 sets | Set
C | CONTROL & INSTRUMENTATION
9 | INSTRUMENTATION
i) | Each type of lamps, PBs, ILPBs, fuse, MCB, MCCB used in the equipment/system. | 20 % of Installed of each type. | Nos.
10 | MEASURING INSTRUMENTS
10.01 | Indicators, Recorders, Electrical Metering and Skid Mounted Instruments:
(i) | Indicators, recorders and meters offered from each model for the project. These instruments shall be supplied with three sets of blank scales. | 10 % of Installed of each type/Model or a minimum of one number for each model and type, whichever is more. | Nos.
(ii) | For skid mounted instruments (As Applicable) | 10% of total number of instruments for each Type and model or a minimum of one number for each model and type, whichever is more. | Nos.
10.02 | Temperature Elements and Thermo wells
(i) | Thermocouple /RTD elements | 10% spare for each type and length of element furnished with thermocouple / RTD assemblies, or a minimum of one number of each type & length, whichever is more. | Nos.
(ii) | Thermo wells | 10% for each type of temperature sensors or a minimum of one for each type, whichever is more | Nos.
10.03 | Temperature Transmitters and Electronic Transmitters (For Pressure, DP, Temp, Flow, Level), Temperature, Pressure, Flow & Level Switch, safety switches, Gauges, meters, Transducer or any other instrument etc. | 10% of total number of Instruments/transducers offered for each model and type for the project or a minimum of one number, whichever is more. | Nos.
11 | Electric to pneumatic converters of each type utilized with automatic control system using pneumatic drives | Ten (10) % of each type or a minimum of one number of each type, whichever is more. | Nos.
12 | ERECTION HARDWARE
i) | Instrument valves | Ten (10) percent of each type & Size installed | Nos.
ii) | Condensate pots of each type & Size installed | Ten (10) percent of total number of Installed or four numbers whichever is higher. | Nos.
iii) | Manifold | Ten (10) percent of each type & Size installed | Nos.
iv) | Fittings | Ten (10) percent of each type & Size installed | Nos.
13 | Mandatory Spares for Control valves, Power Cylinder, Control Dampers, Actuators and Accessories
13.1 | Following spares shall be furnished for control valves, Power Cylinder, Control Dampers as applicable:
i) | One set of spare control valve stem packing for each control valve. | Quantity shall be as mentioned in Description Column | Set
ii) | Two moulded rubber diaphragms for each control valve. | Quantity shall be as mentioned in Description Column | Nos.
iii) | One sets of each of O-rings and rubber gaskets for each control valve. | Quantity shall be as mentioned in Description Column | Set
iv) | 100 percent qty. of lubricants for gaskets for each control valve on one year consumption basis. | Quantity shall be as mentioned in Description Column | %
v) | 2 sets of limit switches and 1 set of valve positioner for each control valve. | Quantity shall be as mentioned in Description Column | Set
vi) | 20 percent of position transmitter (4-20mA) for total qty. of control valve. | Quantity shall be as mentioned in Description Column | %
vii) | One (1) set of valve trims (such as plug, stem, seat ring /cage, guide bushing, stem lock pin, packing retaining ring, etc.) for each control valve. | Quantity shall be as mentioned in Description Column | Set
viii) | One completes actuator of each type or min 10% for each type and size whichever is more. | Quantity shall be as mentioned in Description Column | Nos.
ix) | 20 percent of Solenoid valves or min 2 no. of each type for total qty. of control valves. | Quantity shall be as mentioned in Description Column | Nos.
x) | 20% of I to P converters, Pressure regulators. | Quantity shall be as mentioned in Description Column | %
14 | MANDATORY SPARES NOT COVERED ABOVE
14.1 | Bidder to supply 10% or 1 no. (whichever is more) of each type of sensor, instrument, Analyser, instrumentation/mechanical fittings, Nucleonic & non-nucleonic density transmitter etc. & for any other system of CPU package | Quantity shall be as mentioned in Description Column | Nos.
| TOTAL |  |  | 0
Notes for Mandatory spares: 1) Mandatory spares listed above is bare minimum requirement. In case any additional mandatory spares requirement is covered elsewhere in the tender specification apart from specified above, same shall be deemed to have been covered in bidders scope of supply. 2) Wherever quantity has been specified as percentage (%), it shall mean percentage (%) of the population of the item required for one unit of 660 MW in the station (project), unless specified otherwise. 3) Unless stated otherwise, a "Set" or "Lot" means items required for complete replacement in one equipment of each type/ size/ range. 4) In case of Bought Out Items, itemised spares list may be vendor specific and may differ from the list of spares mentioned above. In such cases, the quoted price shall be considered for applicable Items only without any change in the contract price. 5) In case spares indicated in the list are not applicable to the particular design offered by the bidder, the bidder should offer spares applicable to offered design with quantities generally in line with the approach followed in the above list. 6) Any item which is quoted as “not applicable” in the above list and is found to be “applicable” at a later date shall be supplied by the Bidder without any commercial implications. Notes for C&I mandatory Spares : 1) C&I Mandatory Spares are indicative in above list. These spares shall be considered as per the applicable items in main supply of respective packages. 2) The spares shall be considered as unit wise except for any item/equipment supplied as common for both units.