## Summary Sheet
PRICED SCHEDULE WORKING SHEET
12303937 - "SUPPLY OF LT SWITCHGEAR FOR 4X210+3X500MW KAHALGAON FGD PACKAGE"
SL NO | MATERIAL CODE | SAP MATERIAL DESCRIPTION | UOM | TOTAL QTY | Unit Ex-Works Price including P&F Charges | Total Ex-Works Price including P&F Charges | Freight % | Unit Freight Amount | Total Freight Amount | Total Ex-Works Price including P&F Charges + Freight Amount | GST % | GST Amount | TOTAL | Applicable Annexure
1 | CP1120010012 | 415V FGD MCC #0DC | EA | 1 | [9 empty] | ANNEX B1
2 | CP1120010020 | 415V FGD EMERGENCY MCC #0DG | EA | 1 | [9 empty] | ANNEX B2
3 | CP1120010039 | 220V FGD DCDB #1FB | EA | 1 | [9 empty] | ANNEX B3
4 | CP1120010047 | 415V HVAC MCC (STAGE 1) | EA | 1 | [9 empty] | ANNEX B4
5 | CP1120010055 | 415V DMCW/ACW MCC #0DI | EA | 1 | [9 empty] | ANNEX B5
6 | CP1120010063 | 415V FGD MCC #0DD | EA | 1 | [9 empty] | ANNEX B6
7 | CP1120010071 | 415V FGD COMMON PMCC #0DE | EA | 1 | [9 empty] | ANNEX B7
8 | CP1120010080 | 415V LHP/GHP PMCC #0DF | EA | 1 | [9 empty] | ANNEX B8
9 | CP1120010098 | 415V MISC MCC #0DJ | EA | 1 | [9 empty] | ANNEX B9
10 | CP1120010101 | 415V FGD EMERGENCY MCC #0DL | EA | 1 | [9 empty] | ANNEX B10
11 | CP1120010110 | 220V FGD DCDB #1FC | EA | 1 | [9 empty] | ANNEX B11
12 | CP1120010128 | 415V HVAC MCC (STAGE 2) | EA | 1 | [9 empty] | ANNEX B12
13 | CP1120010136 | 415V FGD MCC #0DH | EA | 1 | [9 empty] | ANNEX B13
14 | CP1120010144 | 415V FGD EMERGENCY MCC #0DK | EA | 1 | [9 empty] | ANNEX B14
15 | CP1120010152 | LIGHTING ACDB (MLDB) for LHP &GHP | EA | 1 | [9 empty] | ANNEX B15
16 | CP1120010160 | WELDING ACDB for LHP &GHP | EA | 1 | [9 empty] | ANNEX B16
17 | CP1120010179 | DC LDB for LHP &GHP | EA | 1 | [9 empty] | ANNEX B17
18 | CP1120010187 | DC FUSE DB | EA | 4 | [9 empty] | ANNEX B18
19 | CP1120010195 | AC FUSE DB | EA | 4 | [9 empty] | ANNEX B19
20 | CP1120070201 | MANDATORY SPARES | SET | 1 | [9 empty] | ANNEX C
21 | CP1120110211 | TOOLS & TACKLES | SET | 1 | [9 empty] | ANNEX D
22 | CP1120080223 | ERECTION & COMM. SPARES | SET | 1 | [9 empty] | ANNEX E
23 | CP1120110238 | NUMERICAL RELAY COMM. CHARGES | SET | 1 | [9 empty] | ANNEX F
24 | CP1120090245 | SITE MODIFICATION CHARGES | SET | 1 | [9 empty] | ANNEX G
TOTAL (in Figure)
TOTAL (In value)
NOTES:
1. SUMMATION OF ALL UNIT RATES OF MODULES SHALL BE EQUIVALENT TO TOTAL BOARD COST QUOTED, VARIANCE OF +/- 5% IS ACCEPTABLE. BEYOND 5% OFFER WILL NOT BE CONSIDER AS VALID OFFER. IN UNIT ADDITION-DELETION PRICES, PRICES QUOTED FOR COMPONENTS SHALL BE AS PER LIST PRICE OF CONCERNED MANUFACTURES. IF ANY ABNORMAL PRICES ON HIGHER SIDE OBSERVED OFFER MAY BE REJECTED.
2. ALL LT PCC/ MCC/ DBs SHALL BE SUPPLIED ALONGWITH THE INTEGRAL BASE FRAMES, CABLE GLANDS & LUGS AND TOOLS & TACKLES AS MENTIONED IN DIFFERENT SECTIONS. ALL FIXING NUTS & BOLTS TOGETHER WITH FOUNDATION BOLTS SHALL ALSO BE SUPPLIED.
3. ITEM WISE PRICES WITH DESCRIPTION AND RATING OF EACH ITEM COMPLYING TO LIST FURNISHED IN THE SCHEDULE OF UNIT PRICES SHALL BE FURNISHED IN SCHEDULE OF UNIT PRICE.PRICES SHALL BE FURNISHED IN SCHEDULE OF UNIT PRICE.
4. FOR DETAILED BOARD WISE BOM, REFER ANNEXURE-B1 TO B19
5. FOR DETAILED MODULE WISE BOM, REFER ANNEXURE-H
6.ADDITION/DELETION OF QUANTITIES SHALL BE APPLICABLE AT THE QUOTED PRICE.THE UNIT RATE OF SUPPLY OF ALL EQUIPMENTS & SERVICES QUOTED BY THE BIDDER SHALL BE FIRM FOR A VARIATION OF QUANTITIES , WHICH MAY BE TO THE EXTENT OF ±30% OF THE TOTAL CONTRACT VALUE DERIVED ON THE BASIS OF ORDERED QUANTITY. SUM OF INDIVIDUAL MODULE SHALL EQUAL TO BOARD PRICE. Addition/ Deletion List as per Annexure-I
a. COMPLETE DIMENSIONS OF ALL THE BOARDS INCLUDING NO OF PCC, MCC. GA DRAWING SHALL BE DULY SUBMITTED FOR ALL BOARDS.
b. DIMENSIONS OF EACH TYPE OF PANEL.
c. MODULE SIZE OF EACH TYPE OF FEEDER.
d. MINIMUM CLEARANCES REQUIRED ON ALL SIDES FOR EACH TYPE OF PANEL.
e. NO. of VERTICAL (including PCC, MCC etc.) of EACH PANLES TO BE GIVEN, ELSE YOUR OFFER WILL BE REJECTED..
7. DOUBLE COMPRESSION, NICKLE PLATED BRASS CABLE GLANDS & HEAVY DUTY LUGS OF NTPC APPROVED MAKE FOR EXTERNAL POWER, CONTROL & EARTHING CONNECTIONS AT SUPPLIED EQUIPMENT END AND FOUNDATION BOLT ARE IN THE SCOPE OF BIDDER. BIDDER TO QUOTE ALL EQUIPMENT WITH CABLE GLANDS, LUGS AND FOUNDATION BOLTS.