## Sheet1
ANNEXURE-I
RATE CONTRACT
PRICE SCHEDULE FOR AIR TRAPS: Rev.01
SL. NO. | DESCRIPTION | End Connection pipe Size (NB) | Body Matl. | Working Press. (kg/sq.cm) | Working Temp. (deg. C) | Condensate discharge capacity (Kg/Hr) | End Connection | Quantity MAINS (Nos.) | Quantity Mandatory Spares (SEAT) (Nos) | UNIT EX-WORKS PRICE (DULY PACKED) (INR) | EX-WORKS PRICE FOR QUANTITY GIVEN AT CLM 9 (DULY PACKED) IN PERCENTAGE OF TOTAL EX WORKS PRICE OF TOTAL BOQ OF AIR TRAPS GIVEN AT SL NO-K OF COUMN 13 | TOTAL EX- WORKS PRICE (DULY PACKED) (INR) | FREIGHT CHARGES % OF TOTAL EX WORKS (INR) | GST @ % OF TOTAL EX WORKS + FREIGHT (INR) | TOTAL F.O.R SITE PRICE (INR) | Type of GST IGST/CGST/ UTGST/SGST | HSN Code
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18
A | BALL FLOAT AIR TRAP (WITHOUT STRAINER) COMPLETE ASSLY. | 25 | CCS | 8.5 | 50 | 500 | Screwed as per IS:554 Female Parallel Threaded | 193 | NIL | Derived | 20.19 | Derived | % TO BE QUOTED | % TO BE QUOTED | Derived
B | EXTERNAL 'Y' TYPE STRAINER COMPLETE ASSLY. | 25 | CCS | 8.5 | 50 | 500 | Screwed as per IS:554 Female Parallel Threaded | 193 | NIL | Derived | 5.78 | Derived |  |  | Derived
C | BALL FLOAT AIR TRAP (WITHOUT STRAINER) COMPLETE ASSLY. | 25 | CCS | 8.5 | 50 | 1000 | Screwed as per IS:554 Female Parallel Threaded | 160 | NIL | Derived | 25.07 | Derived |  |  | Derived
D | EXTERNAL 'Y' TYPE STRAINER COMPLETE ASSLY. | 25 | CCS | 8.5 | 50 | 1000 | Screwed as per IS:554 Female Parallel Threaded | 160 | NIL | Derived | 7.18 | Derived |  |  | Derived
E | BALL FLOAT AIR TRAP (WITHOUT STRAINER) COMPLETE ASSLY. | 25 | CSS | 8.5 | 50 | 500 | Screwed as per IS:554 Female Parallel Threaded | 42 | NIL | Derived | 5.02 | Derived |  |  | Derived
F | EXTERNAL 'Y' TYPE STRAINER COMPLETE ASSLY. | 25 | CSS | 8.5 | 50 | 500 | Screwed as per IS:554 Female Parallel Threaded | 42 | NIL | Derived | 1.44 | Derived |  |  | Derived
G | BALL FLOAT AIR TRAP (WITHOUT STRAINER) COMPLETE ASSLY. | 25 | CSS | 8.5 | 50 | 1000 | Screwed as per IS:554 Female Parallel Threaded | 152 | NIL | Derived | 27.23 | Derived |  |  | Derived
H | EXTERNAL 'Y' TYPE STRAINER COMPLETE ASSLY. | 25 | CSS | 8.5 | 50 | 1000 | Screwed as per IS:554 Female Parallel Threaded | 152 | NIL | Derived | 7.8 | Derived |  |  | Derived
I | Total (A to H) | [8 empty] | Derived | 99.71 | Derived |  |  | Derived
J | BALL FLOAT AIR TRAP (WITHOUT STRAINER) SEAT FOR SL No: A | 25 | CCS | 8.5 | 50 | 500 | Screwed as per IS:554 Female Parallel Threaded | NIL | 4 | Derived | 0.29 | Derived |  |  | Derived
K | Grand Total (I+J) | [8 empty] | Derived | 100 | TO BE QUOTED = Rs X |  |  | Derived = Y
Rs. X in figure & words:
NOTE : - 1. Ball float air traps without strainers (at Sl. No. A/C/E/G) are used with external 'Y' type strainers (at Sl. No. B/D/F/H). In this case traps and external Y type strainers will be considered as single unit for ordering. Offers will only be considered when both the items are quoted. 2. For detailed material of construction refer page 2 of 2, of DataSheet-A. 3. Bidder to indicate trap & strainer size, MOC offered in the complaince sheet and the same shall be binding to bidder. 4. Strainer inlet & trap outlet shall be matched with connecting pipe size by bidder. Strainer outlet and trap inlet shall be matched by bidder through expander/reducer, if required. Bidder to consider all reducer/expander as required, in their scope. 5.. Bidder to specify flow handling capacity & working pressure for each size of trap. 6. Mandatory spares will be valve seat for ball float trap. 7. CCS: Cast Carbon Steel, CSS- Cast Stainless Steel
8. Bidder to note that evaluation shall be on Grand Total FOR site price excluding GST to BHEL, however, Bidder to quote grand total Ex works value (Rs X) of the complete package only as per the BOQ above. The item wise break up of Ex works (unit as well as total) shall be derived as per the formulae indicated above by BHEL. Bidder also need to indicate taxes percentage in the respective column and freight percentage of Ex works value considering delivery anywhere in India in the freight column. Bidder to indicate freight charges separately. Freight charges shall not be included in Ex-works price
9. Rate contract shall be decided on the basis of grand Total FOR site price of Total BOQ excluding GST
10. Value is to be filled only where “to be quoted” is mentioned and for other columns where “derived” is mentioned same shall be derived by BHEL as per % allocation fixed against each item
11. Bidder to note that total price indicated above at Sl no-K shall be considered for evaluation and hence should be complete in all respect for the full scope defined and considering all terms and conditions agreed.
12. The unit price quoted by bidder shall be binding for quantity variation which is at discretion of purchaser.
13. Prices shall remain firm during contract execution.
14. For any clarification please refer Technical Specification No-PE-TS-020-100-M011
15. Price of all accessories, commissioning spares, special Tools & tackle and other accessories not listed above shall be included in the price of Air Traps & shall be supplied with the Air Traps.
16. In case of spares, any item indicated as "Not Applicable" by bidder but actually found applicable for Air Traps , shall be supplied by bidder at cost based on cost percentage break-up for spares furnished along with NIT.
17. Bidder shall furnish this price Schedule indicating "Quoted/Not-Quoted" along with technical offer and actual prices in his price offer.