## PRICE FORMAT
BOQ-CUM-PRICE FORMAT
4 X 270 MW BHADRADRI (MANUGURU) TPS
220V DC BATTERY (LEAD -ACID PLANTE)
[5 empty] | FOR INDIAN BIDDERS | [6 empty] | FOR FOREIGN BIDDERS |  | Remarks
Sr. No. | Item code | Item Description | Unit | Quantity | Unit Ex-works Price | Total Ex-works Price | ED including cess @.......% (for self manufactured items only) (in Rs.) | CST @........% Against Form 'C' & EI/EII / VAT @_______% (Rs.) | FREIGHT CHARGES (Including Service Tax, if any) @ ….. % of Quoted Total Ex-works (Rs.) | SERVICE TAX @.....% (in Rs.) | Total FOR SITE | UNIT FOB PRICE (Currency) | TOTAL FOB PRICE (Currency)
(A) | MAIN ITEMS
1 | 508-14001-A | 220V BATTERY 1 | Sets | 8 | [5 empty] | NA
Break up detail
| 1 | 220V DC, AH capacity to be decided by bidder as per Annexure-III of Section-C, 1.85 ECV, 107 cells, Lead-Acid plante High discharge type battery with all accessories listed as 1.1 below. | Sets | 8 | [5 empty] | NA
| 2 | Electrolyte (sulphuric acid for first filling plus10% extra ) | Sets | 8
| 3 | Wooden/Steel battery racks with 3 coats of anti elctrolyte resistant paints for 220V DC Battery | Sets | 8
| 4 | Stand insulators plus 5% extra | lot | 8
| 5 | Cell interconnectors with 5% extra and end take-off with one no. extra | lot | 8
| 6 | Lead coated connection hardware plus 5% extra | lot | 8
| 7 | Cell numbering tags with fixing arrangement (1set) | lot | 8
| 8 | Teakwood Cable clamps with hardware | lot | 8
| 1.1 | LIST OF ACCESSORIES (for each set of battery) |  | 8 | [5 empty] | NA
| a | Hydrometer | Nos | 1 | [9 empty] | Part of item 1.0
| b | Set of hydrometer syringes (suitable for the vent holes in different cells for specific gravity reading) | SET | 1
| c | pocket Thermometer for measuring electrolyte temperature | Nos | 3
| d | Specific gravity correction chart | Nos | 2
| e | Wall mounting type holder for hydrometer and thermometer | Nos | 2
| f | Cell testing digital voltmeter (3-0-3V) with testing leads | Nos | 2
| g | Rubber apron | Nos | 2
| h | Pair of rubber hand gloves | PAIR | 2
| i | Set of insulated spanners | SET | 2
| j | `No smoking’ notice | Nos | 2
| k | Goggles (industrial) | Nos | 2
| l | Instruction card | Nos | 10
| m | Minimum and maximum temperature indicator for Battery Room | Nos | 1
| n | Acid/alkali mixing jar, funnels and siphon | Nos | 2
| o | Battery Log Book | Nos | 1
| p | Self adhesive PVC stickers for cell numberings | Nos | 10
| q | Cell lifting straps | Nos | 2
| r | Hot air gun | Nos | 1
| s | Battery trolley with Nylon wheels | Nos | 1
| t | One set of inter cell, inter tie and interbank connectors | Nos | 1
2 | 508-14010-A | E & C SPARES | [7 empty] | NA
| a | GLOVES | SET | 4
| b | VENT PLUGS | NOS | 40
| c | Intercell connectors | NOS | 40
3 | 508-14013-A | MANDATORY SPARES | [7 empty] | NA
| a | Complete dry cell | NOS. | 2% or 2 Nos. whichever is more for each battery set
| b | Intercell connectors with hardware | NOS. | 10% or 5 nos. whichever is more for total population of 8 sets of battery
| c | Vent plug | NOS. | 10% or 5 nos. whichever is more for total population of 8 sets of battery
| d | Acid level indicating float (for opaque containers only) | NOS. | 10% or 5 nos. whichever is more for total population of 8 sets of battery
| e | Stand insulator | NOS. | 10% or 5 nos. whichever is more for total population of 8 sets of battery
| f | Cell insulator | NOS. | 10% or 5 nos. whichever is more for total population of 8 sets of battery
| Note: | Detailed list of Mandatory spares (for meeting the above requirement) shall be submitted by vendor after award of contract. This list shall be subjected to approval of BHEL/ Customer without any price implication to BHEL.
4 | 508-11029-A | TYPE TEST | [11 empty] | Type test on Two cells of Battery
| 5.1 | Test for capacity & test for voltage during discharge | Lot | 1
| 5.2 | Ampere hour & watt hour efficiency test | Lot | 1
5 | 508-14016-A | SUPV.OF E&C
| (i) | SUPV.OF E&C OF 220V DC Battery | SET | 1 | [9 empty] | Refer Annexure-1A
TOTAL
Notes:
1) | Cable Lugs at battery terminals shall be in bidder's scope & cable sizes shall be informed during detailed engineering.

## Annexure-1A
ANNEXURE-IA
4 X 270 MW BHADRADRI (MANUGURU) TPS
BOQ CUM PRICE SCHEDULE FOR SUPV.OF E&C OF 220V DC Battery
SL.NO. | DETAILS | QUANTITY | UNIT PRICE (Currency) | TOTAL PRICE (Currency)
1 | LUMP SUM CHARGES PER VISIT FOR ENGINEER (EXCEPT DAILY CHARGES) | 4 VISITS
2 | LUMP SUM DAILY CHARGES FOR ENGINEER | 12 DAYS
TOTAL
NOTES:
1) AMOUNT PAYABLE FOR ENGINEER PER VISIT TO SITE = VISIT CHARGES AS PER SL. NO. 1 ABOVE + (DAILY CHARGES AS PER SL. NO. 2 ABOVE X NO. OF DAYS AT SITE) (TO BE CERTIFIED BY BHEL SITE).
2) FREE SHARED ACCOMODATION, FOOD FACILITIES, LOCAL CONVEYANCE AT SITE, STORAGE SPACE FOR TOOLS SHALL BE PROVIDED F.O.C TO VENDOR.