CORRIGENDUM

Solar Water Heating System

PR No.  6000000280  ( NIT_7941)

| SL. No. | NIT Sl.No. | Description in NIT | Replaced with |
| --- | --- | --- | --- |
| 1. | 1.1 | Main System of 2500 LPD - Supply, Installation and commissioning of 2500 LPD SWHS consisting of 20 nos. BIS approved BHEL/TATA BP make Flat Plate Collectors each with SS 304 grade storage tank duly insulated. | Main System of 2500 LPD - Supply, Installation and commissioning of 2500 LPD SWHS consisting of 20 nos. BIS / MNRE approved Flat Plate Collectors as per IS 12933 : 2003 with Stainless Steel (SS 304 / IS 1730 grade) storage tank duly insulated. |
| 2. | 3.1 | The firm should have valid registration with Ministry of New and Renewable Energy (MNRE), GOI as Manufacturers / Suppliers for ETC based Solar Water Heating System. | The firm should have valid registration with Ministry of New and Renewable Energy (MNRE) / BIS as Manufacturers / Suppliers for Flat Plate Collector based Solar Water Heating System. |
| 3. | 3.2 | The firm should have executed Supply, installation and commissioning of minimum 2500 LPD of ETC based Solar Water Heating System (SWHS). | The firm should have executed Supply, installation and commissioning of minimum 2500 LPD of Flat Plate Collector based Solar Water Heating System (SWHS). |
| 4. | 3.3 | The firm should have Average Annual Financial turnover as per Audited Annual Reports for the last three financial years, should be at least Rs. 50 Lakhs ( 300% of estimate 16.8 Lakhs). | The firm should have Average Annual Financial turnover as per Audited Annual Reports for the last three financial years, should be at least Rs. 5 Lakhs ( 30% of estimate 16.8 Lakhs). |
| 5. | 3.6 | The firm should submit documentary evidence in respect of maintaining ETC based SWHS of capacity more than 2500 LPD. | The firm should submit documentary evidence in respect of maintaining Flat Plate Collector based SWHS of capacity more than 2500 LPD. |