## BoQ1 (hidden)
Item Wise BoQ
BoQ_Ver3.0 | Item Wise | Normal | INR Only | INR
Select, Excess (+), Less (-)
Tender Inviting Authority: SAPAN KUMAR DASH, BHEL-SCR
Name of Work: Rotary Switches
Contract No: E4243027
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (DOMESTIC TENDERS - RATES ARE TO GIVEN IN RUPEES (INR) ONLY) (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevant columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder in Rs. P | Excise Duty Amount in INR Rs. P | GST in (%) | Freight Charges ( Unloading & Stacking) in Rs. P | Any Other Taxes in Rs. P | Any Other Duties/Levies in Rs. P | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | HSN Code |  | TOTAL AMOUNT Without Taxes col (13) = (4) x (7) in Rs. P | TOTAL AMOUNT With Taxes col (14) = col (13)+[Col(13) x Col(9)/100] in Rs. P | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 7 | 8 | 9 | 10 | 11 | 12 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 13 | 14 | 15
1 | BREAKER CONTROL SWITCH HAVING 3 POSITIONS & 20 WAYS AS PER ANNEXURE-1 , IT-1 | SG4935109173 | 200 | NO | -1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
2 | BREAKER CONTROL SWITCH HAVING 3 POSITIONS & 6 WAYS AS PER ANNEXURE-1 ,IT-2 | SG4935109181 | 100 | NO | -1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
3 | ISOLATOR CONTROL SWITCH HAVING 3 POSITIONS & 04 WAYS AS PER ANNEXURE-1 ,IT-3 | SG4935109190 | 500 | NO | -1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
4 | AUTO RECLOSE SELECTOR SWITCH HAVING 3 POSITIONS & 12 WAYS AS PER ANNEXURE-1 , IT-4 | SG4935109203 | 60 | NO | -1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
5 | AUTO RECLOSE SELECTOR SWITCH HAVING 2 POSITIONS & 08 WAYS AS PER ANNEXURE-1 ,IT-5 | SG4935109211 | 30 | NO | -1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
6 | CARRIER SELECTOR SWITCH HAVING 2 POSITIONS & 08 WAYS AS PER ANNEXURE-1 ,IT-6 | SG4935109220 | 180 | NO | -1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
7 | CP/BCU SELECTOR SWITCH HAVING 2 POSITIONS & 24 WAYS AS PER ANNEXURE-1 , IT-7 | SG4935109238 | 200 | NO | -1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
8 | DC SUPPLY SELECTOR SWITCH HAVING 3 POSITIONS & 10 WAYS AS PER ANNEXURE-1 , IT-8 | SG4935109246 | 500 | NO | -1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
9 | PROTECTION TRANSFER SELECTOR SWITCH HAVING 3 POSITIONS & 24 WAYS AS PER ANNEXURE-1, IT-9 | SG4935109254 | 200 | NO | -1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
10 | SYNCHROSCOPE SWITCH HAVING 2 POSITIONS & 8 WAYS AS PER ANNEXURE-1, IT-10 | SG4935109262 | 20 | NO | -1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
11 | SYNCHRONISING SWITCH HAVING 2 POSITIONS & 8 WAYS AS PER ANNEXURE-1, IT-11 | SG4935109270 | 20 | NO | -1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
12 | BUSBAR SELECTOR SWITCH HAVING 2 POSITIONS & 12 WAYS AS PER ANNEXURE-1 ,IT-12 | SG4935109289 | 30 | NO | -1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
13 | CP/SCADA SELECTOR SWITCH HAVING 2 POSITIONS & 24 WAYS AS PER ANNEXURE-1, IT-13 | SG4935109297 | 100 | NO | -1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
14 | SEQUENCE SELECTOR SWITCH HAVING 20 POLE, 4 POSITION AS PER ANNEXURE-1, IT-14 | SG4935109300 | 300 | NO | -1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
15 | AUTO/MANUAL SELECTOR SWITCH HAVING 4 POLE, 4 POSITION AS PER ANNEXURE-1, IT-15 | SG4935109319 | 500 | NO | -1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
16 | REMOTE AUTO/REMOTE MANUAL SELECTOR SWITCH HAVING 3 POLE, 4 POSITION AS PER ANNEXURE-1, IT-16 | SG4935109327 | 500 | NO | -1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
17 | REMOTE/SUPERVISORY SELECTOR SWITCH HAVING 2 POLE, 2 POSITION AS PER ANNEXURE-1, IT-17 | SG4935109335 | 500 | NO | -1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
18 | SCADA/REMOTE/SCAP SELECTOR SWITCH HAVING 9 POLE, 3 POSITION AS PER ANNEXURE-1, IT-18 | SG4935109343 | 100 | NO | -1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
19 | WINDING SELECTOR SWITCH HAVING 12 POLE, 4 POSITION AS PER ANNEXURE-1, IT-19 | SG4935109351 | 50 | NO | -1 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | 0 | 0 | #VALUE!
Total in Figures | [51 empty] | 0 | 0 | #VALUE!
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information