BHARAT HEAVY ELECTRICALS LTD, BHOPAL

MATERIAL MANAGEMENT (SCR)

PIPLANI – BHOPAL - 462022 (M.P.)

PHONE NO: +91 755 2503637/+91 755 2505087

Email: sahirwar@bhel.in / atulchaturvedi@bhel.in

TENDERS ARE INVITED FOR SUPPLY OF FOLLOWING ITEM FROM VENDORS:

| SL NO | ENQ. NO. | IT. NO. | ITEM DESCRIPTION | QTY | TENDER FEE | DUE DATE |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | E4613131 | 1 | COPPER CONNECTION L TYPE (ELECTRO PLATED) AS PER DRAWING NO. 46670600587 REV 01 (1 SET CONSIST OF 24 NOS.CONNECTIONS) PVC FACTOR OF COPPER IS 1:5.04. BASE RATE OF BME COPPER (TOTAL VALUE'A') IS RS 760.83/- PER KG. (COPPER CONNECTIONS TO BE PACKED IN SETS IN SEPARATE BOXES, ONE SET IN ONE BOX). | 175 Nos. | Not Applicable | 02/05/22 |
|  |  | 2 | SET OF COPPER BUSBARS (ELECTRO PLATED) FOR DETC RECTIFIER – 1 AS PER ANNEXURE - 1. ONE SET CONSISTS OF 12 TYPES OF BUSBAR. PER SET QTY OF EACH BUSBAR IS MENTIOND IN ANNUXURE - 1. PVC FACTOR OF COPPER IS 1:31.55. BASE RATE OF BME COPPER (TOTAL VALUE 'A') IS RS 760.83/KG. (BUSBARS TO BE PACKED IN SETS IN SEPARATE BOXES, ONE SET IN ONE BOX). | 175 Nos. |  |  |
|  |  | 3 | SET OF COPPER BUSBARS (ELECTRO PLATED) FOR DETC RECTIFIER – 2 AS PER ANNEXURE - 2. ONE SET CONSISTS OF 12 TYPES OF BUSBAR. PER SET QTY OF EACH BUSBAR IS MENTIOND IN ANNUXURE - 2. PVC FACTOR OF COPPER IS 1:29.12. BASE RATE OF BME COPPER (TOTAL VALUE 'A') IS RS 760.83/KG. (BUSBARS TO BE PACKED IN SETS IN SEPARATE BOXES, ONE SET IN ONE BOX). | 175 Nos. |  |  |

- Complete tender document and details can be downloaded from https://eprocurebhel.co.in

- Bids are invited in two parts through EPS (https://eprocurebhel.co.in). Part-1 will consist Pre-Qualification criteria, technical specifications of the item and commercial terms & conditions, Part-2 will be the Price bids.

- All subsequent corrigendum/amendment shall be published only on the e-procurement website. Hence, bidders are advised to be in touch with the e-procurement website till the tender is finally opened.

- Price bids of techno-commercially qualified vendors will only be opened which will be suitably notified.

- BHEL reserves the right to accept or reject any of the bid / all the bids or cancel or withdraw the invitation of tender without assigning any reason whatsoever and in such case no bidder / intending bidder shall have any claim arising out of such action by BHEL.

- BHEL’s “GENERAL TERMS AND CONDITIONS OF ENQUIRY” BP200102A, available on vendor’s portal at https://bpl.bhel.com/bplweb_new shall prevail.