**BHARAT HEAVY ELECTRICALS LTD, BHOPAL**

**MATERIAL MANAGEMENT (SCR)**

**PIPLANI – BHOPAL - 462022 (M.P.)**

**PHONE NO: +91 755 2503637/+91 755 2505648**

**Email:** [sahirwar@bhel.in](mailto:sahirwar@bhel.in) **/** raginip@bhel.in

**TENDERS ARE INVITED FOR SUPPLY OF FOLLOWING ITEM FROM VENDORS:**

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **SL**  **NO** | **ENQ. NO.** | **IT. NO.** | **ITEM DESCRIPTION** | **QTY** | **TENDER FEE** | **DUE DATE** |
| **1** | **E4643173** | **1** | AC FAN WITH INVERTER ALONG WITH TOP DUCT ASSY TO SPEC PS407545. | **100 Nos.** | **Not Applicable** | **08/02/25** |

1. Complete tender document and details can be downloaded from [**https://eprocurebhel.co.in**](https://eprocurebhel.co.in/)
2. Bids are invited in two parts through EPS ([**https://eprocurebhel.co.in**](https://eprocurebhel.co.in/)). Part-1 will consist Pre-Qualification criteria, technical specifications of the item and commercial terms & conditions, Part-2 will be the Price bids. The bids to be submitted not later than **11:00 AM** (IST) on the due date. Tenders will be opened on due date from **06:00 PM** (IST) onwards.
3. All subsequent corrigendum/amendment shall be published only on the e-procurement website. Hence, bidders are advised to be in touch with the e-procurement website till the tender is finally opened.
4. Price bids of techno-commercially qualified vendors will only be opened which will be suitably notified.
5. BHEL reserves the right to accept or reject any of the bid / all the bids or cancel or withdraw the invitation of tender without assigning any reason whatsoever and in such case no bidder / intending bidder shall have any claim arising out of such action by BHEL.
6. BHEL’s “GENERAL TERMS AND CONDITIONS OF ENQUIRY” BP200102B, available on vendor’s portal at [**https://bpl.bhel.com/bplweb\_new**](https://bpl.bhel.com/bplweb_new) shall prevail.