**BHARAT HEAVY ELECTRICALS LTD, BHOPAL**

**MATERIAL MANAGEMENT (SCR)**

**PIPLANI – BHOPAL - 462022 (M.P.)**

**PHONE NO: +91 755 2503637/+91 755 2505648**

**Email:** sahirwar@bhel.in **/** raginip@bhel.in

**TENDERS ARE INVITED FOR SUPPLY OF FOLLOWING ITEM FROM VENDORS:**

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **SL****NO** | **ENQ. NO.** | **IT. NO.** | **ITEM DESCRIPTION** | **QTY** | **TENDER FEE** | **DUE DATE** |
| **1** | **E4853060** | **1** | PVC INSULATED FIRE RETARDANT GREY, 1100V VOLTAGE GRADE, TIN PLATED HIGH CONDUCTIVITY ANEALED COPPER FLEXIBLESINGLE CORE MULTI-STRANDED WIRE, CONDUCTOR SIZE SINGLE CORE \* 0.75 SQ. MM (24/0.20MM) TO IS 694 LATEST RELEASE. PVC RATIO OF COPPER IS 1:0.0067, BASE RATE OF BME COPPERCATHODE IS TOTAL VALUE (A) RS 874.99 PER KG. (1 ROLL = 100 METERS). OFFERED ITEM SHOULD BE BIS APPROVED &CERTIFICATION OF SAME TO BE SUBMITTED WITH THE TECHNICAL OFFER | 600000.000 **MR** | **Not Applicable** | **25/07/2025** |
|  | **2** | PVC INSULATED FIRE RETARDANT LOW SMOKE (FRLS) GREY, 1100V VOLTAGE GRADE, TIN PLATED HIGH CONDUCTIVITYANEALED COPPER FLEXIBLE SINGLE CORE MULTI-STRANDED WIRE, CONDUCTOR SIZE SINGLE CORE \*0.5 SQ. MM (16/0.20MM) TO IS 694 LATEST RELEASE. PVC RATIO OF COPPER IS 1:0.0044, BASE RATE OF BME COPPER CATHODE IS TOTAL VALUE (A) RS 874.99 PER KG. (1 ROLL = 100 METERS). OFFERED ITEM SHOULD BE BISAPPROVED & CERTIFICATION OF SAME TO BE SUBMITTED WITH THE TECHNICAL OFFER | 50000.000 MR |

1. Complete tender document and details can be downloaded from [**https://eprocurebhel.co.in**](https://eprocurebhel.co.in/)
2. Bids are invited in two parts through EPS ([**https://eprocurebhel.co.in**](https://eprocurebhel.co.in/)). Part-1 will consist Pre-Qualification criteria, technical specifications of the item and commercial terms & conditions, Part-2 will be the Price bids. The bids to be submitted not later than **11:30 PM** (IST) on the due date. Tenders will be opened on due date from **05:30 PM** (IST) onwards.
3. All subsequent corrigendum/amendment shall be published only on the e-procurement website. Hence, bidders are advised to be in touch with the e-procurement website till the tender is finally opened.
4. Price bids of techno-commercially qualified vendors will only be opened which will be suitably notified.
5. BHEL reserves the right to accept or reject any of the bid / all the bids or cancel or withdraw the invitation of tender without assigning any reason whatsoever and in such case no bidder / intending bidder shall have any claim arising out of such action by BHEL.
6. BHEL’s “GENERAL TERMS AND CONDITIONS OF ENQUIRY” BP200102B, available on vendor’s portal at [**https://bpl.bhel.com/bplweb\_new**](https://bpl.bhel.com/bplweb_new) shall prevail.