BHARAT HEAVY ELECTRICALS LIMITED

JHANSI

EQUIPMENT	:	Phaco Emulsification system

QUANTITY		:	1 SET

TECHNICAL DETAILS:

Phaco Emulsification system consisting of :

- Phaco Emulsification system with pedal.

- Carrying case.

- Mains cable for control units without mains plug.

- I/A tubing-set, auto-clavable.

- Titano handipece-6 crystal.

- Phaco tip excellerator.

- Phaco tip excellerator II-30 Deg.

- Key for phaco tips

- Irrigation sleeve.

- I/A Bi-manual instrument kit 0.8mm, Capsulotomy plug on-tip.

- Test-chamber.

- Irrigation sleeve for co-mics tip.

- Titanium tip co-mics,30 deg 1.6mm incision.

- Handpiece short for diathermy.

- Bipolar forceps.

- Sterilization container.

- Sus magnetic motor cable -3 meter floating.

- Sus-Guillotine cutter.

- Diamond knives for phaco surge.