Specification & Accessories

1. Name of Equipment:- **Audio Meter –Elcon Milli**
2. Portable
3. Frequency dials-120-8 K
4. Intensity -0-120 Hz.
5. Voltage 220V
6. Masking Dials
7. Ear Phones
8. Bone vibrator.