	  [image: image1.png]



JHANSI
	BHARAT HEAVY ELECTRICALS LIMITED , JHANSI

FACTORY CIVIL DEPARTMENT

 Name of work: - Epoxy flooring suitable for Air Caster Movement.
Tender Enquiry No. FCX / TE / 1 / 32 /  R                                       DT 23/01/2012




[image: image1.png]


                                       TENDER 

(TENDER No. FCX / TE / 1 / 32 / R)

          Epoxy flooring suitable for Air Caster Movement.
[image: image2.wmf] 


Factory CIVIL DEPARTMENT
BHARAT HEAVY ELECTRICALS LIMITED

(A Government of India Undertaking)

JHANSI – 284129 (U.P.)

TABLE OF CONTENTS
	S.No
	

CONTENTS
	Page

	PART A: TECHNO-COMMERCIAL BID (Separate envelop) 

	1
	NOTICE INVITING TENDER
	3

	2
	SCOPE OF WORK
	4-5

	3
	QUALIFICATION CRITERIA FOR BIDDERS
	6

	4
	INSTRUCTION TO TENDERERS
	7-12

	5
	GENERAL TERMS AND CONDITIONS
	13-20

	6
	SPECIAL CONDITIONS OF CONTRACT
	20-22

	7
	TECHNICAL SPECIFICATIONS FOR WORK
	23-25

	8
	ANNEXURE “A” TO “G”
	26-29

	9
	BLANK PRICE BID
	30-32

	PART B: PRICE BID (Separate envelop)

	1
	PRICE BID  
	33-35


NOTICE INVITING TENDER

GENERAL TERMS AND CONDITIONS
1. Sealed tenders are invited for the following works.

	Short Description of Work
	Time of Completion
	Value of Work
	Earnest Money Deposit (In Rs.)
	Tender Submission Date & Time
	Tender Opening Date & Time

	Epoxy flooring suitable for Air Caster Movement.

	 5 months 

	Rs 44.26 lakhs
	Rs.1,00,000/- 

To be accompanied with techno-comml. bid (Part 1)
	17 -02-2012 , 1:15 PM 
	17 -02-2012 , 2:00 PM


2 Cost of Tender Document Rs 454/-

3 Address for purchase, submission & opening of Tender

a. Purchase of Tender : - Office of Sh R K Srivastava
                                            DGM – FCX & Estate
      BHEL Jhansi – 284129

      Email rks@bheljhs.co.in
b. Submission of Tender :- Tender Box located at Admin  Building

Admin Building Main gate

BHEL Jhansi – 284129

                                                Or if sent through Courier




       Sh R K Srivastava
                                            DGM – FCX & Estate
      BHEL Jhansi – 284129
PH NO  0510 2412785, 9453001001

fAX NO 0510 2412119

      Email rks@bheljhs.co.in
c) Opening of Tender :- Tender Room 

     Admin Building Main gate

     BHEL Jhansi – 284129

4 Tender documents can be purchased from the above office by submitting an application and cost of tender documents by Demand Draft payable at Jhansi or cash (to be paid at cash counter at BHEL Jhansi) Till 16/02 /2012 upto 3.00 pm 
5 BHEL General Conditions of Contract shall form an integral part of the tender document. This document can be obtained from FCX office on any working day.
6 Bidders may also download the tender documents from the web page of BHEL (www.bhel.com) and use the documents for submission of tender. In such cases, the cost of tender documents shall have to be paid at the time of or before submission of offer. Payment to be made through DD favouring “ Bharat Heavy Electricals Ltd” payable at Jhansi , to be sent along with the offer.

a. BHEL takes no responsibility for any delay / loss of documents or correspondence sent by courier or post.

b. Your offer is to be submitted in two parts in separate sealed envelopes properly marked as highlighted below.

i. Part-I Techno-commercial bid : - Containing (i) Bidder’s signature and seal on all pages of Tender Document along with submission of supporting documents as required in the Qualification criteria. (ii) Signed Blank Price Bid.  Part-I of the sealed tenders alone will be opened by BHEL in the presence of tenderers who are present at time & place of opening.

ii. Part-II Price-Bid: The price bid will be opened only for the parties who  techno commercially qualify as per our qualifying criteria.  The time and date of opening of price bid will be intimated to such agencies at a later date.

c. The bidders should carefully go through the ‘Instructions to Tenderers’, ‘Qualifying Criteria’, ‘General Conditions of Contract’ and ‘Special Conditions of Contract’ which are all parts of the tender document before submitting their offers. For relevant details please visit our WEBSITE “www.bhel.com & www.bheljhs.co.in”
SCOPE OF WORKS:

Providing and application of Epoxy coating on RCC floor of shops in factory area to make it suitable for movement of Air Caster. The acceptance criteria of floor for Air Caster can be obtained from the office of DGM FCX, BHEL Jhansi during any working day upto the last date of submission of tender documents. Further the floor is more than 35 years old and oil - soaked. In addition, some miscellaneous civil works are to be required to be carried out to prepare area for movement of air castor like construction of brick wall etc. The detailed method of application shall be as per price bid. No flame burning shall be permitted on the floor.
NOTES:

1. Offers should be strictly in accordance with the tender specifications and general instructions to the tenderer enclosed herewith. All terms and conditions of the tender should be accepted unconditionally by the tenderer. 

2. Clarifications, if any of Technical/Commercial nature, can be obtained from DGM-FCX / Manager (FCX), BHEL-Jhansi but such requests shall be entertained before submission of the tender.  No deviation w.r.t. Terms and conditions of the tender are acceptable.

3. It will be in the interest of the bidders to visit the existing shops at BHEL Jhansi. Once tenderers have quoted their rates for the work, it will be deemed that they have acquired complete details of the work and no claims of lack of knowledge about site will be entertained.
4. The tenderers are required to quote for the complete work with rates for all the items excluding service tax and number column should be left blank. Service Tax shall be paid extra. Proof of deposition of Service Tax paid by BHEL to contractor will be mandatory before payment of final bill and release of Security Deposit. Tenderers quoting for part of the work or incomplete in any respect are likely to be rejected. 

5. BHEL reserves the right to accept or reject any / all of the bid(s) with or without deviation or cancel / withdraw the invitation for bid without assigning any reasons whatsoever and in such case no bidder shall have any claim arising out of such action by BHEL.

6. The work shall be awarded to overall lowest bidder only.
7. 10 % of contract value shall be withheld from 1st RA bill and will be released only after successful run of Air Caster. Final bill will be prepared only after successful run of Air Caster
8. Contractor must provide 5 years guarantee for work done and if any defects are found the same must be made good free of cost. During this period, total Security Deposit shall be retained by BHEL in the form of cash / BG.

9. During the guarantee period, if any repair / maintenance work is needed (where damage to Epoxy/EPU coating is attributable to mistake / mishandling by BHEL personnel or equipment) the contractor must carry out the same at the same rates as quoted in price bid within 15 days of intimation by BHEL.
                                                                             For & on behalf of BHEL

                                                                               DGM –Civil & Estate
QUALIFICATION CRITERIA   FOR   BIDDERS
01- Bidders must have ESI registration, PAN number, Service Tax registration (PAN based), and TIN number. 

02- Bidders must agree to submit PF registration and Central Labour License within one month of award of work.

03- Bidders’ Average Annual Financial turn over during last 3 years, ending 31st March 2011 should be at least Rs 13.28 lakhs.(Bidders to submit documentary evidence)
04- Bidders must have experience of successfully executing similar work during last 7 years ending 31/12/2012, Similar work will mean laying of epoxy flooring on industrial floors over minimum 500 sqm area with minimum compressive strength of  25 N /sq mm. The minimum value of work must be  as per following

(i) One Similar work - Rs 35.41 lakhs

(ii) Two Similar works - Rs 22.13 lakhs each

(iii) Three Similar works - Rs 17.70 lakhs each
05- Bidders must sign declaration to prepare floor as per specifications of Air aster.(Annexur C)
06- Documentary evidences in support of bidders above mentioned experiences must be submitted for their consideration by BHEL.  The works submitted for considerations shall be complete in all respects. In case of works executed for private parties certificate of Tax Deducted at Source (TDS) for the payment made in lieu of the work must be submitted.  

07- Earnest Money Deposit (EMD) for Rs. 1,00,000/-  shall have to be deposited by the bidders along with their Part-I Bid.  EMD will be returned to the unsuccessful bidders.

08- Self certificate that he not blacklisted /banned /delisted on the date of tender . 
09- Self Declaration that he is not blacklisted /under hold from BHEL Jhansi or banned by any unit /region /office of BHEL . 

010- Self Declaration that he should not be guilty by a court of Law in india for any offence involving fraud, dishonesty and moral turpitude .  

Certified that Sections of the Tender have been read/complies and agreed to, and each page of the tender offer has been initiated and stamped.
(Signature of Authorized Persons(s))

Name and Designation of Authorized Persons(s) Signing the Tender on behalf of the tenderer.

INSTRUCTIONS TO TENDERERS

1. This tender conditions &  specification as a whole, furnishing all the details and other documents as required in the following pages, shall be duly signed and sent as  in a sealed cover boldly super scribing the name of work as given in the tender notice.

2. The tender shall be addressed to as follows :

             Sh R K Srivastava
             DGM – Civil & Estate
             BHEL Jhansi – 284129
            PH NO  0510 2412785, 9453001001
Sealed Tenders submitted (i) personally, (ii) by Courier, or (iii) by post shall be sent as  “REGISTERED POST ACKNOWLEDGEMENT DUE”. Tenders shall be sent/posted with due allowance for any transit/postal delay.  The tenders received after due date and time of opening are liable to be rejected. Telegraphic offers and offers received by telex/fax may not be considered unless confirmed in writing by a detailed offer. The decision of acceptance of such offers solely rests with BHEL. THE SEALED TENDERS CAN ALSO BE DROPPED IN THE TENDER BOX PLACED AT CISF ROOM OF ADM. BUILDING GATE BEFORE 1.15 PM ON THE DUE DATE OF OPENING.

3. Tenders shall be opened by authorised employees of BHEL in that tender room of MM department at the time and date as specified in the tender notice in the presence of such of those tenderers or their authorized representative who may be present.

4. The tenderers shall closely peruse all the clauses, and specifications indicated in the Tender Documents before quoting.  If the tenderer has any doubt about the meaning of any portion of the Tender Specifications or finds discrepancies / omissions in the tender documents issued or shall require clarification on any of the technical aspect scope of work etc., he shall at once contact the authority inviting the tender for clarification before the submission of the tender.

5. Before tendering, the tenderers are advised to inspect the site of work and the environments and be acquainted with the actual working and other prevalent conditions, facilities available, position of material and labour.  No claim will be entertained later on grounds of lack of knowledge after submission of the tender.

6. Tenderer must fill the schedules and furnish all the required information as per the instructions given in various sections of the tender document and specification.  Each and every page of the Tender Specification must be SIGNED, STAMPED AND SUBMITTED ALONG WITH THE OFFER by the tenderer in token of complete acceptance thereof. The information furnished shall be complete by itself.

7. The tenderer shall quote the rates in English Language using international numerals.  These rates shall be entered in figures as well as in words.  In case of difference in rates between words and figures, the rate quoted in figures shall be treated as final rate.  For the purpose of the tender, the metric system of units shall be used.

8. All entries in the tender shall either be typed or be written in ink.  Erasures and overwriting are not permitted and may render such tenders liable to summary rejection.  The tenderer shall duly attest all cancellations and insertions prior to submission of tender.

9. DATA TO BE ENCLOSED: Full information shall be given by the tenderer in respect of the following. Non submission of this information may lead to rejection of the offer.
9.1. FINANCIAL STATUS.

Financial viability as per Pro forma enclosed at ANNEXURE `A’.

9.2. PERMANENT ACCOUNT NUMBER

Permanent Account Number issued by Income tax department.

9.3. PREVIOUS EXPEREINCE:

            A statement giving particulars (duly supported by documentary evidence) of the various services rendered/in progress for each similar works by the tenderer indicating the particulars and value of each work, the site location, the duration, date of completion etc.  as per PROFORMA – ANNEXURE-`B’

9.4. ORGANISATION CHART:

            The organization pattern indicating name, qualification and experience of technical personnel on the rolls of the company as on the date of submission of tender documents 
9.5. An attested copy of the Power of Attorney, in case the tender is signed by an   individual   other than the sole Proprietor, shall also be attached.

9.6. IN CASE OF AN INDIVIDUAL: His full name, experience, address and nature of   business.

OR

IN CASE OF PARTNERSHIP FIRMS:  The names of all the partners with addresses and their experience.  A copy of the partnership deed/Instrument of Partnership duly certified by a Notary Public shall be enclosed.

OR

               IN CASE OF COMPANIES: Date and place of registration including date of  commencement certificate in case of public companies and the nature of business carried on by the Company.  Certified copies of memorandum and Articles of Association are also to be furnished.  Also indicate names, addresses and experience of the Directors.

9.7. Declaration sheet as per pro forma enclosed at ANNEXURE`D’. 

9.8. In addition to the above, the particulars required elsewhere in tender documents must be submitted.

9.9. Mention your PF code No. allotted to you by the Regional Provident Fund Commissioner.

9.10. Mention your ESI code no or any other medical policy prevailing in your company.

9.11. Mention your Service Tax Registration No.( PAN Based )  issued by Central Excise Department.

9.12. Note: In terms of clauses 9.1 to 9.11 above, all the data required to be enclosed with the tender need to be furnished neatly typed, signed and stamped in the given as per annexure only (in the form of separate sheets) failing which the tender may be considered as incomplete and is liable for rejection.  Documentary, proofs wherever necessary also need to be enclosed.

10. EARNEST MONEY DEPOSIT:

Every tender must be accompanied by the prescribed amount of Earnest Money Deposit in any one of the following forms.   

Note:  Cheques, Money Orders or Postal Orders will not be accepted.

10.1 Cash:  The amount should be remitted by the party to the Cashier of Bharat Heavy Electricals Limited Jhansi and cash receipt issued by him shall be enclosed along with the tender.

10.2 Demand Draft from any Nationalized Bank in favour of Bharat Heavy Electricals Limited, Jhansi.

10.3 The Earnest Money Deposit of the successful tenderer shall be converted & adjusted against security deposit.

10.4 In the case of unsuccessful tenderers, the Earnest Money will be refunded to them after finalization of the tender. 

10.5 BHEL reserves the right to  forfeit the  Earnest Money in case the successful tenderer in the event he/they 

10.5.1 After opening of tender, if the tenderer revokes/withdraws his tender within the validity period or revises/alters his earlier quoted rates/conditions.

10.5.2  Fails to commenced the work within 15 days from the   date of issue of letter of intent

10.5.3 Fails to submit 50% of the total security deposit before start of work. 
10.5.4 Fails to start the work as may be indicated in the Letter of Intent. 
10.6      EMD to be submitted along with techno commercial bid only and not in

          
price bid .

10.7   No adjustment of earlier EMD/Security deposit ,if any, shall be permitted.

11 AUTHORISATION AND ATTESTATION:

Tenders shall be signed by persons duly authorized /empowered to do so.  Certified copies of such authority and relevant documents shall be submitted along with the tenders.

12 VALIDITY OF OFFER:

The offer shall be kept open for acceptance for a minimum period of 90days from the date of opening of tenders from date of negotiation.  In case Bharat Heavy Electricals Limited calls for negotiations, such negotiations shall not amount to cancellation or withdrawal of the original offer, which shall be binding, on the tenderers.

13 EXECUTION OF CONTRACT:

The successful Tenderer’s responsibility under this contract commences from the date of issue of the Letter of Intent by Bharat Heavy Electricals Limited.  The successful tenderer shall be required to execute a contract in the “Prescribed form ’ as per GCC with the BHEL within a reasonable time after the acceptance of his their tender and in any case before the commencement of work.  The expenses for completion and stamping and registration of the agreement with prescribed authority, if necessary shall be borne by the Contractor.

14 SECURITY DEPOSIT

Upon acceptance of tender, the successful tenderer must deposit the required amount of security deposit within the time specified in the letter of intent for satisfactory completion or work. 

14.1 The total amount of Security Deposit shall be as follows :

14.1.1 In the case of work costing upto Rs. 10 lakhs:- 10%.

14.1.2 Above Rs.10 lakhs upto Rs. 50 lakhs:-1 lakh+7.5 % of the amount exceeding Rs. 10 lakhs

14.2 The Security Deposit will be deposited within 15 days from the date of issue of letter of intent but before start of work in any one of the following forms.

14.2.1 The total Security Deposit as indicated in the Letter of Intent has to be submitted in  cash  or as per clause 14.2.2 herewith as under :

14.2.2 (i). 50% of the security deposit value has to be remitted by cash or in other form security and remaining 50 % of the security deposited can be deposited  in the form of Bank Guarantee from schedule bank in the prescribed proforma as per works policy of  BHEL.  (ii). Security deposit can also  be recovered by deductions from running bills @ 10% of the value of each running bill commencing from first running bill itself till the full Security Deposit is made up. In such cases 50 % of security deposit should be collected before start of work.  

14.2.3 The validity of the Bank Guarantee furnished towards Security Deposit under 14.2.2 above shall be up to the period of completion of work as stipulated in the Letter of Intent + Five Years Guarantee period + 3 months claim period.

14.3  If the value of the work done at any time exceeds the accepted agreement value, the Security Deposit shall be correspondingly enhanced and the extra Security Deposit shall be immediately deposited by the Contractor or recovered from payments due to him.

14.4 Adjustment of Earnest Money Deposit towards part of Security Deposit shall be done as per clause 10.5 above.

14.5 BHEL reserves the right to forfeit the Security Deposit in addition to other claims and    penalties in the event of the Contractor’s failure to fulfill any of the contractual obligations or in the event of termination of contract as per terms and conditions of contract.  BHEL reserves the right to set off the Security Deposit, against any claims of any other contracts with BHEL
14.6 RETURN OF SECURITY DEPOSIT: 
The Security Deposit in the form of cash / BG will be returned after completion of 5 years guarantee period.

15 No interest shall be payable by BHEL on Earnest Money, Security Deposit or on any money due to the Contractor by BHEL.

16 REJECTION OF TENDER AND OTHER CONDITIONS:

The acceptance of Tender will rest with BHEL which does not bind itself to accept any or all of the tenders and reserves to itself full rights for the following without assigning any reasons whatsoever.

16.1.1 To reject any or all of the tenders

16.1.2 To award the work in part

16.1.3 In contingency stated in 16.1.2 above to modify the time for completion suitably.

16.2 Conditional and un witnessed tenders, tenders containing absurd or unworkable rates and amounts, tenders which are incomplete or otherwise considered defective and tenders not in accordance with the tender conditions, specifications, etc., are liable to be rejected.

16.3 If a tenderer expires after the submission of his tender or after the acceptance of his tender, BHEL may at its discretion, cancel such tender.  If a partner of a firm expires after the submission of the tender or after the acceptance of the tender, BHEL may cancel such tender at its discretion unless the firm retains its character.

16.4 BHEL will not be bound by any Power of Attorney granted by the tenderer or by changes in the composition of the firm made subsequent to the execution of the contract.  BHEL may, however, recognize such Power of Attorney and changes after obtaining proper legal advice, the cost of which will be chargeable to the contractor concerned.

16.5 If the tenderer deliberately gives wrong information in his tender, BHEL reserves the right to reject such tender at any stage or to cancel the contract, if awarded and forfeit the Earnest Money/Security Deposit/any other moneys due.

16.6 Should a tenderer or Contractor or in the case of a firm or Company of 
         Contractors/one or more of its Partners/Shareholders/Directors have a relation or     

         relations employed in BHEL, the authority inviting tender shall be informed of the
         fact along with the offer, failing this BHEL may at its sole discretion reject the 
         tender or cancel the contract and forfeit the Earnest Money/Security Deposit.

16.7  
The successful tenderer should not sub-contract the part or complete work detailed in the tender specification without written permission of BHEL.  The tenderer is solely responsible to BHEL for the work awarded to him.

17 Stamp Duty - Contractor should deposit stamp duty on security deposit as per Indian Stamp Act 1899 and amendment made there under, applicable UP stamp duty rules.
18 LABOUR LICENSE REQUIREMENTS
In case 20 or more labours are employed for the work, the contractor shall be required to submit valid Central Labour License within 30 days of issue of Letter of Intent by the Engineer -in-Charge, failing which the permission to work shall be suspended and the contractor shall be liable to pay Liquidated damages to BHEL in case of delay in completion of work.

19 OTHER DOCUMENTS
BHEL reserves the right to ask for any other document / certificate / clarification from the contractor relevant to above qualifying criteria and the same must be submitted within 7 (seven) days of receipt of any such communication from BHEL, failing which the deemed fit action shall be taken by BHEL.
A checklist of all the essential and desirable documents is placed on page 28 of this tender document. The tenderer shall carefully fill the checklist and qualification criteria ( page no 6) and submit required documents along with tender .
GENERAL TERMS AND CONDITIONS

1 The standard General conditions of contract of BHEL Jhansi shall form an integral part of this document. These are available at FCX office and a copy may be obtained on any working day. Please read them carefully before quoting. The following terms and expression shall have the meaning hereby assigned to them except where the context otherwise requires.

1.1 BHEL shall mean Bharat Heavy Electricals Limited, a Company registered under the Indian Companies Act, 1956 with its Registered Office at BHEL House, Siri Fort, New Delhi Pin – 110 049 or its authorised Officers or its Engineer or other employees authorised to deal with any matters with which these persons are concerned, on its behalf.

1.2 CLIENTS OF BHEL’ or ‘CUSTOMER’ shall mean the project authorities to whom BHEL is supplying the equipment’s.

1.3 CONSULTANT’ shall mean the individual, firm or Company who enters into contract with BHEL and shall include their executors, administrators, successors and permitted assigns

1.4 ‘CONTRACT ’or‘ CONTRACT DOCUMENT’ shall mean and include the agreement, the work order, the accepted appendices of rates, schedules of quantities, if any, General Conditions of Contract, Special Conditions contract, of Instructions to Tenderers, the drawings, the technical specifications, the special specifications, if any, the tender documents and the Letter of Intent/Acceptance letter issued by BHEL.  Any conditions or terms stipulated by the tenderer in the tender documents or subsequent letters shall not form part of the contract unless specifically accepted in writing by BHEL in the letter of intent and incorporated in the Agreement.

1.5 ‘TENDER DOCUMENTS’ shall mean the General Conditions of Contract and Tender Specifications

1.6 Letter of Intent shall mean the intimation by a letter/telegram /fax to the tenderer that the tender has been accepted in accordance with provision contained in that letters.  The responsibility of the contractor commences from the date of issue of this letter and all the terms and conditions of contract are applicable from this date.

1.7 COMPLETION TIME’ shall mean the period by date specified in the Letter of Intent or date mutually agreed upon for handing over the erected equipment/plant which are found acceptable by the Engineer being or required standard and conforming to the specifications of the contract.

1.8 ‘TESTS’ shall mean and include such test or tests to be carried out by the contractor as are prescribed in the contract or considered necessary by BHEL in order to ascertain the quality, workmanship, performance and efficiency of the contracted work or part thereof.

1.9 APPROVED’, ‘DIRECTED’ or ‘INSTRUCTED’ shall mean approved, directed or instructed by BHEL.

1.10 WORK’ or ‘CONTRACT WORK’ shall mean and include supply of all categories of labour, specified consumables, tools and tackles required for complete and satisfactory site transportation, handling, stacking, storing, erecting, testing and commissioning of the equipment’s to the entire satisfaction of BHEL.

2 LAW GOVERNING THE CONTRACT AND COURT OF JURISDICTION

The contract shall be governed by the law for the time being in force in the Republic of India.  The Civil Court at Jhansi having ordinary Original Civil Jurisdiction shall alone have exclusive jurisdiction in regard to all claims in respect of this Contract.
3 The contractor shall comply with the following general terms, conditions and special instructions.
3.1 The contractor shall fully comply with the following enactments:
a. Contract Labour (R&A) Act, 1971..
b. Minimum wages as mentioned from time to time .

c. Payment of Wages Act.

d. ESI Act, 1948.

e. EPF Act, 1952.

f. Workmen’s Compensation Act, 1923.

g. Stamp duty Act, 1898 

h. The company’s instructions as issued from time to time in regard to working hours, wages, leave, holidays etc.

4 If the contract is awarded the contract then he should apply for form -V from BHEL to obtain Labour License from Appropriate Government and submit the same and  PF registration ( PF Code no ) within one month from the date of award of contract . Till then award will be treated as PROVISIONAL. 

5 The contractor shall produce the following Registers and forms before commencement of work, verification by the Executing Officer of the company.

a.
Form XIII
-
Register of workmen employed by contractor (Rule 75).

b.
Form XIV 
-
Employment card issued by contractor (Rule 76).

c.
Form XVI
-
Muster Roll (Rule 78 (1) (a) (i)).

d.
Form XVII
-
Register of Wages (Rule 78 (1) (a) (i)).

e.
Form XVII
-
Register of wages-cum Muster Roll (in case of weekly payment).

f.
Form XIX
-
Wage slip (Rule 78 (b)).

g.
Form XX
-
Register of deduction for damages or loss (Rule 78(1)(a) (ii)). 

h.
Form XXI
-
Register for fines (Rule 78 (1) (a) (ii)). 

i.
Form XXII
-
Register of advances (Rule 78 (1) (a) (ii)). 

j.
Form XXIII
-
Register of overtime (Rule 78 (1) (a) (iii)). 

k.
Form XXIV
-
Register to be sent by the contractor to licensing




                       officer (Rule 82 ) (1). 

The contractor shall maintain the above neatly, completely and legibly for inspection by various statutory authorities and the company officials even at short notice.
 
6.
Discipline
6.1
The Contractor shall be responsible for the discipline of his own labours deployed under the service contract. In case of any loss to the BHEL Jhansi on account of indiscipline of contract labour then such loss shall be assessed and  recovered from the running bills of the contractor or from the  security deposit.

6.2

The contractor shall not employ any person who has not 
completed his 18 years of age and person who has attained 60   
             years of age.


        6.3
The contractor, on advice of authorized BHEL official, shall 
                                 immediately remove any person employed by him, who may in 

                                 the opinion of such authorized BHEL official is involved in 
                                 misconduct. Such person shall not be re-employed by the 
                                 contractor without prior permission. 

7.
LEAVE WITH WAGES TO CONTRACT LABOUR :-



Guidelines as per UP factories Rules 1950 should be strictly observed 
                      with regard to crediting / availment of leave. Register as prescribed under 
                      the said rules should be maintained by the contractor.
8 Indemnity clause

8.1
That BHEL-Jhansi will not, in any manner be responsible for any act, omission or commission of the workers engaged by contractor and no claim in this respect will lie against BHEL-Jhansi. If any such claim 
is made against BHEL-Jhansi by any worker or his heirs engaged/employed by the contractor, which BHEL-Jhansi is obliged to discharge by virtue of any statue or any provision of law and rules due to mere fact of the workers of the contractor working at BHEL- Jhansi premises or otherwise, the contractor will be liable to indemnify/reimburse BHEL-Jhansi all the money paid in addition to the expenses incurred by him. The contractor must indemnify and keep indemnified BHEL- Jhansi against all losses and claims for injuries or damage to any person or property whatsoever which may arise of or in course of the operation of the contract and against all claims, demands, proceedings, damages, cost, charges and expenses whatsoever in respect of contingencies depicted herein shall be deemed as expected risk.
8.2
The Contractor has to make an agreement with BHEL in the format prescribed only on Rs. 100/-  Non-Judicial Stamp Paper. 

9 COMMENCEMENT, PROGRESS, MONITORING & COMPLETION OF WORK

         The contractor shall commence the work within the time indicated in the Letter of intent and shall proceed with the same with due expedition without delay.

a. The contractor shall commence the work within the time indicated in the Letter of intent and shall proceed with the same with due expedition without delay.

b. The contractor shall submit the required details as per the time schedule agreed

c. The contractor will have to bring a site order book having duplicate sheets. This will have to be presented to the Engineering Incharge during all the visits to take his instructions. One copy of this can be taken by the contractor for implementation. 

d. The contractor may bring with him Laptop computers for working as well as preparation of minutes of meetings

e. All the works shall be carried out under the direction and to the satisfaction of BHEL. 

10 MEASUREMENT OF WORK AND MODE OF PAYMENT
a. All payments due to the contractor shall be made or through 'e' payment .

b. R.A. bills payment amount shall be decided by Engineer in charge based on part of work completed.
c. All recoveries due from the contractor for the month/period shall be effected in full from corresponding running bills unless specific approval from competent authority is obtained to the contrary. The recoveries could be Income Tax, VAT, and Stamp duty on S.D etc as per BHEL rules.
d. Measurement shall be restricted to that quantity for which it is required to ascertain the financial liability of BHEL under this contract.

e. The contractor shall bear the expenditure involved if any, in meeting requirements. The contractor shall, provide all the assistance with appliances and other thing necessary for measurement or re-measurement.

f. Passing of bills covered by such measurement does not amount to acceptance by BHEL of the completion of the work measured.  Any left out work has to be completed by the Contractor, as directed.

g. Final measurement bill shall be prepared only after successful run of Air Caster and in the proforma prescribed for the purpose, based on the certificate issued by the Engineer that the entire work as stipulated in the tender specifications has been completed in all respect to the entire satisfaction of BHEL.  The Contractor shall give unqualified `No claim’ and `no demand’ certificate.  The abstract of final quantities and financial values shall also be entered in the measurement book and signed by both the parties.  The final bill shall be paid within a reasonable time after completion of the work.  After the payment of final bill, only the guarantee obligation percentage value shall remain unpaid, which will be released as per General condition of contract.
NOTE: Normally it takes approximately 60 days for the payments to be released by BHEL after recording the measurements.

11 RIGHTS OF BHEL


BHEL reserves to itself the following rights in respect of this contract without entitling the contractor to any compensation.

a. To get the work done through another agency at the risk and cost of contractor, in the event of poor progress or the contractor’s not starting the work, after once shifting it, poor progress or inability to progress the work for completion as stipulated in the contract, poor quality of work persistent disregard of instructions of BHEL assignment, transfer, subletting of the contracted work without written permission of BHEL, non-fulfillment of any contractual obligations etc. and to claim/recover compensation for such losses from the contractor including BHEL’s supervision charges and overheads from Security Deposit / other dues in addition to any other action that may be taken.

b. To withdraw any portion of work and/or to restrict/alter quantum of work as indicated in the contract during the progress of erection and get it done through another agency and/or by the departmental labour to suit BHEL’s commitments to its customer or in case BHEL decides to advance the completion due to other emergent reasons/BHEL’s obligation to its customer.

c. To terminate the contract after due notice and forfeit the Security Deposit and recover the loss sustained in getting the balance work done through other agencies in addition to liquidated damages in the event of:

i. Contractor’s continued poor progress

ii. Withdrawal from or abandonment of the work before completion of the work

iii. Corrupt act of the contractor.

iv. Insolvency of the contractor

v. Persistence disregard of the instructions of BHEL Assignment, transfer, subletting of the   contract work without BHEL’s written permission

vi. Non-fulfillment of any contractual obligations or obligations under the law

d. To recover any money due from the Contractor from out of any moneys due to the contractor under this or any other contract or from the Security Deposit.

e. To claim penalty or compensation for losses sustained including BHEL’s supervision charges and overheads in case of termination of contract and/or to levy liquidated   damages for delay in completion of work.

f. To restrict or increase the quantity and nature of work to suit site requirements, since the  tender   specification   is   based    on    preliminary  documents and   quantities furnished therein are indicative and approximate and the rates quoted shall not be subjected to revision.

g. To deploy BHEL’s skilled and semiskilled workmen in case of emergency/poor progress/deficiency in skill on the part of the employees of the contractor and to recover the expenditure on account of the same from the money due to the contractor.

h. While every endeavour will be made by BHEL to this end, BHEL cannot guarantee uninterrupted work due to conditions beyond its control.  The contractor will not be entitled to any compensation/extra payment on this account.

i. In the event of any dispute of technical nature, the decision of BHEL shall be final and binding on the Contractor.

12 CONSEQUENCES OF CANCELLATION

Whenever BHEL exercises its authority to terminate the contract and withdraw a portion of work under clause 23, the work may be got completed, by any other means, at the contractor’s risk and cost provided that in the event of the cost of completion (as certified by the Engineer which shall be final and binding on the contractor) being less than the contract value, the advantage shall accrue to BHEL. If the cost of completion exceeds the moneys due to the contractor under the contract, the contractor shall either pay the excess amount demanded by BHEL or the same shall be recovered from the contractor. This will be in addition to the forfeiture of Security Deposit and recovery of liquidated damages as per relevant clauses

a. In case BHEL completes the work under the provisions of this clause, the cost of 
          such completion to be taken into account for determining the excess cost to be 
          charged to the contractor shall consist of cost of material purchased and/or 
          labour provided by BHEL with an addition of such percentage to cover 
          supervision and establishment charges as may be decided by BHEL.

13 FORCE MAJEURE

a. The following shall amount to force majeure conditions.  Acts of God, act of any Government, war, sabotage, riots, civil commotion, police action, revolution, flood, fire, cyclone, earthquake, epidemic and other similar causes over which the contractor has no control.

b.  If the contractor suffers delay in the due execution of the contract, due to delays caused by force majeure conditions, as defined above, the agreed time for completion of the work covered by this contract shall be extended by a period of time equal to the period of any such contingency provided the contractor immediately reports about the same to BHEL in writing supported by documentary evidence but the Contractor shall not be eligible for any compensation on this account.

14 GUARANTEE AND MAINTENANCE

The satisfactory and safe performance of the work done by the contractor shall be guaranteed up to Five Years (60 months) from the date of the completion of work. During this period the responsibility of contractor shall be to make good any defect arising in the work at free of cost to BHEL Jhansi. 100% of the security deposit calculated as per BHEL Policy shall be retained by BHEL against the performance guarantee during the defect liability period. Also during this period if any repair / maintenance work is needed (where damage to EPU is attributable to mistake / mishandling by BHEL personnel or equipment) the contractor must carry out the same at the same rates as quoted in price bid within 15 days of intimation by BHEL
SETTLEMENT OF DISPUTE/JURISDICTION/ARBITRATION ETC. :-


BHEL Reserve the following rights:-



To evaluate the bid as per BHEL policy and Govt. guidelines including CVC / Vigilance guidelines by the tender committee duly constituted 
by BHEL Management. The decision of BHEL, Jhansi Management or Tender committee duly approved by competent authority shall be final and binding to bidder.


Accept / Reject any or all tender fully or partly without valid reasons.


15.
 CONFIDENTIALITY 



The parties agree & acknowledge that in the course of their discussions and interaction, BHEL may disclose information of confidential proprietary nature relating to its business, products, know-how, technology, customers, employees and financial to the contractor. Such information shall be considered as confidential. The contract agrees to keep it confidential & secret at all times and not directly or indirectly disclose to any party other than its employees and authorised personnel’s strictly on a need know basis, without the prior written permission of BHEL.

16.
SUSPENSION 


BHEL reserves the right to suspend performance of any or all of its obligations under the contract.  Such notice shall specify the obligation of which performance is to be suspended, the effective date of the suspension and the reasons therefore. The  Contractor shall thereupon suspend performance of such obligations until ordered in writing to resume such performance by the same authority that ordered for suspension.

17.
JURISDICTION
 Any matter of dispute arising out of or in connection with this  contract shall be under jurisdiction of Jhansi Court only.  
18.  ARBITRATION

All disputes arising in connection with the contract shall be settled by mutual consultation. If no agreement is reached the dispute shall be settled in accordance with Arbitration and conciliation Act, 1996 and the rules made there under. The dispute shall be referred for arbitration to any arbitrator to be appointed by the Head of the unit. 
The award of the arbitrator shall be final and binding on both the parties. The 
venue of the Arbitration shall be at Jhansi in India. The Award to be given by the 
Arbitration shall be a speaking award. All questions, disputes, differences arising 
under, out of or in connection with this contract shall be to the exclusive 
jurisdiction of Jhansi court. 
Special Conditions of Contract
1. Any electric power required for contractors’ lighting/machinery for the purpose of work other than fabrication work shall be supplied FREE OF COST by the company at the written request of the contractor at one point subject to the observance of rules an regulations of Electric board / company. For fabrication work, electric power supplied shall be charged at Rs 66 per MT. If it is observed that power is being wasted, BHEL shall have the right to recover cost of such consumption including arrears. Power will not be allowed for cooking and room (air) heating in winter season: For this purpose, on written application chargeable power can be allowed. The rates shall be the rates applicable for industrial consumption in U.P.
2. Water will be supplied at one point and will be charged @ 1% of gross value of the bill.

3. Test certificate for all materials to be made available by the contractor as per direction of Engineer-in –charge including strength of micro concrete, epoxy materials and any other materials provided by contractor.

4. Cement wastage @ 2% of total issued quantity shall be permissible. Beyond this recovery shall be made at double the issue rate for cement.

5. The works have to be carried out as per CPWD specifications 1977, Wherever CPWD specifications are silent, and the work shall be carried out as per BIS specifications. In case of defective BHEL will have full right to reject the work or part there of. Such defective work if any , will have to be rectified at contractor's cost . The opinion of Engineer in charge shall be final in this matter. If the defective work is allowed to stand BHEL shall have the absolute right to reduce the rates for such items and the contractor shall have no claims over such defective work allowed on reduced rates. 
6. The contractor shall have to make his own storage sheds for materials to be issued by BHEL. If Deemed necessary by engineer in charge, the contractor shall make separate store for cement   with double lock system .The empty cement bags shall be stocked at one place and at least 90 % of them shall be returned to BHEL at BHEL stores in good condition without any payment Therefore. If the total quantity of 90% empty cement bags are not returned by the contractor,   the same will be recovered at the rate of Rs 3/- per bag from the bills
Final Bill :- The final bill for the work shall be prepared only after successful run of Air caster
7. Compensation for Delay : (L D Clause)

7.1 If the contractor fails to maintain the required progress as per contract or to complete the  work and clear the site on or before the contract end date or extended date – period of completion, he shall, without prejudice to any other sight or remedy of the company/ corporation on account of such breach, pay as agreed compensation amount calculated as stipulated below or such smaller amount as may be fixed by the authority on the contract value of the work for every week that the progress remains below that specified in condition 14 or that the work remains incomplete.


This will also apply to items and groups of items for which separate period of completion has been specified.
Completion period (as originally stipulated)

                 
· Not exceeding 6 months.                                      @ 1 percent per week

· Exceeding 6 months and not exceeding 2 years  @ 1/2 percent per week
· Exceeding 2 years                                                @ 1/4 percent per week
7.2 Provided always that the total amount of compensation for delay to be paid under the condition shall not exceed the under-noted percentage of the 

contract value or of the contract value of the item or group of item of work for which a separate period of completion is given.
Completion period (as originally stipulated)

                 
· Not exceeding 6 months.                                     @ 10 percent
· Exceeding 6 months and not exceeding 2 years  @ 7 ½ percent
· Exceeding 2 years                                                @ 5 percent 

7.3 The amount of compensation may be adjusted or setoff against any sum payable to the contractor under this or any other contract with the company/ corporation.
8.
Legal compliance clause 

8.1 The contractor will comply with all the provisions regarding licensing, welfare and health, procedures, maintenance of various records and registers etc., as provided under the contract Labour (Regulation & abolition) Act 1970, rules amendments, orders, notifications there under issued by the Appropriate Government from time to time. For non-compliance of any provisions, statutory compliance under law, the contractor shall be responsible for penalties levied by the appropriate authority under the Act. The contractor shall also be liable to comply with all other Labour and Industrial Laws and such other acts and Statutes  (including Factories Act, Payment of Bonus Act, minimum wages Act, etc.,). Depositing of ESI, PF contribution as may be applicable is the responsibility of the contractor. For any default in compliance, the contractor shall be held responsible. 
8.2
The work shall be supervised by the contractor or through the 




    
authorized representatives on day to day basis.
8.3
The Contractor shall compensate BHEL for any loss or damage to the 



                plant/property, material of BHEL due to his workmen/representatives’ 



                negligence or otherwise during execution of work.

8.4
In the event of contractor abandoning the work or BHEL revoking the 



               contract BHEL shall have a right to get incomplete work completed at 



               contractor’s risk and cost. BHEL shall have a right to terminate the 



          
contract at any time without assigning any reason thereof.

8.5
Security deposit will be released on submission of following 



            certificates from departments mentioned as under:-

A.  No-dues certificate regarding service tax payment, and any other dues  liable to be remitted by contractor under  financial laws,  to Finance department

B.
In case of non satisfactory performance of the contract, BHEL shall have a right of forfeiting the security deposit. In case of any dispute decision of concerned Head of the Department will be final
Technical Specifications of Work

The specifications for work shall be as follows

I For Oil Soaked Floor
I.1 Surface Cleaning and Preparation
First remove the top of existing flooring upto 20 mm by use of chisel and hammer. This is to be followed by drilling and fixing in position by grouting shear connecters 8 mm dia MS CTD bars @ 100 mm c/c in both directions on entire floor area. Depth of drilling to be 100 mm and shear connector bars should be L shaped at top having min 35 min bend length. Micro concrete conforming to ASTM C 109:99, ASTM C307, and BS 1881 Part 207 is laid over this area to a thickness of 20 mm and the surface to be leveled as per tolerances required for movement of Air caster as instructed by Engineer-in-Charge. The surface is cured and then left to dry till the moisture content is reduced to less than 5 %. Once the desired surface dryness is reached, the surface is to be cleaned by scarifying / grinding to remove all dirt, laitance, loose concrete and all foreign matter. After cleaning, the surface is wiped with xylene dipped cloth to remove all dust particles and make the surface ready for application of epoxy primer coat.
I.2 Treatment of Construction / Control Joints 

Construction / Control Joints should be treated with Epoxy Mortar confirming to ASTM C-811-90 Type 2 & 4, First clean the groove with the help of Vacuum cleaner and other mechanical tools, including primer coat over laid by Epoxy Mortar.
I.3 Expansion Joint

Expansion Joint if needed shall be cut by the applicator in the concrete @30mm to the required depth & width. Then expansion joints edges shall be checked if required to repair it with Epoxy Mortar confirming to ASTM C-811-90 Type 2 & 4 upto the correct width, clean all sort of loose dust, oil grease etc. by means of vacuum cleaner, air blower and other mechanical tools. Put the backer rod of 30mm in the Expansion Joint & leave the 12.5mm depth from the top of the expansion joint & filled 12.5mm depth with Polyurethane Sealant. Expansion Joint Filling Size 30mm width X 12.5mm depth. The repairing of the floor is done with Epoxy Mortar.
I.4 Epoxy Poly Urethane (EPU)  Coating for Air caster
On the cleaned surface, two component epoxy primer is applied with brush / iron plate /roller for good bonding between micro concrete surface and epoxy flooring system and left to dry. Once the surface has dried, second coat of epoxy primer is to be applied and left to dry. Self leveling epoxy screed is now applied to the primed surface with notch trowel and spike roller. The epoxy screed shall be applied for a thickness of 3 mm and must possess minimum compressive strength of 25 N / sq mm in addition to adequate flexural and tensile strength. All entrapped air must be removed by rolling with spike roller over the self leveling screed surface and the surface is left to dry for 24 hrs. On the dried surface, epoxy primer is applied and followed by EPU self leveling three component top coat of desired colour having minimum compressive strength of 25 N/ sq mm, minimum coefficient of static friction  µ = 0.4, surface roughness Ra: 6.3µm - 12.5 µm and surface evenness as per tolerance levels for Air Caster movement. The final surface must be completely free from any cracks, steps and joints.
II For Normal Floor
II.1 Surface Cleaning and Preparation
Cleaning of Surface free from dust, dirt, moisture, oil & all foreign material from the floor. All floor is to be cleaned by means of scrubber. Acid itching is done to the floor followed by alkaline wash and then it is cleaned by healthy water wash. Then the floor is cleaned by using the solvent/degreaser/cleaner to remove all residues. For floor cleaning all mechanized equipments are to be used like scrubber, sanders, hot air blowers, vacuum cleaners, moisture test machine etc
II.2 Treatment of Construction / Control Joints 

Construction / Control Joints should be treated with Epoxy Mortar confirming to ASTM C-811-90 Type 2 & 4, First clean the groove with the help of Vacuum cleaner and other mechanical tools, including primer coat over laid by Epoxy Mortar.
II.3 Expansion Joint

Expansion Joint if needed shall be cut by the applicator in the concrete @30mm to the required depth & width. Then expansion joints edges shall be checked if required to repair it with Epoxy Mortar confirming to ASTM C-811-90 Type 2 & 4 upto the correct width, clean all sort of loose dust, oil grease etc. by means of vacuum cleaner, air blower and other mechanical tools. Put the backer rod of 30mm in the Expansion Joint & leave the 12.5mm depth from the top of the expansion joint & filled 12.5mm depth with Polyurethane Sealant. Expansion Joint Filling Size 30mm width X 12.5mm depth. The repairing of the floor is done with Epoxy Mortar.
II.4 Leveling with Epoxy screed

Repairing of cracks, crumbled joints small size damages and undulations found in the existing floor. All loose material has to be removed then filled with epoxy screed having minimum compressive strength of 25 N / sq mm in addition to adequate flexural and tensile strength to the required thickness to bring the level within tolerance limits for Air Caster movement
II.5 Epoxy Poly Urethane (EPU)   Coating for Air caster
On the cleaned surface, two component epoxy primer is applied with brush / iron plate /roller for good bonding between micro concrete surface and epoxy flooring system and left to dry. Once the surface has dried, second coat of epoxy primer is to be applied and left to dry. Self leveling epoxy screed is now applied to the primed surface with notch trowel and spike roller. The epoxy screed shall be applied for a thickness of 3 mm and must possess minimum compressive strength of 25 N / sq mm in addition to adequate flexural and tensile strength. All entrapped air must be removed by rolling with spike roller over the self leveling screed surface and the surface is left to dry for 24 hrs. On the dried surface, epoxy primer is applied and followed by EPU self leveling three component top coat of desired colour having minimum compressive strength of 25 N/ sq mm, minimum coefficient of static friction  µ = 0.4, surface roughness Ra: 6.3µm - 12.5 µm and surface evenness as per tolerance levels for Air Caster movement. The final surface must be completely free from any cracks, steps and joints.
III Miscellaneous Civil Work

All works as per CPWD specifications 2007

ANNEXURE -A

FINANCIAL VIABILITY

	1.
	Owner’s capital in the business (in case of partnership, please mention percentage shares and amounts)
	Rs :



	2.
	Quantum of business done during last three financial years 

2010-11
2009-10
2008-09
	Rs.

Rs.

Rs.

	3.
	Value of fixed Assets of the Business in last three years

2010-11
2009-10
2008-09
	Rs.

Rs.

Rs.

	4.
	Guarantee limits (if any) enjoyed by the firm


	Rs.

	5.
	Over draft limits (if any) enjoyed by the firm


	Rs.

	6.
	Please enclose audited profit and loss account and balance sheet for last 3 years (indicate no. of sheets)


	

	7.
	Certificate from Scheduled Bank to prove contractor’s financial capacity to undertake the work duly indicating the financial limits the tenderer enjoys


	

	8.
	PERMANENT ACCOUNT NUMBER:


	


Note:  All the above documents should be duly certified by auditors /Bank as may be applicable.

ANNEXURE - `B’

ANALYSIS OF SIMILAR JOBS EXECUTED/IN PROGRESS

	Sl.No
	Agency by whom awarded
	Location of the Project
	Particulars of the works awarded
	Contract value
	Date of completion

	
	
	
	Indicating Qty of work along with strength specified
	
	


ANNEXURE –C

DECLARATION SHEET

I, ……………………………………… ……………on behalf of M/s…………………… …………………… ………….. hereby certify that, all the information and data furnished by us with regard to this Tender No. FCX / TE / 1 / 32 / R is true and complete. We have gone through the specification, conditions and stipulations in detail and agree to comply with the requirements and intent of specifications.  
We declare that we have fully understood the floor requirement for Air Caster movement and understand that our work shall be deemed complete only after Air Caster has successfully run over the EPU flooring laid by us.
We, further declare that, the rates quoted by us in price bid are unconditional and unambiguous.
Date

                 Name & signature of the bidder      

                                                     (Seal)

ANNEXURE – D

CHECKLIST & SCHEDULE OF GENERAL PARTICULARS

NOTE: Tenderers are requested to fill in the following details and no column should be left blank.

	1.
	Name & Address of the Tenderer


	

	2.
	E-mail ID
	

	3.
	Phone No. (Office) & Fax No.
	

	4.
	Name &  designation of the official of  the tenderer to whom all the references shall be made
	

	5.
	Tenderer’s proposal No. & date


	

	6.
	Whether EMD submitted (By cash/bank draft). Give detail.
	

	7.
	Validity of offer/rates quoted for six

months from the date of opening of tender
	Yes/No

	8.
	Financial Status as per  (in the format Annexure `A’)
	Yes/No

	9.
	Permanent account Number 
	

	10.
	Details of experience  (in the format Annexure `B’)


	Yes/No

	11.
	Attested copy of power of attorney 
	Yes/No

	12.
	Details about type of the firm 
	

	13.
	Declaration sheet  (in the format Annexure `C’)
	Yes/No

	14.
	Details of equipment  Annexure-“E”

	

	  15.
	Service Tax Registration Number( PAN based )

	

	16.
	Details of technical staff  Annexure-“F”

	

	17.
	Blank price-bid, 
	

	18.
	1. Self Declaration that contractor has not been found guilty by a court of law in India for fraud, dishonesty or moral turpitude (format as per  Annexure “G”)
	

	19
	2. Self certificate for not been blacklisted by any BHEL unit or any other organization where he has worked (format as per Annexure “G”)
	

	20
	3. Self certificate that contractor will abide by all statutory and regulatory requirements while carrying out the work.  (format as per Annexure “G”)
	


ANNEXURE – “E”
 Details of tool/Plants Machinery 
	S.No.
	Tool/Pant/Machinery
	Nos Available



	1.
	
	

	2.
	
	

	3.
	
	


ANNEXURE – “F”
 Details of Technical Staff
	S.No
	Designation
	No. of Employee



	1


	
	

	2


	
	

	3


	
	


      ANNEXURE – “ G “
 Self  Declaration


I < Name >……………………….. in my capacity as <proprietor, lead partner, director> of 

            M/S  <Firm Name>………….Here by solemnly declare that M/S. <firm name>    ………………….

1. Has never been found guilty by a court of law in India for any crimes of fraud, dishonesty or moral turpititude

2. Has never been black listed by any BHEL unit or any other organization.

3. Undertakes to abide by all statutory and regulatory requirements while carrying out work at BHEL Jhansi.
BLANK PRICE BID
	S.no.
	Description


	Unit
	Qty
	Quoted Rate (Rs.)
	Amount

	1
	Surface Cleaning and Preparation Removing top 20 mm existing flooring by use of chisel and hammer which is oil soaked. This is to be followed by drilling and fixing in position by grouting shear connecters @ 100 mm c/c in both directions on entire floor area. Depth of drilling to be 100 mm. Micro concrete is laid over this area to a thickness of 20 mm and the surface to be levelled as per tolerances required for movement of Air caster as instructed by Engineer-in-Charge. The surface is cured and then left to dry till the moisture conetnt is reduced to less than 5 %. Once the desired surface dryness is reached, the surface is to be cleaned by scarifying / grinding to remove all dirt , latence, loose concrete and all foreign matter. After cleaning, the surface is wiped with xylene dipped cloth to remove all dust particles and make the surface ready for application of epoxy primer coat.
	Sqm
	720
	
	

	2
	Construction / Control Joint should be treated with Epoxy Mortar, First clean the groove the help of Vaccum cleaner and other meachnical tools, including primer coat over laid by Epoxy Mortar.
	RMT
	200
	
	

	3
	Expansion Joint if needed shall be cut by the applicator in the concrete @30mm to the required depth & width. Then expansion joints edges shall be checked if required to repair it with Epoxy Mortar upto the correct width, clean all sort of loose dust, oil grease etc. by means of vacuum cleaner, air blower and other mechanical tools. Put the backer rod of 30mm in the Expansion Joint & leave the 12.5mm depth from the top of the expansion joint & filled 12.5mm depth with Polyurethane Sealant. Expansion Joint Filling Size 30mm width X 12.5mm depth. The repairing of the floor is done with Epoxy Mortar.
	RMT
	24
	
	

	4
	EPU Coating for Air Castor- On the cleaned surface, two component epoxy primer is applied with brush / iron plate /roller for good bonding between micro concrete surface and epoxy flooring system and left to dry. Once the surface has dried, second coat of epoxy primer is to be applied and left to dry. Self leveling epoxy screed is now applied to the primed surface with notch trowel and spike roller. The epoxy screed shall be applied for a thickness of 3 mm and must possess minimum compressive strength of 25 N / sq mm in addition to adequate flexural and tensile strength. All entrapped air must be removed by rolling with spike roller over the self leveling screed surface and the surface is left to dry for 24 hrs. On the dried surface, epoxy primer is applied and followed by  Epoxy Poly Urethane (EPU)   self leveling three component top coat having minimum compressive strength of 25 N/ sq mm, minimum coefficient of static friction  µ = 0.4, surface roughness Ra: 6.3µm - 12.5 µm and surface evenness as per tolerance levels for Air Caster movement. The final surface must be completely free from any cracks , steps and joints.
	Sqm
	720
	
	

	
	Total Part- I
	
	
	Rs.
	


Part – I (Oil Soaked Floor)

Part -II 
	S.no.
	Description


	Unit
	Qty
	Quoted Rate (Rs.)
	Amount

	5
	Surface Cleaning  - Cleaning of Surface free from dust, dirt, moisture, oil & all foreign material from the floor. All floor is to be cleaned by means of scrubber. Acid itching is done to the floor followed by alkaline wash and then it is cleaned by healthy water wash. Then the floor is cleaned by using the solvent/degreaser/cleaner to remove all residues. For floor cleaning all mechanized equipments are to be used like scrubber, sanders, hot air blowers, vacuum cleaners, moisture test machine etc
	Sqm
	96
	
	

	6
	Construction / Control Joint should be treated with Epoxy Mortar, First clean the groove the help of Vaccum cleaner and other meachnical tools, including primer coat over laid by Epoxy Mortar.
	RMT
	25
	
	

	7
	Expansion Joint if needed shall be cut by the applicator in the concrete @30mm to the required depth & width. Then expansion joints edges shall be checked if required to repair it with Epoxy Mortar upto the correct width, clean all sort of loose dust, oil grease etc. by means of vacuum cleaner, air blower and other mechanical tools. Put the backer rod of 30mm in the Expansion Joint & leave the 12.5mm depth from the top of the expansion joint & filled 12.5mm depth with Polyurethane Sealant. Expansion Joint Filling Size 30mm width X 12.5mm depth. The repairing of the floor is done with Epoxy Mortar.
	RMT
	24
	
	

	8
	Leveling with epoxy screed Repairing of cracks, crumbled joints small size damages and undulations found in the existing floor has to be removed then filled with epoxy screeding to the required thickness to bring the level within tolerance limits for Air Caster movement
	Cum
	0.2
	
	

	9
	EPU Coating for Air Castor- On the cleaned surface, two components epoxy primer is applied with brush / iron plate /roller for good bonding between micro concrete surface and epoxy flooring system and left to dry. Once the surface has dried, second coat of epoxy primer is to be applied and left to dry. Self leveling epoxy screed is is now applied to the primed surface with notch trowel and spike roller. The epoxy screed shall be applied for a thickness of 3 mm and must possess minimum compressive strength of 25 N / sq mm in addition to adequate flexural and tensile strength. All entrapped air must be removed by rolling with spike roller over the self leveling screed surface and the surface is left to dry for 24 hrs. On the dried surface, epoxy primer is applied and followed by Epoxy Poly Urethane (EPU)    self leveling three component top coat having minimum compressive strength of 25 N/ sq mm, minimum coefficient of static friction  µ = 0.4, surface roughness Ra: 6.3µm - 12.5 µm and surface evenness as per tolerance levels for Air Caster movement. The final surface must be completely free from any cracks , steps and joints.
	Sqm
	96


	
	

	
	Total Part –II


	
	
	Rs.
	


Part III
	S.No.
	Work of Description
	Unit
	Qty
	Rate
	Amount

	10
	Any item included in DSR 2007
	DSR unit
	200000
	
	

	
	Total Part - III


	
	
	Rs.
	

	
	GRAND TOTAL  ( Part-I  + Part- II + Part -III)


	
	
	Rs.
	

	
	Service tax extra as applicable


	
	


CONTRACTOR MUST NOT QUOTE RATES IN BLANK PRICE BID. THIS SHALL BE SIGNED AND STAMPED AND SUBMITTED ALONG WITH TENDER DOCUMENTS IN THE ENVELOPE TITLED “TECHNO-COMMERCIAL BID - PART 1“
 PRICE BID
Part – I (Oil Soaked Floor)

	S.no.
	Description


	Unit
	Qty
	Quoted Rate (Rs.)
	Amount

	1
	Surface Cleaning and Preparation Removing top 20 mm existing flooring by use of chisel and hammer which is oil soaked. This is to be followed by drilling and fixing in position by grouting shear connecters @ 100 mm c/c in both directions on entire floor area. Depth of drilling to be 100 mm. Micro concrete is laid over this area to a thickness of 20 mm and the surface to be levelled as per tolerances required for movement of Air caster as instructed by Engineer-in-Charge. The surface is cured and then left to dry till the moisture conetnt is reduced to less than 5 %. Once the desired surface dryness is reached, the surface is to be cleaned by scarifying / grinding to remove all dirt , latence, loose concrete and all foreign matter. After cleaning, the surface is wiped with xylene dipped cloth to remove all dust particles and make the surface ready for application of epoxy primer coat.
	Sqm
	720
	
	

	2
	Construction / Control Joint should be treated with Epoxy Mortar, First clean the groove the help of Vaccum cleaner and other meachnical tools, including primer coat over laid by Epoxy Mortar.
	RMT
	200
	
	

	3
	Expansion Joint if needed shall be cut by the applicator in the concrete @30mm to the required depth & width. Then expansion joints edges shall be checked if required to repair it with Epoxy Mortar upto the correct width, clean all sort of loose dust, oil grease etc. by means of vacuum cleaner, air blower and other mechanical tools. Put the backer rod of 30mm in the Expansion Joint & leave the 12.5mm depth from the top of the expansion joint & filled 12.5mm depth with Polyurethane Sealant. Expansion Joint Filling Size 30mm width X 12.5mm depth. The repairing of the floor is done with Epoxy Mortar.
	RMT
	24
	
	

	4
	EPU Coating for Air Castor- On the cleaned surface, two component epoxy primer is applied with brush / iron plate /roller for good bonding between micro concrete surface and epoxy flooring system and left to dry. Once the surface has dried, second coat of epoxy primer is to be applied and left to dry. Self leveling epoxy screed is now applied to the primed surface with notch trowel and spike roller. The epoxy screed shall be applied for a thickness of 3 mm and must possess minimum compressive strength of 25 N / sq mm in addition to adequate flexural and tensile strength. All entrapped air must be removed by rolling with spike roller over the self leveling screed surface and the surface is left to dry for 24 hrs. On the dried surface, epoxy primer is applied and followed by  Epoxy Poly Urethane (EPU)  self leveling three component top coat having minimum compressive strength of 25 N/ sq mm, minimum coefficient of static friction  µ = 0.4, surface roughness Ra: 6.3µm - 12.5 µm and surface evenness as per tolerance levels for Air Caster movement. The final surface must be completely free from any cracks , steps and joints.
	Sqm
	720
	
	

	
	Total Part- I
	
	
	Rs.
	


Part -II 
	S.no.
	Description


	Unit
	Qty
	Quoted Rate (Rs.)
	Amount

	5
	Surface Cleaning  - Cleaning of Surface free from dust, dirt, moisture, oil & all foreign material from the floor. All floor is to be cleaned by means of scrubber. Acid itching is done to the floor followed by alkaline wash and then it is cleaned by healthy water wash. Then the floor is cleaned by using the solvent/degreaser/cleaner to remove all residues. For floor cleaning all mechanized equipments are to be used like scrubber, sanders, hot air blowers, vacuum cleaners, moisture test machine etc
	Sqm
	96
	
	

	6
	Construction / Control Joint should be treated with Epoxy Mortar, First clean the groove the help of Vaccum cleaner and other meachnical tools, including primer coat over laid by Epoxy Mortar.
	RMT
	25
	
	

	7
	Expansion Joint if needed shall be cut by the applicator in the concrete @30mm to the required depth & width. Then expansion joints edges shall be checked if required to repair it with Epoxy Mortar upto the correct width, clean all sort of loose dust, oil grease etc. by means of vacuum cleaner, air blower and other mechanical tools. Put the backer rod of 30mm in the Expansion Joint & leave the 12.5mm depth from the top of the expansion joint & filled 12.5mm depth with Polyurethane Sealant. Expansion Joint Filling Size 30mm width X 12.5mm depth. The repairing of the floor is done with Epoxy Mortar.
	RMT
	24
	
	

	8
	Leveling with epoxy screed Repairing of cracks, crumbled joints small size damages and undulations found in the existing floor has to be removed then filled with epoxy screeding to the required thickness to bring the level within tolerance limits for Air Caster movement
	Cum
	0.2
	
	

	9
	EPU Coating for Air Castor- On the cleaned surface, two components epoxy primer is applied with brush / iron plate /roller for good bonding between micro concrete surface and epoxy flooring system and left to dry. Once the surface has dried, second coat of epoxy primer is to be applied and left to dry. Self leveling epoxy screed is is now applied to the primed surface with notch trowel and spike roller. The epoxy screed shall be applied for a thickness of 3 mm and must possess minimum compressive strength of 25 N / sq mm in addition to adequate flexural and tensile strength. All entrapped air must be removed by rolling with spike roller over the self leveling screed surface and the surface is left to dry for 24 hrs. On the dried surface, epoxy primer is applied and followed by Epoxy Poly Urethane (EPU) self leveling three component top coat having minimum compressive strength of 25 N/ sq mm, minimum coefficient of static friction  µ = 0.4, surface roughness Ra: 6.3µm - 12.5 µm and surface evenness as per tolerance levels for Air Caster movement. The final surface must be completely free from any cracks , steps and joints.
	Sqm
	96


	
	

	
	Total Part –II


	
	
	Rs.
	


Part III
	S.No.
	Work of Description
	Unit
	Qty
	Rate
	Amount

	10
	Any item included in DSR 2007
	DSR unit
	200000
	
	

	
	Total Part - III


	
	
	Rs.
	

	
	GRAND TOTAL  ( Part-I  + Part- II + Part -III)


	
	
	Rs.
	

	
	Service tax extra as applicable


	
	


Note for Part III S No 10 - In rate column contractor should quote the % of DSR rates as their rates for the work. For example if contractor‘s rates are equal to DSR rates, then 1, if 10 % above DSR 2007 rates then 1.1 and if 10 % below DSR 2007 rates then 0.9 and so on
� EMBED Word.Picture.8  ���





























           Signature, seal & issuing authority                                                              
Sign, seal & date of contractor

 35




[image: image3.wmf] 

[image: image4.jpg]


_1278225508.doc
[image: image1.png]






_1349342287.doc
[image: image1.png]






