## Price Bid
E-Tender Specification Number: BHE/PW/PUR/NTPRT-ELE/2474 For Electrical Package of Unit#1 and BOP of 3x800MW PVUNL Patratu Project
For the convenience of bidders, BHEL has issued this excel sheet with all requisite formulae.However this excel sheet shall not form part of contract
Total Amount to be quoted by bidder (For Calculation of Item rates) | [7 empty] | 0
S. No | DESCRIPTION | UOM | QTY | FACTOR FOR DERIVING ITEM RATE FROM ACCEPTED LUMPSUM PRICE | CALCULATED UNIT RATE | CALCULATED AMOUNT | TERMS OF PAYMENT
E3 | JUCTION BOXES AND PUSH BUTTON | [5 empty] | E3
E3.01 | Start Stop Push Button Station | No | 252 | 0.0035234 | 0 | 0
E3.02 | Junction Box 12/ 24/ 26/ 48/ 96 way. | No | 102 | 0.0021885 | 0 | 0
E3.03 | Local Control box for panel type hopper heater. | No | 120 | 0.0027477 | 0 | 0
E3.04 | AC/ DC Fuse DB | No | 36 | 0.0041845 | 0 | 0
E4 | STRUCTURAL STEEL |  |  |  |  | 0 | E4
E4.01 | Structural Steel fabrication & Installation (MS angle, Channel, Plate etc)/ Cable tray structural steel fabrication & installation. | MT | 20 | 0.0099261 | 0 | 0
E5 | SWITCHGEARS/ MCC/ PCC |  |  |  |  | 0 | E5
E5A | HT SWITCHGEAR |  |  |  |  | 0
E5A.01 | 11kV Unit Switchgear Board #1BA. Each board shall have 24 panels. Approx. overall dimension of each panel is 820x2692x1831 to 2651 mm. Each shipping section weight is approximately 3MT. | Set | 1 | 0.0055789 | 0 | 0
E5A.02 | 11kV Unit Switchgear Board #1BB. Each board shall have 24 panels. Approx. overall dimension of each panel is 820x2692x1831 to 2651 mm. Each shipping section weight is approximately 3MT. | Set | 1 | 0.0055789 | 0 | 0
E5A.03 | 11kV Station Switchgear Board #0BA. Each Board shall have 18 panels. Approx. overall dimension of each panel is 820x2692x1831 to 2651 mm. Each shipping section weight is approximately 3MT. | Set | 1 | 0.0041842 | 0 | 0
E5A.04 | 11kV Station Switchgear Board #0BB. Each Board shall have 18 panels. Approx. overall dimension of each panel is 820x2692x1831 to 2651 mm. Each shipping section weight is approximately 3MT. | Set | 1 | 0.0041842 | 0 | 0
E5A.05 | 11kV BOP Switchboard #OBG, OBH, OBJ. Each Board shall have 44 panels. Approx. overall dimension of each panel is 820x2692x1831 to 2651 mm. Each shipping section weight is approximately 3MT. | Set | 1 | 0.010228 | 0 | 0
E5A.06 | 11kV Misc Switchboard #OBK. Each Board shall have 25 panels. Approx. overall dimension of each panel is 820x2692x1831 to 2651 mm. Each shipping section weight is approximately 3MT. | Set | 1 | 0.0058113 | 0 | 0
E5A.07 | 11kV Colony Switchboard. Each Board shall have 17 panels. Approx. overall dimension of each panel is 820x2692x1831 to 2651 mm. Each shipping section weight is approximately 3MT. | Set | 1 | 0.0049512 | 0 | 0
E5A.08 | 11kV Earthing Breaker Trolley. Each Board shall have 17 panels. Approx. overall dimension of each panel is 820x2692x1831 to 2651 mm. Each shipping section weight is approximately 3MT. | Set | 1 | 0.0049512 | 0 | 0
E5A.09 | 3.3kV Unit Auxiliary Switchboard #1CA. Each Board shall have 41 panels. Approx. overall dimension of each panel is 820x2692x1831 to 2651 mm. Each shipping section weight is approximately 3MT. | Set | 1 | 0.0088491 | 0 | 0
E5A.10 | 3.3kV FGD Auxiliary Switchboard #1GA. Each Board shall have 27 panels. Approx. overall dimension of each panel is 820x2692x1831 to 2651 mm. Each shipping section weight is approximately 3MT. | Set | 1 | 0.0058274 | 0 | 0
E5A.11 | 3.3kV BOP Auxiliary Switchboard #OCL. Each Board shall have 39 panels. Approx. overall dimension of each panel is 820x2692x1831 to 2651 mm. Each shipping section weight is approximately 3MT. | Set | 1 | 0.0084174 | 0 | 0
E5A.12 | 3.3kV Earthing Breaker Trolley. Each Board shall have 22 panels. Approx. overall dimension of each panel is 820x2692x1831 to 2651 mm. Each shipping section weight is approximately 3MT. | Set | 1 | 0.0047483 | 0 | 0
E5B | LT SWITCHGEAR (415/220V) |  |  |  |  | 0
E5B.01 | 415V LT Unit Emergency MCC #1DG (3000A). Approx overall dimension 25000x1700x2450mm. | Set | 1 | 0.003255 | 0 | 0
E5B.02 | 415V LT Boiler Service PMCC #1DA (3500A), Approx overall dimension 20000x1700x2450mm. | Set | 1 | 0.0025606 | 0 | 0
E5B.03 | 415V LT Boiler Valve and Damper ACDB #1HA (250A). Approx overall dimensions 15000x1000x2450mm. | Set | 1 | 0.0016781 | 0 | 0
E5B.04 | 415V LT Boiler ACDB #1HB (400A). Approx overall dimensions 14800x1000x2450mm. | Set | 1 | 0.0016557 | 0 | 0
E5B.05 | 415V LT Station Services PMCC #0DA (4000A). Approx overall dimensions 20800x1700x2450mm. | Set | 1 | 0.002663 | 0 | 0
E5B.06 | 415V LT Air Washer MCC #0SA (800A). Approx overall dimensions 10800x1700x2450mm. | Set | 1 | 0.0020353 | 0 | 0
E5B.07 | 415V LT Ventilation MCC #1TA (1000A). Approx overall dimensions 14800x1700x2450mm. | Set | 1 | 0.0028147 | 0 | 0
E5B.08 | 415V LT Misc Services MCC #0QA (400A). Approx overall dimensions 13800x1000x2450mm. | Set | 1 | 0.0015447 | 0 | 0
E5B.09 | 415V LT Air Conditioning MCC #0TA (630A). Approx overall dimensions 10800x1700x2450mm. | Set | 1 | 0.0020353 | 0 | 0
E5B.10 | 415V LT Turbine Service PMCC #1DB (3500A). Approx overall dimensions 21000x1700x2450mm. | Set | 1 | 0.0025646 | 0 | 0
E5B.11 | 415V LT Turbine Service ACDB #1QA (630A). Approx overall dimensions 15800x1700x2450mm. | Set | 1 | 0.002038 | 0 | 0
E5B.12 | 415V LT Turbine Valve DB #1KA (250A). Approx overall dimensions 19000x1000x2450mm. | Set | 1 | 0.0020802 | 0 | 0
E5B.13 | 220V LT Main DCDB #1FA (1600A). Approx overall dimensions 23000x1700x2450mm. | Set | 1 | 0.0044383 | 0 | 0
E5B.14 | 415V ESP & ID Fan Area MCC #1HD (250A). Approx overall dimensions 9000x1000x2450mm. | Set | 1 | 0.001003 | 0 | 0
E5B.15 | 415V ESP A/C & VENT MCC #1TB (400A). Approx overall dimensions 6000x1000x2450mm. | Set | 1 | 0.00066512 | 0 | 0
E5B.16 | 415V Soot Blower MCC-1 (63A). Approx overall dimensions 30000x1000x2450mm. | Set | 1 | 0.0034298 | 0 | 0
E5B.17 | 415V LT CPU & DM PMCC #0DH (3500A). Approx overall dimensions 19800x1700x2450mm. | Set | 1 | 0.0023666 | 0 | 0
E5B.18 | 415V LT Raw Water PMCC #0DF (3500A). Approx overall dimensions 20800x1700x2450mm. | Set | 1 | 0.002663 | 0 | 0
E5B.19 | 415V LT CPU MCC (1000A). Approx overall dimensions 11800x1700x2450mm. | Set | 1 | 0.0014614 | 0 | 0
E5B.20 | 415V LT Workshop / O&M Store MCC (1000A). Approx overall dimensions 11800x1700x2450mm. | Set | 1 | 0.0014614 | 0 | 0
E5B.21 | 415V LT ACWT & CL02 MCC (400A). Approx overall dimensions 8800x1700x2450mm. | Set | 1 | 0.0016835 | 0 | 0
E5B.22 | 415V LT CSSP MCC (630A). Approx overall dimensions 9800x1700x2450mm. | Set | 1 | 0.0018748 | 0 | 0
E5B.23 | 415V LT PT Plant MCC (1600A). Approx overall dimensions 13800x1700x2450mm. | Set | 1 | 0.0026259 | 0 | 0
E5B.24 | 415V STP MCC (400A). Approx overall dimensions 13800x1700x2450mm. | Set | 1 | 0.0026259 | 0 | 0
E5B.25 | 415V Admin Building PMCC #0DD (3000A). Approx overall dimensions 19800x1700x2450mm. | Set | 1 | 0.0023666 | 0 | 0
E5B.26 | 415V FWPH/ AUX Boiler Service PMCC #0DP (1600A). Approx overall dimensions 19800x1700x2450mm. | Set | 1 | 0.0023666 | 0 | 0
E5B.27 | 415V LT FOPH MCC #0DK (2500A). Approx overall dimensions 17800x1700x2450mm. | Set | 1 | 0.0033836 | 0 | 0
E5B.28 | 415V LT Clarified MCC (630A). Approx overall dimensions 15800x1700x2450mm. | Set | 1 | 0.0030034 | 0 | 0
E5B.29 | 415V LT ESP Switchgear Panel (4000A). Approx overall dimensions 18000x1700x2450sqmm. | Set | 6 | 0.020102 | 0 | 0
E5B.30 | 415V LT Standby PMCC A (4000A). Approx overall dimensions 2000x1700x2450sqmm. | Set | 1 | 0.00021882 | 0 | 0
E5B.31 | 415V LT Standby PMCC B (4000A). Approx overall dimensions 3000x1700x2450sqmm. | Set | 1 | 0.00032822 | 0 | 0
E5B.32 | 415V LT FGD PMCC (4000A). Approx overall dimensions 21800x1700x2450sqmm. | Set | 1 | 0.0026623 | 0 | 0
E5B.33 | 415V LT FGD Common PMCC (4000A). Approx overall dimensions 28800x1700x2450sqmm. | Set | 1 | 0.0037498 | 0 | 0
E5B.34 | 415V LT FGD Emergency MCC (1600A). Approx overall dimensions 9800x1700x2450sqmm. | Set | 1 | 0.0018567 | 0 | 0
E5B.35 | 415V LT Canteen ACDB (1400A). Approx overall dimensions 5800x1000x2450sqmm. | Set | 1 | 0.00037327 | 0 | 0
E5C | STARTER PANEL/BOXES/POWER DISTRIBUTION BOX/MARSHALLING BOXES |  |  |  |  | 0
E5C.01 | Electronic Control Panel, overall approx dimenions are 600mm (L)x550mmx2300mm. Approx overall weight of each panel is 0.25MT. | No | 120 | 0.018985 | 0 | 0
E5C.02 | IOS PANEL with approx overall dimension 1000x650x2050; approx. weight of panel 0.3MT along with loose accessories such as IOS PC, Computer Furniture, Data Logger PC, Printer, PC termination box, peripheral cables etc. | Set | 1 | 0.0003623 | 0 | 0
E5C.03 | SAS-2 Panel in Plant Control Room; approx dimensions 2200x800x800. | No | 2 | 0.00031642 | 0 | 0
E5C.04 | ALI Control Panel | No | 1 | 8.9565e-05 | 0 | 0
E5C.05 | 3D Acoustic level transmitter for first field ESP along with probe head assembly, electronic unit, JB, etc. | No | 12 | 0.0028338 | 0 | 0
E5C.06 | DC motor starter panels, etc (DC JOP, DC EOP, Seal oil panel, DC Scanner fan), including resistance boxes. Approx weight 0.5 MT and approx. dimension 1000x800x2200 mm each. | No | 7 | 0.0024681 | 0 | 0
E5C.07 | Local Motor Starter Panels Suitable for (0.37KW/0.55KW/0.75KW, 1.1kW/1.5kW/2.2kW/3.7kW/5.5kW) | No | 306 | 0.0016446 | 0 | 0
E5D | DRY TYPE TRANSFORMER |  |  |  |  | 0
E5D.01 | 2500kVA, 11/0.433kV DTT with off load tap switch, including all loose accessories of transformer etc. | No | 4 | 0.0092082 | 0 | 0
E5D.02 | 2000kVA, 11/0.433kV DTT with off load tap switch, including all loose accessories of transformer etc. | No | 2 | 0.0053732 | 0 | 0
E5E | PANELS |  |  |  |  | 0
E5E.01 | Generator, Generator Transformer, UAT Transformer, Control, protection & Metering panels (4 Panels). Approx dimension of each panel 2295x1000x1000, approx weight 500kg each panel | Set | 1 | 0.0021144 | 0 | 0
E5E.02 | Station Transformer Control, protection & Metering panels. Approx dimension of each panel 2295x1000x1000, approx weight 500kg each panel | Set | 1 | 0.0015022 | 0 | 0
E5E.03 | BTS Panel. Approx. overall dimension of each panel 2295x1000x1000mm, weight of each panel is approximately 300kg. Each set contains 3 panels. | Set | 1 | 0.00089329 | 0 | 0
E5E.04 | HT Data Concentrator Package including:- Panel, HMI (3 per set), Printer, Laptop, Communication cables, furnitures. Approx. Dimension 2295x800x800mm. Each set shall have 5 panels. | Set | 1 | 0.0010137 | 0 | 0
E5F | 220V DC BATTERY & BATTERY CHARGER SYSTEM |  |  |  |  | 0
E5F.01 | 220Volt DC Battery Charging System with battery (2x170cells) with DC Battery Charger. Approx total weight of battery system -23MT, approx total weight of battery charger - 2MT) | Set | 2 | 0.0066943 | 0 | 0
E5F.02 | 220Volt DC Battery Charging System with battery (170cells), with DC Battery Charger. | Set | 2 | 0.005612 | 0 | 0
E5G | DIGITAL AUTOMATIC VOLTAGE REGULATOR FOR BRUSHLESS EXCITATION SYSTEM |  |  |  |  | 0
E.5G.01 | Transportation from store / storage yard to erection site, Erection, Assembly, Testing & Commissioning of Digital Excitation Equipments / System, System consist of DAVR panels. | Set | 1 | 0.0026539 | 0 | 0
E5H | VARIABLE FREQUENCY DRIVE SYSTEM FOR CEP |  |  |  |  | 0
E5H.01 | Transportation from stores/ storage yards to erection site, erection, assembly, testing & commissioning of Variable Frequency Drive System consisting of IGBT based VFD Panel and accessories including transformer for CEP-A, B, C (complete for Unit-1) | Set | 1 | 0.024718 | 0 | 0
E5I | MISCELLANEOUS EQUIPMENT |  |  |  |  | 0
E5I.01 | Ash Level Indicator comprising of level probe with extension lagging pipe, Electronic Unit, Interconnecting PTFE Cabling, Conduit, etc. | Set | 120 | 0.0032377 | 0 | 0
E5I.02 | Opacity Monitor consisting of Transmitter & Receiver, Electronic Unit, Air Blower unit, Weather Proof housings, Junction boxes, flexible hoses, mounting flanges with pipe for Transmitter, Receiver & Air blower, interconnected cables etc. for mounting on ESP outlet duct. | Set | 6 | 0.0017386 | 0 | 0
E7 | BUS DUCTS |  |  |  |  | 0 | E7
E7A | LT BUS DUCTS (NSPBD) |  |  |  |  | 0
E7A.01 | 415V, 1000A/ 1600A/ 2500A/ 3200A/ 4000A, LT Bus Duct (NSPBD) (For MCC/Emergency MCC/ PMCC/ FGD PMCC/ ESP/DG Boards only). Loose items like silicagel Breather pipe, GI Channel Supports and associated accessories. | Meter | 600 | 0.039038 | 0 | 0
E7B | LT BUS DUCTS (SANDWICH BD) |  |  |  |  | 0
E7B.01 | 415V, 3000A, LT Bus Duct (Sandwich BD) (For MCC/Emergency MCC/ PMCC/ FGD PMCC/ ESP/DG Boards only). Loose items like silicagel Breather pipe, GI Channel Supports and associated accessories. | Meter | 280 | 0.018218 | 0 | 0
E7C | BUS DUCT (SPBD) |  |  |  |  | 0
E7C.01 | 11kV, 1000A/ 3150A/ 4000A, SPBD from ST-1 to 11kV STN SWBD-0BA. Indoor: Enclosure: 500x1500, Conductor: 2x177 Al Channel Box. Outdoor: Enclosure: 600x1800, Conductor: 2x177 Al Channel Box. (Including erection of Support structure, duct earthing, support insulator, space heater etc. supplied by manufacturing unit) | Meter | 531 | 0.071254 | 0 | 0
E7C.02 | 11kV, 1000A/ 3150A/ 4000A, SPBD from ST-3 to 11kV STN SWBD. (Including erection of Support structure, duct earthing, support insulator, space heater etc. supplied by manufacturing unit) | Meter | 35 | 0.0046966 | 0 | 0
E7C.03 | 3.3kV, 1000A/ 2500A/ 3000, SPBD from UAT-3A to 3.3kV Unit SWBD-3CA. Enclosure: 400x1200, Conductor: 2x127 Al Channel Box. (Including erection of Support structure, duct earthing, support insulator, space heater etc. supplied by manufacturing unit) | Meter | 245 | 0.016598 | 0 | 0
E7C.04 | NEUTRAL GROUNDING RESISTOR |  |  |  |  | 0
E7C.04.1 | Neutral Grounding Resistor including NGR support structure 11kV (approx dimensions: NGR- 1510x1110x1855, weight-1MT; support structure- 1400x1000x2500, wight-0.3MT) & 3.3kV (approx dimensions: NGR-1510x635x1405, weight-0.4MT; support structure-1400x525x2400, weight-0.25MT) | Set | 10 | 0.0074833 | 0 | 0
E7D | BUS DUCTS (IPBD) |  |  |  |  | 0
E7D.01 | Isolated Phase Bus Duct (27kV) 22250A for Main Run (interconnection of Generator, Generator Transformers) along with all accessories and auxiliaries.(Enclosure size: 1600mm o/d, 8tk; Conductor size: 800mm o/d, 16tk.) Isolated Phase Bus Duct (27kV) 13000A for Delta Run along with all accessories and auxiliaries. (Enclosure size: 1200mm o/d, 6.35tk.; Conductor size: 450mm o/d, 15tk.) Isolated Phase Bus Duct (24kV) 2800A for Tap-off Run along with all accessories and auxiliaries. (Enclosure size: 876mm o/d, 4.78 tk.; Conducotr size: 2x203mm o/d channel box.) (Including support structure, conductor, shunt & enclosure weting (Al.), CT, LAVT, NG Cubiclel along with NG Transformer & Resistance, Earthing of duct, support insulator, etc.) | Set | 1 | 0.067904 | 0 | 0
E8 | OIL FILLED TRANSFORMERS (GT, UT, UAT & ST) |  |  |  |  | 0 | E8
E8.01 | Single Phase 315MVA, 420/27kV, ODAF cooled YNd11 (after 3-ph bank formation), Generator Transformer (GT) including all accessories, piping, cabling etc. | Set | 4 | 0.12933 | 0 | 0
E8.02 | 144/72/72 MVA, 3-phase, 400/11.5/11.5kV Station Transformer (ST), OLTC, ONAN/ ONAF (60%/100%) including all accessories, piping, cabling etc. | Set | 2 | 0.056029 | 0 | 0
E8.03 | 65MVA, 27/11.5kV Unit Transformer (UT) including all accessories, piping, cabling etc. | Set | 2 | 0.03645 | 0 | 0
E8.04 | 10/12.5/16MVA, 11/11.5kV / 11/3.5kV UAT, FGD Auxiliary, Miscellaneous Transformer including all accessories, piping, cabling etc. | Set | 4 | 0.031927 | 0 | 0
E8.05 | 630/ 1000/ 1600/ 2000/ 2500/ 5000 kVA, 11/0.433kV Auxiliary Transformer including all loose accessories of transformer etc. (approx weight 4.2MT) | No | 26 | 0.12201 | 0 | 0
E9 | ONLY TESTING & COMMISSIONING |  |  |  |  | 0 | E9
E9.01 | Heating elements for Hopper Heater of ESP. | No | 1500 | 0.010443 | 0 | 0
E9.02 | Heating elements for Support Insulator Heater, Shaft Insulator Heaters of ESP. | No | 600 | 0.0047402 | 0 | 0
E9.03 | HighVoltage Rectifier Transformers (95kV peak, 1000 mA) including oil filtration. | No | 240 | 0.034107 | 0 | 0
E9.04 | Testing & Commissioning of Collecting, Emitting, GD Screen Motor | No | 252 | 0.0045889 | 0 | 0
E9.05 | Testing and commissioning of 3.3kV, 6.6kV &11kV HT motors including dryout. | No | 106 | 0.01857 | 0 | 0
E9.06 | Testing and commissioning of 415V LT motors including dry out. | No | 300 | 0.0070959 | 0 | 0
E9.07 | Generator System Testing | No | 1 | 0.0040132 | 0 | 0
E9.08 | Testing & Commissioning of Soot Blower Control Panel, including mounting of mimic | No | 1 | 0.00015925 | 0 | 0
E9.09 | Testing & Commissioning of Wall, Long Retractable, Air Heater Soot Blower | No | 150 | 0.0016124 | 0 | 0
E9.10 | Testing & Commissioning of Furnace Temperature Probe (including Solenoids, Thermocouples, JB etc) | No | 2 | 2.0777e-05 | 0 | 0
E9.11 | Thermostats including Calibration | No | 132 | 0.00083324 | 0 | 0
E9.12 | Electrically (LT) Operated Valves, Dampers and Gates with Actuators, Limit Switches, etc. (Regulating & ON/OFF Type). | No | 466 | 0.0097829 | 0 | 0
E9.13 | Electrical Operated Hoist at various area like ESP, Mill, IDF, PAF, FDF, Vacum Pumps, BFP, CW & ACW area | No | 24 | 0.0014837 | 0 | 0
E9.14 | Testing and Commissioning of H2 Drier Panels. | No | 2 | 0.00022386 | 0 | 0
E9.15 | 2000kVA, 3-Phase, 415V Diesel Generator set. approx. overall weight 43MT. | Set | 2 | 0.00031851 | 0 | 0
E9.16 | 1750 kVA, 3-phase, 415V Diesel Generator set with approx. weight 34MT. | Set | 1 | 0.00015925 | 0 | 0
E10 | MISCELLANEOUS |  |  |  |  | 0 | E10
E10.01 | NAS Filtration and Particle counting for 400kV or above Oil filled transformers inclusive of transportation | Ltrs | 340600 | 0.019936 | 0 | 0
TOTAL AMOUNT | [5 empty] | 0