## Estimate (2)
Annexure B to Corrigendum ref: BHE/PW/PUR/LRPT2 ENABLING/2879/Corg-02
For the convenience of bidders, BHEL has issued this excel sheet with all requisite formulae as detailed above. However this excel sheet shall not form part of contract document.
Job: "Development of open storage yard of approx. 2,00,000 Sqm area including approach roads & drains, internal roads & drains, pipe culverts, fencing & gates, Hard Surfacing , Concrete Raised Platform, concrete sleepers, Mess Building, RO Plant Building, 13nos. PEB Shed, 3nos. first aid center, 7nos. security cabins, Electrification and Illumination, High Mast Foundations etc. at 2x800 MW NTPC LARA"
Price to be quoted by Bidder on E-portal
ST. NO | DESCRIPTION OF ITEM | UNIT | QTY | ESTIMATED RATE excl. GST | ESTIMATED AMOUNT excl. GST | % Weightage
EARTH WORK
Earth work In excavation, backfilling and disposal including necessary men/women, materials, equipment, loading, transportation, unloading, dewatering etc as per specification, drawing and as directed by engineer- in-charge for the following.
1 | Earth work in stripping of top soil upto a maximum depth of 0.30m below ground level so as to exclude all debris, grass, vegetation, bushes, trees having girth upto 300mm including roots and organic materials etc for leveling and grading including dressing to specified levels & grades and compacting the graded/stripped surface by manual/mechanical means, disposal of stripped materials within a lead upto 1km etc all complete as per specification, drawing and as directed by the engineer-in-charge. | SQM | 192965.95 | 0 | 0 | 3.1576
2 | Earth work in excavation in all types of soil including ash which can be excavated by any means including setting out, levelling, dewatering (but excluding special type of dewatering viz. well point method), shoring & strutting (wherever required), dressing the sides & bottom, all lifts, ramming/compacting the excavated bottom, stacking, disposal of surplus excavated materials within a lead upto 1Km, spreading/levelling of disposed materials etc all complete for following depths below ground level.
a | Depth from ground level but not exceeding 2 m | CUM | 12269.8439 | 0 | 0 | 0.94
3 | Earthwork in Back filling upto any depth below ground level around foundations, plinths, trenches, drains etc to proper grade and level in layers not exceeding 250 mm thickness using/with selected materials from compulsorily excavated earth available within a lead upto 1Km and compacted as specified including reexcavation of stacked earth, watering, ramming/compaction by manual/mechanical means, dressing etc all complete.for the following.
a | Each layer compacted so as to achieve at least 90% maximum dry density as per IS2720 (Part-VII) | CUM | 14291.7582 | 0 | 0 | 1.0099
4 | Earthwork in Back filling upto any depth below ground level around foundations, plinths, trenches, drains etc to proper grade and level in layers not exceeding 250 mm thickness using/with selected materials directly from excavation within a lead upto 1Km and compacted as specified including reexcavation of stacked earth, watering, ramming/compaction by manual/mechanical means, dressing etc all complete.for the following.
a | Each layer compacted so as to achieve at least 90% maximum dry density as per IS-2720 (Part-VII) | CUM | 883.9726 | 0 | 0 | 0.029587
5 | Extra over ST No. 1, 2, 3 and 4 for carriage of excavated earth/selected materials for every 500m or part thereof beyond an initial lead of 1Km. | CUM | 54098 | 0 | 0 | 0.40238
6 | Earthwork in backfilling upto any depth below ground level around foundations, plinths, trenches, drains etc to proper grade and level in layers not exceeding 250 mm thickness so as to achieve required compaction with approved borrowed soil (borrowed soil to be arranged by the bidder) and compacted as specified including supplying boorowed soil, royalty/seignorage fee (if any), sorting, spreading, breaking clods, watering, ramming/compaction by manual/mechanical means, dressing, finishing to required lines, grades and slopes, tesing, all lead and lifts etc all complete as per specification, drawing and as directed by the engineer for the following:
a | Each layer compacted so as to achieve at least 90% maximum dry density as per IS-2720 (Part-VII) | CUM | 5000 | 0 | 0 | 3.0719
7 | Providing and Filling in trenches, plinths, area paving and other underground structures with graded stone aggregate of size range 63 mm to 45 mm in layers not exceeding 200 mm in thickness including breaking of stone boulders to required sizes, filling the interstices with selected sand/ Murram and compacting to 85 % of original volume of stone stack for all lifts etc. all complete. Payment shall be made for the measurement of the volume of the compacted fill. 1.40% payment on supply of material prorata basis(with stack measurement) 2. Balance payment on completion of work | CUM | 3336.7018 | 0 | 0 | 4.3879
CONCRETE WORKS
Providing and placing concrete work including cost of labour, materials and equipment for handling, transportation, batching, mixing, placing, vibrating and curing, (excluding cost of centering, shuttering and reinforcement) with mechanised equipments like batching plant, transit mixer, concrete pump etc. complete as per drawing, specifications and as per direction of engineer in charge for the following.
8 | Concrete of grade M7.5 (1 part cement, 4 part sand, 8 parts of 40/20 mm graded aggregate by volume) as mass filling course, lean concrete, levelling course, mud mat under and around foundations/floors, at any depth below finished floor level etc. 1. 12% payment on supply of sand on prorata basis 2. 24% payment on supply of Aggregates on prorata basis 3. 20% payment on supply of Cement on prorata basis 4. Balance payment on completion of work on prorata basis | CUM | 422.9948 | 0 | 0 | 1.3288
9 | Concrete of grade M10 (1 part cement, 3 part sand, 6 parts of 40 mm graded aggregate by volume) as lean concrete, levelling course, mud mat under and around foundations/floors at any depth below finished floor level etc. 1. 12% payment on supply of sand on prorata basis 2. 24% payment on supply of Aggregates on prorata basis 3. 20% payment on supply of Cement on prorata basis 4. Balance payment on completion of work on prorata basis | CUM | 321 | 0 | 0 | 1.0563
10 | Concrete of grade M15 (1 part cement, 2 part sand, 4 parts of 40mm / 20mm graded aggregate by volume) as lean concrete, levelling course, mud mat under and around foundations/floors at any depth below finished floor level etc. 1. 12% payment on supply of sand on prorata basis 2. 24% payment on supply of Aggregates on prorata basis 3. 20% payment on supply of Cement on prorata basis 4. Balance payment on completion of work on prorata basis | CUM | 1996.6832 | 0 | 0 | 7.1359
11 | Concrete of grade M20 (1 part cement, 2 part sand, 4 parts of 20mm graded aggregate by volume) as foundation, raft, column, plinth beam & wherever required including 1. 12% payment on supply of sand on prorata basis 2. 24% payment on supply of Aggregates on prorata basis 3. 20% payment on supply of Cement on prorata basis 4. Balance payment on completion of work on prorata basis | CUM | 950 | 0 | 0 | 3.484
12 | Providing and laying Design Mix cement concrete as per IS:456 & IS 10262-2009 for reinforced concrete works using graded aggregate for Concrete in precast works like sleepers for stacking of materials etc. including formwork/moulds, curing, rendering the top exposed surface with cement sand mortar (1:3), handling, storing, transpoting to BHEL Store Yard with all leads etc.complete with graded aggregate (20/12.5/10 mm) and as per specification and drawing for following grades.) M-25 Grade 1. 12% payment on supply of sand on prorata basis 2. 24% payment on supply of Aggregates on prorata basis 3. 20% payment on supply of Cement on prorata basis 4. Balance payment on completion of work on prorata basis | CUM | 413 | 0 | 0 | 2.1692
FORM WORKS
Providing, fixing and removing formwork at any elevations for all structures, as per specifications and including all labour, material, scaffoldings and centereing complete including pockets etc. complete as per drawing, specifications and as per direction of engineer in charge for the following.
13 | Fairface form work with good quality water proof ply wood of minimum 12mm thickness and smooth surface below and above finished ground floor level for foundations, footings, base of columns, walls, columns, pilasters, beams, mass concrete, trenches etc.including chamfering of edges as per drawing, specification and instruction of engineer in charge. | SQM | 5395 | 0 | 0 | 2.4879
REINFORCEMENT
14 | Providing, straightening, cutting, bending, placing in position at all level, binding in position of steel reinforcements of TMT steel of grade Fe500D or 500EQR confirming to IS:1786 including cost of reinforcement steel, binding wire, labour, scaffolding, transportation to & from stores etc complete all as per specifications, drawings and as directed by Engineer. 1. 60% Payement of supply of material (TMT) on prorata basis 2. Balance payment of completion of work on prorata basis | MT | 30 | 0 | 0 | 1.7623
15 | Supply & fixing of bamboo splint reinforcement as per IS 15192 (2018) for footing, beam, column and slab including supply, loading, transportation, unloading & making it in shape and size as per drawing & fixing with binding wire etc. all complete as per drawing specifications. | KG | 10000 | 0 | 0 | 0.13589
16 | Transportation, straightening, cutting, bending, placing in position at all level, binding in position of steel reinforcements of TMT steel of grade Fe-500D or 500EQR confirming to IS:1786 including cost of binding wire, labour, scaffolding, transportation to & from stores etc complete all as per specifications, drawings and as directed by Engineer. (BHEL to supply steel free of cost either from scrap in cut pieces or fresh steel) | MT | 41 | 0 | 0 | 0.3783
MS EMBEDMENTS
17 | Supply, fabricating and fixing of mild steel embedments, inserts, pipe sleeves, foundation bolts, angle pieces, rungs of various diameters, plates of dimensions as required etc. including welding, bolting, cutting, drilling, scaffolding, buffing 1coat of primer, 2coat of paint etc. all complete. (Same item may be used for small structural, supply, fabrication, painting & erection including all) 1. 60% Payement of supply of material (TMT) on prorata basis 2.Balance payment of completion of work on prorata basis | MT | 14.58 | 0 | 0 | 1.1083
18 | Mild steel foundation bolt assembly conforming to IS:2062 and grade 1 of IS:432 in concrete along with nuts, lock nuts (as per IS:1363, 1364 and IS:3138), washers, anchor plates, stiffner plates, protective tape, pipe sleeves, templates etc. 1. 60% Payement of supply of material (TMT) on prorata basis 2.Balance payment of completion of work on prorata basis | MT | 3 | 0 | 0 | 0.052022
Doors & Windows
19 | Providing, fitting and fixing solid core flush door shutter as per IS 2202 part II, 35mm thick homogenous particle board bonded with BWP type phenolformaldihyde synthetic resin, partical board core conforming to IS 3087 type I, 35x12 mm thick teakwood beading all around including preparation of working drawings. godrej or equivalent make mortice lock with handels on both sides,approved ISI mark anodised fittings like door stopper,300mm long tower bolts,16x300mm long aldrops ,125mm long handles on both sides etc. butt hinges, sliding bolt, knobs, (all fittings shall be anoidised aluminium color dyed), finish synthetic paint over primer, screws etc. all complete as per drawing, specification and instruction of engineer in charge. with commercial faces and teak wood edges. (Finish painting paid separately) 1. 60% Payement of supply of material (including all accesories) on prorata basis 2. Balance payment of completion of work on prorata basis | Sqm | 35 | 0 | 0 | 0.10798
20 | Providing and fixing teak wood frame panel door shutter as per IS 1003 with 35 mm x 150 mm vertical rail & 35mm x 125 mm horizontal rail and 12 mm thick interlocked panels of teakwood with proper wood joinery including beading, preperation of working drawings,godrej or equivalent make mortice lock with handels on both sides,approved ISI mark anodised fittings like door stopper,300mm long tower bolts,16x300mm long aldrops ,125mm long handles on both sides etc. butt hinges, sliding bolt ,knobs, (all fitting shall be anodised aluminium color dyed), screws, primer and finish painting / polishing etc. all complet 1. 60% Payement of supply of material (including all accesories) on prorata basis 2 Balance payment of completion of work on prorata basis | Sqm | 10 | 0 | 0 | 0.037353
21 | Providing and fixing of openable type steel windows/ventilator with steel sections as per IS:1038, IS:1361 & IS:7452 latest revision including all fittings, metal beadings, hold fasts, shop and final painting, glazing etc. all complete. (Glazing shall be paid separately) (Glazing shall be paid separately). Openable Type 1. 60% Payement of supply of material (including all accesories) on prorata basis 2. Balance payment of completion of work on prorata basis | Sqm | 59 | 0 | 0 | 0.11827
22 | Providing and fixing anodised aluminium work of Jindal, Hindalco or other equivalent approved make for door frames, windows, ventillators, partitions, railing etc with extruded standard tubular and other sections including all fittings & fixtures and accessories of approved make conforming to IS733 and IS1285, anodised and electro color dyed to required shade according to IS 1868 (minimum anodic coating of grade AC15), fixed with rawl plugs, expansion fasteners, SS screws or with fixing clips, including necessary filling of gaps at junctions, at top, bottom and sides with required PVC/neoprene felt for bi-metalic protection etc. including preperation of working drawings, aluminium cleat angle, aluminium snap-on-beading for glazing/panelling, stair case tread nosing, with all fittings and fixtures (like tower bolts, handles, door stopper with rubber shoes, 'L' drops, stays, floor springs, hydraulic door closures etc.), CP brass/stailess steel screws, providing and fixing hinges/pivots, and making provision for fixing of fitting wherever required including cost of PVC/neoprene gasket, all complete as per drawing, specification and instructions of engineer in charge (Glazing and panelling shall be paid seperately).Weight of aluminium section only shall be measure. 1. 60% Payement of supply of material (including all accesories) on prorata basis 2. Balance payment of completion of work on prorata basis | Kg | 100 | 0 | 0 | 0.040834
23 | Providing, fixing and fitting of 4mm thick clear float glass glazing of first grade class in steel/aluminium/wooden frames, where ever required, cleaning after fixing including hardware, gaskets, clips, beadings etc. all complete. 1. 60% Payement of supply of material (including all accesories) on prorata basis 2. Balance payment of completion of work on prorata basis | Sqm | 100 | 0 | 0 | 0.11246
24 | Providing and fixing of door closers as per specification ,of approved make & quality all complete of following type :
a | Over head hydraulic door closures as per IS 3564 | Nos | 8 | 0 | 0 | 0.01221
25 | Providing and fixing PVC doors (25 thk double skin) of sintex or equivalent make including all fitting & fixtures as per specification, drawing and instructions of engineer in charge. | Sqm | 6 | 0 | 0 | 0.011353
BRICKWORK
Brickwork masonry including all labour, material, equipment, transportation, handling, scaffolding etc. at all levels as per specification, drawings and as directed by engineer - in - charge.
26 | Providing brick work in cement mortar 1:6 (1 part cement 6 parts coarse sand) in walls, chambers etc. in thickness varying from 230mm to 460mm at all depths, places and positions below plinth including raking out joints, curing, scaffolding etc. complete excluding plastering and painting.
a | Using fly ash lime bricks confirming to IS 12894 with crushing strength of 50 kg/cm2 1. 50% Payement of supply of bricks on prorata basis 2. 50% payment of completion of work on prorata basis | CUM | 1801.0785 | 0 | 0 | 6.983
27 | Providing and filling brick bats in soak pits all complete | Cum | 22 | 0 | 0 | 0.019898
Damp Proof Course
28 | Providing Damp Proof Course 40mm thick 1:1.5:3 concrete (6 mm and down graded stone chips) with 1% of approved admixture of water proofing compound all complete. Then hot bitumen (residual petroleum bitumen of penetration 80/100 of approved quality) shall be applied over the prepared surface in two coats at the rate of 1.7kg per sq. meter per coat and dry sand spread over it before starting of masonry work. | SQM | 616 | 0 | 0 | 0.14312
PLASTERING:
29 | Providing 18mm thick plaster in two layers outside the building/boundary wall/rough surface of internal wall in cement mortar 1:6 on walls, finished to a smooth finish including providing 3mmx3mm size grooves at junctions of two dissimilar materials all complete. | Sqm | 1568 | 0 | 0 | 0.31144
30 | Providing 12mm thick plaster inside the building/boundary wall in cement mortar 1:6 on walls finished to a smooth finish as per specification all complete. | Sqm | 3066.6148 | 0 | 0 | 0.39923
31 | Providing 12mm thick plaster inside the Walls, drains walls with paste of neat cement @ 1kg/Sqm and rubbed smooth with trowel etc. all complete. | Sqm | 7200 | 0 | 0 | 0.87385
32 | Providing 6mm thick plaster on ceiling in cement mortar 1:4 finished to a smooth all complete. | Sqm | 186 | 0 | 0 | 0.025198
FINISHES TO CONCRETE / PLASTERED SURFACES:
33 | Two or more coats of white wash/ colour wash as per IS 627 of approved brand and manufacture to give an even shade including a priming coat as per specifications. | Sqm | 1200 | 0 | 0 | 0.031507
34 | Providing and applying two or more coats of oil bound destemper as per IS 428 of approved brand, shade and manufacture to give smooth, hard, durable & glossy finish over a coat of primer over prepared plaster surface as per manufacturers guideline. | Sqm | 327 | 0 | 0 | 0.024054
35 | Providing and applying 2 mm thick plaster of paris punning on walls including preparation of surface, staging, etc. to achieve a smooth even surface all complete as per specification and as directed by Engineer. | Sqm | 327 | 0 | 0 | 0.025635
36 | Providing and applying two or more coats of Acrylic based weather coat paint of approved brand and manufacture and required shade over one coat of primer after necessary cleaning/ washing, preparing the surface using coir brush/ wire brush, sand paper, including filling of cracks with putty wherever required etc. all complete to give smooth, hard, durable & glossy finish over a coat of primer over prepared plaster surface as per manufacturers guidelines. The final finished coating shall be fungus resistant, UV resistant, water repellant and extremely durable with color fastness as per specification | Sqm | 150 | 0 | 0 | 0.012451
FLOORING AND SKIRTING
37 | Providing and laying 50 mm thick heavy duty cement concrete in flooring with metallic hardener pigmented topping 12mm thick uniform graded treated iron particles in flooring. Under layer of 38mm thick cement concrete mix 1:2:4 (1 cement: 2 sand : 4 stone aggregates 12.5 mm well graded) and top layer of 12mm thick metallic concrete of mix 1:2 (1 cement hardner mix with approved quality metallic hardening compound :2 stone aggregate 6mm nominal size) by volume including cement slurry, rounding off edges, aluminium strips etc. all complete for following (Quoted item rate shall be inclusive of providing glass joint strips) | Sqm | 500 | 0 | 0 | 0.24121
38 | Providing and laying 14 to16mm thick polished Granite stone of approved color and texture in flooring with brass/ stainless steel strips. Under bed shall average 35mm thk of 1 cement : 2 sand : 4 stone aggregate by volume and brought to proper level. The granite stone slabs/tiles laid over under bed, pressed and tapped down with wooden mallet to the proper level, lifted and pressed again with thick cement slurry @3.3kg/sqm spread over the surface with fine joint finished including pigments, curing, grinding, granite polishing etc. all complete. | Sqm | 16 | 0 | 0 | 0.036338
39 | Providing and laying Heavy Duty dust pressed Ceramic Tiles of 7mm thick Designer glazed/matt/ Anti Skid finish of reputed manufacturer Simpolo,varmora or equivalent of approved finish shade and colour on walls, skirting etc.including underbed of cement mortar 1:3 with neat cement slurry etc. all complete. All tiles to be used should be with appropriate % of recycled content. 1. 50% Payement of supply of tiles on prorata basis 2. Balance payment of completion of work on prorata basis
a | flooring/ Dado -300mm x300mm | Sqm | 61 | 0 | 0 | 0.044026
b | flooring-600mm x600mm | Sqm | 1116 | 0 | 0 | 0.89013
ROOFING / SIDE CLADDING
40 | Providing and fixing 1 mm thick colour coated corrugated/semicorrugated G.I. sheet in roofs, cladding of minimum galvanisation of 275 gsm total on both sides with minimum 150mm overlapping, 8 dia G.I. hook bolts or 'J' Bolts and nuts @305 mm c/c along with G.I. and bitumen washers including cutting of sheets for opening etc. all complete. | Sqm | 50 | 0 | 0 | 0.048086
FALSE CEILING
41 | Providing and fixing glass fibre reinforced gypsum plaster board (GRG) ceiling (having gypsum core mixed with glass fibre) system consisting of metal supporting grid system forming panels of specified size, suspended from RCC slab/structural steel or catwalkway grid above with 4 mm (minimum) galvanised wires (rods) with special height adjustment clips, including preperation of working drawing, providing openings for AC ducts, return air grills, light fixtures etc (but excluding the cost of catwalkway grid) all complete as per drawings, specification and instructions of the engineer. 1. 60% Payement of supply of material (including all accesories) on prorata basis 2. Balance payment of completion of work on prorata basis
| 12 mm thick GRG board with galvanised light gauge steel load bearing supporting GI frame and finished flat (seamless). | SQM | 300 | 0 | 0 | 0.1765
FENCING AND GATES
Fencing and gates including all labour, material, equipment etc at any level as per specification, drawings and as directed by engineer - in - charge.
42 | Supplying and erecting in position 2.4 m high PVC coated gavanised chain linked fencing of minimum 8 gauge (including PVC coating ) of mesh size 75mm x 75mm. The diameter of the hot dip galvanised steel wire for chain link fencing excluding PVC coating shall not be less than 12 gauge. GI barbed wire fencing of height of 600 mm confirming to IS 298 at top of chain link fencing shall be provided with 4 strands of barbed wire hot dip galvanised wire of 12G comprising of 2 ply of wires with barbs of 16G spaced at 100mm. Cost to include for GI hook bolts, rings & washers, hot dip galvanised tension wires, 25X6 mm GI flat stretcher bar at end posts, accessories etc. all complete. (Structural post shall be separately under item 2007) 1. 60% Payement of supply of material (including all accesories) on prorata basis 2. Balance payment of completion of work on prorata basis | RM | 1800 | 0 | 0 | 3.2092
43 | Supply, fabrication and fixing of mild steel posts for fencing including painting etc all complete. 1. 60% Payement of supply of material on prorata basis 2. Balance payment of completion of work on prorata basis | MT | 8 | 0 | 0 | 0.62765
44 | Supply, fabrication and installing in position and testing MS Gates out of channels, joists, angles, flats, plates, pipes, welded steel wire mesh & sheets including stiffners, bracings, fabricated hinges, MS Aldrops with locking arrangement, tempered steel pivot, guide track of MS Tee, bronze aluminium ball bearing arrangements,castor wheels, paintings etc. all complete. 1. 60% Payement of supply of material on prorata basis 2. Balance payment of completion of work on prorata basis | MT | 8 | 0 | 0 | 0.70006
WATER SUPPLY
45 | Providing and fixing in position tested heavy duty type chromium plated (CP) brass long neck bib cocks with flow rate less than 5 LPM (litres per minute) at 45 psi, including sockets, union, nuts etc all complete -15mm nominal bore.(Note: Flow rate of all faucets at 45 psi should be less than 5 lpm. The contractor should submit the cutsheets/ declaration from the manufacturers mentioning the same to Engineer in charge.) | Nos | 8 | 0 | 0 | 0.0047008
46 | Providing and fixing in position heavy duty brass stop cock of approved quality including all specials etc all complete - 15mm nominal bore. | Nos | 8 | 0 | 0 | 0.0028978
47 | Providing and fixing in position heavy duty brass full way valve with wheel of approved quality including all specials etc all complete for following sizes:
a | 25mm nominal bore. | Nos | 6 | 0 | 0 | 0.0028026
b | 50mm nominal bore. | Nos | 8 | 0 | 0 | 0.0078307
48 | Providing and fixing GI pipes class B complete for external work with GI sockets, unions, elbows, tees, nipples etc including trenching & refilling, anti-corrosive paint etc all complete for following sizes:
a | 15 mm nominal bore. | Mtr | 250 | 0 | 0 | 0.067871
b | 20 mm nominal bore. | Mtr | 125 | 0 | 0 | 0.038026
c | 25 mm nominal bore. | Mtr | 75 | 0 | 0 | 0.026219
d | 50 mm nominal bore. | Mtr | 65 | 0 | 0 | 0.034858
49 | Providing and fixing 610mmx453mmx6mm thk mirror from reputed mirror manufacturer. Mirror shall be mounted with glass adjustable revolving CP brackets with CP screws etc all complete. | Nos | 4 | 0 | 0 | 0.0036119
50 | Providing and fixing 20mm dia chromium plated M.S. pipes wall mounted towel rod with C.P. Brackets etc all complete. | Nos | 3 | 0 | 0 | 0.0018186
51 | Providing and fixing C.P. Soap holder mounted with C.P. screws etc all complete. | Nos | 5 | 0 | 0 | 0.0023727
52 | Providing & fixing in position P.V.C. water tank of Syntex or approved equivalent conforming to IS:12701 including making all necessary inlet & outlet pipes, fixture, ball cocks, valves etc all complete for following capacities. GI pipes shall be paid separately under ST No. 2105.
a | 500 litres capacity | Nos | 1 | 0 | 0 | 0.0030429
b | 1000 litres capacity | Nos | 3 | 0 | 0 | 0.018257
SANITARY WORKS
Sanitary work including all labour, material (unless otherwise specified in BOQ/contract specification), equipment etc. at all level as per specification, drawings and as directed by engineer - in - charge.
53 | Supply and fixing glazed vitreous china Wash Basin of approved make conforming to IS:2556 part 4 of oval shape with R.S. or C.I. brackets painted white, 15mm chromium plated brass hot & cold faucets with nylon washers, chromium plated brass chain with rubber plug, 32mm chromium plated brass bottle trap and waste of standard pattern, 32mm dia chromium plated brass trap unions, plastic connection pipe with chromium plated nuts, fittings, cutting and making good the walls where required etc all complete.
a | White/ Colored | Nos | 4 | 0 | 0 | 0.03007
54 | Providing and fixing stainless steel kitchen sink of size 610x510x200mm conforming to IS: 13983 including all fittings etc. all complete. | Nos | 3 | 0 | 0 | 0.012478
55 | Providing and fixing colour glazed vitreous china European type water closet conforming to IS:2556 with siphon, open front solid plastic seat and plastic cover, low level 12.5 litre PVC flushing cistern (same colour as WC) with valveless fittings, necessary C.P connections etc all complete. Floor Mounted | Nos | 4 | 0 | 0 | 0.019163
56 | Providing and fixing white flat back glazed vitreous china urinals of size 440x265x355 mm with photo voltaic control flushing system as per IS:2556 (part 6, section 1) with flush pipes, lead pipes, gratings, traps and necessary C.P. fittings etc. all complete. | Nos | 4 | 0 | 0 | 0.041563
57 | Supply, laying and jointing UPVC pipes of class 3 as per IS:4985 including bends, branches and all other necessary fittings, M.S holder bats/clamps, cutting and making good the walls and floors, jointing, testing etc all complete for following.
a | 110mm dia pipes | Mtr | 150 | 0 | 0 | 0.052437
b | 160mm dia pipes | Mtr | 150 | 0 | 0 | 0.081334
58 | Providing, laying light duty non pressure NP2 class RCC pipes with collars jointed with stiff mixture of cement mortar 1:2 including testing of joints etc complete for following.
a | 450mm dia | RM | 167 | 0 | 0 | 0.158
59 | 600mm dia | RM | 19 | 0 | 0 | 0.021099
60 | Providing and fixing C.I Manhole heavy duty cover of size 600mmx600mm including frame from reputed manufacture confirming to IS:4111 etc all complete as per specification. | Nos | 5 | 0 | 0 | 0.040143
61 | Providing and fixing circular heavy duty C.I. manhole cover of 600 mm dia with frame etc. all complete. | Nos | 7 | 0 | 0 | 0.055866
62 | Providing and fixing square mouth S.W Gully trap grade 'A' complete with CI grating, brick masonry chamber(Clay Brickwork in 1:6 mortar, 12mm plaster in 1:6 mortar & 1:2:4 Cement Concrete) and water tight CI cover with 300x300mm (inside). The weight of cover to be not less than 4.53 Kg and frame to be not less than 2.72 Kg etc all complete for following sizes:
a | 150x100mm P or S Type. | Nos | 6 | 0 | 0 | 0.0083766
63 | Providing and fixing 100mm heavy duty UPVC floor traps with 100 mm inlet and 100 mm outlet & C.P jalli all complete. | Nos | 20 | 0 | 0 | 0.022879
ROAD WORKS
Road works including all labour, material (unless otherwise specified in BOQ/contract specification), equipment etc. as per specification, drawings and as directed by engineer - in - charge.
64 | Preparation of sub grade by excavating earth to required depth for all types of soil/ rock, dressing to camber and consolidating the base including making good the undulation etc and disposal of surplus earth within a lead upto 1 km etc. all complete. | CUM | 27926 | 0 | 0 | 1.3709
65 | Providing & laying water bound macadam sub base course in layers of required thickness with crushed stone aggregates 90 to 40 mm down size (IRC 19 - grading -1), stone screening & blinding material including screening, sorting, spreading to template & consolidation with road roller including carriage, spreading & consolidation of blinding material moorum etc all complete. | CUM | 19701.163 | 0 | 0 | 31.3001
66 | Providing & laying water bound macadam base course in layers of required thickness with stone aggregate 63mm to 40mm size (IRC-19 grading-1), stone screening and blinding material including screening sorting, spreading to template and consolidation with road roller including carriage, spreading and consolidation of blinding material moorum etc all complete. | CUM | 2593.4175 | 0 | 0 | 5.1021
67 | Providing & Laying water bound macadam base course with stone aggregate 50mm to 20mm size stone(IRC 19 -grading 1) screening & binding material including screening, sorting, spreading to template & consolidation with road roller including carriage spreading & consolidation of blinding material moorum etc all complete. | CUM | 2485.3125 | 0 | 0 | 4.8894
ELECTRICALS AND ILLUMINATION Work of Yard
68 | Supplying, Installation & Commissioning of LED street light fitting 150 watt of crompton or similar philips make, complete with one piece of appropriate driver (integral/non-intigral) and suitable for directly slipping over light mounting bracket made out of 40 mm OD pipe and suitable for lamps, JB, cabling & termination of items supplied (to be mounted on 9 mtr pole - item no. 53). 1. 60% Payement of supply of material on prorata basis 2. Balance payment of completion of work on prorata basis | NOS. | 220 | 0 | 0 | 0.61902
68a | Supplying of LED street light fitting 150 watt of crompton or similar philips make | Nos | 180 | 0 | 0 | 0.39683
69 | Supply and Erecting steel tubular swaged poles, 9 mtr long made of sheet steel having ultimate tensile strength 42 kg F/sq. mm conforming to BIS: 2713 (part-II) complete with 300x300x6 mm thick MS base plate for welding at site and size as per configuration given in BIS for 410 SP-28 (113 kg- pole weight) with 1.5 mtr deep exacavation, concreting in 1:4:8 ratio size 45 cms x 45 cms x 150 cms and pole plinth in 1:3:6 cement concreting having 300 mm height and 300 mm dia including double earthing of pole with suitable arrangement, duly painted with two coats of red oxide paint and one coat of aluminium paint to be applied after erection; the length of pole below ground to be painted with two coats of black bituminus paint. the pole shall be complete with JB, fuse and minor fabrication as below : i) driling 20 mm dia hole at about 2.5 mtr from ground level for wire leads from junction box to light fixture. ii) driling 15mm dia holes at about 0.7 and at 2.5 mtr from ground level and welding 12 mm nuts for using a 12 mm GI bolt for fastening earth conducters. iii) welding required holes for fixing pole cap of street light bracket. iv) welding diametrally 10 mm MS round 30 mm below pole top edge for clipping wire leads . 1. 60% Payement of supply of material on prorata basis 2. Balance payment of completion of work on prorata basis | NOS. | 110 | 0 | 0 | 0.70607
70 | Supply of weather proof flood light luminiaries of crompton make (FBD 1425/40 with high pressure sodium vapour lamp 1x 400 Watt along with non- integral type control gear box having adequate number of terminal connectors for terminating two cable of 3x 10 sqmm AL and suitable for out door application) or equivalent in Bajaj, Phillips only, including supply & fixing cables between the control gear box and light luminiaries and mounting fixture with hardware for mounting of light luminiaries and control gear box on pole type 410 SP-28. 1. 50% Payement of supply of material on prorata basis 2. 50% payment of completion of work on prorata basis | NOS. | 7 | 0 | 0 | 0.028277
71 | Installation & commissioning of flood light luminiaries, control gear box, cabling & termination for Sl no.3 (Items supplied above) | NOS. | 7 | 0 | 0 | 0.0027062
72 | Engineering, supply and installation of lattice type structural tower of height 15m. Tower shall be fabricated in three section of equal lenght of 5 meter each. Preparation of fabrication drawing & its approval from BHEL. Brief details are as given below; Tower shall be adequately strong to withstand heavy wind. No stay/guy ropes shall be tied with it. At top of the tower adequate size of platform shall be provided with railing around the platform for mounting of lighting luminiaries (tentatively 12 fitting on each tower) and maitenance purpose, floor of platform shall be covered with chequered plate. A ladder along with protective cage shall be provided along the height of tower. It should be painted with one coat red oxide primer and two coats of aluminium paint after installation. Each tower shall be provided with power distribution box out door type and should have provision of terminating one number incoming and eight out going cable. Erecting at site including all civil works like excavation, casting of foundation of required size and depth with concrete of grade 1:2:4 with base plates, grouting of lattice structure, one earth pit as per BIS standard is to be made near the tower and earthing of the tower including supply of material etc. complete. 1. 60% Payement of supply of material on prorata basis 2. Balance payment of completion of work on prorata basis | NOS. | 7 | 0 | 0 | 0.67085
73 | Supply, installation & commissioning of 400W LED flood light luminiaries of Bajaj, Crompton, Phillips or equivalent,with appropriate JB integral/ non itegral type including cables for interconnection. (these fitting shall be mounted on lighting mast /tower, on each tower 8 such fitting shall be mounted). 1. 60% Payement of supply of material on prorata basis 2. Balance payment of completion of work on prorata basis | NOS. | 56 | 0 | 0 | 0.37567
73 a | Supply, installation & commissioning of 400W LED flood light luminiaries of Bajaj, Crompton, Phillips or equivalent | NOS. | 40 | 0 | 0 | 0.21272
74 | Supply of cables 3-1/2 core x 95 sqmm aluminium armoured PVC insulated cable (three and half core) confirming to IS 1554 ( part-I) (to be used form sheds as well as open storage yard wherever required) | M | 632 | 0 | 0 | 0.20681
75 | Installation of cables 3-1/2 core x 95 sqmm aluminium armoured PVC insulated cable confirming to IS 1554 ( part-I) including laying of cable below ground, excavation of trench of 600 mm depth in all kind of soil, termination of cables cores with crimp type luggs, providing sand layer below/ above the cable, brick laying both side/above the above the cable and back filling etc complete. Cables are to be laid from 415 Volt AC distribution board to feeder pillar board, feeder pillar board to lighting mast / tower & for sheds. | M | 632 | 0 | 0 | 0.056684
76 | Supply of cables 2 core x 10 sqmm aluminium armoured PVC insulated cable confirming to IS 1554 (Part-I) | M | 1320 | 0 | 0 | 0.11694
77 | Installation of cables 2 core x 10 sqmm aluminium armoured PVC insulated cable confirming to IS 1554 (Part-I) including laying of cable below ground, excavation of trench of 600 mm depth in all kind of soil, termination of cables cores with crimp type luggs, providing sand layer below/ above the cable, brick laying both side /above the above the cable and back filling etc complete. Cables are to be laid from 415 Volt AC power feeder pillar board to lighting poles & pole to pole. | M | 1320 | 0 | 0 | 0.08238
78 | Supply of cables 3-1/2 corex 185 sqmm aluminium armoured PVC insulated cable (three and half core) confirming to IS 1554 (Part-I) | M | 1605 | 0 | 0 | 0.6921
79 | Installation of cables 3-1/2 corex 185 sqmm aluminium armoured PVC insulated cable confirming to IS 1554 (Part-I) including laying of cable below ground, excavation of trench of 600 mm depth in all kind of soil, termination of cables cores with crimp type luggs, providing sand layer below/ above the cable, brick laying both side /above the above the cable and back filling etc. Cables are to be laid from transformer sub station to 415 Volt AC distribution board. | M | 1605 | 0 | 0 | 0.15381
80 | Supply of cables 3 -1/2 corex 35 sqmm aluminium armoured PVC insulated cable (three and half core) confirming to IS 1554 (Part-I) | M | 1107 | 0 | 0 | 0.18385
81 | Installation of cables 3 -1/2 corex 35 sqmm aluminium armoured PVC insulated cable confirming to IS 1554 (Part-I) including laying of cable below ground, excavation of trench of 600 mm depth in all kind of soil, termination of cables cores with crimp type luggs, providing sand layer below/ above the cable, brick laying both side /above the above the cable and back filling etc. Cables are to be laid from transformer sub station to 415 Volt AC distribution board to store yard & sheds. | M | 1107 | 0 | 0 | 0.099287
82 | Supply & installing 3 phase metering and power distribution board complete with: (1) incoming SFU TPN 400 Amps - 1no, (2) outgoing SFU TPN 200 amps -2nos. (3) outgoing SFU TPN 100 amps -2nos. (4) outgoing SFU TPN 32 amps -2nos. 3 phase electronic energy meter - BHEL / L&T / GEC make. ammeter, voltmeter and selector switches for both - AE and Kaycee make. Phase indication lamps, HRC fuses for IC and OG feeders, cable glands, power terminals for cables termination, cable lugs and provision for doubly earthing the panel enclosur. Panel enclosure shall be made of sheet metal thichnness not less than 1.6 mm and suitable for out door installation, modular construction, hinged door with locking arrangement, base frame, should have slopped canopy, duly painted with first coat of primer and two coats of synthetic enamel paint (interior with white paint and exterior with light grey as per shade 5, is 630) internal power distribution to devices shall be with al busbars or copper flexible single core PVC cables of 1.1 Kv grade, control wiring with 1.5 sqmm, suitable stool made out of MS structure of 1.2 meter high for mounting of panel with anchoring arragement at foundation, suitable for bottom entry of cables. 1. 60% Payement of supply of material on prorata basis 2. Balance payment of completion of work on prorata basis | NO | 3 | 0 | 0 | 0.17359
83 | Providing suitable foundation for mounting AC distribution board as specified in Sl. No. 15, installation & commissioning of panel. | NO | 3 | 0 | 0 | 0.010713
84 | Supply of 415 Volt AC, 3 phase /four wire power feeder pillar board, board shall be comprises of three number and one number aluminium bus bar for phase & neutral respectively. Bus bar rating shall be 200 amps and shall be mounted on epoxy insulator of 1.1 Kv grade, each bus bar shall have drilled hole for connecting incoming / out going cables, provision for earthing the panel enclosure. Panel enclosure shall be made of sheet metal thichnness not less than 1.6 mm and suitable for out door installation, hinged door with locking arragement, base frame, should have slopped canopy, duly painted with first coat with primer and two coats of synthetic enamel paint (interior with white paint and exterior with smoke grey as per IS), suitable stool made out of MS structure of 1.2 meter high for mounting of panel with anchoring arragement at foundation . | NO | 7 | 0 | 0 | 0.091576
85 | Providing suitable foundation for mounting 415 Volt AC power feeder pillar board as specified in Sl. No. 68, installation & commissioning of panel. | NO | 7 | 0 | 0 | 0.018313
86 | Supply and installation suitable electrical pump for minimum head of 10m (but not less than 2 HP) of reputed manufacturer like Suguna/ CRI/ Kiloskar/ Shakti/Sharp/ Crompton including all accessories, starter, DB, etc. and to be connected to over head tank from water storage tank below GL. Guarranty/warranty card to be submmitted to BHEL. Suction, discharge GI pipes shall be paid seperatly under relevant items. | NO | 2 | 0 | 0 | 0.016405
ELECTRICALS AND ILLUMINATION Work of 12 nos. PEB Shed, Toilet Complex,security cabin, first aid centre etc
87 | SUPPLYING & INSTALLING POWER DISTRIBUTION BOARD COMPLETE WITH: COMMON BOARD FOR ALL SHEDS. 1) INCOMING MCB TPH 100 AMPS. - 1 NO. 2) OUTGOING MCB TPH 32 AMPS. -3NOS. 3) RCCB DP 25/20 AMPS. - 2NOS. 4) OUTGOING MCB SP 6 AMPS - 6NOS. All RCCBs, MCBs SHALL BE MDS/INDO KOPP MAKE. DISTRIBUTION BOARDS SHALL BE SIEMENS / MDS / INDO KOPP MAKE WITH INTERNAL BUSBARS, INTERNAL WIRING, 2 NOS. EARTHING TERMINALS, EARTH CONNECTIONS, INCLUDING GLANDS, LUGS. | Set | 12 | 0 | 0 | 0.067367
88 | SUPPLYING & FIXING WALL MOUNTING TYPE LIGHTING PANELS, EACH WITH : . (1) INCOMING MCB TPN -32 AMPS - 1NO. (2) RCCB DP 32 AMPS - 2NOS (3) MCB SP 6AMPS - 30 NOS.. All RCCBs, MCBs SHALL BE MDS/INDO KOPP MAKE. LIGHTING PANEL SHALL BE SIEMENS/MDS/INDO KOPP MAKE WITH INTERNAL BUSBARS, 2 NOS. EARTHING TERMINALS, EARTH CONNECTIONS, INCLUDING GLANDS, LUGS & WIRING FROM MAIN DB | Set | 12 | 0 | 0 | 0.067367
89 | PROVIDING AND INSTALLING WIRING USING 2.5 SQ.MM COPPER CONDUCTOR THROUGH PVC CONDUIT OF REQUIRED SIZE WITH ACCESSORIES AND FIXTURES .WIRING SHALL BE CONCEALED TYPE FOR COMPUTER ROOM, OFFICE SHED & FOR REST OF SHEDS OPEN AND WHRERVER REQUIRED IN PVC CONDUIT OF REQUIRED SIZE. | PER POINT | 768 | 0 | 0 | 0.37236
90 | PROVIDING AND INSTALLING WIRING FOR USING 4.0 SQ.MMCOPPER CONDUCTOR THROUGH PVC CONDUIT OF REQUIRED SIZE WITH ACCESSORIES AND FIXTURES .WIRING SHALL BE CONCEALED TYPE FOR COMPUTER ROMM, OFFICE SHED & FOR REST OF SHEDS OPEN AND WHRERVER REQUIRED IN PVC CONDUIT OF REQUIRED SIZE. | PER POINT | 36 | 0 | 0 | 0.022441
91 | PROVIDING AND INSTALLING WIRING FOR MAINS USING 6.00 SQ.MM COPPER CONDUCTOR OF ISI MAKE. USING CONCEALED TYPE WIRING/PVC CONDUIT OF REQUIRED SIZE. | PER POINT | 36 | 0 | 0 | 0.029921
92 | PROVIDING AND INSTALLATION OF PLUG POINT OF 5A SOCKET (ANCHOR OR EQUV.) OUTLET INCLUDING WIRING TERMINATION. THIS INCLUDES TUBE LIGHT FITTINGS ETC. COMPLETE. | NO | 36 | 0 | 0 | 0.01496
93 | PROVIDING AND INSTALLATION OF PLUG POINT OF 15A SOCKET (ANCHOR OR EQUV.) OUTLET INCLUDING WIRING TERMINATION. THIS INCLUDES TUBE LIGHT FITTINGS. | NO | 36 | 0 | 0 | 0.023687
94 | PROVIDING AND FIXING 20 W LED TUBELIGHT WITH FRAME OF STANDARD MANUFACTURER LIKE PHILIPS/BAJAJ OR EQUIVALENT AS APPROVED BY BHEL. THIS INCLUDES TUBE LIGHT FITTINGS ETC. COMPLETE. | NO. | 360 | 0 | 0 | 0.22441
95 | PROVIDING AND FIXING CEILING FAN 48" DIAMETER OF APPROVED COMPANY SUCH AS CROMTAN GREEVES OR ANY OTHER STANDARD MANUFACTURER AS DIRECTED BY BHEL. THIS INCLUDES TUBE LIGHT FITTINGS ETC. COMPLETE. | NO | 72 | 0 | 0 | 0.17454
96 | PROVIDING AND FIXING Exhaust FAN 12" DIAMETER OF APPROVED COMPANY SUCH AS CROMTAN GREEVES OR ANY OTHER STANDARD MANUFACTURER AS DIRECTED BY BHEL. THIS INCLUDES TUBE LIGHT FITTINGS ETC. COMPLETE. | NO. | 6 | 0 | 0 | 0.012467
97 | SUPPLY OF CABLES 2 CORE X 10 SQMM ALUMINIUM ARMOURED PVC INSULATED CABLE CONFIRMING TO IS 1554 ( PART -I) | RM | 600 | 0 | 0 | 0.053156
98 | INSTALLATION OF CABLES 2 CORE X 10 SQMM ALUMINIUM ARMOURED PVC INSULATED CABLE CONFIRMING TO IS 1554 ( PART -I) INCLUDING LAYING OF CABLE BELOW GROUND , EXCAVATION OF TRENCH OF 600 MM DEPTH IN ALL KIND OF SOIL, TERMINATION OF CABLES CORES WITH CRIMP TYPE LUGGS, PROVIDING SAND LAYER BELOW/ ABOVE THE CABLE, BRICK LAYING BOTH SIDE /ABOVE THE ABOVE THE CABLE AND BACK FILLING ETC COMPLETE. CABLES ARE TO BE LAID FROM 415 VOLT AC POWER FEEDER PILLAR BOARD BOARD TO LIGHTING POLES & POLE TO POLE | RM | 600 | 0 | 0 | 0.037446
99 | SUPPLY OF CABLES 3 -1/2 COREX 35 SQMM ALUMINIUM ARMOURED PVC INSULATED CABLE (THREE AND HALF CORE) CONFIRMING TO IS 1554 ( PART -I) | RM | 360 | 0 | 0 | 0.059789
100 | INSTALLATION OF CABLES 3 -1/2 COREX 35 SQMM ALUMINIUM ARMOURED PVC INSULATED CABLE CONFIRMING TO IS 1554 ( PART -I) INCLUDING LAYING OF CABLE BELOW GROUND , EXCAVATION OF TRENCH OF 600 MM DEPTH IN ALL KIND OF SOIL, TERMINATION OF CABLES CORES WITH CRIMP TYPE LUGGS, PROVIDING SAND LAYER BELOW/ ABOVE THE CABLE, BRICK LAYING BOTH SIDE /ABOVE THE ABOVE THE CABLE AND BACK FILLING ETC. CABLES ARE TO BE LAID FROM TRANSFORMER SUB STATION TO 415 VOLT AC DISTRIBUTION BOARD | RM | 360 | 0 | 0 | 0.032288
101 | SUPPLY OF CABLES 3 -1/2 CORE X 95 SQMM ALUMINIUM ARMOURED PVC INSULATED CABLE (THREE AND HALF CORE) CONFIRMING TO IS 1554 ( PART -I) | RM | 240 | 0 | 0 | 0.078535
102 | INSTALLATION OF CABLES 3 -1/2 CORE X 95 SQMM ALUMINIUM ARMOURED PVC INSULATED CABLE CONFIRMING TO IS 1554 ( PART -I) INCLUDING LAYING OF CABLE BELOW GROUND, EXCAVATION OF TRENCH OF 600 MM DEPTH IN ALL KIND OF SOIL, TERMINATION OF CABLES CORES WITH CRIMP TYPE LUGGS, PROVIDING SAND LAYER BELOW/ ABOVE THE CABLE, BRICK LAYING BOTH SIDE /ABOVE THE ABOVE THE CABLE AND BACK FILLING ETC COMPLETE. CABLES ARE TO BE LAID FROM 415 VOLT AC DISTRIBUTION BOARD TO FEEDER PILLAR BOARD , FEEDER PILLAR BOARD TO LIGHTING MAST / TOWER. | RM | 240 | 0 | 0 | 0.021526
103 | Providing and Fixing 200W LED fitting of approved make including all necessary wiring in rigid conduit and providing 15/5A flush type switch all complete | No | 240 | 0 | 0 | 0.24934
104 | Providing Earthing pit as per drawing with charcoal & salt, GI pipes, GI earth electrodes, GI wire, GI strips, brick chamber with covers including associated earthwork etc. all complete. | No | 10 | 0 | 0 | 0.19806
105 | Providing, fixing, installation of 2 Ton Split AC of make Godrej/ Samsung/Hitachi/LG/Panasonic or equivalent with 3 years Warranty with heavy duty stand for outdoor unit and stabilizer of suitable capacity | No | 4 | 0 | 0 | 0.10335
106 | Providing 6" dia. boring upto depth of 150 ft. with truck mounted mechanical rig machine with yield test of water. | Each | 2 | 0 | 0 | 0.048047
107 | Extra for boring over 150 ft. depth for every additional 10 ft. or part thereof. | Per ft | 50 | 0 | 0 | 0.019209
108 | Supply & fixing 6" dia pvc heavy duty (8-10 kg pressure) casing pipe of standard make (kishan/kasta or equivalent) with approval of BHEL in both the borings. | Per ft. | 120 | 0 | 0 | 0.012974
109 | Supply and installation of electrical submersible pump (minimum 3 HP) of standard make (Crompton Greaves/CRI pumps or equivalent) as per approval of BHEL with all accessories, console panel, pvc coated sling wire, submersible cable of required length & 1/4” dia HDPE suction pipe 120 ft. length. | Each | 2 | 0 | 0 | 0.023643
110 | Extra over initial length of HDPE suction pipe beyond 120 ft. | Per ft. | 30 | 0 | 0 | 0.002846
Concrete Mix Design & Material Testing from NIT or IIT as per direction of BHEL
111 | Evaluation of cement (Physical & chemical properties) | Sample | 1 | 0 | 0 | 0.0091904
112 | Petrographic analysis of fine & coarse aggregate and evaluation of aggregate as per IS 383 | Nos | 2 | 0 | 0 | 0.018381
113 | Evaluation of admixture (only chemical) | Sample | 1 | 0 | 0 | 0.006127
114 | Concrete mix design of all grades (M10,M15,M20,M25, M30,M35) as per relevant IS Code with fly ash and without fly ash | Nos | 12 | 0 | 0 | 0.18381
115 | Testing of water for construction purpose | Sample | 1 | 0 | 0 | 0.0040187
116 | Supply and installation of PTZ camera as per specification - 3MP Resolution | Nos | 4 | 0 | 0 | 0.13293
| Total estimated value (Excluding GST) |  |  |  | 0 | 100
Note on B74: Author: 12.5 mm