## Sheet1
Solar Water Heating System for Canteens (2500LPD) - 3 Nos.
S.No. | Description | Qty | Bidder's confirmation Yes / no | Remarks
1 | Scope of Supply :
1.1 | Main System of 2500 LPD - Supply, Installation and commissioning of 2500 LPD SWHS consisting of 20 nos. BIS approved BHEL/TATA BP make Flat Plate Collectors each with SS 304 grade storage tank duly insulated. | 3 sets
1.2 | CW 40mm - Provision of Cold Water Pipeline G.I. “B” class from source to system. | 75 Mtrs
1.3 | HW 32 mm - Provision of Hot Water line from system to utility Points duly insulated. | 140 Mtrs
1.4 | Supply & Installation of ISI approved plastic tank of 3000 litres Capacity with MS Structure. | 3 Nos.
1.5 | Supply & installation of Electrical Backup of 12 KW Heating System. | 3 Sets
1.6 | Supply & fixing of Suitable Gun Metal Gate Valves. | 9 Nos
1.7 | Supply & fixing of Suitable CP Taps. | 12 nos.
1.8 | Electrical wiring - Supply & laying of 3 Core X 2.5 Sq.mm Copper Cable in suitable conduit with proper dressing including end terminations. | 120 Mtrs
2 | Supply & Commissioning:
2.1 | Supply, erection, testing & commissioning of complete solar water heating systems in three different canteens (02,04 &51) at BHEL, Hyderabad as per instruction of engineer-in-charge is in Bidder's scope.
3 | Pre-qualification :
3.1 | The firm should have valid registration with Ministry of New and Renewable Energy (MNRE), GOI as Manufacturers / Suppliers for ETC based Solar Water Heating System.
3.2 | The firm should have executed Supply, installation and commissioning of minimum 2500 LPD of ETC based Solar Water Heating System (SWHS).
3.3 | The firm should have Average Annual Financial turnover as per Audited Annual Reports for the last three financial years, should be at least Rs. 50 Lakhs ( 300% of estimate 16.8 Lakhs).
3.4 | The firm should have experience of having successfully completed similar works during last 7 (Seven) years ending last day of month previous to one in which tender application are invited should be either of the following: i) Three similar completed works each costing not less than the amount equal Rs.6,72,000/-. Or (ii) Two similar completed works each costing not less than the amount equal. Rs.8,40,000/-. Or (iii) One similar completed work costing not less than the amount equal Rs.13,45,000/-.
3.5 | The Firm should have their service center (For maintenance of the system) in twin cities of Hyderabad/Secunderabad.
3.6 | The firm should submit documentary evidence in respect of maintaining ETC based SWHS of capacity more than 2500 LPD.
3.7 | Dealers / distributors submitting offers must produce copy document isued by their principals about their dealership.