## specs
BHARAT HEAVY ELECTRICALS LIMITED
Heavy Power Equipment Plant, Ramachandrapuram,
Hyderabad - 502 032. INDIA.
M209CG8P0314BDP
TENDER DOCUMENTS TO BE FILLED BY THE SUPPLIER FOR SUPPLY OF
ASTM Impact testing M/C
ADDRESS OF THE SUPPLIER : |  | ADDRESS OF THE INDIAN AGENTS:
TELEPHONE NOS.: |  | TELEPHONE NOS.:
FAX NOS.: |  | FAX NOS.:
E-MAIL ADDRESS : |  | E-MAIL ADDRESS:
NOTE:
1. Vendor must submit complete information against each clause of the specification given below point to point.
2. The supplier should fill the "Offered" Column in compliance to specified requirements and also "Deviations" column, where there is deviation from the requirement. Duly filled specification cum compliance certificate should be submitted along with the offer. Inadequate, incomplete, ambiguous or unsustainable information against any of the clauses of the specifications/requirements shall be treated as non-compliance
3. The offer and all the documents enclosed with offer should be in English language only.
4. All the items and accessories required for the machine to be offered.
Sl.No. | Description for BHEL Requirement | Offered | Deviations | Remarks
Purpose:
Impact Testing machine as per ASTM E23 ,EN10045-2 & ISO 148Standard to meet Pressure vessels code requirement shall be quoted
1 | Technical details
a) Energy capacity: 0-300 ft-lb / 0-400J min
b) Resolution of 4-digits display
c) Specimen cross section: 10X10 mm
d) Total frictional & Windage lossess during pendulam swing should not exceed 0.75%of the energy range
e) Automatic pendulum hoisting as well as automatic pendulum break
f) Safety box for collecting specimen remnants
g) Safety guards
h) The scale shall be supplied in ft.lbf, J or Kg.m
i) Super High,high, medium, low energy NIST V& U notch Impact samples sets in each range for calibration at BHEL (4 x 3 samples) shall be provided
j) Procedure for Calibration and re-calibration of system using NISTstandard samples for Low,High & super high capacities at regular intervals.
k)Software to configure test, conduct tests,recall previous results, user selected reporting & exporting formats, built in programs for X bar, R & frequency distribution shall be provided
l) Accessories for the calibration and recalibration of the system shall be provided.
2 | The supplier shall furnish technical catalogue of the proposed equipment alongwith quotation and customers reference in India for the above equipment.
3 | Five sets of operating instruction manuals/schematic drawing shall be sent alongwith civil foundation plan.
4 | BHEL engineers will inspect above equipment prior to shipment at supplier's works.
5 | Supplier shall quote for recommended spares for five years of trouble free service with Items and Break up
6 | ERECTION & COMMISIONING
6.1 | Supplier to take full responsibilty for carrying out the erection, startup, testing of the system, it's control & all types of other supplied equiment/accessories etc. Service requirement like power shall be provided by BHEL at only one point to be indicated by supplier in their foundation / layout drawing. Other requirement like helping manpower shall be provided by BHEL.
6.2 | Suppliers shall erect and commission the above machine at BHEL Hyderabad. Suitable training on all operational aspect and routine maintenance to be given by supplier to BHEL engineers.
6.3 | The offer shall include following modality for erection & commisioning of the machine:
i. Complete erection and commisioning on turnkey basis.
ii. The vendor shall do commisioning and provide necessary training to BHEL personnel and guidance during commisioning, vendor has to repeat all geometrical accuracy tests for which all tools etc. are to be arranged by the vendor at their risk.
iii. All foundation bolts/ anchoring materials/fixators/levelling shoes etc. required for final erection of the machine shall have to be provided by the supplier along with basic machine.
7 | FOUNDATION:
7.1 | Foundation Design: In case any special foundation is required for installing the machine, detailed foundation drawings to be offered. The vendor should agree to supply 5 copies of machine layout and drawings with one month of placement of LOI/Order.
8 | OPERATING CONDITIONS
8.1 | Power Supply will be provided by BHEL at a single point near the machine, as per layout recommended by Supplier. All types of cables, connections, circuit breakers etc. required for connecting BHEL's power supply point to different parts of the machine/control cabinets, shall be the responsibilty of the supplier. Supplier should ensure the proper earthing for the equipment and its peripherals/accessories. Any material requirement for the same should be informed with the foundation design/drawings so that the same could be incorporated during construction of the foundation. The supplier can take the earthing connection from the nearest available location of the laboratory.
9 | GUARANTEE
9.1 | The machine shall be guaranteed for satisfactorily and trouble free service as per Commercial terms of purchase from the date of commissioning and final acceptance. Any spare required during the guarantee period shall have to be arranged by the supplier at free of cost and duly leived (if any) have to be borne by the supplier.
10 | PROVE OUT OF THE EQUIPMENT : After commissioning of the above equipment it has to be calibrated under Lloyds inspection as per latest standard of ASTM E 23 at BHEL. The first year calibration is the responsibility of supplier including procurement of impact specimen from NIST and Lloyds Charges.This prove out only treated as the equipment commissioning is completed. Acceptance of equipment will be based on NIST report.
11 | The supplier shall explain in detail how the after sales service will be organised. The number of service engineers trained , qualified and experienced to attend service calls and details about ready availability of spares Shall be mentioned. Time taken for service engineers to Reach the site upon receipt of break down call shall be Indicated and assured.
12 | ANNUAL MAINTANENCE CONTRACT The supplier shall indicate AMC Charges for providing AMC (Annual maintenance contract) for a minimum period of five years on expiry of warrenty period and same to be extendable up to three years. AMC includes every year calibration as per ASTM E 23 standard and if any break down occurs it has to be attended by supplier (The no.of visits shall be min 3 visits, ie One visit is for calibration and service ,one visit is for service & maintainenc, one visit is for any break down call).. The procurement of standard impact specimen from M/s NIST, USA is responsibility of supplier, however the cost of impact specimens will be borne by BHEL on completion of warranty period.for consequent year calibration of the equipment
13 | QUALIFICATION REQUIREMENTS:
13.1 | The supplier shall have a minimum experience of 10 years in manufacturing of ASTM Impact testing machine as per ASTM E23 and should have supplied at least 10 equipment’s of the model quoted to various reputed organisations preferably in India
13.2 | The supplier shall submit a users' list for the model quoted including the names of the user contact persons, telephone numbers and e mail addresses
13.3 | supplier shall give point to point reply and if any deviations to the specifiction to be indicated in the offer
14 | If any thing missing in the above specifications it has to be strictly meet latest standard of ASTM E 23.
15 | TRAINING
15.1 | Supplier shall provide training for 2 BHEL executives on the equipment at the manufacturing place for two weeks at their cost
16 | PACKING
16.1 | Rigid packing be made for all items of complete machine, all accessories and other supplied items to avoid any damage/loss in transit. When machine is dispatched in containers, all small loose items shall be suitably packed in boxes. Packing list to be provided in the box
17 | Delivery : As per Tender Schedule