## 1
2x20MT LPG storage and distribution system Price break - up schedule:
Sr.No. | Brief Description of Item | Quantity | Unit Price Ex-Works in Rs. | Total Price Ex-Works in Rs. | Applicable taxes | Price Inclusive of Taxes | Freight Charges | Insurance Charges | Total
1. (i) | Supply of LPG Storage Tanks | 2 Nos.
(ii) | Tank Platform, Ladder etc. | 1 Lot/ tank
(iii) | Yard LPG piping System with in yard | LS
(iv) | ROV's with Remote Shut off (Valves with remote controls) | 4 Nos.
2 | Unloading Pumps C/w FP Motor and Provision for Cut-off at high Tank Level and mounted on skid and pre-wired as per Tender drg. | 1 No.
3 | Unloading Compressor c/w FP Motor and Provision for Cut-off at high Tank Level and mounted on skid and pre-wired as per Tender drg. | 1 No.
4 | LPG Vaporizer with FP Control Panel and Controls prewired as per Tender Drg | 4Nos.
5 | Wafer/sandwich type EFCV and all safety fitting to suit the LPG Tank Nozzles, Safety Valves as per Tender Spec/Drg. | 2 Sets
6 | Valves on Tanks and pipeline ,pressure Regulating Station with support Steel structure as per Tender Drg/P&ID/ shedule of quantity | LS
7 (i) | Fire Fighting Facility Power & Control Cabling and Earthing with application mats. | 1 Lot
(ii) | Fire Water Storage Tanks & Pumping System,Jockey Pump,piping/valving for yard with two pumps ( I motor + 1 diesel ) | 1 Lot
8 (i) | Instrumentation, MCC for field equipment) (PLC Panel for DCS of BHEL as optional) in safe area as per specs | 1 Lot
(ii) | Rochester Gauges of 8" dial and facility of remote read out in MCC room. | 2 Nos.
(iii) | Flow Meter with EVC and facility of remote read out in MCC room.
(iv) | 6 Sensors c/w 8 Channel Gas Leak Leak Detection system , c/w external Buzzer, Control Cabling etc. | 1No.
OUT SIDE LPG YARD
9 (i) | Erection &Installation ,testing,painting and commisioning of LPG Distribution & Sub-distribution piping system per TQ/Drg. Pipe support structure is existing | As per Qty
(ii) | Supply of pipe fittings and pipe application mats. for use in (i) for erection, testing, painting & commissioning in vendor scope Pipes shall be supplied by BHEL | 1 Lot
(iii) | Supply and laying of pipeline from storage yard to different shop as per Drawing No. HY/M&S/GS/LPG HEADER PIPE LINE/ 01( Supply total materials required for laying pipeline except running length of pipes will be BHEL scope) | 1 Lot
10 | Control Elements & Gauges:
(i) | Supply & Installation of Isolation Valves/NRV ( as per P&ID & TQ)
| 4" NB Valve | R.O
| 2 1/2 " NB Valve | R.O
| 2" NB Valve | R.O
| 1" NB Valve | R.O
| 4" NB NRV | R.O
| 2 1/2 " NB NRV | R.O
| 2" NB NRV | R.O
| 1" NB NRV | R.O
(ii) | Items as per header of outside Piping
| Supply of Isolation Valves of various sizes with Reducers/Expanders etc to be calculated for different blocks and with a drop length of 6 M | R.O
| Installation of above based on calculations for (ii) above | L/S
(iii) | Supply and installation ofPressure Gauges with Isolation Valves | L/S
(iv) | LPG gas leak detector system | 25 nos
11. (i) | Design, Erection, Commissioning of Vendor supplied items within yard including CCOE approvals /Lincensing etc. | L/S
(ii) | Obtaining NOC from the local Govt. / administration on behaf of BHEL | L/S
(iii) | Transportation & Transit Isurance of Vendor supplied items | L/S
12 | Civil Works For Yard & Out Side Yard
All civil works including following by vendor
. (i) | PCC Flooring, with side walls as per layout drg./CCOE requirements/SMPV Rules | L/S
(ii) | 2 M High Industrial Chain link,4"X4" fencing with 2 Nos. Gates, wicket gate etc. | L/S
(iii) | Bulk Head & Crash Post as per layout drg. | Nos.
(iv) | Internal service Road For Tanker Platform as per drg. | L/S
(v) | All civil works required for outside Piping | L/S
| OPTION | L/S
( vi) | Construction of over head water tank of 320 CuM as required by CCOE - Quote as a option | LS
13 | Spares for 2 years normal working:-
(i) | LPG Pumps Maintenance Kit | 1 Set
(please attach list of spares)
(ii) | LPG Compressor Kit Top End Kit | 1 Set
(iii) | Vaporizer Heating Element for 2 Vaporizers | 2 Sets
(iv) | Solenoid Valves | 4 Nos.
(v) | Any other essential Spares recommended by the bidder ( furnish details)
Grand total