## Schedule-1
EPC package for Development of 100 MW/400 MWH BESS at NTPC Ramagundam
SCHEDULE OF RATES AND PRICES
Schedule No. 1 :PLANT AND EQUIPMENT INCLUDING TYPE TEST , ( BCD + Social welfare charges included)
Item | Description | Unit | Qty. to be mentioned by Bidder | * UNIT PRICE (IN INR) | * TOTAL PRICE (IN INR)
|  |  |  | ( Ex-Works) | ( Ex-Works)
1 | 2 |  | 3 | 4 | (5) = (4) x (3)
A | Main Equipment
1 | Battery Bank & Battery Management System | Lot
1 | PCS | Lot
1 | DC Cables | Lot
1 | LT Cables* | Lot
1 | HT Cables* | Lot
1 | LT Switchgear* | Lot
1 | HT Switchgear/RMU* | Lot
1 | Inverter(PCS) Transformer* | Lot
1 | Auxiliary transformer* | Lot
1 | Earthing and lightning Protection System* | Lot
1 | Illumination System* | Lot
1 | Energy Management System,SCADA , PPPC,OFC & Time Synchronization Equipment | Lot
1 | Auxiliary Power Supply System | Lot
1 | Fire Detection and Protection System | Lot
1 | Metering system* | Lot
1 | CCTV System* | Lot
1 | Main Control Room Kiosks | Lot
1 | Misc. Equipment (other than Specified Above) | Lot
* | BHEL reserves the right to not order these items on the bidder. Evaluation of L1 shall however be done on overall basis only.
TOTAL (A) (MAIN EQUIPMENT)
TOTAL (A) (Total of Schedule-1 to be filled in Item Data)
B | TOTAL (B) (MANDATORY SPARES) | Not Applicable
TOTAL SCHEDULE-1 (A + B)
Notes
1. Wherever quantity has been specified as percentage (%), the quantity of mandatory spares to be provided by the bidder shall be the specified percentage (%) of the total population w.r.t cumulative project capacity required to meet the specification requirements. In case the quantity of mandatory spares so calculated happen to be a fraction, the same shall be rounded off to next higher whole number.
2. Wherever the quantities have been indicated for each type, size, thickness, material, radius, range etc. these shall cover all the items supplied and installed and the breakup for these shall be submitted in the bid.
3. In case, the bidder offers any other design, whose spares are not indicated in the above list, the bidder shall offer spares (of each type) applicable to offered design with quantities generally in line with the approach followed in the list above.
4. In case the description/quantity for any items mentioned in this schedule is at variance from what has been stated in the technical specifications and its subsequent clarifications the stipulations of the Technical Specification and its subsequent amendment and clarification shall prevail.
5. Interchangeability and Packing: All spares supplied under this contract shall be strictly interchangeable with parts for which they are intended replacements.
6.Identification : Each spare shall be clearly marked and labeled on the outside of the packing with its description when more than one spare part is packed in single case, a general description of the contents shall be shown on the outside of such case and a detailed list enclosed. All cases, containers and other packages must be suitably marked and numbered for the purpose of identification.
7.The prices quoted in Schedule Nos. 1, 2, & 3 shall be inclusive of all Taxes, Duties, Levies & charges, except Goods and Services Tax (GST), payable in the Employer’s country. Goods and Services Tax (GST) applicable in the Employer’s country as on seven (7) days prior to the deadline for Bid submission on goods and services specified in Schedule Nos. 1, 2, 3 shall not be included in respective schedules, but shall be quoted separately in Schedule No. 6.
8.Unless stated otherwise a 'set' means items or sub-items required for each type/size range of the assembly/sub-assembly, required for complete replacement in one equipment / system as the case may be. It is further, intended that the assembly/sub-assembly which have different orientation (like left hand or right hand, top or bottom), different direction of rotation or mirror image positioning or any other reasons which result in maintaining two different sets of the spares to be used for the subject assembly/sub-assembly, these shall be considered as different types of assembly/sub-assembly.
9. If rating and make/type of circuit breakers in ICOG and pooling switchgear incomer panels are not same, then spare breaker for each make/type and rating suitable for ICOG and pooling switchgear shall be supplied as per quantity mentioned in Mandatory Spares.

## Schedule-2
EPC package for Development of 100 MW/400 MWH BESS at NTPC Ramagundam
Bidder's Name and Address :
SCHEDULE OF RATES AND PRICES
Schedule No. 2 : TRANSPORTATION OF PLANT & EQUIPMENT
S. No. | Description | Total Price (INR) | Remarks
A1 | Main Equipment of BESS Project
Total (A) (Total of Schedule-2 to be filled in Item Data)
IMP NOTE | 1. The prices quoted in Schedule Nos. 1, 2, & 4 shall be inclusive of all Taxes, Duties, Levies & charges, except Goods and Services Tax (GST), payable in the Employer’s country.

## Schedule-4
EPC package for Development of 100 MW/400 MWH BESS at NTPC Ramagundam
Bidder's Name and Address :
The Unit rate of various items are give as under. We confirm that the prices of these items as per the requirement of Techinical Specification are already included in the prices quoted in Schedule-1 and/or schedule-2, Schedule-4. We further confirm that these unit rates shall be used for contract price adjustment on account of quantity variation after establishment of reasonabless of prices
Schedule-4: SERECTION SUPPORT AND COMMSIONING
ERECTION SUPPORT AND COMMSIONING
Item | Description | Unit | Unit cost to be furnished by bidder
1 | 2 | 3 | 4

## Schedule-5
EPC package for Development of 100 MW/400 MWH BESS at NTPC Ramagundam
SCHEDULE OF RATES AND PRICES
Schedule No. 5 : Recommended Spare Parts
Item | Description | Quantity | Unit Price Ex-Works Price (In INR) | Total Ex-Works Price (In INR) | *Local transportation charges (including inland insurance, port clearance & port charges )- In INR | Total Price (in INR-as delivered at Project)- FOR
We also confirm that the items of Recommended Spares with same specification having same identification number but with different item code have been quoted by us at the same price. Further all such items of spares have been clubbed together and enclosed
Note: 1. Continuation sheets of like size and format may be used as per Bidder's requirements and annexed to this Schedule.

## Schedule-6
EPC package for Development of 100 MW/400 MWH BESS at NTPC Ramagundam
Bidder's Name and Address :
Schedule No. 6 : Taxes and Duties
A: Goods and Services Tax (GST), applicable on Schedules 1,2 & 3, not included in the respective schedule price
The details of Goods and Services Tax (as on seven (07) days prior to the last date for Bid Submission applicable on the price of goods and services quoted in Schedule-1, 2 & 3, not included in the respective schedules and which may be payable by the Employer in accordance with the provisions of Bidding Documents are as under :
Item | Bid Price Component | Rate of GST (%) | Amount on which GST applicable (in INR) | Total GST payable (in INR)
1 | Ex-Works-Main Equipment (Schedule-1)
2 | Ex-Works- Spares (Schedule-1) - if any
3 | Freight-Main Equipment (Schedule-2)
4 | Freight- Spare (Schedule-2) - if any
5 | Any other Price Component (not covered above)
TOTAL (GST) i.e. Total of Schedule 6
Note: | 1. Successful Bidders to furnish detailed Break- up after completion of Reverse Auction.
2. In case rate of GST is different for various items, such different rates of GST along with the amount on which such GST is applicable shall be suitably indicated by the bidders in this schedule

## Schedule-7
EPC package for Development of 100 MW/400 MWH BESS at NTPC Ramagundam
Schedule No.7 : Year-wise BESS Service cost which includes Comprehensive O&M, replacement and disposal cost per year basis for 10 year service O&M period of BESS (Inclusive of all taxes & Duties and GST)
Item | Description | Unit | Qty. to be mentioned by Bidder | * UNIT PRICE (IN INR) | * TOTAL PRICE (IN INR) | RATE OF GST | GST (IN INR) | * TOTAL PRICE INCLUDING GST (IN INR)
1 | 2 |  | 3 | 4 | (5) = (4) x (3) | (6) | (7) | (8) = (5) + (7)
1 | Year-1 | LUMPSUM
2 | Year-2 | LUMPSUM
3 | Year-3 | LUMPSUM
4 | Year-4 | LUMPSUM
5 | Year-5 | LUMPSUM
6 | Year-6 | LUMPSUM
7 | Year-7 | LUMPSUM
8 | Year-8 | LUMPSUM
9 | Year-9 | LUMPSUM
10 | Year-10 | LUMPSUM
TOTAL SCHEDULE- (7 ) (Total of Schedule-7 to be filled in Item Data) (Inclusive of all taxes & Duties and GST)
Note: (1) Bidders to quote the Yearwise Comprehensive O&M Cost for the BESS System as minimum 1.0% per year of their total quoted price excluding Comprehensive O&M Charges for the offered BESS Service Life.
(2) Bidder to quote the Yearwise Comprehensive O&M cost, replacement and disposal cost only for the period of BESS Service Life.
(3) In case the GST is is left blank or ‘-‘ etc is indicated in the Price Schedule then the total price quoted shall be deemed to have been included with GST.

## Schedule-8
EPC package for Development of 100 MW/400 MWH BESS at NTPC Ramagundam
Schedule No.8: Year-wise Comprehensive warranty BESS Entire system ( BESS battery system+BMS+PCS+EMS+Scada+Transformer+HT panel+NIFPS + CCTV+associated systems) for smooth operation of O&M and meeting the targetted efficiency for 10 years Year-wise Comprehensive Warranty of BESS Entire system ( BESS battery system+BMS +PCS+EMS+associated systems) for 10 years ( from 11th year to 12 th year)
Item | Description | Unit | Qty. to be mentioned by Bidder | * UNIT PRICE (IN INR) | * TOTAL PRICE (IN INR) | RATE OF GST | GST (IN INR) | * TOTAL PRICE INCLUDING GST (IN INR)
1 | 2 |  | 3 | 4 | (5) = (4) x (3) | (6) | (7) | (8) = (5) + (7)
1 | Year-1 | LUMPSUM
2 | Year-2 | LUMPSUM
3 | Year-3 | LUMPSUM
4 | Year-4 | LUMPSUM
5 | Year-5 | LUMPSUM
6 | Year-6 | LUMPSUM
7 | Year-7 | LUMPSUM
8 | Year-8 | LUMPSUM
9 | Year-9 | LUMPSUM
10 | Year-10 | LUMPSUM
11 | Year-11 | LUMPSUM
12 | Year-12 | LUMPSUM
13 | Year-13 | LUMPSUM
14 | Year-14 | LUMPSUM
15 | Year-15 | LUMPSUM
16 | Year-16 | LUMPSUM
17 | Year-17 | LUMPSUM
18 | Year-18 | LUMPSUM
19 | Year-19 | LUMPSUM
20 | Year-20 | LUMPSUM
TOTAL SCHEDULE- (8 ) (Total of Schedule-8 to be filled in Item Data) (Inclusive of all taxes & Duties and GST)