[image: image1.png]a) ARTIFICIAL POLLUTION WITHSTAND TEST ( AS per IEC : 61245) —_
b) TAXES IF ANY

SUB TOTAL - 2

TOTAL COST =SUB TOTAL 1+ SUBTOTAL 2




[image: image2.png]+/- 800 KV TRIPLE TENSION STRING COMPRISING 3 X 64 UNITS of
420 KN HVDC DISC INSULATORS WITH HARDWARE FITTINGS

SUITABLE FOR SIX BUNDLE ACSR “LAPWING” CONDUCTOR IN
ACCORDANCE WITH ASSEMBLY DRAWING NUMBER [TP/800 KV —

TT/00.




[image: image3.png]a) ARTIFICIAL POLLUTION WITHSTAND TEST ( AS per [EC : 61245) -_






[image: image4.png]+/- 800 KV SINGLE ‘Y’ SUSPENSION STRING COMPRISING 2 X 67
UNITS { 2 X 45 UNITS IN 'V'PORTION and 2 X 22 UNITS IN I PORTION )
of 420 KN HVDC DISC INSULATORS WITH HARDWARE FITTINGS

SUITABLE FOR SIX BUNDLE ACSR “LAPWING” CONDUCTOR IN
ACCORDANCE WITH ASSEMBLY DRAWING NUMBER I[TP/800 KV —
SYS/00.




[image: image5.png]3('3 DESCRIPTION RATE /STRING TEST

TEST OBJECT : 420 KN HVDC DISC INSULATOR STRING FOR #/- 800
KV HVDC TRANSMISSION LINE IN FIGURES | . INWORDS



[image: image6.png]GUIDELINES TO CALCULATE COST TO BHEL/EPD BANGALORE.



[image: image7.png]


[image: image8.png]General Contract related Queries

Name:
Designation:

Cell

Y. BABAU RAO
AGM /INSUALTOR ENGG
080-22182322/

E_erlngﬁslb: baburao@bhelepd.com

+919449003936 (Y.Baburao)




[image: image9.png]


[image: image10.png]Fax number TO BE MENTIONED




[image: image11.png]2 E-mail ID TO BE MENTIONED
30 Mobile number TO BE MENTIONED
4 Land line number TO BE MENTIONED _ 7

PARAMETER
Name of Contact person

Fax number

BHEL

TO BE MENTIONED

TO BE MENTIONED

Payment terms

THROUGH LETTER OF CREDIT
AS PER CLAUSE 9 OF
GENERAL TERMS AND

CONDITIONS

OFFER

Lead time for Testing

FROM ORDER DATE

Expected date of
completion of tests

Offer validity

JAN —FEB 2012
130 DAYS FROM DATE OF
TENDER OPENING

10 Tax and duty structure DUTY %
11 SERVICE TAX %
12 Any other charges —_—




[image: image12.png]




[image: image13.png]


[image: image14.png]




PAGE-3
 3. TESTING LABORATORY CAPABILITY & PROCESS REQUIREMENT: The Testing
Laboratory shall have adequate facility for a Testing of 420 KN HVDC Disc INSULATORS
for +!- 800 KV SINGLE Y SUSPENSION STRING AND TRIPLE TENSION. All the
equipments used and measuring instruments shall be duly calibrated. The Vendor shall have
personnel ! process qualification where applicable and shall maintain valid record of the same.
The Testing Laboratory shall have enough trained crew to ensure smooth flow of work in
addition to requisite handling facilities.
 4. Handling Capacity: Testing Laboratory should have minimum handling facilities for
handling Disc Insulator strings. Handling equipment capacity should of minimum of 10 MT
capacity, Those who are not meeting this requirement, their offers are likely to be rejected..
 5. Lead time: Offers shall indicate minimum and maximum lead-time required to execute the
orders for the tests indicated.
6..The order will be placed on Testing Laboratory depending on their position in comparative
statement of original offer and subjected to their acceptance.
 7. Price Comparison: Prices shall be considered on TOTAL COST BASIS (COST TO
BHEL). TOTAL cost shall be worked out on price quoted including freight, excise duty, sales
tax after taking out CENVAT and VAT Benefit, as applicable. The comparative statement
shall be worked out on TOTAL cost basis for ALL TESTS. The comparative statement of the
prices prepared on the reference date shall remain firm throughout the execution period. The
Foreign exchange rate will taken on the date of Techno commercial bid opening.
A) The !owes price received against SHEL tender need not be commercially lowest
price (LI) and SHEL reserves the right to NEGOTIATE the same.
B) SHEL reserves the right!option to REFLOAT the tender if LI price is not the lowest
acceptable price to SHEL.
 8. Rankinq Price : For ranking the vendors as L-1, L-2, L.-3. . . . . , the basis will be lowest
tender value arrived at with quoted prices is the basis. As far as possible overall LI will be
considered for award of contract.
9. Payment Terms: SHEL shall open an irrevocable Letter of Credit in the name of the
concerned Lab. L!C will be opened before commencement of testing. After the completion of
tests the representative of SHEL, witnessing the tests shall certify the same and 100% amount
shall be payable after the submission of 3 sets of original reports in English language.
10. Selection Criterion :  The lowest bidder meeting all the technical and commercial
requirements shall be awarded the contract. The bidder shall also send the details of testing
facilities including rating of the Test equipments, Test hall dimensions including the available
Ground clearances, details of calculations of conductor surface gradient etc. Will be taken into
account.




 NOTICE INVITING TENDER


 TENDER REF NO : INS ENGG/ 420 KN HVDC TESTING - 01/ / /- / 2





 TENDER NAME : ARTIFICIAL POLLUTION TEST ON 420 KN HVDC DISC_� INSULATOR STRINGS FOR +/- 800 KV HVDC TRANSMISSION LINE._


 GENERAL TERMS & CONDITIONS OF TENDER


BHELIEPD (A Govt. of India Enterprises) DESIRES TO CONDUCT ARTIFICIAL�POLLUTION TEST ON 420 KN HVDC DISC INSULATORS FOR +/- 800 KV HVDC�TRANSMISSION LINE AS PER FOLLOWING DETAILS MENTIONED IN ANNEXURE --�B (PAGE NO 5 , 6 & 7 ).





1. Sealed bids are invited From ELIGIBLE TESTING LABORATORIES for Artificial�Pollution Test of 420 KN HVDC Disc Insulators for +/- 800 KV HVDC Strings in their�laboratories. under TWO PART bids :


Techno commercial bid.


Price Bid.�The Tender document may be obtained from AGM/Insulator Engg BHEL- EPD�Bangalore-12, & also may be downloaded from BHEL web site� http://bhelceramics.com, or http:// www,bhel.com_





Interested and eligible TESTING LABORATORIES may study the tender document�carefully and offer their bids in the techno commercial bid and price bid in two separate�sealed covers duly subscribing the tender name, tender ref no & Due date, Please write�either Techno commercial bid or price bid on the top of each cover.





 The TECHNO-COMMERCIAL BID and PRICE BID offer shall be put in a two separate_� sealed covers and the cover should have the corresponding Techno commercial_� bid: price bid / subject of tender :tender ref no. and due Date written on it. If the offer�is found in opened condition, the same offer will be liable for rejection.


TECHNO COMMERCIALLY qualified party's price bids will be opened and net cost will�be computed.


The salient features of tender documents are as follows.





Format for techno commercial bid - Annexure - A                            PAGE NO.1


General requirement, scope of work and technical requirement    PAGE NO 2 to 4


Price bid format      - Annexure - B                                                   PAGE NO  S


Technical specification                                                                       PAGE NO 6 to 8


Scope of work of BHEL & Testing Laboratory                                   PAGE  7 & 8


t 800 KV HVDC  Single _Y' suspension string drawing                  PAGE 9


 800 KV HVDC  Triple Tension  string drawing                              PAGE 10


    420 KN HVDC Disc insulator Drawing                                            PAGE 11





AGM / INS ENGG





PAGE -1





 TECHNO- COMMERCIAL BID - ANNEXURE -A_





TENDER REFERENCE: INS ENGG/ 420 KN HVDC TESTING - 01/ / /- /2





TENDER NAME : ARTIFICIAL POLLUTIOEST ON 420 KN HVDC DiSC INSULATOR� STRINGS FOR +/- 800 KV HVDC TRANSMISSION LINE._





DATE OF ISSUE : 05.11.2011�LAST DATE FOR RECEIPT OF TENDER : 24.11.2011  BY 2.00 P.M�OPENING OF TECHNO COMMERCIAL BID: 24.11.2011  BY  2.30 P.M





 ESSENTIAL CRIT  KIA OF TECHNO COMMERCIAL OFFER_





ADDRESS OF THE TEST LABORATORY :





Note: FILLED FORMS TO BE SUBMtTTED ALONG WITH TECHNCO- COMMERCIAL BID SEALED IN A�SEPARATE COVER DULY ADDRESSED TO AGM/INS ENGG ALONG WITH TENDER NAME,TENDER�REFERENCE NO AND DATE.TENDER BOX IS AVAILABLE AT SHEL-EPD PREMISES (MAIN GATE�RECEPTION) OR SENT THROUGH E - MAIL TO hvdc.tender@gmail,com





SIGNATURE OF THE TENDERER





PAGE-2





 GENERAL TERMS & CONDITIONS OF TENDER


 TENDER REF NO : INS ENGG/ 420 KN HVDCTESTJNG-01 / /1- /2_





TENDER NAME : ARTIFICIAL POLLUTION TEST ON 420 KN HVDC DISC INSULATOR�.- . - -  - , . - . 


 STRINGS FOR +/- 800 KV HVDC TRANSMISSION LINE._





 GENE TERMS AND CONDITIONS OF THE TENDER





The Techno Commercial offer should be submitted in a sealed cover super scribing tender�number & due date and addressed to :





AGM / INSULATOR ENGG�Bharat Heavy Electricals Ltd�Electro Porcelains Division�PB No: 1245, Science Institute Post�Bangalore - 560 012.





SO as to reach here within 2 p.m. on the due date and the tenders will be opened at 2-�30p.m. on the same date in the presence of those vendors or their authorized�representatives who wish to be present can attend the opening of techno commercial bids..�The offer sent through e-mail is also acceptable. The email should be addressed to�hvdc.tender@gmail,com


The TECHNO-COMMERCIAL BID and PRICE BID offer shalt be uttwo se arate�sealed covers and the cover should he the corres ondin Techno commercial�bid rice bid tender name sub`ect of ter Ref no . and due Date written on it. If�the offer is found in opened condition, the same offer will be liable for rejection. The�techno-commercial offer will be opened on the due date. The tenders meeting our techno-�commercial requirements will be considered for opening of price bid and eligible Testing�laboratory will be intimated about date and place of price bid opening. BHEL will decide on�placing order based on overall LI (net testing cost).


Validity: The rates finalized for contract shall be valid for ONE YEAR from release of�work order for Testing.


 Price Evaluation The rates quoted shall be on Ex-works of Testing Laboratory basis ,�it shall be inclusive of unloading charges but exclusive of freight and insurance. Duties and�taxes applicable on date shall be explicitly mentioned. The taxes and duties will be paid�extra as applicable on the date of dispatch of material from BHEL EPD Bangalore. Disc�insulators will be supplied in crates and crates will be palletized suitable to air/ ship�transport. Unloading of Insulators will be in Testing Laboratory_s scope. Testing dates�indicated in work orders shall be adhered unless and otherwise changes are be�communicated to BHEL by the Testing Laboratory at least 30 days in advance.





PAGE-4





11. Risk Purchase Clause: if Testing laboratory is not able to carry out the tests as per�terms of contract, SHEL has option to terminate the contract and get these tests done in�different labs at the risk and cost of the awarded Testing laboratory.





 12. Arbitration: Settlement of dispute, if any arises, at anytime between the SHEL and the�Testing laboratory upon or in relation to or in connection with the Testing laboratory , the�same shall be referred to the sole arbitration of the Head of SHEL unit or to person�appointed by him. The award of the arbitrator shall be final and binding on both SHEL and�the Testing laboratory.





 13. Legal Jurisdiction: In case of any legal proceedings, area of jurisdiction will be�Bangalore court only.





14. The tender not meeting any of the above conditions may not be�entertained.





IS.Clarification sought by SHEL during Technical & Commercial Evaluation:_





In case SHEL asks for any clarification, the Testing Laboratory has to submit the same�within specified date otherwise the offer will be evaluated considering the clarifications, if�any received, as on the specified date. No grace period or late submission is allowed.





16 . Contact person for Information :_





 ALL TESTING LABORATORIES SHOULD QUOTE FOR TOTAL COST ONLY AS PER_�ENCLOSED FORMAT IN PAGE NO S





PAGE - 5





 TENDER REF NO : INS ENGG/ 420 KN HVDC TESTING - 01 / / /- / 2





TENDER NAME : ARTIFICIAL POLLUTION TEST ON 420 KN HVDC DISC INSULATOR�. - - -- , " - w u


 STRINGS FOR +/- 800 KV HVDC TRANSMISSION LINE_





Note: FILLED FORMS TO BE SUBMITTED ALONG  WITH TECHNCO- COMMERCIAL  BID  SEALED IN A SEPARATE COVER�DULY ADDRESSED TO SDGM/INS ENGG ALONG WITH TENDER NAME,TENDER REFERENCE NO AND DATE.THE COVER MAY�BE PUT INTO TENDER BOX, WHICH  IS AVAILABLE AT SHEL-EPD PREMISES (MAIN GATE RECEPTION)


OR


THROUGH E - MAIL TO hvdc.tender@gmail.com


Signature with company seal :





Name -





Designation within Company I Organization -





Address of Company / Organization --








