## Sheet1
| BHARAT HEAVY ELECTRICALS LIMITED |  | Enquiry No.: | M2/05/CG5A2001/KRP
| Heavy Power Equipment Plant, Ramachandrapuram, |  | Due Date : | 2006-04-18
| Hyderabad - 502 032. INDIA. |  | Supplier Qtn. No.:
| Phone Nos. : 0091 - 040 - 2318 2581 |  | Date :
Fax Nos.: 0091 - 040 - 23021910 & 23021954
E-mail : kollipara@bhelhyd.co.in
TENDER DOCUMENTS TO BE FILLED BY THE SUPPLIER FOR SUPPLY OF
REFRACTOMETER FOR LABS [QTY. 1NO.]
ADDRESS OF THE SUPPLIER :
TELEPHONE NOS.:
FAX NOS.:
E-MAIL ADDRESS :
Sl. No | Description for BHEL Requirement | Offered | Deviations | Remarks
1 | Measurement range of Refractive Index shall be 1.33 to 1.65
2 | Resolution of Refractive Index shall be 0.001
3 | Measurement accuracy of Refractive Index shall be of + or – 0.0005.
4 | Measurement range of temperature shall be maximum 40 deg. C
5 | Power Supply: DC/AC Adopter, 230V ±20%, 50-60 Hz
6 | The latest model of the equipment shall be quoted.
7 | The supplier shall test the equipment as per the standard inspection and test procedure of the company and demonstrate the capabilities included in this specification in the presence of BHEL representatives before dispatch.
8 | The supplier shall have a minimum experience of 5 years in manufacturing Refractometers and should have supplied at least 5 nos. of Refractometers.
9 | The supplier shall submit a users' list for the Refractometers supplied so far giving the names of the user contact persons, telephone numbers, e mail and addresses.
10 | Training on operation for a period of one to two days for 2 persons shall be provided.
11 | The supplier shall explain in detail how the after sales service will be organized. The number of service engineers trained , qualified and experienced to attend service calls and details about ready availability of spares shall be mentioned. Time taken for service engineers to reach the site upon receipt of breakdown call shall be indicated and assured.
12 | The equipment shall fulfill safety regulation and guidelines.
13 | Installation and Commissioning shall be carried out at BHEL works.
14 | Essential Spares for 2 years of trouble free operation shall be quoted.
15 | 3sets of operation and maintenance manuals shall be provided.
16 | The supplier shall provide 18 months warranty from the date of commissioning.