## Sheet1
| BHARAT HEAVY ELECTRICALS LIMITED |  | Date : | ___________________
| Heavy Power Equipment Plant, Ramachandrapuram, |  | Due Date : | ___________________
| Hyderabad - 502 032. INDIA. |  | Supplier Qtn. No.: | ___________________
| Phones : 23182189 / 23182243 / FAX:040-23021910 |  | Date : | ___________________
E-mail : raogum@bhelhyd.co.in
TENDER DOCUMENTS TO BE FILLED BY THE SUPPLIER FOR SUPPLY OF
FOETAL HEART MONITOR
ADDRESS OF THE SUPPLIER :
TELEPHONE NOS.:
FAX NOS.:
E-MAIL ADDRESS :
Sl. No. | Description for BHEL Requirement | Offered | Deviations | Remarks
1 | DIGITALLY CONTRLLED FOETAL HEART RATE MONITOR WITH STANDARD ACCESSORIES
1.1 | Monitor should work on 220V AC
1.2 | Battery Back Up for minimum 2 Hours
1.3 | Audio Visual
1.4 | Visual Display Panel With Alarm System
1.5 | Portable Comfort for Transportation to L.R
1.6 | Transducer with abdominal belt for continuous Fortal Heart Recording
1.7 | Adjutable heart rate with alarm facility