## Sheet1
| BHARAT HEAVY ELECTRICALS LIMITED |  | Date : | ___________________
| Heavy Power Equipment Plant, Ramachandrapuram, |  | Due Date : | ___________________
| Hyderabad - 502 032. INDIA. |  | Supplier Qtn. No.: | ___________________
| Phones : 23182189 / 23182243 / FAX:040-23021910 |  | Date : | ___________________
E-mail : raogum@bhelhyd.co.in
TENDER DOCUMENTS TO BE FILLED BY THE SUPPLIER FOR SUPPLY OF
3 CHANNEL COMPUTERISED ECG UNIT WITH INTERPRETATION.
ADDRESS OF THE SUPPLIER :
TELEPHONE NOS.:
FAX NOS.:
E-MAIL ADDRESS :
Sl. No. | Description for BHEL Requirement | Offered | Deviations | Remarks
1 | 3 CHANNEL COMPUTERISED ECG UNIT WITH INTERPRETATION.
1.1 | True simultaneous 12 lead acquisition.
1.2 | Auto / manual option.
1.3 | Rhythm strip.
1.4 | Measurement.
1.5 | Interpretation.
1.6 | Mains and batery operated.
1.7 | Automatically recharge.
1.8 | Interference filter.
1.9 | Copy button for extra trace.
1.1 | large A4 paper size to accommodate all 12 leads.