GUIDE LIST OF APPROVED MAKES OF MATERIALS FOR PLUMBING ITEMS

| Sl. No. | ##### Materials | Brand Name |
| --- | --- | --- |
| 1. | Vitreous China Sanitaryware (1st class quality) | PARRYWARE/ HINDUSTAN / CERA |
| 2. | C.P. fittings | JAQUAR |
| 3. | Flush Valve | JAQUAR |
| 4. | C.P. Bottle trap | JAQUAR |
| 5. | Stainless Steel Sink | NEELKANTH |
| 6. | Bath Room C.P. accessories | AKOI / ESS ESS |
| 7. | Soil, waste & rain water pipes & fittings (a) Sand cast pipes | KAJECO / B.C./ RIF / SRIF |
| 8. | G.I. and M.S. pipes | TATA |
| 9. | G.I. fittings (Malleable Cast Iron) | KENT / ZOLOTO / UNIK |
| 10. | Gunmetal Valve (Fullway valve) | ZOLOTO / LEADER |
| 11. | Ball Valve | RB / AUDCO |
| 12. | Butterfly Valve | AUDCO / KSB |
| 13. | C.I. double-flanged sluice valve. | KIRLOSKAR / SHIVA DURGA / IVC |
| 14. | C.I. double flanged non return valves (80mm dia and above) | KIRLOSKAR |
| 15. | Gunmetal check valves upto 65mm dia | LEADER / ZOLOTO |
| 16 | Float valve (gunmetal) upto 40mm | LEADER / GG / SANT |
| 17. | Float valve (C.I.) 50mm and above | IVC / LEADER / SHIVA DURGA |
| 18. | Foot Valve | IVC / LEADER / SHIVA DURGA |
| 19. | Brass ball valves | ZOLOTO / RBM |
| 20. | Air valves | LEADER / IVC |
| 21. | C.I. Manholes cover | RIF / B.C. / KAJECO |
| 22. | Bib & stop cocks (brass) | JDR / GPA |
| 23. | Stoneware pipes & Gully traps | HIND / PERFECT |
| 24. | R.C.C. pipes | R.K / I.H.P / JAIN |
| 26. | C.I./S.S. pipes | KESORAM / IISCO / ELECTROSTEEL |
| 27. | Mirror | ATUL / GOLDENFISH / MODIFLOAT |
| 28. | Waterproofing | PROTEK |
| 29. | UPVC pipes | SUPREME / PRINCE / FINOLEX |
| 30. | HDPE pipes | EMCO |
| 31. | Hand Drier | KOPAL |
| 32. | Water Storage Tank | SINTEX |

NOTE:

The above is the list of building material and the names of the approved brand against each item. Where more than one manufacturer is listed, the names are given in the order of preference. The contractor shall quote rates for the various items of work based on the materials of first preference, after ascertaining the availability, delivery schedule etc. of the same. Unless the contractor stipulates to the contrary in his tender, it shall be presumed that rates quoted are for the materials of first preference. In the event the contractor is permitted to use materials of lower preference, because of valid reasons, then the contract rates for the relevant items of work shall be suitably adjusted on the basis of the variation in prices of materials of first preference and those actually used. If the prices of material used are higher than the prices of materials of first preference, the owner shall not be liable to make any enhanced payment for the affected item of work on this account.

.