## Factory
SCHEDULE OF QUANTITIES FOR ELECTRICAL WORKS OF PRODUCTION BLOCK
S.NO. | ITEM'S DESCRIPTION | UNIT | QTY. | RATE | AMOUNT
|  |  |  | (IN RS.) | (IN RS.)
A | POINT WIRING
1 | Supplying, installation, testing, rectification & commissioning of the wiring with all the required materials for the following given points with 1100 volts grade PVC insulated multi stranded copper conductor of 4.0 sq.mm wires either in concealed or on surface mounted heavy duty 25/32/40 mm diameter PVC rigid conduit either in slab or on above false ceiling or in walls or in partitions, alongwith 1100 volts grade PVC insulated multi stranded copper conductor of 1.5 sq. mm continuous copper earth wire and associated hardware etc. as per technical specification enclosed with this documents.(Note: These points starts directly from DB's and terminate at fixtures via MCB.and the length of first point shall be 20 Rmtr.)
a | One light points controlled by one no. existing 10 Amps SP MCB. | Nos. | 6
b | Loop light points controlled by one no. existing 10 Amps SP MCB. | Nos. | 12
2 | Wiring for light/power plug wiring with 4x4 mm² pvc insulated,copper conductor, single core cable in surface/recessed pvc conduit along with 2 no. 2.24 mm dia bare copper wire for loop earthing as required. | Point | 1
3 | Supplying and fixing 20 amps. TPN industrial type socket outlet with 4 pole and earth metal enclosed plug top, alongwith 20 amps. "G" series TP MCB in sheet steel enclosure on surface, or in recess with chained metal cover for the socket outlet and complete with connections, testing and commissioning etc. as required | Nos. | 2
4 | Supplying and fixing 20 amps. 240 volts, SPN industrial type socket outlet with 2 pole and earth metal enclosed plug top, alongwith 20 amps. "G" series TP MCB in sheet steel enclosure on surface, or in recess with chained metal cover for the socket outlet and complete with connections, testing and commissioning etc. as required | Nos. | 2
B | CIRCUIT/SUB MAINS WIRING
1 | Wiring for circuit wiring with 2x2.5mm² PVC insulated, copper conductor, single core cable in surface/recessed pvc conduit as required | Mtr. | 0
2 | Wiring for submain wiring with the following sizes of PVC insulated, copper conductor, single core cable in surface/recessed pvc conduit as required | Mtr.
a | 2x10mm² | Mtr. | 0
a | 4x10mm² | Mtr. | 0
b | 4x16mm² | Mtr. | 0
c | 3x25 + 1x16mm² | Mtr. | 30
C | SUB DISTRIBUTION BOARDS
1 | Supplying, Installation, testing and commissioning of surface/recess mounting, vertical type, compartmentalised, 415Volts, TPN MCB distribution oard of sheet steel, 1.6mm thick, dust protected, duly phosphatized and painted, inclusive of 200amps. Tinned copper busbars, earth bars, comon neutral link, din bar for mounting MCB's detachable gland/knock out plates and with built in loose wire box, and superior make terminal connector for all incoming and outgoing circuits, duly prewired with adequate size of PVC insulated copper wires between the busbars and the MCB's as well as the incomer and upto the terminal connector/neutral link and ready for installation, of the following ways(but without MCB's and incomer)as required;
a | 2+4 Way | Each | 0
b | 4 Way | Each | 2
c | 8 Way | Each | 0
d | 12 Way | Each | 0
2 | Supplying and fixing 5 amps. To 32 amps. Rating, 240 volts,"L" series , minature circuit breaker of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required (category-B)
a | Single Pole | Each | 20
b | Single Pole and neutral | Each | 0
b | Triple Pole + Neutral | Each | 2
3 | Supplying and fixing 5 amps. To 32 amps. Rating, 240 volts,"G" series , minature circuit breaker of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required (category-B)
a | Single Pole | Each | 4
b | Triple Pole + Neutral | Each | 0
4 | Supplying and fixing the folowing rating four pole 415 volts isolator in the existing MCB DB complete with connections, testing and commissioning etc. as required.
a | 40 amps. | Each | 0
b | 63 amps | Each | 0
c | 100 amps | Each | 0
T.V.TELEPHONE AND COMPUTER WIRING
1 | Supplying, fixing, testing, installation and commissioning of piano/tumbler type RJ-11 telephone sockets housed in MS/GI boxes recessed in walls/ partitions/paneling for telephone outlets. | Nos. | 2
2 | Supplying, fixing, testing, installation and commissioning of piano/tumbler type RJ-45 computer sockets housed in MS/GI boxes recessed in walls/ partitions/paneling for computer outlets. | Nos. | 2
3 | Supplying, laying, testing, connecting and commissioning of RG 6 TV cable in existing conduit complete as required. | Rmtr. | 0
4 | Supplying and fixing the telephone tag blocks housed in MS boxes (with hinged cover and duly painted) recessed in wall with adequate knockouts including chase cutting and making the surface good and making connections complete as required.
| 10 Pair | Nos. | 1
| 30 Pair | Nos. | 0
| 50 Pair | Nos. | 0
| 100 Pair | Nos. | 0
5 | Supplying and drawing PVC insulated, PVC sheathed multicore unarmoured taped telephone cables of .61 mm dia size in existing pipe, of the following sizes.
| 10 Pair | Mtr. | 10
| 30 Pair | Mtr. | 0
| 50 Pair | Mtr. | 0
| 4 Pair (CAT- 5) | Mtr. | 40
6 | Supplying and fixing of the following sizes of pvc conduit alongwith the accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as reequired:
a | 20 mm | Mtr. | 30
b | 25 mm | Mtr. | 10
c | 50 mm | Mtr. | 5
8 | Supplying and fixing of an aluminium made Raceway of following sizes complete with cover,floor junction boxes with cover and all other required accessories including hardwares etc.
| 100mm X 35mm ALUMINIUM 1.6 mm | Rmtr. | 0
9 | Supplying and drawing CAT-5 computer cables in an existing pipe including termination etc. | Mtr. | 15
7 | FIXTURES
Supplying, storing, assembling, fixing, testing & commissioning the following fixtures including cost of hangers, chains or any other item required for fixing including flexible wire from outlet to fitting.
a | Indoor duty surface mounted industrial type made of CRCA sheet steel suitable for 1Nos 250 W SON lamp. The work involves assembly, fixing, connecting, commissioning and testing of the fixtures. The fitting will be complete with 1 Nos. 250W metal halide lamp, ballasts, starters, p.f., improving capacitors, holders, control wiring etc.Philips make (Optibay) HPK 225/HPK 250 NB. | Nos | 18
b | Indoor duty surface mounted decorative industrial type flourescent fixture made of CRCA sheet steel suitable for 2 Nos 4 feet long 36 W fluorescent lamp. The work involves assembly, fixing, connecting, commissioning and testing of the fixtures. The fitting will be complete with 2 Nos. 36W x 4 feet long TRULITE fluorescent lamp, powder coated reflactor, copper ballasts, starters, p.f., improving capacitors, holders, control wiring etc. equivalent to PHILIPS make TKC 24/236 | Nos. | 20
NOTE: | PARTIES ARE REQUESRED TO SUBMIT THEIR RATES FOR THE ITEMS ALSO, WHERE QTY IS SHOWN AS ZERO. ACTUAL QTY WILL BE DECIDED AT THE TIME OF FINALIZATION OF THE CONTRACT

## BUILDING
SCHEDULE OF QUANTITIES FOR ELECTRICAL WORKS OF ADMINISTRATIVE BLOCK
S.NO. | ITEM'S DESCRIPTION | UNIT | QTY. | RATE | AMOUNT
|  |  |  | (IN RS.) | (IN RS.)
A | POINT WIRING
Rates of only ISI marked conduits, cables, switches and socket outlets have been taken in the following items. Unless and other wise specified, only such conduits, cables, switches and socket outlets shall be used in the work.
1 | Wiring for light point/fanpoint/exhaust fan point/call bell point with 1.5mm² pvc insulated copper conductor cable in surface/recessed pvc conduit as required;
a | Group "C" | Point | 41
2 | Loop wiring for light point/fanpoint/exhaust fan point/call bell point with 1.5mm² pvc insulated copper conductor cable in surface/recessed pvc conduit as required; | Point | 71
5 | Wiring for 3 pin 5/6 amps. light plug point with 1.5 mm² pvc insulated,copper conductor cable including providing and fixing 3 pin 5/6 amps. Socket on switch board,(in surface/recessed pvc conduit wiring system) and 5/6 amps. Tumbler/ piano type switch, earthing the 3rd pin, painting etc. as required. | Point | 4
6 | Wiring for light plug point with 2x1.5 mm² pvc insulated,copper conductor, single core cable in surface/recessed pvc conduit along with 1 no. 2.24 mm dia bare copper wire for loop earthing as required. | Point | 22
7 | Supplying and fixing metal box of 150mm x 75 mmx 60mm deep nominal size on surface or in recessed with suitable size phenolic laminated sheet cover in the front including providing and fixing 3 pin 5/6 amo socket outlet and 5/6 amps tumbler/piano type switch connections painting etc. as required (for light plugs tobe used only in non residential buildings | Set | 22
8 | Supplying and fixing metal box of 180mm x 110 mmx 60mm deep nominal size on surface or in recessed with suitable size phenolic laminated sheet cover in the front including providing and fixing 3 pin 151/6 amps socket outlet and 15/16 amps tumbler/piano type switch connections painting etc. as required (for power plugs to be used only in non residential buildings | Set | 13
9 | Wiring for light/power plug wiring with 2x4 mm² pvc insulated,copper conductor, single core cable in surface/recessed pvc conduit along with 1 no. 2.24 mm dia bare copper wire for loop earthing as required. | Point | 13
10 | Wiring for light/power plug wiring with 4x4 mm² pvc insulated,copper conductor, single core cable in surface/recessed pvc conduit along with 2 no. 2.24 mm dia bare copper wire for loop earthing as required. | Point | 1
11 | Supplying and fixing 20 amps. TPN industrial type socket outlet with 4 pole and earth metal enclosed plug top, alongwith 20 amps. "G" series TP MCB in sheet steel enclosure on surface, or in recess with chained metal cover for the socket outlet and complete with connections, testing and commissioning etc. as required | Nos. | 2
12 | Supplying and fixing 20 amps. 240 volts, SPN industrial type socket outlet with 2 pole and earth metal enclosed plug top, alongwith 20 amps. "G" series TP MCB in sheet steel enclosure on surface, or in recess with chained metal cover for the socket outlet and complete with connections, testing and commissioning etc. as required | Nos. | 12
TOTAL CARRIED OVER TO GRAND SUMMARY SHEET
B | CIRCUIT/SUB MAINS WIRING
1 | Wiring for circuit wiring with 2x2.5mm² PVC insulated, copper conductor, single core cable in surface/recessed pvc conduit as required | Mtr. | 375
2 | Wiring for submain wiring with the following sizes of PVC insulated, copper conductor, single core cable in surface/recessed pvc conduit as required | Mtr.
a | 2x10mm² | Mtr. | 15
a | 4x10mm² | Mtr. | 100
b | 4x16mm² | Mtr. | 75
c | 3x25 + 1x16mm² | Mtr. | 10
C | SUB DISTRIBUTION BOARDS
1 | Supplying, Installation, testing and commissioning of surface/recess mounting, vertical type, compartmentalised, 415Volts, TPN MCB distribution oard of sheet steel, 1.6mm thick, dust protected, duly phosphatized and painted, inclusive of 200amps. Tinned copper busbars, earth bars, comon neutral link, din bar for mounting MCB's detachable gland/knock out plates and with built in loose wire box, and superior make terminal connector for all incoming and outgoing circuits, duly prewired with adequate size of PVC insulated copper wires between the busbars and the MCB's as well as the incomer and upto the terminal connector/neutral link and ready for installation, of the following ways(but without MCB's and incomer)as required;
a | 2+4 Way | Each | 1
d | 12 Way | Each | 1
2 | Supplying and fixing 5 amps. To 32 amps. Rating, 240 volts,"L" series , minature circuit breaker of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required (category-B)
a | Single Pole | Each | 28
b | Single Pole and neutral | Each | 1
b | Triple Pole + Neutral | Each | 1
3 | Supplying and fixing 5 amps. To 32 amps. Rating, 240 volts,"G" series , minature circuit breaker of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required (category-B)
a | Single Pole | Each | 12
D. | T.V.TELEPHONE AND COMPUTER WIRING
1 | Supplying, fixing, testing, installation and commissioning of piano/tumbler type RJ-11 telephone sockets housed in MS/GI boxes recessed in walls/ partitions/paneling for telephone outlets. | Nos. | 10
2 | Supplying, fixing, testing, installation and commissioning of piano/tumbler type RJ-45 computer sockets housed in MS/GI boxes recessed in walls/ partitions/paneling for computer outlets. | Nos. | 10
3 | Supplying, laying, testing, connecting and commissioning of RG 6 TV cable in existing conduit complete as required. | Rmtr. | 0
4 | Supplying and fixing the telephone tag blocks housed in MS boxes (with hinged cover and duly painted) recessed in wall with adequate knockouts including chase cutting and making the surface good and making connections complete as required.
| 10 Pair | Nos. | 1
| 30 Pair | Nos. | 1
5 | Supplying and drawing PVC insulated, PVC sheathed multicore unarmoured taped telephone cables of .61 mm dia size in existing pipe, of the following sizes.
| 10 Pair | Mtr. | 30
| 30 Pair | Mtr. | 25
| 50 Pair | Mtr. | 10
| 4 Pair (CAT- 5) | Mtr. | 600
7 | Supplying and fixing of the following sizes of pvc conduit alongwith the accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as reequired:
a | 20 mm | Mtr. | 120
b | 25 mm | Mtr. | 180
c | 50 mm | Mtr. | 45
8 | Supplying and fixing of an aluminium made Raceway of following sizes complete with cover,floor junction boxes with cover and all other required accessories including hardwares etc.
| 100mm X 35mm ALUMINIUM 1.6 mm | Rmtr. | 5
9 | Supplying and drawing CAT-5 computer cables in an existing pipe including termination etc. | Mtr. | 450
E. | FIXTURES
Supplying, storing, assembling, fixing, testing & commissioning the following fixtures including cost of hangers, chains or any other item required for fixing including flexible wire from outlet to fitting.
a | Indoor duty surface mounted patti type flourescent fixture made of CRCA sheet steel suitable for 1 Nos 4 feet long 36 W fluorescent lamp. The work involves assembly, fixing, connecting, commissioning and testing of the fixtures. The fitting will be complete with 1 Nos. 36W x 4 feet long TRULITE fluorescent lamp, powder coated reflactor, copper ballasts, starters, p.f., improving capacitors, holders, control wiring etc. equivalent to PHILIPS make TMC 19/140 | Nos. | 5
b | Indoor duty surface mounted decorative type compact flourescent lamp fixture made of CRCA sheet steel suitable for 2 Nos 11 W compact fluorescent lamp. The work involves assembly, fixing, connecting, commissioning and testing of the fixtures. The fitting will be complete with 2 Nos. compact fluorescent lamp, copper ballasts, starters, p.f., improving capacitors, holders, control wiring etc. equivalent to PHILIPS make FCS 518/211(LOTUS) | Nos. | 26
c | Indoor duty recessed mounted decorative type metel halide lamp downlighter fixture made of CRCA sheet steel suitable for 1 Nos 70 W metel halide lamp. The work involves assembly, fixing, connecting, commissioning and testing of the fixtures. The fitting will be complete with 1 Nos. metel halide lamp, ballasts, starters, p.f., improving capacitors, holders, control wiring etc. equivalent to PHILIPS make MBS 050/70 | Nos. | 2
d | Indoor duty recessed mounted decorative type compact flourescent lamp fixture made of CRCA sheet steel suitable for 1 Nos 26 W compact fluorescent lamp. The work involves assembly, fixing, connecting, commissioning and testing of the fixtures. The fitting will be complete with 1 Nos. compact fluorescent lamp, copper ballasts, starters, p.f., improving capacitors, holders, control wiring etc. equivalent to PHILIPS make FBH 225/126 with ZZG 225 ALR & DG reflector with glass. | Nos. | 2
e | Indoor duty recessed/surface mounted decorative type flourescent fixture made of CRCA sheet steel suitable for 2 Nos 4 feet long 36 W fluorescent lamp. The work involves assembly, fixing, connecting, commissioning and testing of the fixtures. The fitting will be complete with 2 Nos. 36W x 4 feet long TRULITE fluorescent lamp, powder coated reflactor, copper ballasts, starters, p.f., improving capacitors, holders, control wiring etc. equivalent to PHILIPS make TCS 306/236 | Nos. | 43
f | Surface ceiling mounted ( fittings for wc) decorative type bracket light fixtures made of CRCA sheet steel suitable for 1 Nos compact fluorescent lamp. The fitting will be complete with 1 Nos. CFL lamp, holders, control wiring etc. equivalent to PHILIPS make FL424/118 Cielo | Nos. | 7
g | Indoor duty recessed mounted decorative type compact flourescent lamp fixture made of CRCA sheet steel suitable for 2 Nos 26 W compact fluorescent lamp. The work involves assembly, fixing, connecting, commissioning and testing of the fixtures. The fitting will be complete with 2 Nos. compact fluorescent lamp, copper ballasts, starters, p.f., improving capacitors, holders, control wiring etc. equivalent to PHILIPS make FBH 225/226 with ZZG 225 ALR & DG reflector with glass. | Nos. | 2
h | Indoor duty integral type halogen lamp fixture made of die cast aluminum suitable for 1 Nos 50 W dichroic halogen lamp. The work involves assembly, fixing, connecting, commissioning and testing of the fixtures. The fitting will be complete with 1 Nos. halogen lamp, ballasts, starters, p.f., improving capacitors, holders, control wiring etc. equivalent to PHILIPS make DN 652 | Nos. | 2
13 | Supplying of the following sizes ceiling / bracket fans complete with the motors, starting capacitor, fan assembly, hang pipe, top and bottom domes, electronic regulator, rubber bush, required hardware’s etc.
a | 600 mm dia sweep bracket fan. | Nos. | 0
b | 1200 mm dia sweep ceiling fan. | Nos. | 23
14 | Supplying of the following sizes exhaust fans assembly, mounting frame, wall mounting cowling, bird guard etc.
a | 300 mm dia heavy duty 900 RPM exhaust fan complete with louvered shutters | Nos. | 0
b | 450 mm dia, heavy duty 900 RPM exhaust fan complete with louvered shutters | Nos. | 4
p | Installation, testing and commissioning of ceiling fan and regulator including wiring the down rd of standard length ( upto 30cm) with 1.5 mm² pvc insulated copper conductor single core cable etc. as required. | Nos. | 23
r | Carriage of ceiling fan and regulator/ exhaust fan from store to site as required. | Nos. | 27
s | Numbering of ceiling fan/exhaust fan/flourscent fitting as required | Nos. | 24
t | Installation, testing and commissioning of exhaust fan upto 450mm sweep in the existing opening including making the hole to suit the size of the above fan making good the damage connectionstesting commissioning etc. as required. | Nos. | 4
u | Extra for fixing the louvers/ shutters complete with frame for exhaust fans of all sizes | Nos. | 4