## material list electricals
GUIDE LIST OF APPROVED MAKES OF MATERIALS FOR ELECTRICAL ITEMS
The following is the list of products and the names of the approved manufacturers against each product. Where more than one manufacturer is listed, the names are given in the order of preference. The contractor shall quote rates for the various items of work based on the materials of first preference, after ascertaining the availability, delivery schedule etc. of the same. Unless the contractor stipulates to the contrary in his tender, it shall be presumed that rates quoted are for the materials of first preference. In the event the contractor is permitted to use materials of lower preference, because of valid reasons, than the contract rates for the relevant items of work shall be suitably adjusted on the basis of the variation in prices of materials of first preference and those actually used. If the prices of material used are higher than the prices of materials of first preference, the owner shall not be liable to make any enhanced payment for the affected item of work on this account.
S.No. | PARTICULARS | PREFERRED MAKE | ALTERNATE MAKE I | ALTERNATE MAKE II
1 | MCCB | LEGRAND | SCHNEIDER_M.G | L&T(Moller)
2 | MCB | LEGRAND | SCHNEIDER_M.G | HAGER
3 | MCB DBS | LEGRAND | SCHNEIDER_M.G | HAGER
4 | L.T. PANEL MNFRS. | APPROVED BY CONSULTANTS
5 | MODULAR SWITCHES | LEGRAND (MOSAIC) | SCHNEIDER (LK FUGA) | CLIPSAL (OPALE)
6 | PIANO SWITCHES | ANCHOR | SSK(TOPLINE) | NORTH WEST
7 | PVC CONDUIT | POLY PACK | PRECISION | AKG
8 | MS CONDUIT | BEC | AGL | AKG
9 | 1.1KV GRADE CABLES | KEI | FINOLEX | POLYCAB
10 | 1.1KV GRADE WIRES | LAPP KABLE | RRKABL | FINOLEX
11 | LIGHTING FIXTURE | PHILIPS INDIA | WIPRO | APPROVED BY CONSULTANTS
12 | TELEPHONE CABLE | DELTON | KEI | SKYTONE
13 | TELEPHONE TAG BLOCK | HENSEL | KRONE | ITI
14 | CABLE GLANDS | DOWELL | SIEMENS | COMET
15 | THIMBLES | DOWELLS
16 | CABLE JOINTS | 3M | MAHINDRA | REYCHEM
17 | CONTRAL SWITCHES | G.E. | C&S | THAKUR
18 | TERMINAL STRIP | CONNECT WELL | ELMEX
19 | BUS BAR SUPPORT | POWERMEX | NOMEX
20 | CHANGE OVER SWITCH | H.H.ELECON | HPL SOCOMEC | C&S
21 | FUSES / FUSE CARRIERS | G.E. | L&T | APPROVED BY CONSULTANTS
22 | PUSH BUTTON | G.E. | BCH | SIEMENS
23 | CONNECTORS | SIEMENS | L&T | TELEMECHNIC
24 | PROTECTION RELAY | ALSTHOM | AVK-SEGC
25 | CONTACTORS | SCHNEIDER | G.E. | SIEMENS
26 | METERS(INDICATING) | AE | IMP | MICO
27 | INDICATING LAMPS | G.E. | SIEMENS | VAISHNAV
28 | L.T. CTS AND PTS | KAPPA | AE | SIEMENS
29 | SELECTOR SWITCHES | G.E. | KAYCEE | SIEMENS
30 | CAPACITORS | G.E. | MEHAR | CROMPTON
31 | POWER FACTOR CORRECTION RELAY | NEPTUAN DUCTATI | NEUTRONICS | SYNTRON.
32 | OVER LOAD RELAY | ALSTHOM | L&T | TELEMECHNIC
33 | LOW VOLTAGE SERVICES AGENCIES | FIRE BALL | DATS | SDB CISCO