## Abstract
SCHEDULE OF QUANTITIES FOR CIVIL WORKS OF ADMINISTRATIVE BLOCK
ITEM | DESCRIPTION OF ITEM | QUANTITY | UNIT | RATE | AMOUNT
NO. |  |  |  | (RS) | (RS)
1 | 2 | 3 | 4 | 5 | 6
1 | EARTH WORK
1.1 | Earth work in excavation in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan) including dressing of sides and ramming of bottoms, lift upto 1.5m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50m. |  |  |  | 0
a | All kinds of soil. | 241.6181 | Cum |  | 0
1.2 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundation etc. in layers not exceeding 20cm in depth: consolidating each deposited layer by ramming and watering, lead upto 50m and lift upto 1.5m. | 120.1148 | Cum |  | 0
1.3 | Supplying and filling in plinth with Jamuna sand under floors including, watering, ramming, consolidating and dressing complete. | 22.0249 | Cum |  | 0
2 | CONCRETE WORK
2.1 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work upto plinth level. |  |  | 0 | 0
a | 1:4:8 (1 cement: 4 coarse sand: 8 graded stone aggregate 40mm nominal size). | 26.4447 | Cum |  | 0
2.2 | Providing and laying damp-proof course 40mm thick with cement concrete 1:2:4 (1 cement: 2 coarse sand: 4 graded stone aggregate 12.5mm nominal size). | 16.5404 | Sqm |  | 0
2.3 | Applying a coat of residual petroleum bitumen of penetration 80/100 of approved quality using 1.7 kg. per square meter on damp proof course after cleaning the surface with brushes and finally with a piece of cloth lightly soaked in kerosene oil. | 16.5404 | Sqm |  | 0
3 | REINFORCED CEMENT CONCRETE
3.1 | Providing and laying in position machine batched, machine mixed and machine vibrated design mix cement concrete of specified grade for reinforced cement concrete structural elements, excluding the cost of centring, shuttering, finishing and reinforcement including Admixture in recommended proportions (as per IS 9103) to accelerate, retard setting of concrete improve workability without impairing strength and durability as per direction of Engineer-in-charge - M-20 grade reinforced cement concrete.
a | All work upto plinth level. | 12.8584 | Cum
b | All work from plinth level upto floor V level.
i | Walls , columns, pillars, posts and struts. | 2.3687 | Cum |  | 0
ii | Beams, plinth beams, girders, bressumers, cantilevers, Suspended floors lintels roofs and staircases including spiral staircases, shelves etc. | 133.5605 | Cum |  | 0
3.2 | Add or deduct for providing richer or leaner mixes respectively at all floor levels. |  |  |  | 0
a | Providing M-25 grade R.C.C. instead of M-20 grade R.C.C. | 15.2271 | Cum |  | 0
3.3 | Centring and shuttering including strutting, propping etc. and removal of form for : |  |  |  | 0
a | Foundations, footings, bases of columns etc. for mass concrete. | 19.2774 | Sqm |  | 0
b | Suspended floors, roofs, landings, balconies and access platform. | 664.3466 | Sqm |  | 0
c | Lintels, beams, plinth beams, grinders, bressumers and cantilevers. | 387.0131 | Sqm |  | 0
d | Columns, Pillars, Piers, Abutments, Posts and Struts | 34.0325 | Sqm |  | 0
e | Stairs, (excluding landings) except spiral-staircase | 24.1094 | Sqm |  | 0
3.4 | Reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete . |  |  |  | 0
a | Thermo-Mechanically Treated bars. | 14878.7631 | Kg. |  | 0
4. | BRICK WORK
4.1 | Brick work with bricks of class designation 75 in foundation and plinth in :
a | Cement mortar 1:6 (1 cement: 6 coarse sand) | 242.6066 | Cum |  | 0
b | Cement mortar 1:4 (1 cement: 4 coarse sand) | 1.6753 | Cum |  | 0
4.2 | Extra for brick work in superstructure above plinth level upto floor V level. | 177.2962 | Cum |  | 0
4.3 | Half brick masonry with bricks of class designation 75 in foundation and plinth in:
a | Cement mortar 1:4 (1 cement: 4 coarse sand) | 99.9545 | Sqm |  | 0
0
4.4 | Extra for half brick work in superstructure above plinth level upto floor V level. | 99.9545 | Sqm |  | 0
4.5 | Extra for providing and placing in position 2 Nos. 6mm dia. M.S. bars at every third course of half brick masonry (with F.P.S. bricks) | 99.9545 | Sqm |  | 0
5 | MARBLE WORK
5.1 | Providing and fixing 18mm thick mirror polished, machine cut for kitchen platforms, vanity counters facias and similar locations of required size of approved shade, colour and texture laid over 20mm thick base cement mortar 1:4 (1 Cement : 4 coarse sand) with joints treated with white cement, mixed with matching pigment, epoxy touch ups, including rubbing, curing etc. complete at all levels.
a | Granite Black
i | over 0.2 sqm but upto 0.5 sqm | 5.22 | Sqm |  | 0
5.2 | Extra for providing edge moulding to 18mm thick marble stone counters, Vanities etc. over above item no. 5.1 including machine polishing to edge to give high gloss finish etc. complete as per design approved by Engineer-in-charge. |  |  |  | 0
a | Granite work | 6.96 | Metre |  | 0
5.3 | Extra for fixing marble/granite stone over and above corresponding basic item, in facia and drops of width upto 150mm with epoxy resin based (Araldite or equivalent) adhesive including cleaning etc. complete. | 6.96 | M |  | 0
5.4 | Mirror polishing on marble work/stone work where ever required to give high gloss finish complete. | 5.22 | Sqm |  | 0
5.5 | Extra for providing opening of required size & shape for wash basins/kitchen sink in kitchen platform, vanity counters and similar location in marble/stone work including necessary holes for pillar taps etc. including rubbing and polishing of cut edges etc. complete. | 6 | Each opening |  | 0
6 | WOOD WORK
6.1 | Providing and fixing ISI marked flush door shutters non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 ply veneering with vertical grains or cross bands and face veneers on both faces of shutters.
a | 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 37.5744 | Sqm |  | 0
6.2 | Providing and fixing aluminium sliding door bolt ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade with nuts and screws etc. complete.
a | 300 x 16 mm | 20 | Each |  | 0
6.3 | Providing and fixing aluminium tower bolts ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade with necessary screws etc. complete.
a | 250 x 10mm | 20 | Each |  | 0
b | 150 x 10mm | 20 | Each |  | 0
6.4 | Providing and fixing aluminium handles ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade with necessary screws etc. complete.
a | 125 mm | 40 | Each |  | 0
6.5 | Providing and fixing aluminium hanging floor door stopper ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade with necessary screws etc. complete.
a | Single rubber stopper. | 20 | Each |  | 0
7 | STEEL WORK
7.1 | Providing and fixing pressed steel door frames manufactured from commercial mild steel sheet of 1.25 mm thickness including hinges jamb, lock jamb, bead and if required angle threshold of mild steel angle of section 50x25mm, or base ties of 1.25mm pressed mild steel welded or rigidly fixed together by machanical means, adjustable lugs with split end tail to each jamb including steel butt hinges 2.5mm thick with mortar guards, lock strike-plate and shock absorbers as specified and applying a coat of approved steel primer after pre-treatment of the surface as directed by Engineer-in-charge:
a | Profile A | 105.2 | M |  | 0
7.2 | Providing and fixing ISI marked steel glazed doors, windows and ventilators of standard rolled steel sections, joints mitred and welded with 15x3mm lugs, 10cm long, embedded in cement concrete blocks 15x10x10cm of 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size) or with wooden plugs and screws or rawl plugs and screws or with fixing clips or with bolts and nuts as required, including providing and fixing of glass panes with glazing clips and special metal sash putty of approved make complete including applying a priming coat of approved steel primer; excluding the cost of metal beading and other fitting except necessary hinges or pivots as required. |  |  |  | 0
a | Windows-side hung | 91.1163 | Sqm |  | 0
b | Ventilators-top hung | 1.6744 | Sqm |  | 0
7.3 | Steel work welded in built up sections/framed work including cutting hoisting, fixing in position by dash fasteners including making threads and hole by drill in brick / RCC work as required and applying a priming coat of approved steel primer using structural steel etc.as required.
a | In gratings, frames, guard bar, ladders, railings, brackets, gates & similar works. | 1647.3356 | Kg |  | 0
7.4 | Providing and fixing hand rail by welding etc. to steel ladder railing, balcony railing & staircase railing including applying a priming coat of approved steel primer
a | G.I. pipes 40 mm nominal bore (class B) | 110.2855 | Kg |  | 0
0
8 | FLOORING
8.1 | Marble stone flooring with 18mm thick marble stone (sample of marble shall be approved by Engineer-in-charge) over 20 mm (average) thick base of cement mortar 1:4 (1 cement : 4 coarse sand) laid and jointed with grey cement slurry including rubbing and polishing complete with: |  |  |  | 0
a | Udaipur green marble | 29.8231 | Sqm |  | 0
8.2 | Providing & fixing Ist quality ceramic glazed tile confirming to IS : 13753 of minimum thickness 5 mm of approved make like NITCO, ORIENT, SOMANY, KAJAARIA, or equuivalent make in all colours, shades of any size as approved by Engineer- in- charge in skirting/dado over on 12mm thick cement mortar 1:3 (1 cement: 3 coarse sand) and jointed with grey cement slurry @ 3.3kg per sqm including pointing with white cement mixed with pigment to match the shade complete. | 45.108 | Sqm |  | 0
8.3 | Kota stone slab flooring over 20mm (average) thick base laid over and jointed with grey cement slurry mixed with pigment to match the shade of the slab including rubbing and polishing complete with base of 1 : 4 ( 1 cement : 4 coarse sand) :
a | 25mm thick | 563.4231 | Sqm |  | 0
8.4 | Extra for laying Kota stone slabs in steps and treads not exceeding 30cm in width. | 23.7559 | Sqm |  | 0
8.5 | Extra for nosing in steps and treads of Kota stone slab. | 79.1863 | M |  | 0
8.6 | Providing and laying 20mm thick Kota stone in skirting over 12mm thick back base of cement mortar 1:3 (1 cement: 3 coarse sand) jointed with grey cement slurry mixed with pigment to match the shade of the slab including machine cutting edges, rubbing & polishing complete. | 38.3786 | Sqm |  | 0
9 | ROOFING WORK
9.1 | Making khurras 45 x 45cm with average minimum thickness of 5cm cement concrete 1:2:4 (1 cement: 2 coarse sand : 4 graded stone aggregate of 20mm nominal size) over PVC sheet 1m x 1m x 400 micron, finished with 12mm cement plaster 1:3 (1 cement: 3 coarse sand) and coat of neat cement, rounding the edges and making and finishing the outlet complete. | 5 | Nos |  | 0
9.2 | Providing and fixing unplasticised- PVC pipe clips of approved design to unplasticised- PVC rain water pipes by means of 50x50x50mm hard wood plugs, screwed with M.S. screws of required length including cutting brick work and fixing in ement mortar 1:4 mix (1 cement : 4 coarse sand ) and making good the walls etc. complete. |  |  |  | 0
a | 110 mm diameter | 43 | Nos |  | 0
9.3 | Providing and fixing on wall face unplasticised - PVC moulded fittings / accessories - Rigid PVC rain water pipes confirming to IS : 13592 Type A including jointing with seal ring confirming to IS -5382 leaving 10 mm gap for thermal expansion.
a | Bend 87.5 degree 110 mm bend. | 5 | Nos |  | 0
b | Coupler 110 mm | 5 | Nos |  | 0
c | Single tee with door. | 5 | Nos |  | 0
d | Shoe (plain) 110 mm. | 5 | Nos |  | 0
9.4 | Providing and filling dry brick bats 40mm nominal size in sunken slabs including light ramming. | 13.1378 | Cum |  | 0
0
10 | FINISHING
10.1 | 12mm cement plaster of 1:6 (1 cement : 6 fine sand) | 530.1034 | Sqm |  | 0
0
10.2 | 15mm cement plaster of mix 1:6 (1 cement : 6 fine sand on rough side of single or half brick wall. | 795.1552 | Sqm |  | 0
0
10.3 | 6mm cement plaster to ceiling, R.C.C. works of mix 1:3 ( 1 cement : 3 fine sand) | 752.8824 | Sqm |  | 0
0
10.4 | Applying priming coat :
a | With ready mixed pink or grey primer of approved brand and manufacture on wood work (hard and soft wood) | 89.1898 | Sqm |  | 0
0
10.5 | Painting with synthetic enamel paint of approved brand and manufacture of required colour to give an even shade:
a | Two or more coats on new work over an under coat of suitable shade with ordinary paint of approved brand and manufacture | 98.9856 | Sqm |  | 0
10.6 | Painting with synthetic enamel paint of approved brand and manufacture to give an even shade :
a | Two or more coats on new work | 92.7907 | Sqm |  | 0
10.7 | Distempering with dry distemper of approved brand and manufacture (two or more coats) and of required shade on new work, over and including priming coat of whiting to give an even shade. | 1422.1548 | Sqm |  | 0
10.8 | Finishing wall with waterproofing cement paint " Snowcem-Plus" of M/s Snowcem India Ltd. of required shade: New work (Two or more coats @ 3.84 kg/10 sqm) | 655.9862 | Sqm |  | 0
10.9 | Providing and laying pressed clay tiles (as per approved pattern 20mm nominal thickness and of approved size) on roofs jointed with cement mortar 1:4 (1 cement :4 coarse sand ) mixed with 2% integral water proofing compound laid over a bed of 20mm thick cement mortar 1:4 (1 cement :4 coarse sand ) and finished neat complete. | 379.908 | Sqm |  | 0
10.1 | Pointing on tile brick work with lime mortar 1:2 (1 lime putty : 2 surkhi) :
a | Struck or weathered pointing | 379.908 | Sqm |  | 0
11 | MISCELLANEOUS CIVIL WORKS
11.1 | Providing and fixing 24 SWG G.I. Chicken wire mesh of size 12mm fixed with nails/neat cement plaster etc. as directed at the junction of brick and RCC works. | 92.6968 | Sqm |  | 0
11.2 | Providing and fixing stone slab table rubbed and polished of size 105cmx60cm deep and 1.8cm thick fixed in urinal partitions with cement concrete 1:2:4 ( 1 cement : 2 coarse sand : 4 stone aggregate 6mm nominal size) and finished smooth.
a | Granite Stone of approved shade | 2.52 | Sqm |  | 0
12 | ALUMINIUM WORK |  |  |  | 0
12.1 | Providing and fixing aluminium glazing in door, window, ventilator shutters and partitions etc with PVC/neoprene gasket etc. complete in all respect as per the architectural drawings and the directions of engineer-in-charge.
a | With mirrored toughened glass panes of 6.00 mm thickness. | 40.1853 | Sqm |  | 0
13 | WATER PROOFING WORK
13.1 | Providing and laying integral cement based waterproofing treatment including preparation of surface as required for treatment of roofs, balconies, terraces etc. consisting of following operations. |  |  |  | 0
a) | Applying and grouting a slurry coat of neat cement using 2.75 kg/sqm. of cement admixed with waterproofing compound conforming to IS: 2645 over the RCC slab including cleaning the surface before treatment. |  |  |  | 0
b) | Laying cement concrete using broken bricks/brick bats 25mm to 100mm size with 50% of cement mortar 1:5 (1 cement : 5 coarse sand) admixed with waterproofing compound conforming to IS: 2645 over 20mm thick layer of cement mortar of mix 1:5 (1 cement : 5 coarse sand) admixed with waterproofing compound conforming to IS: 2645 to required slope & treating similarly the adjoining walls upto 300mm height including rounding of junctions of walls/beams and slabs. |  |  |  | 0
c) | After two days of proper curing applying a second coat of cement slurry admixed with waterproofing compound conforming to IS: 2645. |  |  |  | 0
d) | Finishing the surface with 20mm thick jointless cement mortar of mix 1:4 (1 cement : 4 coarse sand) admixed with proprietary waterproofing conforming to IS: 2645 and finally finishing the surface with trowel with neat cement slurry and if required making of 300 x 300 mm square |  |  |  | 0
e) | The whole surface so finished shall be flooded with water for a minimum period of two weeks for curing and for final test.
i) | (With avg. thickness of 120mm and minimum thickness at khurra as 65mm). | 380.1922 | Sqm |  | 0
13.2 | Providing and laying water proofing treatment to vertical and horizontal surfaces of depressed portions of W.C., kitchen and the like consisting of :
i) | Ist course of applying cement slurry @ 4.4 kg/sqm mixed with water proofing compound conforming to IS 2645 in recommended proportions.
ii) | IInd course of 20mm cement plaster 1:3 (1 cement : 3 coarse sand) mixed with water proofing compound in recommended proportion.
iii) | IIIrd course of applying blown or/residual bitumen applied hot at 1.7 kg. per sqm of area.
iv) | IVth course of 400 micron thick PVC sheet. (overlaps at joints of PVC sheet should be 100mm wide and pasted to each other with bitumen @ 1.7 kg/sqm) | 19.332 | Sqm |  | 0
14 | INTERNAL SANITARY FITTINGS AND FIXTURES
14.1 | Providing and fixing white vitreous china pedestal type water closet (European type) with white plastic seat and lid with C.P. brass hinges and rubber buffers, 10 litres low level white PVC flushing cistern (`Champion' make) with internal fittings and brackets, 40mm C.P. brass flush bend, 20mm overflow pipe with specials of standard make and mosquito proof coupling of approved municipal design, 15 mm dia C.P. brass angle valve with wall flange and necessary C.P. copper connection pipe with nuts complete painting wherever required, including cutting and making good the wall and floors wherever required. | 5 | Nos |  | 0
14.2 | Providing and fixing white vitreous china wash basin of oval size 510 with R.S. or C.I. Brackets painted white, with a single 15mm dia C.P. brass pillar tap, 32mm C.P. brass waste of cinder pattern including cutting and making good the walls and floors where required : | 5 | Nos |  | 0
14.3 | Add for providing 32mm dia C.P. brass trap. | 5 | Nos |  | 0
0
14.4 | Add for providing 32mm dia C.P. brass union | 5 | Nos |  | 0
14.5 | Providing and fixing 100mm dia stainless steel jali for floor/nahani trap. | 12 | Nos |  | 0
14.6 | Providing and fixing C.P. brass toilet paper holder. | 5 | Nos |  | 0
14.7 | Providing and fixing 100mm dia centrifugally cast (spun) iron S&S pipe. | 36.2 | M |  | 0
14.8 | Providing and fixing for 100mm dia pipe M.S. holder-bat clamps of approved design to Sand Cast iron/cast iron (spun) pipe embedded in and including cement concrete blocks 10 x 10 x 10 cm of 1:2:4 (1 cement : 2 coarse sand: 4 graded stone aggregate 20mm nominal size) including cost of cutting holes and making good the walls etc. | 6 | Nos |  | 0
14.9 | Providing and fixing 100mm dia centrifugally cast (spun) iron S&S fittings.
a | Bend with access door. | 12 | Nos |  | 0
b | Heel rest bend. | 2 | Nos |  | 0
c | Tee with access door. | 4 | Nos |  | 0
d | Terminal guard | 2 | Nos |  | 0
e | Collar | 12 | Nos |  | 0
14.1 | Providing and fixing double equal plain junction of required degree with access door, insertion rubber washer 3mm thick, bolts and nuts complete.
a | 100x100x100x100mm
| Centrifugally cast (spun) iron S&S. | 6 | Nos |  | 0
14.11 | Providing lead caulked joint to 100mm dia centrifugally cast iron pipe and fittings. | 92 | Nos |  | 0
14.12 | Providing and fixing M.S. stays and clamps for sand cast iron/centrifugally cast (spun) iron pipes of diameter. | 2 | Nos |  | 0
14.13 | Providing and fixing 100mm inlet and 100mm outlet of S.C.I. FLOOR TRAPS, self cleaning type with S.C.I. hinged grating including cost of cutting and making good the same complete. | 12 | Nos |  | 0
14.14 | Painting 100mm dia soil, waste & vent pipes and fittings with paint over a coat of primer for new work. | 36.2 | M |  | 0
15 | WATER SUPPLY WORK
15.1 | Providing and fixing G.I. Pipes complete with G.I. Fittings and clamps including cutting and making good the walls etc.
a | 15 mm dia | 28.5 | M |  | 0
b | 20 mm dia | 17 | M |  | 0
c | 32 mm dia | 3.75 | M |  | 0
15.2 | Providing and fixing 25mm dia G.I. Pipe complete with G.I. Fittings including trenching and refilling etc. (external work) | 24 | M |  | 0
15.3 | Providing and fixing brass gate valve with C.I. Wheel, Class I conforming to IS:778:1984
a | 25 mm dia | 1 | Nos |  | 0
15.4 | Providing and placing on terrace (at all floors level) polyethylene waterstorage tank of approved brand manufacture with cover and suitable locking arrangement and making necessary hole for inlet, outlet and overflor pipes but without fittings and the base support for tank. | 4000 | Ltr |  | 0
15.5 | Providing and fixing 25mm dia brass ball valve with P.V.C. float, high pressure type, conforming to IS:1703-1977. | 4 | Nos |  | 0
15.6 | Providing and fixing 25mm dia brass ferrule with C.I. Mouth cover including boring and tapping the main : | 1 | Nos |  | 0
15.7 | Providing & Fixing of approved make 15mm dia C.P. brass long body bib cock. | 5 | Nos |  | 0
15.8 | Providing and fixing of the approved make 15mm dia C.P. brass angle valve for wash basin etc. | 10 | Nos |  | 0
IMPORTANT NOTE
Reinforcement steel and cement shall be supplied by BHEL to the contractor. Charges for the same shall be
recovered from their running bill as per details below:
| Material Type | Recovery Rs . per MT
| Plate 8-10 | 37858
| Plate 12,16,20 | 35282
| Plate 25-30 | 36570
| TMT 8 | 31373
| TMT 10, 12 | 31114
| TMT 16 | 30206
| MS Angle 110,100 | 32396
| MS Angle 80,75,65 | 29300
| MS Angele 50 | 29945
| Structural Steel | 40252
| Cement (Rate Rs. Per 50 Kg Bag) | 190