TENDER BOX IS KEPT  AT 02 ANNEXE, GF ( M&S   DEPT)    FOR    DROPPING FILLED TENDERS

(THE TENDER IS IN TWO  PARTS- PART ‘A  CONSISTS TECHINCAL PART & PART ‘B’ IS FOR PRICE BID – PRICE BID IS TO BE KEPT IN A SEPARATE SEALED COVER )

B H A R A T  H E A V Y  E L E C T R I C A L S  L I M I T E D

RAMACHANDRAPURAM : : HYDERABAD – 502032

(M&S DEPARTMENT/ P&C)

TELEPHONE  NO. 23182739       FAX NO. 040  23020185 email:  gjrao@bhelhyd.co.in

WEBSITE:   www.bhel.com

TENDER NOTICE NO.    M&S/P&C/2006/024      DATED: 05.08.2006

ITEM NO. 3

1.         Name of work	:  Repairs to Exhaust Blower  & Ducting in Surface  Treatment  Section  in    08 block   BHEL  Factory.

- Earnest Money Deposit		:    Rs. 10,000/-

- Time of Completion			:   2  Months

- Estimation: 				Rs1,25,000/-

- Maintenance period			:   Nil.

- Last date For sale of   Tender         :    25.08.2006

- Last date for  receipt of tenders		:   26.08.2006   upto 11.00 hrs.

- Date and time of opening of tenders	:   26.08.2006   13.30   hrs.

- Cost of tender documents		:   Rs. 250/-

Name & Address:

---------------------------------------------------------------

---------------------------------------------------------------

---------------------------------------------------------------

TENDERERS ARE REQUESTED TO SIGN AND PUT SEAL ON ALL PAGES OF TENDER DOCUMENT

EMD PAID / NOT PAID

PART-A

#### ANNEXURE-I

#### TECHNICAL  CUM  COMMERCIAL BID

Name of the Contractor             :

Address:

Contact person

Phone No:

Email id:

Name of work                     :  Repairs to Exhaust Blower  & Ducting in Surface  Treatment  Section  in                                                                          08 block   BHEL  Factory.

- Tender Notice no &              :  	M&S/P&C/2006/024

Date, Item No.                                  3

- Details of DD/Cash paid.

D.D or Cash Receipt No. for EMD                            :

DD or cash receipt  for tender document cost:

(to be  enclosed along with  this bid).

- Particulars of experience/credentials:      ______________________

a (As per pre qualification  requirements all details must be

enclosed)

b. Financial turnover details. ( copies are be enclosed)  :_____________

- P.F.Code. No. (if existing copy is  to be enclosed):   _____________________

- E.S.I Code No. (proof of having Code No. copy  to be enclosed): ___________

- PAN No. (in case not available,  proof of having applied      :___________________

with acknowledgement from concerned authorities).

7 )     Labour Licence (Central/State Government) : To be furnished at the :  _________________   time of commencement of work ( should be indicated whether valid/ renewal).

REMARKS

8) Acceptance of Penalty clause			: ____________

9)  Acceptance of Security Deposit  clause		:____________

10) Validity:   90 days					:____________

11) Fulfillment of minimum wages act                       :____________

12)  Service  tax Registration No                      :___________________

applicable or not if yes Whether amount quoted is inclusive or exclusive   :  ________

NOTE:

1.  Techno Commercial  Bids:    In case the  agency has not satisfied all/ partial  the above conditions with documentary   proof, the bid is liable to be rejected and their price bid will not be opened.

- In case of a firm, tender form  shall be in the name of the firm.   However in case of sole proprietor or individuals these can be on the name of the sole proprietor or individual.

- All  agencies should submit documentary evidence.

- All the columns shall be filled with proper information without leaving blanks.

- BHEL reserves the right to reject or cancel the tender at any stage of the tender process without assigning any reasons there of.

Signature of Contractor(s)

PRE QUALIFICATION

I.	The following conditions have to be satisfied by the tenderer,   documentary proof to be enclosed   with tender bid.  In case the agency fails to enclose the following documentary proof with tender,   the tender will be liable for rejection.

Average Annual financial turnover during the last 3 years, ending 31s March of the previous financial   year, should be at least 30% of the estimated cost

- Experience of having undertaken  or  successfully completed  “the exhaust systems    repair/ new  work”     during last 7 years ending last day of month previous to the one in which applications are invited should be either of the above.

- Penalty: 0.5 % of the gross value of work will be levied for every week’s delay  in case of delay in commencement( excluding grace period max 2 weeks for deployment of labour  ) ;      subject to a maximum of 10 % value of the work.

iii)       Statutory Codes:

Statutory :  ESI for firm (indicate if available)

PAN No.  (in case not available, proof of having applied with

  - Acknowledgement from concerned authorities)

b.  Service Tax   (whether applicable or not should be indicated in the offer);   in   case applied,   proof of having applied with acknowledgement from   Concerned authorities)

TENDER SUBMISSION

Tenders must be submitted in sealed covers addressed to Manager / M&S, (P&C),   BHEL, Ramachandrapuram, Hyderabad 502 032.  Tenderer shall write tender notice No, and name of work and address of the tenderer on the sealed cover.  In case the agency fails to comply any of the above, the tender will be liable for rejection.

price bid opening date will be intimated later.

II.     NOTES:

- Period of contract shall be 2 Months,  as mentioned in NIT.

- Tender is on Two   part bid method. (Techno commercial and price bid).

- Tender documents can  be had  through BHEL website http://www.bhel.com

IIII       The agencies are advised to visit the work site to understand the nature of    work /     quantum of work in its true perspective to avoid any complications in future.

G.Janardhan Rao

Manager/ M&S(P&C)

Annexure- II

Name of the Work :	Repair of Exhaust blower and ducting in Surface Treatment section , 08- Block

TECHNICAL QUESTIONAIRE

| Sl. No. | Description | Contractors Comment |
| --- | --- | --- |
| 1 | All the three Impelleres shall be Statically and Dynamically Balanced |  |
| 2. | Material of Impellers shall be Solid FRP / FRP over MS |  |
| 3. | Old impellers shall be replaced with the new one Of same size and capacity |  |
| 4. | All the leakage in the Ducting , Casings , Chimney shall be arrested by doing FRP lining using Bisphenol Grade Polyster resin. |  |
| 5. | Suction lip for Acid tank ,Anodizing tank shall be repaired. |  |
| 6. | New suction lip shall be made for Copper plating |  |
| 7. | All the FRP connections have to be checked and repaired if required. |  |
| 8. | Contractor shall see the existing System before undertaking work. |  |
| 9. | Supplier shall dissemble the exhaust units and after replacing impeller assemble it and connect to exhaust ducts through leak proof joint. |  |
| 10. | Commissioning of Entire systems after repair. |  |
| 11. | Proper suction shall be ensured at suction lips. |  |

Annexure - III

Scope of Work

Name of the Work :	Repair of Exhaust blower and ducting in Surface Treatment section , 08- Block

| Sl. No. | Description of Work | Unit | Qty. |
| --- | --- | --- | --- |
| 1. | Supply and fixing of 550 mm dia FRP Moulded Impeller in Hard chrome plating Exhaust unit . | Nos. | 1 |
| 2. | Supply and fixing of 740 mm dia FRP Moulded Impeller in Pickling Exhaust unit . | Nos. | 1 |
| 3. | Supply and fixing of 740 mm dia FRP Moulded Impeller in Copper and Silver plating Exhaust unit . | Nos. | 1 |
| 4. | Fabrication and fitting of 240 mm ID FRP duct using Isophthalic grade Polyster Resin with flange end from Anodizing tank and Copper plating tank hood to main suction pipe of Silver plating Exhaust unit. | Mtrs. | 6* |
| 5. | Supply and fixing of PP-FRP Lip Suction hood of dimension1120 mm L X 820 MM W for Copper plating tank. | Nos. | 1 |
| 6. | Repair of FRP ducts and joining of damaged portion by doing FRP Lining using Bisphenol grade Polyster resin. | Sq. Meters. | 10* |

Noter : 1) For items in Sl. No. 4 and 6 payment will be made on running Quantity the approximate quantity is given above.

2) In Sl. No. 1,2 and 3 old impeller has to be removed from Exhaust units and new impeller has to be fitted. And all the

FRP Moulded  Impellers using Bisphenol grade Polyster resins  have to be Statically and Dynamically balanced.

## ANNEXURE-A

- General  Instructions to the ocntractors :

- If the tender is made by an individual, it shall be signed with his full name and his address shall be furnished.  If it is made by firm, it shall be signed with the co-partnership name by a member of the firm, who shall also sign his own name, also furnish the name and address of each member of the firm.  If the tender is made by a corporation, it shall be signed by a duly authorized Officer who shall produce with the tender, satisfactory evidence of his authorization.  Such tendering corporation/firm is required to furnish evidence of its existence along with bid.

- The EMD will be refunded to the unsuccessful Tenderers on application after rejection of the tender is intimated.  The earnest money will be retained in the case of the successful tenderers and either of the cases will not carry any interest.  It will be dealt with as provided in the conditions attached to the tender.

- Whenever a tender is to be accepted, the tenderer, whose tender is under consideration, shall attend the Office of " Officer Inviting the Tender " on the date fixed by written intimation to him.  He shall forthwith, upon intimation being given to him by the " Officer Inviting the Tender” for acceptance of his tender, complete the execution of the agreement by signing all documents connected therewith.  Failure to do so and not to commence the work within one month from the date of intimation shall entail forfeiture of the earnest money.

- Tenderers shall pursue carefully the instructions and directions to the parties given in the tender document and the conditions there of and all other relevant documents before quoting the rates for the work.  The approximate quantity of work to be executed under each class is given in the schedule.  The quantities are given with a view to enable tenderer to quote his overall rate for each class of work in the tender form and for an uniform comparison of tenders.  It shall be definitely understood that the schedule is liable to alterations at the discretion of accepting authority.

- Tenderers shall keep the offer valid for a period of 90 days from the date of opening of tender.  After submitting the tender, he will not recall his offer or modify the terms and conditions thereof.  Should the tenderer fail to observe or comply with the foregoing stipulations, the EMD shall be forfeited.

- Tenderers have to quote their rates in the tender schedule legibly written in figures and words and those not submitted in proper form are liable for rejection.

- The submission of tender shall be strictly in accordance with the terms and conditions stipulated in this tender notice.  No counter conditions will be acceptable or valid.

- Contractor shall be deemed to have included in his tender price of all the plant, machinery and appliances required for the purpose of all operations connected with the work embraced under the contract to secure a satisfactory quality of work and rate of progress which in the opinion of the " Contract Signing Officer" will ensure the completion of the work within the time specified.

- BHEL is having every right to split the schedule and to award the work to single or many parties on the lowest offered rates basis.

- This is a time bound contract for period mentioned, and does not envisage any extension of time / period.

- The rates quoted by the contractor should be firm for the contract period.  There shall be no revision in contract rates during the period of the contract.  Any increase of statutory levies during the period of the contract will be reimbursed on production of relevant proof of incurring expenditure for the same.

- BHEL reserves the right to negotiate for price reduction with L1 party and negotiated price will be considered as contract amount for all practical purposes.

- BHEL reserves the right to terminate the contract at any stage without assigning any reason.

- Tender should be submitted in sealed cover addressed to the Manager/ M&S(P&C) and duly super scribed with the tender number, tender date, name of the work and due date of tender opening on the envelope. The tenders will be opened on tender due date at 13.30 Hrs in presence of those tenders who choose to be present at finance department, BHEL, Ramachandrapuram, Hyderabad.

- The contractor must have phone facility at his office/ residence or cellular phone for proper communication.

- On receipt of the job work order, party has to follow certain things regarding labour payments like   a) payment to contract labour as per the minimum wages act 1971 (latest) by 7th during that paid month.   B) PF compliance:  as per Section 36B of Employee provident fund schemes 1952, by 7th of every month are to submit a wage register for the previous month duly signed by the contract executing officer by showing workers engaged, no of days worked, basic wage and Dearness allowance proportionate to days worked, PF & ESI amount deducted from each worker, Contract executing officer signature.   By 15th of every month contributions made through bank challan, if delayed the contractor has to pay penalty of 17% of PF amount and 12% simple interest on the PF Amount for the delayed days.   If not fulfill by contractor permission will not be renewed

- Contractor is wholly responsible for injuries/ death of the person employed by him arising due to accident during the contractual period. At any point of time BHEL will not be responsible for any loss/ damage to the person arising out of accident for performing the contractual obligations.

- Withdrawal from contract during contract period in BHEL will entail forfeiture of security deposit.

- Soon after acceptance of tender the contractor shall enter into a contract with BHEL, Ramachandrapuram,  Hyderabad.

- The contract agreement shall be entered with BHEL, Ramachandrapuram, and Hyderabad on valid non-judicial stamp paper of the value of Rs100/- to be purchased by the contractor at his own cost.

- Labour engaged by the contractor should be disciplined & exhibit good behavior in dealing with employees of BHEL. Any misbehavior or conduct of any Peron engaged by the contractor is not good, contractor shall change that person immediately or else it may even lead to termination of the contract & security deposit will be forfeited as penalty.

- Any dispute arising out of this contract should be referred to the sole arbitration of General Manager/ Spares, M&S of BHEL, Ramachandrapuram, Hyderabad-502 032 or his authorized representative whose decision shall be final and binding on both the parties.

- In case of any suit or other legal proceeding arising out of and relating to the contract to be entered into the courts at Hyderabad/ Secunderabad and Sangareddy (Medak Dist.)  A.P only shall have the jurisdiction.

- The contractor should abide by the company’s CISF Security/ safety rules and provide such safety requirements as per statutory rules and requirements of the factories act.

- In case of breach of any of the terms and conditions of the contractor, BHEL reserves the right to cancel the contract either in part or full.

- The contractor has to produce the bank guarantee, in the prescribed proforma valid for the contract period for a value calculated at the rates mentioned, towards security deposit.  The claim period under the guarantee shall be valid for six months after expiry of the contract.

- In the agreement no mention shall be made regarding the number or the sex of the laborers to be employed by the contractor.  The agreement shall not contain provision to hire labour like number of men, category of men, and number of maydays from the contractor for any type of work.  All types of job work agreements shall be based on clearly quantified volume of work only.

- The Executing Officer shall ensure the execution of work on quantifiable basis taking into account equipment and machinery deployed rather than availability of labour.

- Disputes, grievances between the contractor and his labour, will have to be settled by the contractor only.

- The labour employed by the contractor, if found in abetting any of fellow labour or contractors or any BHEL employee, the same shall be considered as an act of indiscipline.  Such laborers shall be removed from the services of the contractor, on the advice of BHEL.  Further the contractor shall initiate every necessary action in accordance with the relevant Laws, Rules & Regulations and enactments of state and Central Governments.

- Earnest Money Deposit:

Earnest Money is to be paid by each tenderer to ensure that the tenderer does not refuse to execute the work after it is awarded to him.  The rate of earnest money deposit shall be as per tender schedule.

EMD by the Tenderer will be forfeited as per Tender Documents if:

i)    After opening the tender, the tenderer revokes his tender within the validity period or increases his earlier quoted rates.

ii)  The tenderer does not commence the work within the period as per LOI / Contract. In case the LOI / contract is silent in this regard then within 15 days after award of contract.

EMD shall not carry any interest

32.    Security deposit:

Security Deposit should be collected from the successful tenderer.  The rate of Security Deposit will be as below:

Upto Rs. 10 lakhs				: 10%

The security Deposit should be collected before start of the work by the contractor.

Security Deposit may be furnished in any one of the following forms

- i)       Cash (as permissible under the Income Tax Act)

- ii)        Pay Order, Demand Draft in favour of BHEL.

- iii)	       Local cheques of scheduled banks, subject to realization.

- Securities available from Post Offices such as National Savings Certificates,  Kisan Vikas Patras etc.

- (Certificates should be held in the name of Contractor furnishing the security and duly pledged in  favour of BHEL and discharged on the back).

- Bank Guarantee from Scheduled Banks / Public Financial Institutions as defined in the Companies Act subject to a maximum of 50% of the total security deposit value.  The balance 50% has to be remitted either by cash or in the other form of security. The Bank Guarantee format should have the approval of BHEL.

- Fixed Deposit Receipt issued by Scheduled Banks / Public Financial Institutions as defined in the Companies Act. The FDR should be in the name of the contractor, A/C BHEL, duly discharged on the back.

- Security deposit can also be recovered at the rate of 10% from the running bills. However in such cases at least 50% of the Security Deposit should be collected before start of the work and the balance 50% may be recovered from the running bills.

- EMD of the successful tenderer shall be converted and adjusted against the security deposit.

The security deposit shall not carry any interest

33.     PENALTY: That if the contractor fails to complete the work with in the stipulated or extended date, the company shall have the right to levy penalty on the contract value at 0.5%  per week  or 10% maximum  and without prejudice to any other relief or compensation to which the company is entitled under the other conditions of the contract.

CONT…

ANNEXURE-IV

PART-B

TOBE SUBMITTED IN A SEALED COVER

PRICE BID

Name of the Work :	Repair of Exhaust blower and ducting in Surface Treatment section , 08- Block

| Sl. No. | Description of Work | Unit | Qty. | Rate in Rupees | Amount in Rupees |
| --- | --- | --- | --- | --- | --- |
| 1. | Supply and fixing of 550 mm dia FRP Moulded Impeller in Hard chrome plating Exhaust unit . | Nos. | 1 |  |  |
| 2. | Supply and fixing of 740 mm dia FRP Moulded Impeller in Pickling Exhaust unit . | Nos. | 1 |  |  |
| 3. | Supply and fixing of 740 mm dia FRP Moulded Impeller in Copper and Silver plating Exhaust unit . | Nos. | 1 |  |  |
| 4. | Fabrication and fitting of 240 mm ID FRP duct using Isophthalic grade Polyster Resin with flange end from Anodizing tank and Copper plating tank hood to main suction pipe of Silver plating Exhaust unit. | Mtrs. | 6* |  |  |
| 5. | Supply and fixing of PP-FRP Lip Suction hood of dimension1120 mm L X 820 MM W for Copper plating tank. | Nos. | 1 |  |  |
| 6. | Repair of FRP ducts and joining of damaged portion by doing FRP Lining using Bisphenol grade Polyster resin. | Sq. Meters. | 10* |  |  |

Total  Rs.

Tax portion if any should indicate here:

Total Rupees in words:

only.