TENDER BOX IS KEPT AT 02 ANNEXE, GF (M&S   DEPT)    FOR    DROPPING FILLED TENDERS

(THE TENDER IS IN TWO PARTS- PART ‘A’  CONSISTS Technical  Cum Commercial    & PART ‘B’ is  for  PRICE BID – should be submitted in   SEPARATE COVERS)

B H A R A T  H E A V Y  E L E C T R I C A L S  L I M I T E D

RAMACHANDRAPURAM: : HYDERABAD – 502032

: (M&S DEPARTMENT/ P&C)

Telephone No. 040-23182739       FAX NO. 040 – 23020185  email id: gjrao@bhelhyd.co.in

TENDER NOTICE NO.    M&S/P&C/2006/31                          DATED: 28.09.2006          ITEM NO. 1

Sealed tenders in a single sealed cover, subscribing the tender notice number and name of the work will be received by the undersigned from the contractors satisfying the pre-qualification requirements indicated below and will be opened by the undersigned or his nominee in the finance  dept of  BHEL, Ramachandrapuram, Hyderabad in the presence of tenderers or their authorised agents.

1.         Name of work	:  RENOVATION / MODERNISATION OF COOLING TOWER CONNECTED TO 6 MW DG SET

- Earnest Money Deposit		:    Rs. 25,000/-

- Time of Completion			:   4  Months

- Maintenance period			:   Six Months

- Last date for   Sale of tender document/ download    :   26.10.2006

- Last date of receipt of tenders		:   27.10.2006   upto 11.00 Hrs.

- Date and time of opening of tenders	:   27.10.2006   13.30   Hrs.

- Cost of tender documents		:   Rs. 250/-

Name & Address:

---------------------------------------------------------------

---------------------------------------------------------------

---------------------------------------------------------------

TENDERERS ARE REQUESTED TO SIGN AND PUT SEAL ON ALL PAGES OF TENDER DOCUMENT

EMD PAID / NOT PAID

EMD: An amount of Rs25,000/- ( Rupees Twenty Five  Thousand only) towards EMD shall be paid in cash at BHEL Cash office or by Demand Draft/ Bankers cheque drawn in the name of M/s Bharat Heavy Electricals Limited” payable at Hyderabad and shall be enclosed to the tender bid. No other means of payment will be accepted, no interest on EMD will be payable.         Cash office timings:   09.30 AM  to 11.30 AM  &   1.30 PM to 3.30 PM

PRE QUALIFICATION

I.	The following conditions have to be satisfied by the tenderer.  Documentary proof to be enclosed   with tender bid.   In case the agency fails to enclose the following documentary proof with tender,  the tender will be liable for rejection.

A)   	For Civil / Electrical/Mechanical Works:

- Average Annual financial turnover during the last 3 years, ending 31s March of the previous financial   year, should be at least 300% of the estimated cost.

- Experience of having successfully completed similar works during last 3  years ending last day of month previous to the one in which applications are invited should be either of the following:-

- Three similar completed works    costing not less than the amount equal to 40% of the estimated cost.

Or

- Two similar completed works   costing not less than the amount equal to 50 % of the estimated cost.

Or

- One similar completed work     costing not less than the amount equal to 80% of the estimated cost.

- Penalty:  0.50 % of the gross value of work will be levied for every week"s delay by the agency subject to a maximum of 10 % value of the work for the above works.

- Statutory codes on the name of the firm submitting the tender

(a)  ESI code .    (b)  P.  F.  Code No.

c)   Labour licence (Central / State Government)   should be submitted before commencement of work. (only if employing more than twenty persons). Valid or under renewal  labour licence ( under section 12(1) of R&A  Act 1970

d)  PAN  No.  (in case not available, proof of having applied with

acknowledgement from concerned authorities)

e) APGST     (in case not available, proof of having applied with acknowledgement from  concerned authorities)

f)  Service Tax Regn No ((in case not available, proof of having applied with acknowledgement from  concerned authorities

g) It is required to furnish VAT registration certificate issued by Commissioner,  Commercial Taxes, AP Govt. in respect of all works costing more than Rs.5.00 lakhs each

Other Conditions:

- Tender bids without EMD as stipulated are liable for rejection.

- BHEL reserves the right to reject any or all tenders in part or in full without assigning any reason.

- BHEL  reserves the right to split up the work into convenient portions and award  them to different contractors.

Issue of Tender Documents  :

- Tender documents (not transferable) may be obtained from  the Manager/ M&S(P&C) 02 Annexe, M/s BHEL, R.C.PURAM, HYDERABAD- 502 032  during the sale period on payment of cost of Tender by payment of cash in BHEL cash office or by submitting a DD/Bankers cheque drawn in the name of "Bharat Heavy Electricals Limited” payable at Hyderabad.  No other mode of payment will be Accepted.

- Last date for issue of tender documents by post is seven clear working days earlier to the closing date.  Company will not be responsible for any postal delay.

1. TECHNO-COMMERCIAL BID offer should contain all papers inclusive of  experience, turnover copies etc.  &    Cash Receipt or DD or Bankers cheque  for   EMD    &  Tender Cost    2. Price Bid in a separate cover.

(G.Janardhan Rao)

Manager/ M&S (P&C)

ANNEXURE-I

#### BHARAT HEAVY ELECTRICAS LIMITED

RAMACHANDRAPURAM:: HYDERABAD-502 032

M&S DEPARTMENT / PLANNING & CO-ORDINATION

###### TECHNO- COMMERCIAL BID        (PART-I)

Tender Notice No &              :  	M&S/P&C/2006/31

THIS IS AN INDIVISIBLE WORKS CONTRACT AND THE CONTRACTOR SHALL FILL  REMARKS COLUMN AGAINST ALL ITEMS

This tender schedule must be submitted along with the General Conditions, Special conditions etc. enclosed herewith duly signed and stamped on each page with your covering letter.  Quotations should be TYPED on tender schedules only.  Any deviations / deletions etc.  Should be brought out separately in your letter pad and enclosed to our tender documents.

To be filled up by the Bidder

#### Part-A                                             Annexure-I

#### TECHNICAL CUM COMMERCIAL BID

Name of the Contractor             :

Full Address:

Contact person:

Phone / Fax:

Email id:

Mobile no:

Name of work                   :  RENOVATION/MODERNISATION OF COOLING TOWER CONNECTED TO 6 MW DG SET

Description				   Contractor’s Acceptance/ Remarks.

| 1. |  | PF CODE NO: |  |
| --- | --- | --- | --- |
| 2. |  | ESI CODE NO: |  |
| 3 |  | LABOUR LICENCE NO under section12 (1) of R&A 1970 & Validity( either valid or under renewal should indicate): |  |
| 4 |  | Electrical Licence LT Grade : & validity ( either valid or under renewal) |  |
| 5 |  | Acceptance of Completion Time in 4 months |  |
| 6 |  | Validity: Minimum 90 days from technical bid opening date. |  |
| 7 |  | EMD Rs25,000/- Cash receipt/ bankers cheque Details |  |
| 8 |  | Tender cost Rs 250/- Cash receipt / bankers cheque/ DD details |  |
| 9 |  | Security Deposit clause: acceptance ( Details see under terms and conditions clause 32 ) |  |
| 10 |  | PAN No: |  |
| 11 |  | Service Tax Regn No: ( if applicable) |  |
| 12 |  | APGST Regn No. ( should indicate on hand or applied for ) |  |
| 13 |  | VAT Registration No: Percentage should be mentioned here whether your offer is inclusive or exclusive of Value Added Tax |  |
| 14 |  | Price quoted is with or without taxes if applicable what is the %. % of tax should be indicated under each category - Service Tax - APGST - Value Added Tax |  |
| 15 |  | PAYMENT TERMS: One time payment for the work completer in all respects. Bill should be entered in measurement book / on line Computerised with all details. Release of payment may take about 30 days from all clearances. |  |
| 16 |  | No advance payment |  |
| 17 |  | Experience (Details should be furnished ) name of the work undertaken: value of work: worked in which company/ organization: year of work completion: work experience certificate obtained from whom: (enclose a separate sheet if necessary) |  |
| 18 |  | Work Guarantee for 6 Months |  |
| 19 |  | PENALTY: 0.5% of the contract value per week or part thereof upto a maximum of 10% of the contract value shall be levied beyond the scheduled completion time. |  |
| 20. |  | General conditions and acceptance for undertaking work in totality as per price bid |  |
| 21 |  | Decision of BHEL Representative shall be final in the matter of inspection at any stage |  |
| 22 | All items will be carried out as per Price bid Annexure-II |  |  |
| 23 | Annual turnover during last 3 years Whether meeting prequalification? |  |  |

Imp:  Lowest offer will be decided on total cost to BHEL  ( deciding factor)

Special Notes for attention of contractors :

- The party has  to complete the work within 4 months (design, supply, erection and commissioning of cooling tower,     shutdown should be planned).

- Since the spirit of the specification is execution of the cooling tower on turnkey basis, any equipment or system necessary for making the cooling tower complete for reliable and efficient operation, should also be included whether or not specified under the scope.

- The party has to take up the work on turnkey basis. All the materials including  concrete material like steel and cement, vales, pipes, flanges, Hardware materials, cable trays, cable tags,  LT  panels are in the scope of contactor.  LT Cables   to control panel from PCC will be issued by BHEL at free of cost and all other cabling is in the scope of contractor.

- The party shall have the experience in installation of  similar type of cooling towers and performance certificates shall be submitted.

- Party  can visit the site for actual requirements and accordingly quote .

- All the modifications  and supply of  inlet piping ,outlet piping  and bypass lines are in the scope of  contractor. The valves, NRVs  shall be of reputed make with IS marks.

- All the FRP, Polypropylene and other materials shall be UV resistant . The fans , belt drives shall be covered with suitable canopy.

- Detailed Drgs , design data shall be submitted along with  technical bid.

- All the equipment and system should be designed in accordance with the relevant Indian Standard, Statutory Regulations etc.

- The bidder should acquaint himself with the site conditions approach availability of material, camping facilities for his labour force, statutory requirement, working condition at site.

- All co-ordination for equipment and system to meet the performance requirement as found necessary should be taken care  by the bidder.

- Fans  shall be provided for each cell complete with gear reducer or direct drive, drive shaft assembly, lubrication system, coupling, coupling guard, drive motor ( 4l5V) and base plate.

- All the structure, motors shall be earthed to nearest earth pits.

General  Instructions/  Obligations of the Contractors :

- If the tender is made by an individual, it shall be signed with his full name and his address shall be furnished.  If it is made by firm, it shall be signed with the co-partnership name by a member of the firm, who shall also sign his own name, also furnish the name and address of each member of the firm.  If the tender is made by a corporation, it shall be signed by a duly authorized Officer who shall produce with the tender, satisfactory evidence of his authorization.  Such tendering corporation/firm is required to furnish evidence of its existence along with bid.

- The EMD will be refunded to the unsuccessful Tenderers on application after rejection of the tender is intimated.  The earnest money will be retained in the case of the successful tenderers and either of the cases will not carry any interest.  It will be dealt with as provided in the conditions attached to the tender.

- Whenever a tender is to be accepted, the tenderer, whose tender is under consideration, shall attend the Office of " Officer Inviting the Tender " on the date fixed by written intimation to him.  He shall forthwith, upon intimation being given to him by the " Officer Inviting the Tender "  for acceptance of his tender, complete the execution of the agreement by signing all documents connected therewith.  Failure to do so and not to commence the work within one month from the date of intimation, shall entail forfeiture of the earnest money.

- Tenderers shall persue carefully the instructions and directions to the parties given in the tender document and the conditions there of and all other relevant documents before quoting the rates for the work.  The approximate quantity of work to be executed under each class is given in the schedule.  The quantities are given with a view to enable tenderer to quote his overall rate for each class of work in the tender form and for an uniform comparison of tenders.  It shall be definitely understood that the schedule is liable to alterations at the discretion of accepting authority.

- Tenderers shall keep the offer valid for a period of 90 days from the date of opening of tender.  After submitting the tender, he will not recall his offer or modify the terms and conditions thereof.  Should the tenderer fail to observe or comply with the foregoing stipulations, the EMD shall be forfeited.

- Tenderers have to quote their rates in the tender schedule legibly written in figures and words and those not submitted in proper form are liable for rejection.

- The submission of tender shall be strictly in accordance with the terms and conditions stipulated in this tender notice.  No counter conditions will be acceptable or valid.

- Contractor shall be deemed to have included in his tender price of all the plant, machinery and appliances required for the purpose of all operations connected with the work embraced under the contract to secure a satisfactory quality of work and rate of progress which in the opinion of the " Contract Signing Officer" will ensure the completion of the work within the time specified.

- BHEL is having every right to split the schedule and to award the work to single or many parties on the lowest offered rates basis.

- This is a time bound contract for period mentioned, and does not envisage any extension of time / period.

- The rates quoted by the contractor should be firm for the contract period.  There shall be no revision in contract rates during the period of the contract.  Any increase of statutory levies during the period of the contract will be reimbursed on production of relevant proof of incurring expenditure for the same.

- BHEL reserves the right to negotiate for price reduction with L1 party and negotiated price will be considered as contract amount for all practical purposes.

- BHEL reserves the right to terminate the contract at any stage without assigning any reason.

- tender should be submitted in sealed cover addressed to the Manager/ M&S(P&C) and duly super scribed with the tender number, tender date, name of the work and due date of tender opening on the envelope. The tenders will be opened on tender due date at 13.30 Hrs in presence of those tenders who choose to be present at finance department, BHEL, Ramachandrapuram, Hyderabad.

- The contractor must have phone facility at his office/ residence or cellular phone for proper communication.

- On receipt of the job work order, party has to follow certain things regarding labour payments like a)  payment to contract labour as per the minimum wages act 1971 ( latest)  by 7th during that paid month.   B) PF compliance:  as per Section 36B of Employee provident fund schemes 1952, by 7th  of every month are to submit a wage register for the previous month duly signed by the contract executing officer by showing workers engaged, no of days worked, basic wage and Dearness allowance proportionate to days worked, PF & ESI  amount deducted from each worker,  Contract executing officer signature.   By 15th of every month contributions made  through bank challan, if delayed the contractor has to pay penalty of 17% of PF amount and 12% simple interest on the PF Amount for the delayed days.   If not fulfill by contractor permission will not be renewed

- Contractor is wholly responsible for injuries/ death of the person employed by him arising due to accident during the contractual period. At any point of time BHEL will not be responsible for any loss/ damage to the person arising out of accident for performing the contractual obligations.

- Withdrawal from contract during contract period in BHEL  will entail forfeiture of security deposit.

- Soon after acceptance of tender the contractor shall enter into a contract with BHEL, Ramachandrapuram,  Hyderabad.

- The contract agreement shall be entered with BHEL, Ramachandrapuram,  Hyderabad on valid non judicial stamp paper of the value of Rs100/- to be purchased by the contractor at his own cost.

- Labour engaged by the contractor should be disciplined & exhibit good behavior in dealing with employees of BHEL. Any misbehavior or conduct of any Peron engaged by the contractor is not good, contractor shall change that person immediately or else it may even lead to termination of the contract & security deposit will be forfeited as penalty.

- Any dispute arising out of this contract should be referred to the sole arbitration of General Manager/ Spares, M&S of BHEL, Ramachandrapuram, Hyderabad-502 032 or his authorized representative whose decision shall be final and binding on both the parties.

- In case of any suit or other legal proceeding arising out of and relating to the  contract to be entered into  the courts at  Hyderabad/ Secunderabad and Sangareddy (Medak Dist.)  A.P only shall have the jurisdiction.

- The contractor should abide by the company’s CISF Security/ safety rules and provide such safety requirements as per statutory rules and requirements of the factories act.

- In case of breach of any of the terms and conditions of the contractor,  BHEL reserves the right to cancel the contract either in part or full.

- The contractor has to produce the bank guarantee, in the prescribed proforma valid for the contract period for a value calculated at the rates mentioned, towards security deposit.  The claim period under the guarantee shall be valid for six months after expiry of the contract.

- In the agreement no mention shall be made regarding the number or the sex of the laborers to be employed by the contractor.  The agreement shall not contain provision to hire labour like number of men, category of men, and number of maydays from the contractor for any type of work.  All types of job work agreements shall be based on clearly quantified volume of work only.

- The Executing Officer shall ensure the execution of work on quantifiable basis taking into account equipment and machinery deployed rather than availability of labour.

- Disputes, grievances between the contractor and his labour, will have to be settled by the contractor only.

- The labour employed by the contractor, if found in abetting any of fellow labour or contractors or any BHEL employee, the same shall be considered as an act of indiscipline.  Such labourers shall be removed from the services of the contractor, on the advice of BHEL.  Further the contractor shall initiate every necessary action in accordance with the relevant Laws, Rules & Regulations and enactments of state and Central Governments.

- Earnest Money Deposit:

Earnest Money is to be paid by each tenderer to ensure that the tenderer does not refuse to execute the work after it is awarded to him.  The rate of earnest money deposit shall be as per tender schedule.

EMD by the Tenderer will be forfeited as per Tender Documents if

i)    After opening the tender,  the tenderer revokes his tender within the validity period or increases his earlier quoted rates.

ii)     The  tenderer  does not commence the work within the period  as per LOI / Contract. In case the LOI / contract is silent in this regard then within 15 days after  award of contract.

EMD shall not carry any interest

32.    Security deposit:

Security Deposit

Security Deposit should be collected from the successful tenderer .  The rate of Security Deposit will be  as below:

Upto Rs. 10 lakhs				10%

Above Rs. 10 lakhs  upto Rs.50 lakhs           1 lakh + 7.5% of the amount  exceeding Rs. 10 lakhs.

The security Deposit should be collected before start of the work by the contractor.

Security Deposit may be furnished in any one of the following forms

- i)       Cash (as permissible under the Income Tax Act)

- ii)        Pay Order, Demand Draft in favour of BHEL.

- iii)	       Local cheques of scheduled banks, subject to realization.

- Securities available from Post Offices such as National Savings Certificates,  Kisan Vikas     Patras etc.

- (Certificates should be held in the  name of Contractor furnishing the security and duly pledged in  favour of BHEL and discharged on the back).

- Bank Guarantee from  Scheduled Banks /  Public Financial Institutions as defined in the Companies Act subject to a maximum of 50% of the total security deposit value.  The balance 50% has to be remitted either by cash or in the other form of  security. The Bank Guarantee format should have the approval of BHEL.

- Fixed Deposit Receipt issued by  Scheduled Banks /  Public Financial Institutions  as defined in the Companies Act . The FDR should be in the name of the contractor,  A/C BHEL, duly discharged on the back.

- Security deposit can also be recovered at the rate of 10% from the running bills. However in such cases at least 50% of the Security Deposit should be collected before start of the work and the balance 50% may be recovered from the running bills.

- EMD of the successful tenderer  shall be converted and adjusted against the security deposit.

The security deposit shall not carry any interest

33.     PENALTY: That if the contractor fails to complete the work with in the stipulated or extended date, the company shall have the right to levy penalty on the contract value at 0.5%  per week  or 10% maximum  and without prejudice to any other relief or compensation to which the company is entitled under the other conditions of the contract.

###### 34. Safety:  The Contractor shall provide the required safety protective personnel equipment like uniform, safety belt, shoe, hand gloves, to the contract labourers engaged by him.  All sorts of safety measures to be taken shall be deemed to form an integral part of the agreement and non-compliance with safety requirement amounts to breach of the contract.

SPECIAL CONDITIONS

- Time is the essence of the contract and the specified time of completion is upto   which will be reckoned from the date of commencement of work.

- These special conditions supplement the conditions to tenders and contracts and the general conditions of contract and form part of the contract documents. Where these special conditions are at variance with the general conditions of contract.  These special conditions shall prevail.

- All rates quoted shall be finalized;   work in site inclusive of all leads,  lifts and other incidental charges and those in general conditions.

- Before quoting his rates of the work, the tenderer shall inspect the site of work and the quarries from which various materials are to be brought and should satisfy him about the nature and scope of work to be executed and quality of materials procurable from the quarries. In every case the materials shall confirm to the relevant IS and shall have got to be approved by engineer in charge before they are used on the work.   In case the contractor is found later on to have misjudged the nature and scope of the work and also the availability of materials, BHEL will not Pay any extra charges for any other reason to the contractor once contract rate is finalized.

- The issue of materials is governed by the conditions specified in the schedule-B (If any).  All other materials shall be supplied by the contractor himself and the rates for the relevant items are inclusive of all such supplies.

- BHEL is reserve the right to deviate wither by addition or by deletion from the schedule of items of work given in the tender document after awarding the work.

- In case of any difference between agreement wording and detailed drawings the interpretation of the site engineer shall be final and binding on the contractor.

- The final acceptance of work in all items are subject to proper behavior after testing regardless of whether the items or paid or not.

- All debris and surplus material shall be cleared from the site as and when directed by the site in charge.

- Permissions for labour and materials shall be obtained in the prescribed formats.

ANNEXURE – B shall   be form of   memorandum of payments with  details such as  Work schedule, unit rate,  quantities given, quantity executed, Amounts  claimed etc,

- The designated employee of the Unit will inspect the work executed by the contractor and authenticate the entries made in the measurement book.

- Short comings, if any, in the work executed will be pointed out by the designated employee to the Contractor or his authorized representative and the same will be rectified by him  (other than watering) within three days to the satisfaction of the designated employee.

3.  Payment towards work satisfactorily executed will be made to the Contractor at the finalised rates

- Payments will be made to the contractor on prorate basis after satisfactory completion of work on the basis of work carried out by him.

All payments will be subject to deduction of income tax at source as per Income Tax Rules

Should be submitted in a sealed cover

PRICE BID

ANNEXURE- II

SCHEDULE  OF WORK FOR “RENOVATION / MODERNISATION OF COOLING TOWER CONNECTED TO 6 MW DG SET”

| SNo. | DESCRIPTION OF WORK | UNIT | QTY | RATE ( Rs ) | AMOUNT ( Rs) |
| --- | --- | --- | --- | --- | --- |
| 01 | Modernisation of Cooling Tower connected to 6 MW Wartsila make DG Set as per the following specifications : |  |  |  |  |
|  | Duty conditions : Flow rate of water : 350Cum/Hr. Hot water Temp: 54 deg.C Cold water Temp : 32 deg C Wet Bulb Temperature : 28 deg C Max. Ambient Temp : 47 Deg.C |  |  |  |  |
| a) | The type of cooling Tower to be supplied ( Two independent cells ) with accessories : Induced draft counter flow FRP cooling towers - 2 Cells. Size of the cells shall be suitable for existing water basin. The Drawing of the water basin can be obtained from BHEL on request. Tower Model : Supplier has to design and supply the suitable cooling tower with all accessories including piping. All the items including the casing shall withstand UV radiation and maximum temperature of 70 Deg.C. Casing of the Tower : FRP ( fibre glass reinforced plastic ) . Fills : Easy clean ring fill of superior quality polypropylene. The fills shall be designed to with stand the temperature of 70 Deg.C. Drift Eliminator : PVC. Nozzles :superior quality polypropylene. Fans : Suitable size and non corrosive materials and hardware shall be SS -304. FAN RPM/each : Designed for better cooling and vibration free. Air Flow/each : suitable for the design and party shall submit the design parameters. Motors : TEFC, weather proof, IP55 ,Class –F insulation ,415V, 3Phase ,50Hz of makes ABB/Bharat Bijlee/Siemens/Kirloskar. Distribution: Through polypropelene nozzles fitted with Hot dipped Galvanised steel header and branch arm assembly. Pumping Head : 3050mm. The supplier shall provide suitable valve in both incoming and out going lines for both the cells. During the emergencies the DG Set will be operated with one cell and distribution system shall be suitably designed. Hardware : Hot dipped galvanised steel. | Set | One |  |  |

:: 2 ::

| SNo. | DESCRIPTION OF WORK | UNIT | QTY | RATE ( Rs ) | AMOUNT ( Rs) |
| --- | --- | --- | --- | --- | --- |
| b) | Supply and erection of panel board, cubicle type, floor mounting, hinged doors suitable for termination of LT Cables, shall be provided with Suitable Switch Fuse unit for incoming supply, two star delta starters for above motors . The panel board shall contain Ammeters, Voltmeters, LED indications for three phase supply and for ON/OFF/TRIP for each motor. The contactors, starters, Fuses , SFUs , LED indications shall be of makes L&T/Siemens/Schneider/Crompton. The cables from Control panel to Motors are in the scope of contractor. | Nos. | One |  |  |
| c) | The Civil modifications to the existing 80 KL cooling water basin to suit the installation of FRP Cell type Cooing Tower. The necessary modifications shall be taken up for anchoring arrangements on the existing sump and piping modifications for header connections to Cooling Tower. The Drawing for sump, pillars is enclosed for reference. | Lot | One |  |  |
|  | Dismantling charges for existing wooden cooling Tower and forwarding the materials to stores. | Lot | One |  |  |
|  | Installation, erection and commissioning charges for cell type cooling tower (2 Cells ) including piping modifications, laying and termination of LT cables at both sides, earthing of the towers including motors, installation of LT control panel etc . All the erection and commissioning works are in the scope of contactor. | Lot | One |  |  |
|  | Transportation charges | Lot | One |  |  |
|  | Excise Duty @ 16.32% on Rs /- |  |  |  |  |
|  | Sales Tax @ 10% on Rs /- |  |  |  |  |
|  | Service tax on labour charges @ 12.24% =30% of Rs /- =Rs Dismantling and commissioning charges = 12.24% on Rs |  |  |  |  |
|  | TOTAL |  |  | Rs |  |

( Rupees  in words                                                   only )